## Sheet1
|  | Wavelength (nm) | % Transmission
|  | 2600 | 24.8891
|  | 2599 | 24.9319
|  | 2598 | 24.9346
|  | 2597 | 24.9747
Product Raw Data |  | 2596 | 25.0208
UG5 Colored Glass Filter, AR-Coated: 290 - 370 nm |  | 2595 | 25.0737
|  | 2594 | 25.1164
Item # | FGUV5-UV | 2593 | 25.171
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 2592 | 25.251
|  | 2591 | 25.2598
|  | 2590 | 25.289
|  | 2589 | 25.3361
|  | 2588 | 25.3862
|  | 2587 | 25.4324
|  | 2586 | 25.461
Additional Information: |  | 2585 | 25.511
Measurements Made at Normal Incidence |  | 2584 | 25.5669
|  | 2583 | 25.6121
|  | 2582 | 25.6474
|  | 2581 | 25.676
|  | 2580 | 25.7425
|  | 2579 | 25.7802
|  | 2578 | 25.8465
|  | 2577 | 25.8905
|  | 2576 | 25.9556
|  | 2575 | 25.9657
|  | 2574 | 26.0023
|  | 2573 | 26.0722
|  | 2572 | 26.0943
|  | 2571 | 26.1187
|  | 2570 | 26.156
|  | 2569 | 26.2157
|  | 2568 | 26.2634
|  | 2567 | 26.282
|  | 2566 | 26.3359
|  | 2565 | 26.4092
|  | 2564 | 26.4784
|  | 2563 | 26.5036
|  | 2562 | 26.5493
|  | 2561 | 26.5983
|  | 2560 | 26.623
|  | 2559 | 26.6564
|  | 2558 | 26.687
|  | 2557 | 26.7727
|  | 2556 | 26.8307
|  | 2555 | 26.8921
|  | 2554 | 26.9732
|  | 2553 | 27.0285
|  | 2552 | 27.0599
|  | 2551 | 27.0899
|  | 2550 | 27.134
|  | 2549 | 27.1667
|  | 2548 | 27.2645
|  | 2547 | 27.3168
|  | 2546 | 27.343
|  | 2545 | 27.3561
|  | 2544 | 27.3899
|  | 2543 | 27.4218
|  | 2542 | 27.476
|  | 2541 | 27.5425
|  | 2540 | 27.5986
|  | 2539 | 27.6719
|  | 2538 | 27.7411
|  | 2537 | 27.7727
|  | 2536 | 27.7979
|  | 2535 | 27.8349
|  | 2534 | 27.9139
|  | 2533 | 27.9437
|  | 2532 | 27.9813
|  | 2531 | 28.0481
|  | 2530 | 28.1305
|  | 2529 | 28.1604
|  | 2528 | 28.167
|  | 2527 | 28.1984
|  | 2526 | 28.276
|  | 2525 | 28.3359
|  | 2524 | 28.3989
|  | 2523 | 28.4319
|  | 2522 | 28.4865
|  | 2521 | 28.5143
|  | 2520 | 28.5844
|  | 2519 | 28.6282
|  | 2518 | 28.6565
|  | 2517 | 28.6929
|  | 2516 | 28.7302
|  | 2515 | 28.7989
|  | 2514 | 28.8409
|  | 2513 | 28.885
|  | 2512 | 28.9437
|  | 2511 | 28.9849
|  | 2510 | 29.0041
|  | 2509 | 29.0658
|  | 2508 | 29.1176
|  | 2507 | 29.1459
|  | 2506 | 29.2109
|  | 2505 | 29.2493
|  | 2504 | 29.2819
|  | 2503 | 29.3081
|  | 2502 | 29.3478
|  | 2501 | 29.4106
|  | 2500 | 29.4475
|  | 2499 | 29.4883
|  | 2498 | 29.5462
|  | 2497 | 29.5917
|  | 2496 | 29.6031
|  | 2495 | 29.6308
|  | 2494 | 29.6589
|  | 2493 | 29.6951
|  | 2492 | 29.7354
|  | 2491 | 29.7915
|  | 2490 | 29.8346
|  | 2489 | 29.852
|  | 2488 | 29.8791
|  | 2487 | 29.9091
|  | 2486 | 29.9479
|  | 2485 | 29.9995
|  | 2484 | 30.0299
|  | 2483 | 30.0504
|  | 2482 | 30.0703
|  | 2481 | 30.0862
|  | 2480 | 30.1146
|  | 2479 | 30.171
|  | 2478 | 30.2025
|  | 2477 | 30.2278
|  | 2476 | 30.2587
|  | 2475 | 30.308
|  | 2474 | 30.3403
|  | 2473 | 30.3532
|  | 2472 | 30.3758
|  | 2471 | 30.4052
|  | 2470 | 30.4172
|  | 2469 | 30.421
|  | 2468 | 30.4463
|  | 2467 | 30.4931
|  | 2466 | 30.5174
|  | 2465 | 30.5321
|  | 2464 | 30.5456
|  | 2463 | 30.5697
|  | 2462 | 30.6164
|  | 2461 | 30.6444
|  | 2460 | 30.6547
|  | 2459 | 30.6613
|  | 2458 | 30.6703
|  | 2457 | 30.6949
|  | 2456 | 30.739
|  | 2455 | 30.7599
|  | 2454 | 30.7655
|  | 2453 | 30.7698
|  | 2452 | 30.7813
|  | 2451 | 30.7969
|  | 2450 | 30.8124
|  | 2449 | 30.8253
|  | 2448 | 30.8323
|  | 2447 | 30.861
|  | 2446 | 30.8986
|  | 2445 | 30.903
|  | 2444 | 30.8987
|  | 2443 | 30.8995
|  | 2442 | 30.8974
|  | 2441 | 30.9219
|  | 2440 | 30.9592
|  | 2439 | 30.9714
|  | 2438 | 30.9787
|  | 2437 | 30.9818
|  | 2436 | 30.9818
|  | 2435 | 30.9878
|  | 2434 | 30.9938
|  | 2433 | 31.0121
|  | 2432 | 31.0413
|  | 2431 | 31.0532
|  | 2430 | 31.0555
|  | 2429 | 31.0426
|  | 2428 | 31.0573
|  | 2427 | 31.083
|  | 2426 | 31.0933
|  | 2425 | 31.0944
|  | 2424 | 31.0933
|  | 2423 | 31.0943
|  | 2422 | 31.0936
|  | 2421 | 31.1152
|  | 2420 | 31.1417
|  | 2419 | 31.1455
|  | 2418 | 31.1441
|  | 2417 | 31.1407
|  | 2416 | 31.1298
|  | 2415 | 31.1244
|  | 2414 | 31.1191
|  | 2413 | 31.1183
|  | 2412 | 31.1452
|  | 2411 | 31.1688
|  | 2410 | 31.1669
|  | 2409 | 31.1632
|  | 2408 | 31.1569
|  | 2407 | 31.154
|  | 2406 | 31.1454
|  | 2405 | 31.1598
|  | 2404 | 31.1956
|  | 2403 | 31.197
|  | 2402 | 31.1867
|  | 2401 | 31.1885
|  | 2400 | 31.1814
|  | 2399 | 31.1708
|  | 2398 | 31.178
|  | 2397 | 31.2036
|  | 2396 | 31.2078
|  | 2395 | 31.1942
|  | 2394 | 31.1873
|  | 2393 | 31.1793
|  | 2392 | 31.1689
|  | 2391 | 31.169
|  | 2390 | 31.1634
|  | 2389 | 31.1744
|  | 2388 | 31.2016
|  | 2387 | 31.2012
|  | 2386 | 31.1908
|  | 2385 | 31.18
|  | 2384 | 31.1748
|  | 2383 | 31.1592
|  | 2382 | 31.1503
|  | 2381 | 31.1686
|  | 2380 | 31.188
|  | 2379 | 31.1829
|  | 2378 | 31.1724
|  | 2377 | 31.1545
|  | 2376 | 31.1398
|  | 2375 | 31.1315
|  | 2374 | 31.1337
|  | 2373 | 31.156
|  | 2372 | 31.1703
|  | 2371 | 31.1544
|  | 2370 | 31.1403
|  | 2369 | 31.1236
|  | 2368 | 31.1136
|  | 2367 | 31.1049
|  | 2366 | 31.098
|  | 2365 | 31.1203
|  | 2364 | 31.1354
|  | 2363 | 31.1233
|  | 2362 | 31.105
|  | 2361 | 31.092
|  | 2360 | 31.0861
|  | 2359 | 31.0766
|  | 2358 | 31.0664
|  | 2357 | 31.0555
|  | 2356 | 31.0698
|  | 2355 | 31.0792
|  | 2354 | 31.0712
|  | 2353 | 31.0618
|  | 2352 | 31.0448
|  | 2351 | 31.0189
|  | 2350 | 31.0089
|  | 2349 | 31.0101
|  | 2348 | 31.0327
|  | 2347 | 31.0411
|  | 2346 | 31.0392
|  | 2345 | 31.017
|  | 2344 | 30.9972
|  | 2343 | 30.9834
|  | 2342 | 30.9705
|  | 2341 | 30.9954
|  | 2340 | 31.0088
|  | 2339 | 31.0005
|  | 2338 | 30.981
|  | 2337 | 30.9577
|  | 2336 | 30.94
|  | 2335 | 30.9301
|  | 2334 | 30.9233
|  | 2333 | 30.9512
|  | 2332 | 30.964
|  | 2331 | 30.9471
|  | 2330 | 30.9206
|  | 2329 | 30.9001
|  | 2328 | 30.9024
|  | 2327 | 30.8953
|  | 2326 | 30.8898
|  | 2325 | 30.9143
|  | 2324 | 30.9314
|  | 2323 | 30.9144
|  | 2322 | 30.8996
|  | 2321 | 30.8812
|  | 2320 | 30.8769
|  | 2319 | 30.8653
|  | 2318 | 30.8545
|  | 2317 | 30.8358
|  | 2316 | 30.861
|  | 2315 | 30.8733
|  | 2314 | 30.8635
|  | 2313 | 30.848
|  | 2312 | 30.841
|  | 2311 | 30.8251
|  | 2310 | 30.8185
|  | 2309 | 30.8425
|  | 2308 | 30.8481
|  | 2307 | 30.8323
|  | 2306 | 30.822
|  | 2305 | 30.8139
|  | 2304 | 30.8059
|  | 2303 | 30.7856
|  | 2302 | 30.7753
|  | 2301 | 30.7942
|  | 2300 | 30.8017
|  | 2299 | 30.7993
|  | 2298 | 30.7837
|  | 2297 | 30.7636
|  | 2296 | 30.755
|  | 2295 | 30.7551
|  | 2294 | 30.744
|  | 2293 | 30.7337
|  | 2292 | 30.7566
|  | 2291 | 30.7724
|  | 2290 | 30.7663
|  | 2289 | 30.7582
|  | 2288 | 30.7514
|  | 2287 | 30.7461
|  | 2286 | 30.7344
|  | 2285 | 30.7314
|  | 2284 | 30.7298
|  | 2283 | 30.7647
|  | 2282 | 30.7597
|  | 2281 | 30.7542
|  | 2280 | 30.7397
|  | 2279 | 30.7219
|  | 2278 | 30.7097
|  | 2277 | 30.7015
|  | 2276 | 30.6985
|  | 2275 | 30.6973
|  | 2274 | 30.7088
|  | 2273 | 30.7044
|  | 2272 | 30.7375
|  | 2271 | 30.7355
|  | 2270 | 30.7331
|  | 2269 | 30.7204
|  | 2268 | 30.715
|  | 2267 | 30.6972
|  | 2266 | 30.6821
|  | 2265 | 30.6877
|  | 2264 | 30.6892
|  | 2263 | 30.6789
|  | 2262 | 30.6821
|  | 2261 | 30.6865
|  | 2260 | 30.6717
|  | 2259 | 30.7024
|  | 2258 | 30.7108
|  | 2257 | 30.7117
|  | 2256 | 30.702
|  | 2255 | 30.7025
|  | 2254 | 30.6949
|  | 2253 | 30.6907
|  | 2252 | 30.6832
|  | 2251 | 30.678
|  | 2250 | 30.6856
|  | 2249 | 30.673
|  | 2248 | 30.6647
|  | 2247 | 30.705
|  | 2246 | 30.7247
|  | 2245 | 30.7067
|  | 2244 | 30.7124
|  | 2243 | 30.6953
|  | 2242 | 30.6908
|  | 2241 | 30.6917
|  | 2240 | 30.6785
|  | 2239 | 30.6788
|  | 2238 | 30.7206
|  | 2237 | 30.7282
|  | 2236 | 30.7195
|  | 2235 | 30.7175
|  | 2234 | 30.7169
|  | 2233 | 30.7263
|  | 2232 | 30.711
|  | 2231 | 30.7057
|  | 2230 | 30.7326
|  | 2229 | 30.7622
|  | 2228 | 30.7599
|  | 2227 | 30.7638
|  | 2226 | 30.761
|  | 2225 | 30.7508
|  | 2224 | 30.755
|  | 2223 | 30.7604
|  | 2222 | 30.7709
|  | 2221 | 30.7747
|  | 2220 | 30.7816
|  | 2219 | 30.7815
|  | 2218 | 30.7887
|  | 2217 | 30.7895
|  | 2216 | 30.8032
|  | 2215 | 30.8498
|  | 2214 | 30.8654
|  | 2213 | 30.8709
|  | 2212 | 30.8531
|  | 2211 | 30.8569
|  | 2210 | 30.8643
|  | 2209 | 30.8534
|  | 2208 | 30.8498
|  | 2207 | 30.838
|  | 2206 | 30.8835
|  | 2205 | 30.8806
|  | 2204 | 30.8873
|  | 2203 | 30.907
|  | 2202 | 30.9028
|  | 2201 | 30.901
|  | 2200 | 30.9182
|  | 2199 | 30.9194
|  | 2198 | 30.953
|  | 2197 | 30.9646
|  | 2196 | 30.9667
|  | 2195 | 30.9959
|  | 2194 | 30.9687
|  | 2193 | 31.0051
|  | 2192 | 31.055
|  | 2191 | 31.0443
|  | 2190 | 31.0164
|  | 2189 | 31.0162
|  | 2188 | 31.0451
|  | 2187 | 31.0542
|  | 2186 | 31.0688
|  | 2185 | 31.0889
|  | 2184 | 31.0766
|  | 2183 | 31.1193
|  | 2182 | 31.1383
|  | 2181 | 31.1287
|  | 2180 | 31.1232
|  | 2179 | 31.1574
|  | 2178 | 31.1732
|  | 2177 | 31.1698
|  | 2176 | 31.1644
|  | 2175 | 31.1646
|  | 2174 | 31.201
|  | 2173 | 31.2206
|  | 2172 | 31.2199
|  | 2171 | 31.2266
|  | 2170 | 31.2227
|  | 2169 | 31.2175
|  | 2168 | 31.2537
|  | 2167 | 31.2573
|  | 2166 | 31.2544
|  | 2165 | 31.2546
|  | 2164 | 31.2481
|  | 2163 | 31.2635
|  | 2162 | 31.2759
|  | 2161 | 31.2654
|  | 2160 | 31.2641
|  | 2159 | 31.2893
|  | 2158 | 31.2889
|  | 2157 | 31.267
|  | 2156 | 31.2373
|  | 2155 | 31.2261
|  | 2154 | 31.2488
|  | 2153 | 31.2451
|  | 2152 | 31.2208
|  | 2151 | 31.205
|  | 2150 | 31.2172
|  | 2149 | 31.2085
|  | 2148 | 31.1884
|  | 2147 | 31.153
|  | 2146 | 31.1358
|  | 2145 | 31.1502
|  | 2144 | 31.13
|  | 2143 | 31.0976
|  | 2142 | 31.0765
|  | 2141 | 31.0572
|  | 2140 | 31.0555
|  | 2139 | 31.0432
|  | 2138 | 31.0305
|  | 2137 | 31.0138
|  | 2136 | 30.9943
|  | 2135 | 30.9747
|  | 2134 | 30.9488
|  | 2133 | 30.9159
|  | 2132 | 30.8879
|  | 2131 | 30.9013
|  | 2130 | 30.8848
|  | 2129 | 30.8447
|  | 2128 | 30.8131
|  | 2127 | 30.82
|  | 2126 | 30.8009
|  | 2125 | 30.7588
|  | 2124 | 30.7225
|  | 2123 | 30.7025
|  | 2122 | 30.7097
|  | 2121 | 30.6787
|  | 2120 | 30.6367
|  | 2119 | 30.6093
|  | 2118 | 30.6021
|  | 2117 | 30.5877
|  | 2116 | 30.5511
|  | 2115 | 30.5159
|  | 2114 | 30.5011
|  | 2113 | 30.4944
|  | 2112 | 30.4762
|  | 2111 | 30.4319
|  | 2110 | 30.4106
|  | 2109 | 30.4099
|  | 2108 | 30.3871
|  | 2107 | 30.3476
|  | 2106 | 30.3107
|  | 2105 | 30.2859
|  | 2104 | 30.2738
|  | 2103 | 30.2461
|  | 2102 | 30.2172
|  | 2101 | 30.1809
|  | 2100 | 30.1544
|  | 2099 | 30.1506
|  | 2098 | 30.1242
|  | 2097 | 30.087
|  | 2096 | 30.0498
|  | 2095 | 30.0237
|  | 2094 | 30.02
|  | 2093 | 30.0078
|  | 2092 | 29.9694
|  | 2091 | 29.9291
|  | 2090 | 29.9109
|  | 2089 | 29.9028
|  | 2088 | 29.8772
|  | 2087 | 29.8391
|  | 2086 | 29.8063
|  | 2085 | 29.7809
|  | 2084 | 29.7739
|  | 2083 | 29.7436
|  | 2082 | 29.7112
|  | 2081 | 29.6735
|  | 2080 | 29.6389
|  | 2079 | 29.6076
|  | 2078 | 29.5961
|  | 2077 | 29.5748
|  | 2076 | 29.5431
|  | 2075 | 29.508
|  | 2074 | 29.4799
|  | 2073 | 29.4745
|  | 2072 | 29.4557
|  | 2071 | 29.4133
|  | 2070 | 29.3698
|  | 2069 | 29.3429
|  | 2068 | 29.3311
|  | 2067 | 29.3039
|  | 2066 | 29.2641
|  | 2065 | 29.2268
|  | 2064 | 29.206
|  | 2063 | 29.1988
|  | 2062 | 29.1674
|  | 2061 | 29.132
|  | 2060 | 29.0958
|  | 2059 | 29.0715
|  | 2058 | 29.0591
|  | 2057 | 29.0302
|  | 2056 | 28.9899
|  | 2055 | 28.9488
|  | 2054 | 28.9318
|  | 2053 | 28.9227
|  | 2052 | 28.8959
|  | 2051 | 28.8623
|  | 2050 | 28.8242
|  | 2049 | 28.7994
|  | 2048 | 28.7866
|  | 2047 | 28.7551
|  | 2046 | 28.7099
|  | 2045 | 28.6687
|  | 2044 | 28.6498
|  | 2043 | 28.6392
|  | 2042 | 28.6061
|  | 2041 | 28.5635
|  | 2040 | 28.5375
|  | 2039 | 28.527
|  | 2038 | 28.4931
|  | 2037 | 28.4481
|  | 2036 | 28.4265
|  | 2035 | 28.4161
|  | 2034 | 28.385
|  | 2033 | 28.3388
|  | 2032 | 28.3101
|  | 2031 | 28.2968
|  | 2030 | 28.2689
|  | 2029 | 28.2271
|  | 2028 | 28.1772
|  | 2027 | 28.1498
|  | 2026 | 28.1352
|  | 2025 | 28.0987
|  | 2024 | 28.0477
|  | 2023 | 28.0272
|  | 2022 | 28.0127
|  | 2021 | 27.9781
|  | 2020 | 27.9348
|  | 2019 | 27.8884
|  | 2018 | 27.8637
|  | 2017 | 27.8496
|  | 2016 | 27.8152
|  | 2015 | 27.7685
|  | 2014 | 27.7244
|  | 2013 | 27.705
|  | 2012 | 27.6951
|  | 2011 | 27.6614
|  | 2010 | 27.611
|  | 2009 | 27.5659
|  | 2008 | 27.5458
|  | 2007 | 27.5288
|  | 2006 | 27.5006
|  | 2005 | 27.4597
|  | 2004 | 27.4188
|  | 2003 | 27.4017
|  | 2002 | 27.3849
|  | 2001 | 27.3449
|  | 2000 | 27.2959
|  | 1999 | 27.2484
|  | 1998 | 27.2255
|  | 1997 | 27.2132
|  | 1996 | 27.1787
|  | 1995 | 27.1306
|  | 1994 | 27.091
|  | 1993 | 27.0471
|  | 1992 | 27.0282
|  | 1991 | 27.0231
|  | 1990 | 26.9824
|  | 1989 | 26.9326
|  | 1988 | 26.8925
|  | 1987 | 26.8579
|  | 1986 | 26.8226
|  | 1985 | 26.778
|  | 1984 | 26.7363
|  | 1983 | 26.7008
|  | 1982 | 26.6696
|  | 1981 | 26.6379
|  | 1980 | 26.6059
|  | 1979 | 26.5843
|  | 1978 | 26.5504
|  | 1977 | 26.5153
|  | 1976 | 26.4756
|  | 1975 | 26.4388
|  | 1974 | 26.4069
|  | 1973 | 26.3827
|  | 1972 | 26.3572
|  | 1971 | 26.3313
|  | 1970 | 26.2743
|  | 1969 | 26.2172
|  | 1968 | 26.1819
|  | 1967 | 26.1639
|  | 1966 | 26.146
|  | 1965 | 26.089
|  | 1964 | 26.0456
|  | 1963 | 26.027
|  | 1962 | 25.9889
|  | 1961 | 25.9511
|  | 1960 | 25.8989
|  | 1959 | 25.8554
|  | 1958 | 25.8302
|  | 1957 | 25.7966
|  | 1956 | 25.76
|  | 1955 | 25.717
|  | 1954 | 25.6813
|  | 1953 | 25.6505
|  | 1952 | 25.586
|  | 1951 | 25.5432
|  | 1950 | 25.5226
|  | 1949 | 25.5104
|  | 1948 | 25.4833
|  | 1947 | 25.4393
|  | 1946 | 25.3739
|  | 1945 | 25.3271
|  | 1944 | 25.2855
|  | 1943 | 25.2588
|  | 1942 | 25.2447
|  | 1941 | 25.2358
|  | 1940 | 25.1747
|  | 1939 | 25.1325
|  | 1938 | 25.0952
|  | 1937 | 25.0527
|  | 1936 | 24.9993
|  | 1935 | 24.9558
|  | 1934 | 24.9079
|  | 1933 | 24.8856
|  | 1932 | 24.8774
|  | 1931 | 24.863
|  | 1930 | 24.82
|  | 1929 | 24.791
|  | 1928 | 24.7444
|  | 1927 | 24.6829
|  | 1926 | 24.625
|  | 1925 | 24.5825
|  | 1924 | 24.5354
|  | 1923 | 24.5225
|  | 1922 | 24.5257
|  | 1921 | 24.5062
|  | 1920 | 24.4449
|  | 1919 | 24.3381
|  | 1918 | 24.2475
|  | 1917 | 24.1979
|  | 1916 | 24.2131
|  | 1915 | 24.2702
|  | 1914 | 24.3279
|  | 1913 | 24.3045
|  | 1912 | 24.1793
|  | 1911 | 24.0426
|  | 1910 | 23.9441
|  | 1909 | 23.9245
|  | 1908 | 23.9941
|  | 1907 | 24.0969
|  | 1906 | 24.1379
|  | 1905 | 24.0606
|  | 1904 | 23.8796
|  | 1903 | 23.7058
|  | 1902 | 23.6765
|  | 1901 | 23.6957
|  | 1900 | 23.7311
|  | 1899 | 23.7304
|  | 1898 | 23.6675
|  | 1897 | 23.564
|  | 1896 | 23.4778
|  | 1895 | 23.467
|  | 1894 | 23.52
|  | 1893 | 23.6048
|  | 1892 | 23.629
|  | 1891 | 23.5649
|  | 1890 | 23.4275
|  | 1889 | 23.3017
|  | 1888 | 23.2141
|  | 1887 | 23.185
|  | 1886 | 23.2466
|  | 1885 | 23.316
|  | 1884 | 23.3023
|  | 1883 | 23.2287
|  | 1882 | 23.1662
|  | 1881 | 23.0908
|  | 1880 | 23.0168
|  | 1879 | 23.0072
|  | 1878 | 23.0494
|  | 1877 | 23.0891
|  | 1876 | 23.0921
|  | 1875 | 23.0332
|  | 1874 | 22.9281
|  | 1873 | 22.8598
|  | 1872 | 22.8316
|  | 1871 | 22.7336
|  | 1870 | 22.6915
|  | 1869 | 22.6661
|  | 1868 | 22.5686
|  | 1867 | 22.5226
|  | 1866 | 22.4842
|  | 1865 | 22.505
|  | 1864 | 22.5645
|  | 1863 | 22.5877
|  | 1862 | 22.6468
|  | 1861 | 22.662
|  | 1860 | 22.6269
|  | 1859 | 22.5576
|  | 1858 | 22.4445
|  | 1857 | 22.304
|  | 1856 | 22.2917
|  | 1855 | 22.3262
|  | 1854 | 22.3649
|  | 1853 | 22.3536
|  | 1852 | 22.2851
|  | 1851 | 22.1895
|  | 1850 | 22.1658
|  | 1849 | 22.232
|  | 1848 | 22.3012
|  | 1847 | 22.3362
|  | 1846 | 22.1489
|  | 1845 | 21.9092
|  | 1844 | 21.7827
|  | 1843 | 21.8961
|  | 1842 | 22.12
|  | 1841 | 22.3015
|  | 1840 | 22.2478
|  | 1839 | 22.0085
|  | 1838 | 21.8307
|  | 1837 | 21.7946
|  | 1836 | 21.7747
|  | 1835 | 21.7796
|  | 1834 | 21.7809
|  | 1833 | 21.7232
|  | 1832 | 21.7355
|  | 1831 | 21.7866
|  | 1830 | 21.8466
|  | 1829 | 21.8562
|  | 1828 | 21.7381
|  | 1827 | 21.697
|  | 1826 | 21.6327
|  | 1825 | 21.5899
|  | 1824 | 21.5151
|  | 1823 | 21.5613
|  | 1822 | 21.6773
|  | 1821 | 21.7479
|  | 1820 | 21.7399
|  | 1819 | 21.5609
|  | 1818 | 21.3626
|  | 1817 | 21.3404
|  | 1816 | 21.3938
|  | 1815 | 21.5204
|  | 1814 | 21.5675
|  | 1813 | 21.5283
|  | 1812 | 21.469
|  | 1811 | 21.4261
|  | 1810 | 21.3858
|  | 1809 | 21.3497
|  | 1808 | 21.3267
|  | 1807 | 21.3569
|  | 1806 | 21.3575
|  | 1805 | 21.3432
|  | 1804 | 21.3082
|  | 1803 | 21.2775
|  | 1802 | 21.2829
|  | 1801 | 21.3359
|  | 1800 | 21.3273
|  | 1799 | 21.2831
|  | 1798 | 21.2314
|  | 1797 | 21.1869
|  | 1796 | 21.1617
|  | 1795 | 21.1795
|  | 1794 | 21.1794
|  | 1793 | 21.166
|  | 1792 | 21.1508
|  | 1791 | 21.1295
|  | 1790 | 21.1151
|  | 1789 | 21.0991
|  | 1788 | 21.0902
|  | 1787 | 21.0885
|  | 1786 | 21.0918
|  | 1785 | 21.0914
|  | 1784 | 21.0979
|  | 1783 | 21.1038
|  | 1782 | 21.0934
|  | 1781 | 21.0579
|  | 1780 | 21.0184
|  | 1779 | 21.0136
|  | 1778 | 21.0246
|  | 1777 | 21.0151
|  | 1776 | 20.9864
|  | 1775 | 20.9171
|  | 1774 | 20.8997
|  | 1773 | 20.9127
|  | 1772 | 20.9543
|  | 1771 | 20.9534
|  | 1770 | 20.9421
|  | 1769 | 20.9268
|  | 1768 | 20.9139
|  | 1767 | 20.9094
|  | 1766 | 20.898
|  | 1765 | 20.8942
|  | 1764 | 20.8822
|  | 1763 | 20.879
|  | 1762 | 20.8618
|  | 1761 | 20.8537
|  | 1760 | 20.8435
|  | 1759 | 20.836
|  | 1758 | 20.8214
|  | 1757 | 20.8208
|  | 1756 | 20.8488
|  | 1755 | 20.8532
|  | 1754 | 20.8392
|  | 1753 | 20.8236
|  | 1752 | 20.8031
|  | 1751 | 20.7884
|  | 1750 | 20.7748
|  | 1749 | 20.7672
|  | 1748 | 20.7616
|  | 1747 | 20.7521
|  | 1746 | 20.7381
|  | 1745 | 20.7343
|  | 1744 | 20.7242
|  | 1743 | 20.7086
|  | 1742 | 20.706
|  | 1741 | 20.7079
|  | 1740 | 20.7403
|  | 1739 | 20.7322
|  | 1738 | 20.7169
|  | 1737 | 20.6999
|  | 1736 | 20.6839
|  | 1735 | 20.6757
|  | 1734 | 20.6689
|  | 1733 | 20.6542
|  | 1732 | 20.6364
|  | 1731 | 20.6266
|  | 1730 | 20.6201
|  | 1729 | 20.6046
|  | 1728 | 20.5999
|  | 1727 | 20.5881
|  | 1726 | 20.5803
|  | 1725 | 20.5826
|  | 1724 | 20.608
|  | 1723 | 20.6075
|  | 1722 | 20.5874
|  | 1721 | 20.5688
|  | 1720 | 20.5544
|  | 1719 | 20.5422
|  | 1718 | 20.529
|  | 1717 | 20.5072
|  | 1716 | 20.4898
|  | 1715 | 20.4774
|  | 1714 | 20.471
|  | 1713 | 20.4518
|  | 1712 | 20.4431
|  | 1711 | 20.4471
|  | 1710 | 20.46
|  | 1709 | 20.4555
|  | 1708 | 20.4305
|  | 1707 | 20.4133
|  | 1706 | 20.3945
|  | 1705 | 20.3775
|  | 1704 | 20.3607
|  | 1703 | 20.3417
|  | 1702 | 20.3228
|  | 1701 | 20.3056
|  | 1700 | 20.2934
|  | 1699 | 20.2868
|  | 1698 | 20.3011
|  | 1697 | 20.2944
|  | 1696 | 20.2709
|  | 1695 | 20.2497
|  | 1694 | 20.2192
|  | 1693 | 20.1992
|  | 1692 | 20.1787
|  | 1691 | 20.1611
|  | 1690 | 20.1603
|  | 1689 | 20.1638
|  | 1688 | 20.1496
|  | 1687 | 20.1217
|  | 1686 | 20.0916
|  | 1685 | 20.0693
|  | 1684 | 20.0492
|  | 1683 | 20.0337
|  | 1682 | 20.0222
|  | 1681 | 20.0333
|  | 1680 | 20.017
|  | 1679 | 19.9829
|  | 1678 | 19.9538
|  | 1677 | 19.9288
|  | 1676 | 19.9046
|  | 1675 | 19.8781
|  | 1674 | 19.8517
|  | 1673 | 19.8399
|  | 1672 | 19.8447
|  | 1671 | 19.8262
|  | 1670 | 19.7983
|  | 1669 | 19.7634
|  | 1668 | 19.737
|  | 1667 | 19.7068
|  | 1666 | 19.6645
|  | 1665 | 19.6352
|  | 1664 | 19.612
|  | 1663 | 19.5924
|  | 1662 | 19.5674
|  | 1661 | 19.5475
|  | 1660 | 19.5263
|  | 1659 | 19.4983
|  | 1658 | 19.4708
|  | 1657 | 19.4441
|  | 1656 | 19.4177
|  | 1655 | 19.3901
|  | 1654 | 19.3825
|  | 1653 | 19.3835
|  | 1652 | 19.3612
|  | 1651 | 19.3231
|  | 1650 | 19.2814
|  | 1649 | 19.2453
|  | 1648 | 19.2108
|  | 1647 | 19.1773
|  | 1646 | 19.1706
|  | 1645 | 19.1694
|  | 1644 | 19.1371
|  | 1643 | 19.0937
|  | 1642 | 19.0529
|  | 1641 | 19.0145
|  | 1640 | 18.9775
|  | 1639 | 18.9617
|  | 1638 | 18.9531
|  | 1637 | 18.9245
|  | 1636 | 18.8893
|  | 1635 | 18.8522
|  | 1634 | 18.8114
|  | 1633 | 18.7703
|  | 1632 | 18.7549
|  | 1631 | 18.743
|  | 1630 | 18.7082
|  | 1629 | 18.6704
|  | 1628 | 18.6334
|  | 1627 | 18.5916
|  | 1626 | 18.5532
|  | 1625 | 18.5393
|  | 1624 | 18.5316
|  | 1623 | 18.4988
|  | 1622 | 18.4586
|  | 1621 | 18.4201
|  | 1620 | 18.3852
|  | 1619 | 18.3517
|  | 1618 | 18.3172
|  | 1617 | 18.281
|  | 1616 | 18.2492
|  | 1615 | 18.2141
|  | 1614 | 18.1782
|  | 1613 | 18.1472
|  | 1612 | 18.1237
|  | 1611 | 18.0941
|  | 1610 | 18.0762
|  | 1609 | 18.0751
|  | 1608 | 18.0501
|  | 1607 | 18.0112
|  | 1606 | 17.9761
|  | 1605 | 17.9386
|  | 1604 | 17.9002
|  | 1603 | 17.8665
|  | 1602 | 17.835
|  | 1601 | 17.7964
|  | 1600 | 17.7582
|  | 1599 | 17.7248
|  | 1598 | 17.6951
|  | 1597 | 17.661
|  | 1596 | 17.6267
|  | 1595 | 17.5922
|  | 1594 | 17.5611
|  | 1593 | 17.532
|  | 1592 | 17.5007
|  | 1591 | 17.4678
|  | 1590 | 17.4419
|  | 1589 | 17.4122
|  | 1588 | 17.3807
|  | 1587 | 17.3471
|  | 1586 | 17.3456
|  | 1585 | 17.3365
|  | 1584 | 17.306
|  | 1583 | 17.258
|  | 1582 | 17.2244
|  | 1581 | 17.1912
|  | 1580 | 17.1565
|  | 1579 | 17.1311
|  | 1578 | 17.0969
|  | 1577 | 17.0961
|  | 1576 | 17.0891
|  | 1575 | 17.0569
|  | 1574 | 17.0165
|  | 1573 | 16.9847
|  | 1572 | 16.9532
|  | 1571 | 16.922
|  | 1570 | 16.9211
|  | 1569 | 16.9096
|  | 1568 | 16.8848
|  | 1567 | 16.8572
|  | 1566 | 16.8207
|  | 1565 | 16.8135
|  | 1564 | 16.8103
|  | 1563 | 16.7819
|  | 1562 | 16.7501
|  | 1561 | 16.7216
|  | 1560 | 16.6861
|  | 1559 | 16.6819
|  | 1558 | 16.6829
|  | 1557 | 16.6553
|  | 1556 | 16.6262
|  | 1555 | 16.6004
|  | 1554 | 16.5756
|  | 1553 | 16.5443
|  | 1552 | 16.5489
|  | 1551 | 16.5477
|  | 1550 | 16.5262
|  | 1549 | 16.4996
|  | 1548 | 16.477
|  | 1547 | 16.4531
|  | 1546 | 16.4336
|  | 1545 | 16.4136
|  | 1544 | 16.4228
|  | 1543 | 16.429
|  | 1542 | 16.4169
|  | 1541 | 16.3916
|  | 1540 | 16.3741
|  | 1539 | 16.3554
|  | 1538 | 16.3322
|  | 1537 | 16.3159
|  | 1536 | 16.3113
|  | 1535 | 16.2956
|  | 1534 | 16.2819
|  | 1533 | 16.3003
|  | 1532 | 16.3091
|  | 1531 | 16.2949
|  | 1530 | 16.2802
|  | 1529 | 16.2516
|  | 1528 | 16.2387
|  | 1527 | 16.2244
|  | 1526 | 16.2109
|  | 1525 | 16.1967
|  | 1524 | 16.1896
|  | 1523 | 16.2139
|  | 1522 | 16.2379
|  | 1521 | 16.22
|  | 1520 | 16.1998
|  | 1519 | 16.1866
|  | 1518 | 16.1761
|  | 1517 | 16.1624
|  | 1516 | 16.1484
|  | 1515 | 16.1764
|  | 1514 | 16.1928
|  | 1513 | 16.1781
|  | 1512 | 16.1578
|  | 1511 | 16.146
|  | 1510 | 16.1417
|  | 1509 | 16.1673
|  | 1508 | 16.1736
|  | 1507 | 16.1795
|  | 1506 | 16.1631
|  | 1505 | 16.1459
|  | 1504 | 16.1378
|  | 1503 | 16.1448
|  | 1502 | 16.1853
|  | 1501 | 16.1985
|  | 1500 | 16.1875
|  | 1499 | 16.1751
|  | 1498 | 16.17
|  | 1497 | 16.169
|  | 1496 | 16.1654
|  | 1495 | 16.1642
|  | 1494 | 16.2009
|  | 1493 | 16.2175
|  | 1492 | 16.2137
|  | 1491 | 16.2058
|  | 1490 | 16.2069
|  | 1489 | 16.206
|  | 1488 | 16.2193
|  | 1487 | 16.2186
|  | 1486 | 16.2137
|  | 1485 | 16.2246
|  | 1484 | 16.2262
|  | 1483 | 16.2341
|  | 1482 | 16.2337
|  | 1481 | 16.249
|  | 1480 | 16.2678
|  | 1479 | 16.2764
|  | 1478 | 16.2824
|  | 1477 | 16.2786
|  | 1476 | 16.2912
|  | 1475 | 16.2898
|  | 1474 | 16.2886
|  | 1473 | 16.3412
|  | 1472 | 16.3662
|  | 1471 | 16.3792
|  | 1470 | 16.385
|  | 1469 | 16.3346
|  | 1468 | 16.3135
|  | 1467 | 16.3134
|  | 1466 | 16.3528
|  | 1465 | 16.3916
|  | 1464 | 16.3908
|  | 1463 | 16.3794
|  | 1462 | 16.3827
|  | 1461 | 16.3809
|  | 1460 | 16.4204
|  | 1459 | 16.4307
|  | 1458 | 16.4184
|  | 1457 | 16.4634
|  | 1456 | 16.4902
|  | 1455 | 16.4829
|  | 1454 | 16.4958
|  | 1453 | 16.4736
|  | 1452 | 16.47
|  | 1451 | 16.4676
|  | 1450 | 16.4962
|  | 1449 | 16.502
|  | 1448 | 16.4833
|  | 1447 | 16.4685
|  | 1446 | 16.5091
|  | 1445 | 16.608
|  | 1444 | 16.6205
|  | 1443 | 16.5392
|  | 1442 | 16.5202
|  | 1441 | 16.5204
|  | 1440 | 16.5691
|  | 1439 | 16.5833
|  | 1438 | 16.5878
|  | 1437 | 16.5954
|  | 1436 | 16.5898
|  | 1435 | 16.5901
|  | 1434 | 16.5874
|  | 1433 | 16.5952
|  | 1432 | 16.6147
|  | 1431 | 16.6218
|  | 1430 | 16.6331
|  | 1429 | 16.6225
|  | 1428 | 16.6658
|  | 1427 | 16.6903
|  | 1426 | 16.6891
|  | 1425 | 16.6785
|  | 1424 | 16.6864
|  | 1423 | 16.706
|  | 1422 | 16.7138
|  | 1421 | 16.6944
|  | 1420 | 16.6872
|  | 1419 | 16.7188
|  | 1418 | 16.7414
|  | 1417 | 16.6775
|  | 1416 | 16.6393
|  | 1415 | 16.6676
|  | 1414 | 16.7398
|  | 1413 | 16.7849
|  | 1412 | 16.7167
|  | 1411 | 16.6548
|  | 1410 | 16.6387
|  | 1409 | 16.7423
|  | 1408 | 16.8088
|  | 1407 | 16.7636
|  | 1406 | 16.68
|  | 1405 | 16.6636
|  | 1404 | 16.6875
|  | 1403 | 16.6789
|  | 1402 | 16.6153
|  | 1401 | 16.655
|  | 1400 | 16.8628
|  | 1399 | 16.8881
|  | 1398 | 16.6292
|  | 1397 | 16.4522
|  | 1396 | 16.5708
|  | 1395 | 16.8485
|  | 1394 | 16.8186
|  | 1393 | 16.5808
|  | 1392 | 16.5229
|  | 1391 | 16.5729
|  | 1390 | 16.5851
|  | 1389 | 16.5711
|  | 1388 | 16.6836
|  | 1387 | 16.7397
|  | 1386 | 16.628
|  | 1385 | 16.5354
|  | 1384 | 16.5524
|  | 1383 | 16.6287
|  | 1382 | 16.6664
|  | 1381 | 16.548
|  | 1380 | 16.3721
|  | 1379 | 16.2675
|  | 1378 | 16.263
|  | 1377 | 16.3775
|  | 1376 | 16.5211
|  | 1375 | 16.5535
|  | 1374 | 16.5236
|  | 1373 | 16.4743
|  | 1372 | 16.4685
|  | 1371 | 16.4944
|  | 1370 | 16.5089
|  | 1369 | 16.4084
|  | 1368 | 16.3457
|  | 1367 | 16.3614
|  | 1366 | 16.3464
|  | 1365 | 16.3031
|  | 1364 | 16.3072
|  | 1363 | 16.3346
|  | 1362 | 16.3398
|  | 1361 | 16.3736
|  | 1360 | 16.3253
|  | 1359 | 16.1523
|  | 1358 | 16.0816
|  | 1357 | 16.0943
|  | 1356 | 16.2094
|  | 1355 | 16.3345
|  | 1354 | 16.3805
|  | 1353 | 16.2962
|  | 1352 | 16.1521
|  | 1351 | 16.1073
|  | 1350 | 16.1357
|  | 1349 | 16.2215
|  | 1348 | 16.2686
|  | 1347 | 16.2475
|  | 1346 | 16.2026
|  | 1345 | 16.1607
|  | 1344 | 16.1633
|  | 1343 | 16.1913
|  | 1342 | 16.1957
|  | 1341 | 16.1751
|  | 1340 | 16.1667
|  | 1339 | 16.2004
|  | 1338 | 16.2043
|  | 1337 | 16.1869
|  | 1336 | 16.1761
|  | 1335 | 16.1673
|  | 1334 | 16.1597
|  | 1333 | 16.1566
|  | 1332 | 16.1567
|  | 1331 | 16.1746
|  | 1330 | 16.2072
|  | 1329 | 16.2079
|  | 1328 | 16.2108
|  | 1327 | 16.2076
|  | 1326 | 16.2113
|  | 1325 | 16.2169
|  | 1324 | 16.2173
|  | 1323 | 16.2264
|  | 1322 | 16.2341
|  | 1321 | 16.2453
|  | 1320 | 16.2595
|  | 1319 | 16.2695
|  | 1318 | 16.2843
|  | 1317 | 16.2936
|  | 1316 | 16.3045
|  | 1315 | 16.3147
|  | 1314 | 16.3455
|  | 1313 | 16.3855
|  | 1312 | 16.4073
|  | 1311 | 16.4179
|  | 1310 | 16.4253
|  | 1309 | 16.4358
|  | 1308 | 16.4756
|  | 1307 | 16.5324
|  | 1306 | 16.5625
|  | 1305 | 16.5764
|  | 1304 | 16.5872
|  | 1303 | 16.6039
|  | 1302 | 16.6264
|  | 1301 | 16.6519
|  | 1300 | 16.6854
|  | 1299 | 16.7287
|  | 1298 | 16.7618
|  | 1297 | 16.7874
|  | 1296 | 16.8407
|  | 1295 | 16.9134
|  | 1294 | 16.9505
|  | 1293 | 16.9803
|  | 1292 | 17.0097
|  | 1291 | 17.0425
|  | 1290 | 17.0789
|  | 1289 | 17.1249
|  | 1288 | 17.1487
|  | 1287 | 17.1534
|  | 1286 | 17.1929
|  | 1285 | 17.2528
|  | 1284 | 17.3119
|  | 1283 | 17.3716
|  | 1282 | 17.4352
|  | 1281 | 17.493
|  | 1280 | 17.5475
|  | 1279 | 17.6074
|  | 1278 | 17.668
|  | 1277 | 17.7242
|  | 1276 | 17.7699
|  | 1275 | 17.8006
|  | 1274 | 17.8508
|  | 1273 | 17.9136
|  | 1272 | 17.9788
|  | 1271 | 18.0435
|  | 1270 | 18.1054
|  | 1269 | 18.1685
|  | 1268 | 18.2343
|  | 1267 | 18.3053
|  | 1266 | 18.392
|  | 1265 | 18.4886
|  | 1264 | 18.5623
|  | 1263 | 18.6199
|  | 1262 | 18.6797
|  | 1261 | 18.7419
|  | 1260 | 18.8313
|  | 1259 | 18.9266
|  | 1258 | 18.9975
|  | 1257 | 19.0633
|  | 1256 | 19.133
|  | 1255 | 19.2343
|  | 1254 | 19.3462
|  | 1253 | 19.4324
|  | 1252 | 19.504
|  | 1251 | 19.5815
|  | 1250 | 19.6642
|  | 1249 | 19.7462
|  | 1248 | 19.8324
|  | 1247 | 19.9254
|  | 1246 | 20.0213
|  | 1245 | 20.1213
|  | 1244 | 20.2174
|  | 1243 | 20.3176
|  | 1242 | 20.4155
|  | 1241 | 20.5224
|  | 1240 | 20.6343
|  | 1239 | 20.7358
|  | 1238 | 20.84
|  | 1237 | 20.9178
|  | 1236 | 20.992
|  | 1235 | 21.0987
|  | 1234 | 21.211
|  | 1233 | 21.3224
|  | 1232 | 21.4468
|  | 1231 | 21.5642
|  | 1230 | 21.6756
|  | 1229 | 21.7882
|  | 1228 | 21.9023
|  | 1227 | 22.018
|  | 1226 | 22.1321
|  | 1225 | 22.2425
|  | 1224 | 22.3837
|  | 1223 | 22.5251
|  | 1222 | 22.641
|  | 1221 | 22.7525
|  | 1220 | 22.8695
|  | 1219 | 23.0074
|  | 1218 | 23.1479
|  | 1217 | 23.2691
|  | 1216 | 23.3765
|  | 1215 | 23.4936
|  | 1214 | 23.6217
|  | 1213 | 23.7484
|  | 1212 | 23.8756
|  | 1211 | 23.9967
|  | 1210 | 24.1267
|  | 1209 | 24.2643
|  | 1208 | 24.4022
|  | 1207 | 24.5368
|  | 1206 | 24.6833
|  | 1205 | 24.8251
|  | 1204 | 24.9431
|  | 1203 | 25.0711
|  | 1202 | 25.2169
|  | 1201 | 25.3386
|  | 1200 | 25.4702
|  | 1199 | 25.6177
|  | 1198 | 25.7801
|  | 1197 | 25.9383
|  | 1196 | 26.0844
|  | 1195 | 26.2354
|  | 1194 | 26.3656
|  | 1193 | 26.4926
|  | 1192 | 26.6467
|  | 1191 | 26.7905
|  | 1190 | 26.9449
|  | 1189 | 27.1351
|  | 1188 | 27.2974
|  | 1187 | 27.4353
|  | 1186 | 27.576
|  | 1185 | 27.7225
|  | 1184 | 27.8806
|  | 1183 | 28.034
|  | 1182 | 28.1986
|  | 1181 | 28.3502
|  | 1180 | 28.5106
|  | 1179 | 28.6678
|  | 1178 | 28.8134
|  | 1177 | 28.9609
|  | 1176 | 29.1132
|  | 1175 | 29.2619
|  | 1174 | 29.4111
|  | 1173 | 29.5632
|  | 1172 | 29.7263
|  | 1171 | 29.8435
|  | 1170 | 29.9781
|  | 1169 | 30.1305
|  | 1168 | 30.2938
|  | 1167 | 30.4564
|  | 1166 | 30.6202
|  | 1165 | 30.7742
|  | 1164 | 30.9443
|  | 1163 | 31.1071
|  | 1162 | 31.2692
|  | 1161 | 31.4234
|  | 1160 | 31.5938
|  | 1159 | 31.7487
|  | 1158 | 31.9186
|  | 1157 | 32.0825
|  | 1156 | 32.2295
|  | 1155 | 32.3795
|  | 1154 | 32.5392
|  | 1153 | 32.6998
|  | 1152 | 32.8652
|  | 1151 | 33.0311
|  | 1150 | 33.1625
|  | 1149 | 33.2955
|  | 1148 | 33.4556
|  | 1147 | 33.6232
|  | 1146 | 33.7893
|  | 1145 | 33.9446
|  | 1144 | 34.1001
|  | 1143 | 34.2495
|  | 1142 | 34.4053
|  | 1141 | 34.5483
|  | 1140 | 34.6978
|  | 1139 | 34.8503
|  | 1138 | 34.998
|  | 1137 | 35.1416
|  | 1136 | 35.287
|  | 1135 | 35.4607
|  | 1134 | 35.5851
|  | 1133 | 35.663
|  | 1132 | 35.775
|  | 1131 | 35.9304
|  | 1130 | 36.1161
|  | 1129 | 36.2845
|  | 1128 | 36.4332
|  | 1127 | 36.5393
|  | 1126 | 36.6667
|  | 1125 | 36.8154
|  | 1124 | 36.9559
|  | 1123 | 37.0561
|  | 1122 | 37.1818
|  | 1121 | 37.3191
|  | 1120 | 37.4617
|  | 1119 | 37.5885
|  | 1118 | 37.7229
|  | 1117 | 37.8477
|  | 1116 | 37.9841
|  | 1115 | 38.112
|  | 1114 | 38.2399
|  | 1113 | 38.352
|  | 1112 | 38.4814
|  | 1111 | 38.5964
|  | 1110 | 38.7193
|  | 1109 | 38.8469
|  | 1108 | 38.9635
|  | 1107 | 39.0768
|  | 1106 | 39.1948
|  | 1105 | 39.2734
|  | 1104 | 39.3624
|  | 1103 | 39.463
|  | 1102 | 39.5757
|  | 1101 | 39.6879
|  | 1100 | 39.8017
|  | 1099 | 39.92
|  | 1098 | 40.0076
|  | 1097 | 40.1187
|  | 1096 | 40.1981
|  | 1095 | 40.2931
|  | 1094 | 40.3831
|  | 1093 | 40.4693
|  | 1092 | 40.5455
|  | 1091 | 40.6131
|  | 1090 | 40.692
|  | 1089 | 40.7872
|  | 1088 | 40.8403
|  | 1087 | 40.9249
|  | 1086 | 41.0098
|  | 1085 | 41.0907
|  | 1084 | 41.1738
|  | 1083 | 41.2388
|  | 1082 | 41.275
|  | 1081 | 41.3455
|  | 1080 | 41.4057
|  | 1079 | 41.4818
|  | 1078 | 41.5448
|  | 1077 | 41.6173
|  | 1076 | 41.6681
|  | 1075 | 41.7007
|  | 1074 | 41.7412
|  | 1073 | 41.8024
|  | 1072 | 41.8569
|  | 1071 | 41.9031
|  | 1070 | 41.9485
|  | 1069 | 42.003
|  | 1068 | 42.0447
|  | 1067 | 42.051
|  | 1066 | 42.0782
|  | 1065 | 42.1139
|  | 1064 | 42.1459
|  | 1063 | 42.1839
|  | 1062 | 42.2293
|  | 1061 | 42.2496
|  | 1060 | 42.2843
|  | 1059 | 42.3036
|  | 1058 | 42.328
|  | 1057 | 42.353
|  | 1056 | 42.3299
|  | 1055 | 42.3257
|  | 1054 | 42.3454
|  | 1053 | 42.3622
|  | 1052 | 42.388
|  | 1051 | 42.3948
|  | 1050 | 42.3953
|  | 1049 | 42.3778
|  | 1048 | 42.3706
|  | 1047 | 42.3716
|  | 1046 | 42.3624
|  | 1045 | 42.3709
|  | 1044 | 42.3593
|  | 1043 | 42.3209
|  | 1042 | 42.3075
|  | 1041 | 42.3128
|  | 1040 | 42.3086
|  | 1039 | 42.2945
|  | 1038 | 42.2654
|  | 1037 | 42.2239
|  | 1036 | 42.1919
|  | 1035 | 42.1729
|  | 1034 | 42.1552
|  | 1033 | 42.1378
|  | 1032 | 42.1018
|  | 1031 | 42.0632
|  | 1030 | 42.0148
|  | 1029 | 41.9824
|  | 1028 | 41.9534
|  | 1027 | 41.9233
|  | 1026 | 41.8808
|  | 1025 | 41.8277
|  | 1024 | 41.7768
|  | 1023 | 41.7445
|  | 1022 | 41.6995
|  | 1021 | 41.6615
|  | 1020 | 41.6106
|  | 1019 | 41.5597
|  | 1018 | 41.5008
|  | 1017 | 41.4541
|  | 1016 | 41.4032
|  | 1015 | 41.3489
|  | 1014 | 41.2798
|  | 1013 | 41.2273
|  | 1012 | 41.1793
|  | 1011 | 41.1237
|  | 1010 | 41.0556
|  | 1009 | 40.9868
|  | 1008 | 40.9284
|  | 1007 | 40.872
|  | 1006 | 40.8191
|  | 1005 | 40.7519
|  | 1004 | 40.7006
|  | 1003 | 40.6208
|  | 1002 | 40.5402
|  | 1001 | 40.4817
|  | 1000 | 40.406
|  | 999 | 40.3229
|  | 998 | 40.2421
|  | 997 | 40.1851
|  | 996 | 40.1232
|  | 995 | 40.0426
|  | 994 | 39.9615
|  | 993 | 39.8814
|  | 992 | 39.8122
|  | 991 | 39.7145
|  | 990 | 39.6384
|  | 989 | 39.5759
|  | 988 | 39.5146
|  | 987 | 39.4436
|  | 986 | 39.3576
|  | 985 | 39.2801
|  | 984 | 39.1984
|  | 983 | 39.1187
|  | 982 | 39.0327
|  | 981 | 38.969
|  | 980 | 38.8952
|  | 979 | 38.8128
|  | 978 | 38.7343
|  | 977 | 38.6554
|  | 976 | 38.5595
|  | 975 | 38.4996
|  | 974 | 38.4343
|  | 973 | 38.3594
|  | 972 | 38.2602
|  | 971 | 38.2059
|  | 970 | 38.1336
|  | 969 | 38.0316
|  | 968 | 37.958
|  | 967 | 37.8931
|  | 966 | 37.8121
|  | 965 | 37.7451
|  | 964 | 37.6765
|  | 963 | 37.5872
|  | 962 | 37.5239
|  | 961 | 37.4548
|  | 960 | 37.3751
|  | 959 | 37.2782
|  | 958 | 37.1861
|  | 957 | 37.1191
|  | 956 | 37.0618
|  | 955 | 36.9951
|  | 954 | 36.9295
|  | 953 | 36.8685
|  | 952 | 36.77
|  | 951 | 36.6793
|  | 950 | 36.618
|  | 949 | 36.5736
|  | 948 | 36.5172
|  | 947 | 36.446
|  | 946 | 36.3496
|  | 945 | 36.2563
|  | 944 | 36.1937
|  | 943 | 36.1644
|  | 942 | 36.1108
|  | 941 | 36.0363
|  | 940 | 35.9509
|  | 939 | 35.8942
|  | 938 | 35.8447
|  | 937 | 35.7746
|  | 936 | 35.695
|  | 935 | 35.6396
|  | 934 | 35.6062
|  | 933 | 35.5613
|  | 932 | 35.4958
|  | 931 | 35.4103
|  | 930 | 35.334
|  | 929 | 35.3055
|  | 928 | 35.2852
|  | 927 | 35.251
|  | 926 | 35.1943
|  | 925 | 35.1232
|  | 924 | 35.0543
|  | 923 | 35.014
|  | 922 | 34.996
|  | 921 | 34.9547
|  | 920 | 34.8874
|  | 919 | 34.8148
|  | 918 | 34.7657
|  | 917 | 34.725
|  | 916 | 34.6923
|  | 915 | 34.6687
|  | 914 | 34.6319
|  | 913 | 34.5823
|  | 912 | 34.5215
|  | 911 | 34.4733
|  | 910 | 34.4445
|  | 909 | 34.4119
|  | 908 | 34.372
|  | 907 | 34.3338
|  | 906 | 34.3079
|  | 905 | 34.2827
|  | 904 | 34.2416
|  | 903 | 34.2061
|  | 902 | 34.1845
|  | 901 | 34.1543
|  | 900 | 34.1225
|  | 899 | 34.0959
|  | 898 | 34.0744
|  | 897 | 34.0524
|  | 896 | 34.0138
|  | 895 | 33.9806
|  | 894 | 33.9487
|  | 893 | 33.9341
|  | 892 | 33.9396
|  | 891 | 33.9281
|  | 890 | 33.8959
|  | 889 | 33.8588
|  | 888 | 33.8314
|  | 887 | 33.8198
|  | 886 | 33.8
|  | 885 | 33.7838
|  | 884 | 33.7906
|  | 883 | 33.7841
|  | 882 | 33.7599
|  | 881 | 33.7404
|  | 880 | 33.7292
|  | 879 | 33.7126
|  | 878 | 33.6894
|  | 877 | 33.6823
|  | 876 | 33.6888
|  | 875 | 33.6851
|  | 874 | 33.6817
|  | 873 | 33.6819
|  | 872 | 33.6826
|  | 871 | 33.6705
|  | 870 | 33.6507
|  | 869 | 33.6418
|  | 868 | 33.6413
|  | 867 | 33.6371
|  | 866 | 33.6515
|  | 865 | 33.6805
|  | 864 | 33.6852
|  | 863 | 33.6726
|  | 862 | 33.6617
|  | 861 | 33.6672
|  | 860 | 33.4177
|  | 859 | 33.2427
|  | 858 | 33.2479
|  | 857 | 33.2693
|  | 856 | 33.289
|  | 855 | 33.2895
|  | 854 | 33.3153
|  | 853 | 33.3321
|  | 852 | 33.3531
|  | 851 | 33.3771
|  | 850 | 33.4031
|  | 849 | 33.4212
|  | 848 | 33.4426
|  | 847 | 33.4635
|  | 846 | 33.4936
|  | 845 | 33.5432
|  | 844 | 33.5666
|  | 843 | 33.5731
|  | 842 | 33.6257
|  | 841 | 33.6637
|  | 840 | 33.6981
|  | 839 | 33.7443
|  | 838 | 33.7838
|  | 837 | 33.83
|  | 836 | 33.8785
|  | 835 | 33.9153
|  | 834 | 33.961
|  | 833 | 34.0164
|  | 832 | 34.0618
|  | 831 | 34.1101
|  | 830 | 34.164
|  | 829 | 34.2108
|  | 828 | 34.2736
|  | 827 | 34.351
|  | 826 | 34.4167
|  | 825 | 34.4799
|  | 824 | 34.5519
|  | 823 | 34.6161
|  | 822 | 34.6798
|  | 821 | 34.7781
|  | 820 | 34.8648
|  | 819 | 34.9516
|  | 818 | 35.0377
|  | 817 | 35.1248
|  | 816 | 35.2183
|  | 815 | 35.327
|  | 814 | 35.4245
|  | 813 | 35.5269
|  | 812 | 35.6417
|  | 811 | 35.7364
|  | 810 | 35.8439
|  | 809 | 35.9766
|  | 808 | 36.0931
|  | 807 | 36.2156
|  | 806 | 36.3592
|  | 805 | 36.485
|  | 804 | 36.615
|  | 803 | 36.7598
|  | 802 | 36.8878
|  | 801 | 37.0357
|  | 800 | 37.1947
|  | 799 | 37.326
|  | 798 | 37.4996
|  | 797 | 37.6711
|  | 796 | 37.8314
|  | 795 | 38.0165
|  | 794 | 38.1932
|  | 793 | 38.3494
|  | 792 | 38.5323
|  | 791 | 38.7221
|  | 790 | 38.8925
|  | 789 | 39.1038
|  | 788 | 39.3268
|  | 787 | 39.506
|  | 786 | 39.7295
|  | 785 | 39.9433
|  | 784 | 40.1447
|  | 783 | 40.3674
|  | 782 | 40.5993
|  | 781 | 40.8097
|  | 780 | 41.0582
|  | 779 | 41.3005
|  | 778 | 41.534
|  | 777 | 41.8038
|  | 776 | 42.0711
|  | 775 | 42.2935
|  | 774 | 42.5651
|  | 773 | 42.8446
|  | 772 | 43.0909
|  | 771 | 43.3665
|  | 770 | 43.6471
|  | 769 | 43.9086
|  | 768 | 44.2218
|  | 767 | 44.5042
|  | 766 | 44.7798
|  | 765 | 45.0851
|  | 764 | 45.3991
|  | 763 | 45.69
|  | 762 | 45.9939
|  | 761 | 46.2958
|  | 760 | 46.6001
|  | 759 | 46.9414
|  | 758 | 47.2734
|  | 757 | 47.5672
|  | 756 | 47.9071
|  | 755 | 48.2314
|  | 754 | 48.538
|  | 753 | 48.886
|  | 752 | 49.2144
|  | 751 | 49.54
|  | 750 | 49.8623
|  | 749 | 50.2109
|  | 748 | 50.5266
|  | 747 | 50.8864
|  | 746 | 51.2269
|  | 745 | 51.5382
|  | 744 | 51.8935
|  | 743 | 52.2211
|  | 742 | 52.5215
|  | 741 | 52.8764
|  | 740 | 53.217
|  | 739 | 53.5064
|  | 738 | 53.8269
|  | 737 | 54.1588
|  | 736 | 54.4426
|  | 735 | 54.7924
|  | 734 | 55.0941
|  | 733 | 55.344
|  | 732 | 55.655
|  | 731 | 55.9188
|  | 730 | 56.1612
|  | 729 | 56.4567
|  | 728 | 56.686
|  | 727 | 56.8873
|  | 726 | 57.1303
|  | 725 | 57.3531
|  | 724 | 57.5065
|  | 723 | 57.678
|  | 722 | 57.8524
|  | 721 | 57.9436
|  | 720 | 58.0737
|  | 719 | 58.1594
|  | 718 | 58.1925
|  | 717 | 58.2376
|  | 716 | 58.2384
|  | 715 | 58.1828
|  | 714 | 58.133
|  | 713 | 58.0232
|  | 712 | 57.865
|  | 711 | 57.6942
|  | 710 | 57.5024
|  | 709 | 57.2127
|  | 708 | 56.958
|  | 707 | 56.6104
|  | 706 | 56.226
|  | 705 | 55.8793
|  | 704 | 55.4893
|  | 703 | 54.9911
|  | 702 | 54.5323
|  | 701 | 53.9975
|  | 700 | 53.3979
|  | 699 | 52.7943
|  | 698 | 52.1024
|  | 697 | 51.3164
|  | 696 | 50.4957
|  | 695 | 49.5695
|  | 694 | 48.5921
|  | 693 | 47.5747
|  | 692 | 46.5305
|  | 691 | 45.3378
|  | 690 | 44.1249
|  | 689 | 42.7916
|  | 688 | 41.4274
|  | 687 | 40.0404
|  | 686 | 38.5893
|  | 685 | 37.0737
|  | 684 | 35.6027
|  | 683 | 34.105
|  | 682 | 32.5791
|  | 681 | 31.0762
|  | 680 | 29.52
|  | 679 | 27.9227
|  | 678 | 26.3462
|  | 677 | 24.7386
|  | 676 | 23.1179
|  | 675 | 21.5515
|  | 674 | 20.012
|  | 673 | 18.4978
|  | 672 | 17.0435
|  | 671 | 15.6334
|  | 670 | 14.229
|  | 669 | 12.9034
|  | 668 | 11.6301
|  | 667 | 10.4101
|  | 666 | 9.283
|  | 665 | 8.2363
|  | 664 | 7.2793
|  | 663 | 6.4104
|  | 662 | 5.6324
|  | 661 | 4.9199
|  | 660 | 4.2722
|  | 659 | 3.6887
|  | 658 | 3.1647
|  | 657 | 2.706
|  | 656 | 2.3132
|  | 655 | 1.9647
|  | 654 | 1.6714
|  | 653 | 1.4208
|  | 652 | 1.2019
|  | 651 | 1.0171
|  | 650 | 0.86125
|  | 649 | 0.72309
|  | 648 | 0.60944
|  | 647 | 0.51071
|  | 646 | 0.42941
|  | 645 | 0.36009
|  | 644 | 0.30776
|  | 643 | 0.25728
|  | 642 | 0.21897
|  | 641 | 0.18901
|  | 640 | 0.16095
|  | 639 | 0.13582
|  | 638 | 0.12029
|  | 637 | 0.10125
|  | 636 | 0.09087
|  | 635 | 0.078864
|  | 634 | 0.067337
|  | 633 | 0.05862
|  | 632 | 0.054506
|  | 631 | 0.050577
|  | 630 | 0.045336
|  | 629 | 0.042153
|  | 628 | 0.036398
|  | 627 | 0.032303
|  | 626 | 0.031785
|  | 625 | 0.028789
|  | 624 | 0.029305
|  | 623 | 0.027661
|  | 622 | 0.023549
|  | 621 | 0.022835
|  | 620 | 0.024173
|  | 619 | 0.026321
|  | 618 | 0.02622
|  | 617 | 0.023857
|  | 616 | 0.021802
|  | 615 | 0.01996
|  | 614 | 0.021193
|  | 613 | 0.022316
|  | 612 | 0.021902
|  | 611 | 0.021803
|  | 610 | 0.019439
|  | 609 | 0.017898
|  | 608 | 0.018515
|  | 607 | 0.019126
|  | 606 | 0.018305
|  | 605 | 0.01738
|  | 604 | 0.014395
|  | 603 | 0.012959
|  | 602 | 0.012549
|  | 601 | 0.013265
|  | 600 | 0.01306
|  | 599 | 0.013265
|  | 598 | 0.01337
|  | 597 | 0.012343
|  | 596 | 0.009771
|  | 595 | 0.008431
|  | 594 | 0.008227
|  | 593 | 0.007611
|  | 592 | 0.004217
|  | 591 | 0.005041
|  | 590 | 0.005556
|  | 589 | 0.008228
|  | 588 | 0.006069
|  | 587 | 0.005555
|  | 586 | 0.001749
|  | 585 | 0.002572
|  | 584 | 0.002161
|  | 583 | 0.004629
|  | 582 | 0.003807
|  | 581 | 0.003601
|  | 580 | 0.001029
|  | 579 | 0.001544
|  | 578 | 0.002264
|  | 577 | 0.00463
|  | 576 | 0.005042
|  | 575 | 0.004425
|  | 574 | 0.003911
|  | 573 | 0.005147
|  | 572 | 0.007
|  | 571 | 0.010497
|  | 570 | 0.013071
|  | 569 | 0.015027
|  | 568 | 0.016367
|  | 567 | 0.020798
|  | 566 | 0.025739
|  | 565 | 0.032111
|  | 564 | 0.035919
|  | 563 | 0.040342
|  | 562 | 0.044031
|  | 561 | 0.050054
|  | 560 | 0.054044
|  | 559 | 0.060018
|  | 558 | 0.066293
|  | 557 | 0.073259
|  | 556 | 0.079107
|  | 555 | 0.08384
|  | 554 | 0.086007
|  | 553 | 0.090665
|  | 552 | 0.095491
|  | 551 | 0.099667
|  | 550 | 0.10357
|  | 549 | 0.10491
|  | 548 | 0.10443
|  | 547 | 0.10549
|  | 546 | 0.10752
|  | 545 | 0.10965
|  | 544 | 0.10748
|  | 543 | 0.10553
|  | 542 | 0.10197
|  | 541 | 0.10076
|  | 540 | 0.10158
|  | 539 | 0.10308
|  | 538 | 0.10278
|  | 537 | 0.10165
|  | 536 | 0.10095
|  | 535 | 0.10231
|  | 534 | 0.1062
|  | 533 | 0.11153
|  | 532 | 0.1137
|  | 531 | 0.11648
|  | 530 | 0.11815
|  | 529 | 0.12403
|  | 528 | 0.13279
|  | 527 | 0.14257
|  | 526 | 0.14997
|  | 525 | 0.15891
|  | 524 | 0.16915
|  | 523 | 0.18235
|  | 522 | 0.19911
|  | 521 | 0.21845
|  | 520 | 0.24025
|  | 519 | 0.26116
|  | 518 | 0.28465
|  | 517 | 0.31254
|  | 516 | 0.34342
|  | 515 | 0.37617
|  | 514 | 0.41039
|  | 513 | 0.44444
|  | 512 | 0.48048
|  | 511 | 0.51772
|  | 510 | 0.5577
|  | 509 | 0.60016
|  | 508 | 0.64188
|  | 507 | 0.68224
|  | 506 | 0.7229
|  | 505 | 0.7666
|  | 504 | 0.81245
|  | 503 | 0.85893
|  | 502 | 0.91008
|  | 501 | 0.96567
|  | 500 | 1.0254
|  | 499 | 1.0949
|  | 498 | 1.1719
|  | 497 | 1.2517
|  | 496 | 1.3342
|  | 495 | 1.4125
|  | 494 | 1.4877
|  | 493 | 1.5625
|  | 492 | 1.6331
|  | 491 | 1.7013
|  | 490 | 1.7672
|  | 489 | 1.8293
|  | 488 | 1.8904
|  | 487 | 1.9527
|  | 486 | 2.0151
|  | 485 | 2.0762
|  | 484 | 2.1351
|  | 483 | 2.1882
|  | 482 | 2.2377
|  | 481 | 2.2872
|  | 480 | 2.3337
|  | 479 | 2.3793
|  | 478 | 2.4265
|  | 477 | 2.4723
|  | 476 | 2.5219
|  | 475 | 2.5793
|  | 474 | 2.6384
|  | 473 | 2.7031
|  | 472 | 2.7733
|  | 471 | 2.8442
|  | 470 | 2.9177
|  | 469 | 2.9921
|  | 468 | 3.064
|  | 467 | 3.128
|  | 466 | 3.1842
|  | 465 | 3.2316
|  | 464 | 3.2722
|  | 463 | 3.307
|  | 462 | 3.3322
|  | 461 | 3.3523
|  | 460 | 3.3675
|  | 459 | 3.3695
|  | 458 | 3.3657
|  | 457 | 3.3579
|  | 456 | 3.34
|  | 455 | 3.3146
|  | 454 | 3.2852
|  | 453 | 3.247
|  | 452 | 3.2072
|  | 451 | 3.1668
|  | 450 | 3.123
|  | 449 | 3.0809
|  | 448 | 3.041
|  | 447 | 3
|  | 446 | 2.9623
|  | 445 | 2.9298
|  | 444 | 2.8992
|  | 443 | 2.8741
|  | 442 | 2.8561
|  | 441 | 2.8386
|  | 440 | 2.8313
|  | 439 | 2.8329
|  | 438 | 2.84
|  | 437 | 2.8591
|  | 436 | 2.8882
|  | 435 | 2.9231
|  | 434 | 2.9729
|  | 433 | 3.0376
|  | 432 | 3.1126
|  | 431 | 3.2095
|  | 430 | 3.328
|  | 429 | 3.4677
|  | 428 | 3.6367
|  | 427 | 3.8395
|  | 426 | 4.0746
|  | 425 | 4.3361
|  | 424 | 4.6233
|  | 423 | 4.94
|  | 422 | 5.2969
|  | 421 | 5.6985
|  | 420 | 6.1404
|  | 419 | 6.6426
|  | 418 | 7.2027
|  | 417 | 7.8193
|  | 416 | 8.5109
|  | 415 | 9.2651
|  | 414 | 10.0988
|  | 413 | 11.0241
|  | 412 | 12.0523
|  | 411 | 13.1954
|  | 410 | 14.4824
|  | 409 | 15.9279
|  | 408 | 17.5014
|  | 407 | 19.2453
|  | 406 | 21.1467
|  | 405 | 23.1634
|  | 404 | 25.3168
|  | 403 | 27.6131
|  | 402 | 30.0075
|  | 401 | 32.5867
|  | 400 | 35.3144
|  | 399 | 38.1476
|  | 398 | 41.1177
|  | 397 | 44.1311
|  | 396 | 47.176
|  | 395 | 50.2134
|  | 394 | 53.1698
|  | 393 | 56.1219
|  | 392 | 59.0399
|  | 391 | 61.8908
|  | 390 | 64.6569
|  | 389 | 67.369
|  | 388 | 69.9336
|  | 387 | 72.3202
|  | 386 | 74.6033
|  | 385 | 76.7389
|  | 384 | 78.6435
|  | 383 | 80.4383
|  | 382 | 82.1132
|  | 381 | 83.5947
|  | 380 | 85.0451
|  | 379 | 86.3483
|  | 378 | 87.6198
|  | 377 | 88.6682
|  | 376 | 89.6135
|  | 375 | 90.4333
|  | 374 | 91.1554
|  | 373 | 91.8476
|  | 372 | 92.4176
|  | 371 | 92.9368
|  | 370 | 93.4869
|  | 369 | 93.963
|  | 368 | 94.3654
|  | 367 | 94.8325
|  | 366 | 95.1824
|  | 365 | 95.4658
|  | 364 | 95.7845
|  | 363 | 96.024
|  | 362 | 96.2463
|  | 361 | 96.495
|  | 360 | 96.7089
|  | 359 | 96.824
|  | 358 | 96.9927
|  | 357 | 97.146
|  | 356 | 97.2513
|  | 355 | 97.3809
|  | 354 | 97.4724
|  | 353 | 97.5033
|  | 352 | 97.6031
|  | 351 | 97.6795
|  | 350 | 97.744
|  | 349 | 97.7821
|  | 348 | 97.8744
|  | 347 | 97.8413
|  | 346 | 97.906
|  | 345 | 97.9075
|  | 344 | 97.9376
|  | 343 | 97.9743
|  | 342 | 98.0214
|  | 341 | 97.9828
|  | 340 | 98.0295
|  | 339 | 98.0744
|  | 338 | 98.0758
|  | 337 | 98.1612
|  | 336 | 98.1942
|  | 335 | 98.1382
|  | 334 | 98.1482
|  | 333 | 98.1935
|  | 332 | 98.2075
|  | 331 | 98.1991
|  | 330 | 98.3074
|  | 329 | 98.1923
|  | 328 | 98.2302
|  | 327 | 98.2377
|  | 326 | 98.238
|  | 325 | 98.2392
|  | 324 | 98.1873
|  | 323 | 98.1474
|  | 322 | 98.2094
|  | 321 | 98.1723
|  | 320 | 98.1314
|  | 319 | 98.1315
|  | 318 | 98.1085
|  | 317 | 98.0871
|  | 316 | 98.0708
|  | 315 | 98.0575
|  | 314 | 98.0257
|  | 313 | 97.9971
|  | 312 | 97.9364
|  | 311 | 97.9016
|  | 310 | 97.8403
|  | 309 | 97.8278
|  | 308 | 97.7317
|  | 307 | 97.6945
|  | 306 | 97.6243
|  | 305 | 97.5871
|  | 304 | 97.5275
|  | 303 | 97.4587
|  | 302 | 97.363
|  | 301 | 97.3117
|  | 300 | 97.17
|  | 299 | 97.0289
|  | 298 | 96.9529
|  | 297 | 96.8858
|  | 296 | 96.7517
|  | 295 | 96.7376
|  | 294 | 96.5946
|  | 293 | 96.4267
|  | 292 | 96.3213
|  | 291 | 96.2228
|  | 290 | 96.1422
|  | 289 | 96.037
|  | 288 | 95.895
|  | 287 | 95.6646
|  | 286 | 95.4891
|  | 285 | 95.3215
|  | 284 | 95.131
|  | 283 | 95.0448
|  | 282 | 94.8973
|  | 281 | 94.6508
|  | 280 | 94.5074
|  | 279 | 94.3854
|  | 278 | 94.1132
|  | 277 | 93.9668
|  | 276 | 93.7294
|  | 275 | 93.3361
|  | 274 | 93.1029
|  | 273 | 92.7618
|  | 272 | 92.3504
|  | 271 | 92.0062
|  | 270 | 91.5985
|  | 269 | 91.1523
|  | 268 | 90.9311
|  | 267 | 90.6814
|  | 266 | 90.4244
|  | 265 | 90.2005
|  | 264 | 89.9072
|  | 263 | 89.5259
|  | 262 | 89.2196
|  | 261 | 88.9192
|  | 260 | 88.5889
|  | 259 | 88.2614
|  | 258 | 87.8518
|  | 257 | 87.2823
|  | 256 | 86.7422
|  | 255 | 86.0712
|  | 254 | 85.3663
|  | 253 | 84.5892
|  | 252 | 83.7169
|  | 251 | 82.604
|  | 250 | 81.4763
|  | 249 | 80.1762
|  | 248 | 78.7351
|  | 247 | 77.197
|  | 246 | 75.4301
|  | 245 | 73.4993
|  | 244 | 71.4334
|  | 243 | 69.1616
|  | 242 | 66.7023
|  | 241 | 64.0553
|  | 240 | 61.0589
|  | 239 | 57.749
|  | 238 | 54.2767
|  | 237 | 50.5424
|  | 236 | 46.5844
|  | 235 | 42.5893
|  | 234 | 38.4302
|  | 233 | 34.1443
|  | 232 | 29.8963
|  | 231 | 25.5852
|  | 230 | 21.3549
|  | 229 | 17.3609
|  | 228 | 13.6534
|  | 227 | 10.3583
|  | 226 | 7.5652
|  | 225 | 5.3184
|  | 224 | 3.5595
|  | 223 | 2.2605
|  | 222 | 1.35
|  | 221 | 0.73084
|  | 220 | 0.366
|  | 219 | 0.16218
|  | 218 | 0.066623
|  | 217 | 0.020855
|  | 216 | 0.00478
|  | 215 | 0.003355
|  | 214 | 0.003049
|  | 213 | 0.003455
|  | 212 | 0.004063
|  | 211 | 0.002437
|  | 210 | 0.002233
|  | 209 | 0.003246
|  | 208 | 0.003141
|  | 207 | 0.005263
|  | 206 | 0.004853
|  | 205 | 0.002423
|  | 204 | 0.003123
|  | 203 | 0.00653
|  | 202 | 0.005506
|  | 201 | 0.007376
|  | 200 | 0.006946