## Unpolarized Data
Unpolarized Transmission of a 5 mm Thick Infrasil® Window
|  | Wavelength (µm) | % Transmission (Unpol.)
|  | 0.2 | 90.6791
|  | 0.205 | 91.013
|  | 0.21 | 91.3024
|  | 0.215 | 91.5029
Product Raw Data |  | 0.22 | 91.6632
Unpolarized Transmission of a 5 mm Thick Infrasil® Window |  | 0.225 | 91.7982
|  | 0.23 | 91.9061
Item # | UDP105 | 0.235 | 92.0015
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 0.24 | 92.112
|  | 0.245 | 92.2157
|  | 0.25 | 92.3015
|  | 0.255 | 92.3827
|  | 0.26 | 92.4565
|  | 0.265 | 92.5133
This data may be used in publications. However, please cite Thorlabs as the source. |  | 0.27 | 92.5675
|  | 0.275 | 92.617
|  | 0.28 | 92.6683
Additional Information: |  | 0.285 | 92.7266
Measured at normal incidence. The substrate thickness was 5 mm. See the other tab below for polarized data from 0.5 - 1.600 µm. |  | 0.29 | 92.7741
|  | 0.295 | 92.8196
|  | 0.3 | 92.8518
|  | 0.305 | 92.8867
|  | 0.31 | 92.9207
|  | 0.315 | 92.9532
|  | 0.32 | 92.9658
|  | 0.325 | 92.9776
|  | 0.33 | 93.0123
|  | 0.335 | 93.0494
|  | 0.34 | 93.074
|  | 0.345 | 93.0882
|  | 0.35 | 93.1048
|  | 0.355 | 93.1188
|  | 0.36 | 93.1495
|  | 0.365 | 93.1651
|  | 0.37 | 93.1648
|  | 0.375 | 93.1814
|  | 0.38 | 93.2127
|  | 0.385 | 93.2335
|  | 0.39 | 93.2402
|  | 0.395 | 93.2523
|  | 0.4 | 93.2729
|  | 0.405 | 93.2965
|  | 0.41 | 93.3009
|  | 0.415 | 93.3145
|  | 0.42 | 93.3263
|  | 0.425 | 93.3382
|  | 0.43 | 93.3435
|  | 0.435 | 93.3543
|  | 0.44 | 93.3723
|  | 0.445 | 93.3785
|  | 0.45 | 93.3815
|  | 0.455 | 93.3983
|  | 0.46 | 93.4071
|  | 0.465 | 93.4217
|  | 0.47 | 93.4328
|  | 0.475 | 93.4559
|  | 0.48 | 93.4541
|  | 0.485 | 93.4465
|  | 0.49 | 93.4395
|  | 0.495 | 93.4557
|  | 0.5 | 93.4559
|  | 0.505 | 93.4588
|  | 0.51 | 93.4613
|  | 0.515 | 93.519
|  | 0.52 | 93.5002
|  | 0.525 | 93.5253
|  | 0.53 | 93.5261
|  | 0.535 | 93.5204
|  | 0.54 | 93.5179
|  | 0.545 | 93.5132
|  | 0.55 | 93.5124
|  | 0.555 | 93.5055
|  | 0.56 | 93.5164
|  | 0.565 | 93.5231
|  | 0.57 | 93.5317
|  | 0.575 | 93.5546
|  | 0.58 | 93.5604
|  | 0.585 | 93.5554
|  | 0.59 | 93.5512
|  | 0.595 | 93.5759
|  | 0.6 | 93.5873
|  | 0.605 | 93.5854
|  | 0.61 | 93.5836
|  | 0.615 | 93.5826
|  | 0.62 | 93.586
|  | 0.625 | 93.5888
|  | 0.63 | 93.592
|  | 0.635 | 93.5981
|  | 0.64 | 93.5923
|  | 0.645 | 93.5938
|  | 0.65 | 93.5978
|  | 0.655 | 93.6066
|  | 0.66 | 93.6032
|  | 0.665 | 93.6069
|  | 0.67 | 93.6072
|  | 0.675 | 93.6139
|  | 0.68 | 93.6156
|  | 0.685 | 93.6159
|  | 0.69 | 93.6219
|  | 0.695 | 93.6276
|  | 0.7 | 93.622
|  | 0.705 | 93.6231
|  | 0.71 | 93.6368
|  | 0.715 | 93.6384
|  | 0.72 | 93.6352
|  | 0.725 | 93.636
|  | 0.73 | 93.662
|  | 0.735 | 93.6556
|  | 0.74 | 93.6523
|  | 0.745 | 93.6419
|  | 0.75 | 93.6565
|  | 0.755 | 93.6636
|  | 0.76 | 93.6479
|  | 0.765 | 93.6576
|  | 0.77 | 93.6773
|  | 0.775 | 93.6636
|  | 0.78 | 93.6501
|  | 0.785 | 93.6458
|  | 0.79 | 93.6509
|  | 0.795 | 93.6701
|  | 0.8 | 93.672
|  | 0.805 | 93.6556
|  | 0.81 | 93.6591
|  | 0.815 | 93.6638
|  | 0.82 | 93.6635
|  | 0.825 | 93.6997
|  | 0.83 | 93.7005
|  | 0.835 | 93.6702
|  | 0.84 | 93.6683
|  | 0.845 | 93.6726
|  | 0.85 | 93.6684
|  | 0.855 | 93.6623
|  | 0.86 | 93.982
|  | 0.865 | 94.1063
|  | 0.87 | 94.1098
|  | 0.875 | 94.1185
|  | 0.88 | 94.0993
|  | 0.885 | 94.1307
|  | 0.89 | 94.1246
|  | 0.895 | 94.1093
|  | 0.9 | 94.1044
|  | 0.905 | 94.1142
|  | 0.91 | 94.1099
|  | 0.915 | 94.1132
|  | 0.92 | 94.1008
|  | 0.925 | 94.0944
|  | 0.93 | 94.0943
|  | 0.935 | 94.076
|  | 0.94 | 94.0785
|  | 0.945 | 94.1029
|  | 0.95 | 94.0968
|  | 0.955 | 94.1109
|  | 0.96 | 94.1261
|  | 0.965 | 94.1246
|  | 0.97 | 94.1189
|  | 0.975 | 94.1234
|  | 0.98 | 94.1184
|  | 0.985 | 94.1161
|  | 0.99 | 94.1278
|  | 0.995 | 94.1456
|  | 1 | 94.1317
|  | 1.005 | 94.108
|  | 1.01 | 94.1174
|  | 1.015 | 94.1362
|  | 1.02 | 94.1196
|  | 1.025 | 94.1533
|  | 1.03 | 94.1612
|  | 1.035 | 94.143
|  | 1.04 | 94.1369
|  | 1.045 | 94.1321
|  | 1.05 | 94.1436
|  | 1.055 | 94.1555
|  | 1.06 | 94.1496
|  | 1.065 | 94.137
|  | 1.07 | 94.1673
|  | 1.075 | 94.1738
|  | 1.08 | 94.189
|  | 1.085 | 94.1945
|  | 1.09 | 94.1899
|  | 1.095 | 94.1987
|  | 1.1 | 94.2178
|  | 1.105 | 94.2007
|  | 1.11 | 94.2077
|  | 1.115 | 94.2013
|  | 1.12 | 94.218
|  | 1.125 | 94.2218
|  | 1.13 | 94.2073
|  | 1.135 | 94.2388
|  | 1.14 | 94.2143
|  | 1.145 | 94.222
|  | 1.15 | 94.2265
|  | 1.155 | 94.2313
|  | 1.16 | 94.2251
|  | 1.165 | 94.2348
|  | 1.17 | 94.2615
|  | 1.175 | 94.2616
|  | 1.18 | 94.2586
|  | 1.185 | 94.2569
|  | 1.19 | 94.2599
|  | 1.195 | 94.2647
|  | 1.2 | 94.2853
|  | 1.205 | 94.2431
|  | 1.21 | 94.266
|  | 1.215 | 94.2648
|  | 1.22 | 94.2713
|  | 1.225 | 94.2585
|  | 1.23 | 94.2485
|  | 1.235 | 94.242
|  | 1.24 | 94.2686
|  | 1.245 | 94.2881
|  | 1.25 | 94.2996
|  | 1.255 | 94.2791
|  | 1.26 | 94.2728
|  | 1.265 | 94.238
|  | 1.27 | 94.276
|  | 1.275 | 94.2729
|  | 1.28 | 94.2961
|  | 1.285 | 94.2803
|  | 1.29 | 94.2895
|  | 1.295 | 94.2874
|  | 1.3 | 94.2551
|  | 1.305 | 94.2652
|  | 1.31 | 94.252
|  | 1.315 | 94.2682
|  | 1.32 | 94.2886
|  | 1.325 | 94.2926
|  | 1.33 | 94.2762
|  | 1.335 | 94.2943
|  | 1.34 | 94.28
|  | 1.345 | 94.2618
|  | 1.35 | 94.2417
|  | 1.355 | 94.2536
|  | 1.36 | 94.2819
|  | 1.365 | 94.3097
|  | 1.37 | 94.2923
|  | 1.375 | 94.2134
|  | 1.38 | 94.2406
|  | 1.385 | 94.2481
|  | 1.39 | 94.2261
|  | 1.395 | 94.2287
|  | 1.4 | 94.2433
|  | 1.405 | 94.2707
|  | 1.41 | 94.276
|  | 1.415 | 94.3249
|  | 1.42 | 94.3073
|  | 1.425 | 94.2926
|  | 1.43 | 94.3062
|  | 1.435 | 94.3061
|  | 1.44 | 94.3226
|  | 1.445 | 94.3146
|  | 1.45 | 94.3299
|  | 1.455 | 94.3133
|  | 1.46 | 94.3228
|  | 1.465 | 94.3062
|  | 1.47 | 94.329
|  | 1.475 | 94.3214
|  | 1.48 | 94.3286
|  | 1.485 | 94.3258
|  | 1.49 | 94.3411
|  | 1.495 | 94.3191
|  | 1.5 | 94.3156
|  | 1.505 | 94.3031
|  | 1.51 | 94.322
|  | 1.515 | 94.3354
|  | 1.52 | 94.3322
|  | 1.525 | 94.3072
|  | 1.53 | 94.3114
|  | 1.535 | 94.3464
|  | 1.54 | 94.3583
|  | 1.545 | 94.3437
|  | 1.55 | 94.3401
|  | 1.555 | 94.3578
|  | 1.56 | 94.3606
|  | 1.565 | 94.3685
|  | 1.57 | 94.366
|  | 1.575 | 94.3747
|  | 1.58 | 94.3725
|  | 1.585 | 94.3341
|  | 1.59 | 94.3472
|  | 1.595 | 94.3677
|  | 1.6 | 94.3532
|  | 1.605 | 94.3535
|  | 1.61 | 94.3499
|  | 1.615 | 94.3577
|  | 1.62 | 94.3557
|  | 1.625 | 94.3759
|  | 1.63 | 94.3756
|  | 1.635 | 94.3711
|  | 1.64 | 94.3726
|  | 1.645 | 94.3796
|  | 1.65 | 94.3998
|  | 1.655 | 94.3806
|  | 1.66 | 94.3653
|  | 1.665 | 94.3871
|  | 1.67 | 94.3719
|  | 1.675 | 94.3603
|  | 1.68 | 94.3629
|  | 1.685 | 94.3702
|  | 1.69 | 94.3861
|  | 1.695 | 94.3943
|  | 1.7 | 94.3798
|  | 1.705 | 94.3618
|  | 1.71 | 94.3608
|  | 1.715 | 94.3845
|  | 1.72 | 94.3819
|  | 1.725 | 94.3736
|  | 1.73 | 94.3881
|  | 1.735 | 94.3972
|  | 1.74 | 94.4206
|  | 1.745 | 94.432
|  | 1.75 | 94.4076
|  | 1.755 | 94.3896
|  | 1.76 | 94.3882
|  | 1.765 | 94.3779
|  | 1.77 | 94.3806
|  | 1.775 | 94.3894
|  | 1.78 | 94.435
|  | 1.785 | 94.4433
|  | 1.79 | 94.4251
|  | 1.795 | 94.4338
|  | 1.8 | 94.4267
|  | 1.805 | 94.4287
|  | 1.81 | 94.4148
|  | 1.815 | 94.4277
|  | 1.82 | 94.4378
|  | 1.825 | 94.4311
|  | 1.83 | 94.4168
|  | 1.835 | 94.4293
|  | 1.84 | 94.4566
|  | 1.845 | 94.4564
|  | 1.85 | 94.4617
|  | 1.855 | 94.4594
|  | 1.86 | 94.4403
|  | 1.865 | 94.4241
|  | 1.87 | 94.4874
|  | 1.875 | 94.5375
|  | 1.88 | 94.5001
|  | 1.885 | 94.4926
|  | 1.89 | 94.4775
|  | 1.895 | 94.4637
|  | 1.9 | 94.4836
|  | 1.905 | 94.4896
|  | 1.91 | 94.457
|  | 1.915 | 94.4549
|  | 1.92 | 94.4737
|  | 1.925 | 94.4883
|  | 1.93 | 94.4811
|  | 1.935 | 94.4909
|  | 1.94 | 94.4878
|  | 1.945 | 94.475
|  | 1.95 | 94.4779
|  | 1.955 | 94.4967
|  | 1.96 | 94.513
|  | 1.965 | 94.525
|  | 1.97 | 94.5207
|  | 1.975 | 94.5056
|  | 1.98 | 94.5002
|  | 1.985 | 94.4968
|  | 1.99 | 94.4966
|  | 1.995 | 94.4849
|  | 2 | 94.4798
|  | 2.005 | 94.4941
|  | 2.01 | 94.498
|  | 2.015 | 94.5022
|  | 2.02 | 94.5018
|  | 2.025 | 94.4823
|  | 2.03 | 94.4921
|  | 2.035 | 94.4988
|  | 2.04 | 94.496
|  | 2.045 | 94.4952
|  | 2.05 | 94.5164
|  | 2.055 | 94.5239
|  | 2.06 | 94.5289
|  | 2.065 | 94.5182
|  | 2.07 | 94.505
|  | 2.075 | 94.4995
|  | 2.08 | 94.5059
|  | 2.085 | 94.5169
|  | 2.09 | 94.5142
|  | 2.095 | 94.5126
|  | 2.1 | 94.5195
|  | 2.105 | 94.5199
|  | 2.11 | 94.5084
|  | 2.115 | 94.5047
|  | 2.12 | 94.5122
|  | 2.125 | 94.5135
|  | 2.13 | 94.5099
|  | 2.135 | 94.5093
|  | 2.14 | 94.5101
|  | 2.145 | 94.5186
|  | 2.15 | 94.5173
|  | 2.155 | 94.5193
|  | 2.16 | 94.5323
|  | 2.165 | 94.5344
|  | 2.17 | 94.5179
|  | 2.175 | 94.4995
|  | 2.18 | 94.4923
|  | 2.185 | 94.4795
|  | 2.19 | 94.4505
|  | 2.195 | 94.4022
|  | 2.2 | 94.3688
|  | 2.205 | 94.3427
|  | 2.21 | 94.3227
|  | 2.215 | 94.3258
|  | 2.22 | 94.3412
|  | 2.225 | 94.3673
|  | 2.23 | 94.3828
|  | 2.235 | 94.378
|  | 2.24 | 94.3772
|  | 2.245 | 94.394
|  | 2.25 | 94.4041
|  | 2.255 | 94.4066
|  | 2.26 | 94.4116
|  | 2.265 | 94.4117
|  | 2.27 | 94.4344
|  | 2.275 | 94.4645
|  | 2.28 | 94.4757
|  | 2.285 | 94.476
|  | 2.29 | 94.476
|  | 2.295 | 94.4725
|  | 2.3 | 94.4648
|  | 2.305 | 94.4649
|  | 2.31 | 94.4753
|  | 2.315 | 94.481
|  | 2.32 | 94.4869
|  | 2.325 | 94.4805
|  | 2.33 | 94.4773
|  | 2.335 | 94.4705
|  | 2.34 | 94.4601
|  | 2.345 | 94.471
|  | 2.35 | 94.4647
|  | 2.355 | 94.4623
|  | 2.36 | 94.4563
|  | 2.365 | 94.4408
|  | 2.37 | 94.4476
|  | 2.375 | 94.4532
|  | 2.38 | 94.441
|  | 2.385 | 94.436
|  | 2.39 | 94.4419
|  | 2.395 | 94.4399
|  | 2.4 | 94.4325
|  | 2.405 | 94.4148
|  | 2.41 | 94.4025
|  | 2.415 | 94.4076
|  | 2.42 | 94.4085
|  | 2.425 | 94.4008
|  | 2.43 | 94.3873
|  | 2.435 | 94.3706
|  | 2.44 | 94.3577
|  | 2.445 | 94.3292
|  | 2.45 | 94.3293
|  | 2.455 | 94.355
|  | 2.46 | 94.347
|  | 2.465 | 94.3435
|  | 2.47 | 94.3484
|  | 2.475 | 94.3359
|  | 2.48 | 94.3194
|  | 2.485 | 94.3198
|  | 2.49 | 94.3357
|  | 2.495 | 94.3282
|  | 2.5 | 94.3159
|  | 2.505 | 94.3126
|  | 2.51 | 94.3034
|  | 2.515 | 94.2717
|  | 2.52 | 94.2641
|  | 2.525 | 94.241
|  | 2.53 | 94.2243
|  | 2.535 | 94.2456
|  | 2.54 | 94.2637
|  | 2.545 | 94.2757
|  | 2.55 | 94.2381
|  | 2.555 | 94.1696
|  | 2.56 | 94.1683
|  | 2.565 | 94.1772
|  | 2.57 | 94.1516
|  | 2.575 | 94.1274
|  | 2.58 | 94.1142
|  | 2.585 | 94.1197
|  | 2.59 | 94.1195
|  | 2.595 | 94.1245
|  | 2.6 | 94.1133
|  | 2.605 | 94.1214
|  | 2.61 | 94.1126
|  | 2.615 | 94.0894
|  | 2.62 | 94.066
|  | 2.625 | 94.0602
|  | 2.63 | 94.0153
|  | 2.635 | 93.9438
|  | 2.64 | 93.8753
|  | 2.645 | 93.802
|  | 2.65 | 93.7337
|  | 2.655 | 93.6782
|  | 2.66 | 93.6466
|  | 2.665 | 93.6132
|  | 2.67 | 93.4845
|  | 2.675 | 93.2802
|  | 2.68 | 92.8546
|  | 2.685 | 92.4459
|  | 2.69 | 92.0664
|  | 2.695 | 91.633
|  | 2.7 | 90.8486
|  | 2.705 | 89.6339
|  | 2.71 | 86.6681
|  | 2.715 | 76.4241
|  | 2.72 | 70.5327
|  | 2.725 | 77.2052
|  | 2.73 | 79.3894
|  | 2.735 | 84.7003
|  | 2.74 | 85.8293
|  | 2.745 | 84.0211
|  | 2.75 | 84.8849
|  | 2.755 | 88.522
|  | 2.76 | 87.9793
|  | 2.765 | 88.9901
|  | 2.77 | 90.054
|  | 2.775 | 89.888
|  | 2.78 | 90.1837
|  | 2.785 | 90.1367
|  | 2.79 | 90.2447
|  | 2.795 | 90.2376
|  | 2.8 | 90.4971
|  | 2.805 | 90.6517
|  | 2.81 | 90.6082
|  | 2.815 | 90.6586
|  | 2.82 | 90.6881
|  | 2.825 | 90.7051
|  | 2.83 | 90.7092
|  | 2.835 | 90.7135
|  | 2.84 | 90.692
|  | 2.845 | 90.6754
|  | 2.85 | 90.6461
|  | 2.855 | 90.5817
|  | 2.86 | 90.5438
|  | 2.865 | 90.5012
|  | 2.87 | 90.4558
|  | 2.875 | 90.3829
|  | 2.88 | 90.3249
|  | 2.885 | 90.2574
|  | 2.89 | 90.1738
|  | 2.895 | 90.115
|  | 2.9 | 90.083
|  | 2.905 | 90.0301
|  | 2.91 | 89.9595
|  | 2.915 | 89.8791
|  | 2.92 | 89.8326
|  | 2.925 | 89.7749
|  | 2.93 | 89.6999
|  | 2.935 | 89.6112
|  | 2.94 | 89.5549
|  | 2.945 | 89.4769
|  | 2.95 | 89.3997
|  | 2.955 | 89.3088
|  | 2.96 | 89.2365
|  | 2.965 | 89.1921
|  | 2.97 | 89.1103
|  | 2.975 | 89.0492
|  | 2.98 | 88.9858
|  | 2.985 | 88.9373
|  | 2.99 | 88.8892
|  | 2.995 | 88.7916
|  | 3 | 88.7838
|  | 3.005 | 88.7526
|  | 3.01 | 88.7159
|  | 3.015 | 88.6967
|  | 3.02 | 88.6972
|  | 3.025 | 88.7441
|  | 3.03 | 88.7318
|  | 3.035 | 88.6763
|  | 3.04 | 88.7319
|  | 3.045 | 88.7952
|  | 3.05 | 88.785
|  | 3.055 | 88.7721
|  | 3.06 | 88.7682
|  | 3.065 | 88.7771
|  | 3.07 | 88.7404
|  | 3.075 | 88.7379
|  | 3.08 | 88.7748
|  | 3.085 | 88.7583
|  | 3.09 | 88.6503
|  | 3.095 | 88.6794
|  | 3.1 | 88.6683
|  | 3.105 | 88.6803
|  | 3.11 | 88.6334
|  | 3.115 | 88.711
|  | 3.12 | 88.5846
|  | 3.125 | 88.5558
|  | 3.13 | 88.4654
|  | 3.135 | 88.5845
|  | 3.14 | 88.5126
|  | 3.145 | 88.59
|  | 3.15 | 88.6203
|  | 3.155 | 88.58
|  | 3.16 | 88.5654
|  | 3.165 | 88.5693
|  | 3.17 | 88.5261
|  | 3.175 | 88.468
|  | 3.18 | 88.6539
|  | 3.185 | 88.7235
|  | 3.19 | 88.8914
|  | 3.195 | 88.7669
|  | 3.2 | 88.8286

## Polarized Data
Polarized Transmission of a 5 mm Thick Infrasil® Window
|  | Wavelength (µm) | % Transmission (P-Pol.) | % Transmission (S-Pol.)
|  | 0.5 | 93.2392 | 93.2232
|  | 0.501 | 93.2351 | 93.2009
|  | 0.502 | 93.2422 | 93.2609
|  | 0.503 | 93.2398 | 93.2222
Product Raw Data |  | 0.504 | 93.2378 | 93.2408
Polarized Transmission of a 5 mm Thick Infrasil® Window |  | 0.505 | 93.2548 | 93.2472
|  | 0.506 | 93.2467 | 93.2649
Item # | UDP105 | 0.507 | 93.2491 | 93.269
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 0.508 | 93.2425 | 93.2715
|  | 0.509 | 93.26 | 93.2646
|  | 0.51 | 93.254 | 93.2591
|  | 0.511 | 93.2627 | 93.2476
|  | 0.512 | 93.2559 | 93.25
|  | 0.513 | 93.2411 | 93.2394
This data may be used in publications. However, please cite Thorlabs as the source. |  | 0.514 | 93.2585 | 93.2613
|  | 0.515 | 93.2596 | 93.2761
|  | 0.516 | 93.2724 | 93.2962
Additional Information: |  | 0.517 | 93.2719 | 93.2612
Measured at normal incidence. The substrate thickness was 5 mm. See the other tab below for unpolarized data from 0.2 - 3.2 µm. |  | 0.518 | 93.2837 | 93.2965
|  | 0.519 | 93.2762 | 93.2639
|  | 0.52 | 93.2653 | 93.2497
|  | 0.521 | 93.271 | 93.2701
|  | 0.522 | 93.2694 | 93.2773
|  | 0.523 | 93.2844 | 93.2924
|  | 0.524 | 93.289 | 93.2933
|  | 0.525 | 93.2984 | 93.2786
|  | 0.526 | 93.2979 | 93.2669
|  | 0.527 | 93.3058 | 93.2889
|  | 0.528 | 93.2938 | 93.2939
|  | 0.529 | 93.3096 | 93.2978
|  | 0.53 | 93.3023 | 93.3181
|  | 0.531 | 93.3059 | 93.3036
|  | 0.532 | 93.3155 | 93.302
|  | 0.533 | 93.319 | 93.3032
|  | 0.534 | 93.319 | 93.3131
|  | 0.535 | 93.3178 | 93.2792
|  | 0.536 | 93.3242 | 93.304
|  | 0.537 | 93.3275 | 93.3116
|  | 0.538 | 93.3155 | 93.3228
|  | 0.539 | 93.3305 | 93.3025
|  | 0.54 | 93.3283 | 93.3297
|  | 0.541 | 93.3236 | 93.3413
|  | 0.542 | 93.3197 | 93.3269
|  | 0.543 | 93.3402 | 93.3481
|  | 0.544 | 93.3437 | 93.3428
|  | 0.545 | 93.3374 | 93.327
|  | 0.546 | 93.339 | 93.3335
|  | 0.547 | 93.3469 | 93.3526
|  | 0.548 | 93.3504 | 93.3379
|  | 0.549 | 93.3573 | 93.3318
|  | 0.55 | 93.3576 | 93.3285
|  | 0.551 | 93.3499 | 93.3567
|  | 0.552 | 93.3473 | 93.3541
|  | 0.553 | 93.3631 | 93.3633
|  | 0.554 | 93.3643 | 93.3426
|  | 0.555 | 93.3647 | 93.3787
|  | 0.556 | 93.3585 | 93.3604
|  | 0.557 | 93.386 | 93.3762
|  | 0.558 | 93.3814 | 93.3628
|  | 0.559 | 93.3829 | 93.3848
|  | 0.56 | 93.3819 | 93.3771
|  | 0.561 | 93.394 | 93.3747
|  | 0.562 | 93.3877 | 93.3712
|  | 0.563 | 93.3989 | 93.3746
|  | 0.564 | 93.3952 | 93.3738
|  | 0.565 | 93.3913 | 93.4048
|  | 0.566 | 93.4055 | 93.3913
|  | 0.567 | 93.3985 | 93.3816
|  | 0.568 | 93.4043 | 93.3844
|  | 0.569 | 93.4067 | 93.4022
|  | 0.57 | 93.4309 | 93.3854
|  | 0.571 | 93.4088 | 93.3877
|  | 0.572 | 93.4176 | 93.4076
|  | 0.573 | 93.4058 | 93.4183
|  | 0.574 | 93.416 | 93.3975
|  | 0.575 | 93.4049 | 93.4083
|  | 0.576 | 93.4308 | 93.4232
|  | 0.577 | 93.4249 | 93.4349
|  | 0.578 | 93.4242 | 93.4218
|  | 0.579 | 93.4313 | 93.3988
|  | 0.58 | 93.4351 | 93.4178
|  | 0.581 | 93.4422 | 93.4329
|  | 0.582 | 93.4331 | 93.4471
|  | 0.583 | 93.438 | 93.4265
|  | 0.584 | 93.4391 | 93.4257
|  | 0.585 | 93.4524 | 93.4352
|  | 0.586 | 93.4633 | 93.4494
|  | 0.587 | 93.4447 | 93.4485
|  | 0.588 | 93.4545 | 93.4358
|  | 0.589 | 93.4684 | 93.4234
|  | 0.59 | 93.4529 | 93.4343
|  | 0.591 | 93.4581 | 93.4374
|  | 0.592 | 93.4512 | 93.4718
|  | 0.593 | 93.4639 | 93.4214
|  | 0.594 | 93.4746 | 93.4248
|  | 0.595 | 93.4659 | 93.4464
|  | 0.596 | 93.4679 | 93.4387
|  | 0.597 | 93.4741 | 93.4506
|  | 0.598 | 93.479 | 93.4282
|  | 0.599 | 93.4834 | 93.46
|  | 0.6 | 93.4801 | 93.4436
|  | 0.601 | 93.4841 | 93.4378
|  | 0.602 | 93.5004 | 93.4695
|  | 0.603 | 93.4939 | 93.4931
|  | 0.604 | 93.4914 | 93.4674
|  | 0.605 | 93.4859 | 93.4791
|  | 0.606 | 93.4975 | 93.4591
|  | 0.607 | 93.4969 | 93.497
|  | 0.608 | 93.4999 | 93.4904
|  | 0.609 | 93.4979 | 93.4816
|  | 0.61 | 93.4881 | 93.4973
|  | 0.611 | 93.5002 | 93.4886
|  | 0.612 | 93.5079 | 93.4794
|  | 0.613 | 93.4997 | 93.5173
|  | 0.614 | 93.5047 | 93.5318
|  | 0.615 | 93.5111 | 93.5028
|  | 0.616 | 93.5104 | 93.5104
|  | 0.617 | 93.5071 | 93.5228
|  | 0.618 | 93.5054 | 93.5313
|  | 0.619 | 93.5191 | 93.5129
|  | 0.62 | 93.521 | 93.5167
|  | 0.621 | 93.5183 | 93.5464
|  | 0.622 | 93.5147 | 93.513
|  | 0.623 | 93.5206 | 93.5241
|  | 0.624 | 93.5318 | 93.5126
|  | 0.625 | 93.5262 | 93.5238
|  | 0.626 | 93.5315 | 93.5232
|  | 0.627 | 93.5288 | 93.5172
|  | 0.628 | 93.54 | 93.5241
|  | 0.629 | 93.5421 | 93.5281
|  | 0.63 | 93.5397 | 93.5387
|  | 0.631 | 93.5401 | 93.5288
|  | 0.632 | 93.5436 | 93.5321
|  | 0.633 | 93.5374 | 93.5351
|  | 0.634 | 93.5466 | 93.5674
|  | 0.635 | 93.5476 | 93.5324
|  | 0.636 | 93.5459 | 93.5255
|  | 0.637 | 93.5574 | 93.5425
|  | 0.638 | 93.5556 | 93.5634
|  | 0.639 | 93.5541 | 93.5612
|  | 0.64 | 93.5589 | 93.5145
|  | 0.641 | 93.5553 | 93.5344
|  | 0.642 | 93.5572 | 93.5444
|  | 0.643 | 93.5571 | 93.5473
|  | 0.644 | 93.5537 | 93.5402
|  | 0.645 | 93.5653 | 93.5364
|  | 0.646 | 93.5637 | 93.5208
|  | 0.647 | 93.5746 | 93.5493
|  | 0.648 | 93.564 | 93.5781
|  | 0.649 | 93.5645 | 93.557
|  | 0.65 | 93.5673 | 93.5382
|  | 0.651 | 93.5697 | 93.5533
|  | 0.652 | 93.5743 | 93.5712
|  | 0.653 | 93.573 | 93.5831
|  | 0.654 | 93.5683 | 93.5792
|  | 0.655 | 93.5669 | 93.5676
|  | 0.656 | 93.5728 | 93.5572
|  | 0.657 | 93.5752 | 93.5753
|  | 0.658 | 93.5788 | 93.5628
|  | 0.659 | 93.5789 | 93.5725
|  | 0.66 | 93.5852 | 93.5951
|  | 0.661 | 93.5801 | 93.5902
|  | 0.662 | 93.5826 | 93.5707
|  | 0.663 | 93.58 | 93.5914
|  | 0.664 | 93.5887 | 93.6008
|  | 0.665 | 93.5856 | 93.5764
|  | 0.666 | 93.5907 | 93.5667
|  | 0.667 | 93.5825 | 93.598
|  | 0.668 | 93.5899 | 93.5785
|  | 0.669 | 93.5923 | 93.5762
|  | 0.67 | 93.5961 | 93.5866
|  | 0.671 | 93.5915 | 93.5974
|  | 0.672 | 93.5989 | 93.6102
|  | 0.673 | 93.5872 | 93.6097
|  | 0.674 | 93.5958 | 93.6165
|  | 0.675 | 93.5908 | 93.6597
|  | 0.676 | 93.591 | 93.6338
|  | 0.677 | 93.5952 | 93.6167
|  | 0.678 | 93.5995 | 93.6299
|  | 0.679 | 93.5973 | 93.5953
|  | 0.68 | 93.5946 | 93.6036
|  | 0.681 | 93.6043 | 93.6121
|  | 0.682 | 93.5912 | 93.6114
|  | 0.683 | 93.6088 | 93.6393
|  | 0.684 | 93.6011 | 93.6397
|  | 0.685 | 93.6075 | 93.6161
|  | 0.686 | 93.5964 | 93.6179
|  | 0.687 | 93.6026 | 93.6388
|  | 0.688 | 93.6113 | 93.6312
|  | 0.689 | 93.6119 | 93.6323
|  | 0.69 | 93.6136 | 93.6257
|  | 0.691 | 93.6145 | 93.6368
|  | 0.692 | 93.6079 | 93.6266
|  | 0.693 | 93.6115 | 93.6289
|  | 0.694 | 93.6154 | 93.6331
|  | 0.695 | 93.6153 | 93.6362
|  | 0.696 | 93.6097 | 93.6289
|  | 0.697 | 93.6096 | 93.6412
|  | 0.698 | 93.6007 | 93.6335
|  | 0.699 | 93.6144 | 93.6128
|  | 0.7 | 93.6178 | 93.6577
|  | 0.701 | 93.6276 | 93.6494
|  | 0.702 | 93.6138 | 93.6284
|  | 0.703 | 93.6114 | 93.6289
|  | 0.704 | 93.6223 | 93.6812
|  | 0.705 | 93.6171 | 93.6608
|  | 0.706 | 93.6096 | 93.6356
|  | 0.707 | 93.6191 | 93.6841
|  | 0.708 | 93.6132 | 93.582
|  | 0.709 | 93.6273 | 93.6207
|  | 0.71 | 93.614 | 93.6396
|  | 0.711 | 93.6241 | 93.6258
|  | 0.712 | 93.6248 | 93.6519
|  | 0.713 | 93.6223 | 93.6329
|  | 0.714 | 93.6153 | 93.6415
|  | 0.715 | 93.6179 | 93.6381
|  | 0.716 | 93.6251 | 93.659
|  | 0.717 | 93.6214 | 93.6149
|  | 0.718 | 93.6166 | 93.6642
|  | 0.719 | 93.6061 | 93.6488
|  | 0.72 | 93.6066 | 93.68
|  | 0.721 | 93.6243 | 93.6703
|  | 0.722 | 93.625 | 93.6659
|  | 0.723 | 93.622 | 93.6733
|  | 0.724 | 93.6308 | 93.6684
|  | 0.725 | 93.6463 | 93.6764
|  | 0.726 | 93.6555 | 93.6626
|  | 0.727 | 93.6402 | 93.6614
|  | 0.728 | 93.6496 | 93.6827
|  | 0.729 | 93.6545 | 93.6749
|  | 0.73 | 93.6628 | 93.6824
|  | 0.731 | 93.6228 | 93.6777
|  | 0.732 | 93.6337 | 93.6849
|  | 0.733 | 93.6434 | 93.6896
|  | 0.734 | 93.6364 | 93.6709
|  | 0.735 | 93.6471 | 93.6721
|  | 0.736 | 93.6403 | 93.6727
|  | 0.737 | 93.6019 | 93.6741
|  | 0.738 | 93.5844 | 93.6765
|  | 0.739 | 93.6177 | 93.676
|  | 0.74 | 93.6299 | 93.6712
|  | 0.741 | 93.6284 | 93.6787
|  | 0.742 | 93.6558 | 93.6884
|  | 0.743 | 93.6359 | 93.6875
|  | 0.744 | 93.6071 | 93.6828
|  | 0.745 | 93.6125 | 93.6718
|  | 0.746 | 93.6106 | 93.673
|  | 0.747 | 93.5905 | 93.6774
|  | 0.748 | 93.6152 | 93.6716
|  | 0.749 | 93.6016 | 93.6749
|  | 0.75 | 93.5908 | 93.684
|  | 0.751 | 93.5656 | 93.6819
|  | 0.752 | 93.5809 | 93.6795
|  | 0.753 | 93.5891 | 93.6726
|  | 0.754 | 93.5982 | 93.6857
|  | 0.755 | 93.5678 | 93.6845
|  | 0.756 | 93.5863 | 93.6791
|  | 0.757 | 93.6234 | 93.6791
|  | 0.758 | 93.6412 | 93.6753
|  | 0.759 | 93.6942 | 93.6767
|  | 0.76 | 93.6564 | 93.681
|  | 0.761 | 93.673 | 93.6861
|  | 0.762 | 93.6734 | 93.679
|  | 0.763 | 93.6818 | 93.674
|  | 0.764 | 93.7046 | 93.6719
|  | 0.765 | 93.6744 | 93.6878
|  | 0.766 | 93.6716 | 93.6816
|  | 0.767 | 93.6776 | 93.6864
|  | 0.768 | 93.6731 | 93.6699
|  | 0.769 | 93.7022 | 93.6774
|  | 0.77 | 93.649 | 93.6728
|  | 0.771 | 93.6537 | 93.6797
|  | 0.772 | 93.6549 | 93.676
|  | 0.773 | 93.6558 | 93.6881
|  | 0.774 | 93.6333 | 93.6848
|  | 0.775 | 93.6069 | 93.6754
|  | 0.776 | 93.6144 | 93.6784
|  | 0.777 | 93.641 | 93.6724
|  | 0.778 | 93.6611 | 93.6841
|  | 0.779 | 93.6157 | 93.6775
|  | 0.78 | 93.6416 | 93.6779
|  | 0.781 | 93.6152 | 93.6743
|  | 0.782 | 93.6281 | 93.6741
|  | 0.783 | 93.5923 | 93.6695
|  | 0.784 | 93.6162 | 93.6595
|  | 0.785 | 93.5745 | 93.6716
|  | 0.786 | 93.6058 | 93.6751
|  | 0.787 | 93.6301 | 93.6782
|  | 0.788 | 93.5906 | 93.6733
|  | 0.789 | 93.5967 | 93.6698
|  | 0.79 | 93.5947 | 93.6693
|  | 0.791 | 93.5884 | 93.6656
|  | 0.792 | 93.6067 | 93.6683
|  | 0.793 | 93.5945 | 93.6647
|  | 0.794 | 93.6173 | 93.666
|  | 0.795 | 93.5783 | 93.6636
|  | 0.796 | 93.5789 | 93.6736
|  | 0.797 | 93.6064 | 93.668
|  | 0.798 | 93.5929 | 93.6672
|  | 0.799 | 93.5748 | 93.677
|  | 0.8 | 93.6132 | 93.6709
|  | 0.801 | 93.5881 | 93.6618
|  | 0.802 | 93.5781 | 93.6655
|  | 0.803 | 93.5879 | 93.6686
|  | 0.804 | 93.6222 | 93.6768
|  | 0.805 | 93.5641 | 93.6615
|  | 0.806 | 93.5819 | 93.6637
|  | 0.807 | 93.6042 | 93.6746
|  | 0.808 | 93.6019 | 93.6716
|  | 0.809 | 93.6113 | 93.6699
|  | 0.81 | 93.608 | 93.6684
|  | 0.811 | 93.5705 | 93.6765
|  | 0.812 | 93.616 | 93.6718
|  | 0.813 | 93.6063 | 93.6724
|  | 0.814 | 93.585 | 93.672
|  | 0.815 | 93.5773 | 93.6735
|  | 0.816 | 93.6011 | 93.6644
|  | 0.817 | 93.5976 | 93.6726
|  | 0.818 | 93.5798 | 93.6714
|  | 0.819 | 93.5773 | 93.6654
|  | 0.82 | 93.5975 | 93.6656
|  | 0.821 | 93.6203 | 93.6803
|  | 0.822 | 93.5863 | 93.6783
|  | 0.823 | 93.602 | 93.6749
|  | 0.824 | 93.5907 | 93.6702
|  | 0.825 | 93.6182 | 93.6704
|  | 0.826 | 93.6081 | 93.6774
|  | 0.827 | 93.6162 | 93.6771
|  | 0.828 | 93.6015 | 93.6804
|  | 0.829 | 93.5822 | 93.6802
|  | 0.83 | 93.6112 | 93.6718
|  | 0.831 | 93.6141 | 93.684
|  | 0.832 | 93.6331 | 93.681
|  | 0.833 | 93.6213 | 93.6781
|  | 0.834 | 93.6169 | 93.6808
|  | 0.835 | 93.6333 | 93.6986
|  | 0.836 | 93.6374 | 93.691
|  | 0.837 | 93.6178 | 93.6864
|  | 0.838 | 93.6396 | 93.6914
|  | 0.839 | 93.639 | 93.6972
|  | 0.84 | 93.6372 | 93.6935
|  | 0.841 | 93.6484 | 93.6806
|  | 0.842 | 93.6418 | 93.6861
|  | 0.843 | 93.65 | 93.6982
|  | 0.844 | 93.6614 | 93.6987
|  | 0.845 | 93.6452 | 93.6953
|  | 0.846 | 93.6543 | 93.6938
|  | 0.847 | 93.6591 | 93.7
|  | 0.848 | 93.6635 | 93.7041
|  | 0.849 | 93.6643 | 93.704
|  | 0.85 | 93.676 | 93.6955
|  | 0.851 | 93.6886 | 93.7097
|  | 0.852 | 93.6778 | 93.7155
|  | 0.853 | 93.6631 | 93.719
|  | 0.854 | 93.6728 | 93.7223
|  | 0.855 | 93.6863 | 93.7191
|  | 0.856 | 93.6768 | 93.7255
|  | 0.857 | 93.682 | 93.7337
|  | 0.858 | 93.68 | 93.7277
|  | 0.859 | 93.6901 | 93.7375
|  | 0.86 | 93.6764 | 93.7388
|  | 0.861 | 93.6841 | 93.739
|  | 0.862 | 93.7097 | 93.7456
|  | 0.863 | 93.697 | 93.7413
|  | 0.864 | 93.7097 | 93.7418
|  | 0.865 | 93.7107 | 93.75
|  | 0.866 | 93.6949 | 93.7559
|  | 0.867 | 93.7002 | 93.753
|  | 0.868 | 93.7229 | 93.7568
|  | 0.869 | 93.7206 | 93.7578
|  | 0.87 | 93.707 | 93.7681
|  | 0.871 | 93.7028 | 93.7764
|  | 0.872 | 93.7211 | 93.7719
|  | 0.873 | 93.7296 | 93.7693
|  | 0.874 | 93.7234 | 93.7726
|  | 0.875 | 93.7276 | 93.782
|  | 0.876 | 93.7373 | 93.7868
|  | 0.877 | 93.7328 | 93.7819
|  | 0.878 | 93.735 | 93.7934
|  | 0.879 | 93.7489 | 93.8006
|  | 0.88 | 93.7417 | 93.7953
|  | 0.881 | 93.7445 | 93.8025
|  | 0.882 | 93.7508 | 93.8022
|  | 0.883 | 93.7532 | 93.8037
|  | 0.884 | 93.7594 | 93.8143
|  | 0.885 | 93.7592 | 93.8065
|  | 0.886 | 93.7701 | 93.8196
|  | 0.887 | 93.7698 | 93.8167
|  | 0.888 | 93.773 | 93.83
|  | 0.889 | 93.7674 | 93.8276
|  | 0.89 | 93.7805 | 93.8314
|  | 0.891 | 93.7869 | 93.8307
|  | 0.892 | 93.7868 | 93.8456
|  | 0.893 | 93.791 | 93.8447
|  | 0.894 | 93.793 | 93.8429
|  | 0.895 | 93.7896 | 93.849
|  | 0.896 | 93.7895 | 93.8475
|  | 0.897 | 93.8009 | 93.8612
|  | 0.898 | 93.7982 | 93.8602
|  | 0.899 | 93.8068 | 93.8627
|  | 0.9 | 93.817 | 93.8698
|  | 0.901 | 93.815 | 93.884
|  | 0.902 | 93.8186 | 93.8819
|  | 0.903 | 93.8238 | 93.8778
|  | 0.904 | 93.8298 | 93.888
|  | 0.905 | 93.8282 | 93.888
|  | 0.906 | 93.8334 | 93.8826
|  | 0.907 | 93.8433 | 93.8919
|  | 0.908 | 93.8455 | 93.8943
|  | 0.909 | 93.8454 | 93.9007
|  | 0.91 | 93.856 | 93.9038
|  | 0.911 | 93.8607 | 93.9081
|  | 0.912 | 93.8637 | 93.9064
|  | 0.913 | 93.8694 | 93.9122
|  | 0.914 | 93.8689 | 93.9236
|  | 0.915 | 93.8707 | 93.9281
|  | 0.916 | 93.8797 | 93.9328
|  | 0.917 | 93.8805 | 93.9277
|  | 0.918 | 93.8915 | 93.9307
|  | 0.919 | 93.8892 | 93.9461
|  | 0.92 | 93.8888 | 93.9468
|  | 0.921 | 93.903 | 93.9426
|  | 0.922 | 93.9084 | 93.9438
|  | 0.923 | 93.9046 | 93.9552
|  | 0.924 | 93.9029 | 93.9507
|  | 0.925 | 93.9087 | 93.9619
|  | 0.926 | 93.9173 | 93.9623
|  | 0.927 | 93.9228 | 93.965
|  | 0.928 | 93.9187 | 93.9668
|  | 0.929 | 93.9302 | 93.9715
|  | 0.93 | 93.9391 | 93.9796
|  | 0.931 | 93.9345 | 93.9794
|  | 0.932 | 93.9499 | 93.9857
|  | 0.933 | 93.9527 | 93.9869
|  | 0.934 | 93.949 | 93.9918
|  | 0.935 | 93.9622 | 93.9956
|  | 0.936 | 93.9641 | 93.9971
|  | 0.937 | 93.9648 | 93.9991
|  | 0.938 | 93.9688 | 94.0036
|  | 0.939 | 93.9828 | 94.0098
|  | 0.94 | 93.9886 | 94.0175
|  | 0.941 | 94.0002 | 94.0161
|  | 0.942 | 93.9956 | 94.0149
|  | 0.943 | 94.0087 | 94.0159
|  | 0.944 | 93.9933 | 94.0175
|  | 0.945 | 94.0038 | 94.0213
|  | 0.946 | 94.0028 | 94.0273
|  | 0.947 | 94.0062 | 94.0295
|  | 0.948 | 94.023 | 94.0301
|  | 0.949 | 94.0216 | 94.0322
|  | 0.95 | 94.0231 | 94.0414
|  | 0.951 | 94.0313 | 94.0468
|  | 0.952 | 94.0395 | 94.0507
|  | 0.953 | 94.0362 | 94.0447
|  | 0.954 | 94.0425 | 94.0471
|  | 0.955 | 94.0502 | 94.0501
|  | 0.956 | 94.0511 | 94.0567
|  | 0.957 | 94.061 | 94.0629
|  | 0.958 | 94.0756 | 94.0581
|  | 0.959 | 94.0703 | 94.0618
|  | 0.96 | 94.0789 | 94.0657
|  | 0.961 | 94.0746 | 94.073
|  | 0.962 | 94.081 | 94.0712
|  | 0.963 | 94.0859 | 94.0745
|  | 0.964 | 94.0887 | 94.0789
|  | 0.965 | 94.0888 | 94.0837
|  | 0.966 | 94.0982 | 94.0805
|  | 0.967 | 94.0961 | 94.079
|  | 0.968 | 94.106 | 94.0935
|  | 0.969 | 94.1078 | 94.0853
|  | 0.97 | 94.1137 | 94.0901
|  | 0.971 | 94.1221 | 94.0941
|  | 0.972 | 94.1229 | 94.103
|  | 0.973 | 94.1305 | 94.1075
|  | 0.974 | 94.136 | 94.1046
|  | 0.975 | 94.1502 | 94.1089
|  | 0.976 | 94.1531 | 94.1162
|  | 0.977 | 94.1503 | 94.1187
|  | 0.978 | 94.1518 | 94.1158
|  | 0.979 | 94.1499 | 94.1062
|  | 0.98 | 94.1575 | 94.1094
|  | 0.981 | 94.166 | 94.1207
|  | 0.982 | 94.1626 | 94.1252
|  | 0.983 | 94.1731 | 94.1304
|  | 0.984 | 94.1687 | 94.1301
|  | 0.985 | 94.1796 | 94.1287
|  | 0.986 | 94.1767 | 94.1343
|  | 0.987 | 94.1758 | 94.1291
|  | 0.988 | 94.1788 | 94.1265
|  | 0.989 | 94.1883 | 94.1344
|  | 0.99 | 94.1879 | 94.14
|  | 0.991 | 94.1975 | 94.142
|  | 0.992 | 94.1942 | 94.1437
|  | 0.993 | 94.2009 | 94.1468
|  | 0.994 | 94.2088 | 94.1533
|  | 0.995 | 94.2108 | 94.1523
|  | 0.996 | 94.2111 | 94.1527
|  | 0.997 | 94.2176 | 94.1482
|  | 0.998 | 94.2178 | 94.1496
|  | 0.999 | 94.2173 | 94.1574
|  | 1 | 94.221 | 94.1638
|  | 1.001 | 94.231 | 94.1621
|  | 1.002 | 94.2283 | 94.1568
|  | 1.003 | 94.2329 | 94.1594
|  | 1.004 | 94.2339 | 94.168
|  | 1.005 | 94.2378 | 94.1763
|  | 1.006 | 94.2444 | 94.169
|  | 1.007 | 94.2555 | 94.1701
|  | 1.008 | 94.2565 | 94.1776
|  | 1.009 | 94.2636 | 94.1796
|  | 1.01 | 94.2656 | 94.1772
|  | 1.011 | 94.2641 | 94.1769
|  | 1.012 | 94.2662 | 94.1789
|  | 1.013 | 94.2673 | 94.1858
|  | 1.014 | 94.2726 | 94.1862
|  | 1.015 | 94.2782 | 94.1883
|  | 1.016 | 94.2741 | 94.1926
|  | 1.017 | 94.2814 | 94.1966
|  | 1.018 | 94.2831 | 94.1944
|  | 1.019 | 94.2895 | 94.1955
|  | 1.02 | 94.2941 | 94.1949
|  | 1.021 | 94.287 | 94.1965
|  | 1.022 | 94.2989 | 94.2009
|  | 1.023 | 94.3018 | 94.1998
|  | 1.024 | 94.2991 | 94.1989
|  | 1.025 | 94.3024 | 94.2021
|  | 1.026 | 94.3044 | 94.2132
|  | 1.027 | 94.3083 | 94.2049
|  | 1.028 | 94.3119 | 94.2112
|  | 1.029 | 94.3174 | 94.2096
|  | 1.03 | 94.324 | 94.2192
|  | 1.031 | 94.328 | 94.2198
|  | 1.032 | 94.328 | 94.22
|  | 1.033 | 94.3379 | 94.2301
|  | 1.034 | 94.3417 | 94.2323
|  | 1.035 | 94.3422 | 94.2308
|  | 1.036 | 94.3388 | 94.2285
|  | 1.037 | 94.3437 | 94.234
|  | 1.038 | 94.3467 | 94.2395
|  | 1.039 | 94.3512 | 94.2321
|  | 1.04 | 94.3567 | 94.235
|  | 1.041 | 94.3613 | 94.2429
|  | 1.042 | 94.3617 | 94.2427
|  | 1.043 | 94.3671 | 94.2425
|  | 1.044 | 94.3668 | 94.2423
|  | 1.045 | 94.3694 | 94.2451
|  | 1.046 | 94.3683 | 94.2444
|  | 1.047 | 94.3697 | 94.2435
|  | 1.048 | 94.3739 | 94.2543
|  | 1.049 | 94.3755 | 94.2572
|  | 1.05 | 94.3835 | 94.2524
|  | 1.051 | 94.3768 | 94.2679
|  | 1.052 | 94.3825 | 94.2642
|  | 1.053 | 94.3871 | 94.2611
|  | 1.054 | 94.388 | 94.2613
|  | 1.055 | 94.395 | 94.2695
|  | 1.056 | 94.3941 | 94.2618
|  | 1.057 | 94.3978 | 94.2709
|  | 1.058 | 94.3948 | 94.2722
|  | 1.059 | 94.4024 | 94.2763
|  | 1.06 | 94.4013 | 94.2704
|  | 1.061 | 94.4091 | 94.2782
|  | 1.062 | 94.4068 | 94.2761
|  | 1.063 | 94.4057 | 94.279
|  | 1.064 | 94.4122 | 94.2811
|  | 1.065 | 94.4149 | 94.2775
|  | 1.066 | 94.4176 | 94.2847
|  | 1.067 | 94.4112 | 94.2844
|  | 1.068 | 94.4199 | 94.2913
|  | 1.069 | 94.4199 | 94.29
|  | 1.07 | 94.4331 | 94.2886
|  | 1.071 | 94.4266 | 94.289
|  | 1.072 | 94.4385 | 94.2933
|  | 1.073 | 94.4404 | 94.2945
|  | 1.074 | 94.4323 | 94.2906
|  | 1.075 | 94.4379 | 94.2961
|  | 1.076 | 94.4337 | 94.2992
|  | 1.077 | 94.442 | 94.302
|  | 1.078 | 94.4369 | 94.2933
|  | 1.079 | 94.4422 | 94.3079
|  | 1.08 | 94.444 | 94.3153
|  | 1.081 | 94.4451 | 94.3091
|  | 1.082 | 94.4521 | 94.3147
|  | 1.083 | 94.4532 | 94.3168
|  | 1.084 | 94.4496 | 94.3155
|  | 1.085 | 94.4577 | 94.3142
|  | 1.086 | 94.4548 | 94.3133
|  | 1.087 | 94.4614 | 94.3166
|  | 1.088 | 94.4677 | 94.3161
|  | 1.089 | 94.4733 | 94.3224
|  | 1.09 | 94.4652 | 94.3187
|  | 1.091 | 94.4605 | 94.3213
|  | 1.092 | 94.458 | 94.3191
|  | 1.093 | 94.4691 | 94.3242
|  | 1.094 | 94.4654 | 94.326
|  | 1.095 | 94.468 | 94.3304
|  | 1.096 | 94.4777 | 94.3336
|  | 1.097 | 94.4683 | 94.3322
|  | 1.098 | 94.4742 | 94.3289
|  | 1.099 | 94.4729 | 94.3271
|  | 1.1 | 94.4681 | 94.331
|  | 1.101 | 94.476 | 94.3285
|  | 1.102 | 94.476 | 94.3364
|  | 1.103 | 94.4846 | 94.3391
|  | 1.104 | 94.4843 | 94.3365
|  | 1.105 | 94.4852 | 94.3404
|  | 1.106 | 94.4933 | 94.3338
|  | 1.107 | 94.4879 | 94.3401
|  | 1.108 | 94.4891 | 94.3361
|  | 1.109 | 94.4958 | 94.3415
|  | 1.11 | 94.498 | 94.3442
|  | 1.111 | 94.5013 | 94.346
|  | 1.112 | 94.5008 | 94.3489
|  | 1.113 | 94.51 | 94.3492
|  | 1.114 | 94.5093 | 94.3514
|  | 1.115 | 94.5106 | 94.3526
|  | 1.116 | 94.5119 | 94.3565
|  | 1.117 | 94.5048 | 94.3559
|  | 1.118 | 94.5092 | 94.3497
|  | 1.119 | 94.5147 | 94.3594
|  | 1.12 | 94.5862 | 94.3714
|  | 1.121 | 94.5648 | 94.4234
|  | 1.122 | 94.6003 | 94.3992
|  | 1.123 | 94.5793 | 94.4095
|  | 1.124 | 94.6086 | 94.4335
|  | 1.125 | 94.5776 | 94.4177
|  | 1.126 | 94.6043 | 94.445
|  | 1.127 | 94.6112 | 94.4398
|  | 1.128 | 94.6144 | 94.4339
|  | 1.129 | 94.5983 | 94.4509
|  | 1.13 | 94.5825 | 94.4294
|  | 1.131 | 94.5964 | 94.4535
|  | 1.132 | 94.5808 | 94.42
|  | 1.133 | 94.6031 | 94.4093
|  | 1.134 | 94.6018 | 94.416
|  | 1.135 | 94.5987 | 94.4127
|  | 1.136 | 94.603 | 94.4308
|  | 1.137 | 94.6794 | 94.4039
|  | 1.138 | 94.582 | 94.407
|  | 1.139 | 94.6116 | 94.3546
|  | 1.14 | 94.5861 | 94.4033
|  | 1.141 | 94.6266 | 94.3926
|  | 1.142 | 94.6048 | 94.4265
|  | 1.143 | 94.6138 | 94.4101
|  | 1.144 | 94.6273 | 94.408
|  | 1.145 | 94.5911 | 94.3997
|  | 1.146 | 94.6427 | 94.3987
|  | 1.147 | 94.6206 | 94.3968
|  | 1.148 | 94.6166 | 94.4065
|  | 1.149 | 94.6451 | 94.4087
|  | 1.15 | 94.5925 | 94.387
|  | 1.151 | 94.6256 | 94.3833
|  | 1.152 | 94.5986 | 94.4094
|  | 1.153 | 94.5895 | 94.4035
|  | 1.154 | 94.6137 | 94.3966
|  | 1.155 | 94.6037 | 94.4298
|  | 1.156 | 94.6351 | 94.4112
|  | 1.157 | 94.5889 | 94.3887
|  | 1.158 | 94.634 | 94.4114
|  | 1.159 | 94.6029 | 94.4027
|  | 1.16 | 94.6209 | 94.4156
|  | 1.161 | 94.6274 | 94.4194
|  | 1.162 | 94.6131 | 94.4142
|  | 1.163 | 94.6656 | 94.4288
|  | 1.164 | 94.599 | 94.3855
|  | 1.165 | 94.6249 | 94.396
|  | 1.166 | 94.6284 | 94.4162
|  | 1.167 | 94.582 | 94.3646
|  | 1.168 | 94.6162 | 94.4026
|  | 1.169 | 94.6178 | 94.4103
|  | 1.17 | 94.6282 | 94.4018
|  | 1.171 | 94.6136 | 94.3936
|  | 1.172 | 94.6162 | 94.4032
|  | 1.173 | 94.6557 | 94.4121
|  | 1.174 | 94.63 | 94.4063
|  | 1.175 | 94.6181 | 94.4087
|  | 1.176 | 94.6171 | 94.4121
|  | 1.177 | 94.6212 | 94.4128
|  | 1.178 | 94.6387 | 94.4228
|  | 1.179 | 94.6346 | 94.4131
|  | 1.18 | 94.635 | 94.4226
|  | 1.181 | 94.6403 | 94.4179
|  | 1.182 | 94.6304 | 94.4191
|  | 1.183 | 94.6426 | 94.4127
|  | 1.184 | 94.6429 | 94.4275
|  | 1.185 | 94.6476 | 94.4168
|  | 1.186 | 94.6214 | 94.4043
|  | 1.187 | 94.6424 | 94.4197
|  | 1.188 | 94.6483 | 94.416
|  | 1.189 | 94.6285 | 94.4221
|  | 1.19 | 94.6328 | 94.4046
|  | 1.191 | 94.646 | 94.4196
|  | 1.192 | 94.6295 | 94.4254
|  | 1.193 | 94.6392 | 94.4276
|  | 1.194 | 94.6368 | 94.3982
|  | 1.195 | 94.6361 | 94.4288
|  | 1.196 | 94.6314 | 94.4167
|  | 1.197 | 94.6461 | 94.418
|  | 1.198 | 94.6304 | 94.4154
|  | 1.199 | 94.6298 | 94.4192
|  | 1.2 | 94.6603 | 94.4308
|  | 1.201 | 94.6437 | 94.4271
|  | 1.202 | 94.6381 | 94.4128
|  | 1.203 | 94.6435 | 94.4408
|  | 1.204 | 94.6363 | 94.4098
|  | 1.205 | 94.6125 | 94.4025
|  | 1.206 | 94.6315 | 94.4067
|  | 1.207 | 94.635 | 94.4073
|  | 1.208 | 94.6387 | 94.4107
|  | 1.209 | 94.6399 | 94.4038
|  | 1.21 | 94.5865 | 94.2787
|  | 1.211 | 94.6224 | 94.4032
|  | 1.212 | 94.6374 | 94.4015
|  | 1.213 | 94.6225 | 94.3929
|  | 1.214 | 94.6278 | 94.3994
|  | 1.215 | 94.6236 | 94.3974
|  | 1.216 | 94.6213 | 94.3909
|  | 1.217 | 94.6217 | 94.3851
|  | 1.218 | 94.6425 | 94.5277
|  | 1.219 | 94.6353 | 94.401
|  | 1.22 | 94.6261 | 94.3939
|  | 1.221 | 94.6272 | 94.39
|  | 1.222 | 94.6312 | 94.4074
|  | 1.223 | 94.6421 | 94.4026
|  | 1.224 | 94.6282 | 94.4031
|  | 1.225 | 94.6228 | 94.3945
|  | 1.226 | 94.649 | 94.4148
|  | 1.227 | 94.6471 | 94.4182
|  | 1.228 | 94.6395 | 94.4117
|  | 1.229 | 94.6158 | 94.3815
|  | 1.23 | 94.6589 | 94.4064
|  | 1.231 | 94.6499 | 94.429
|  | 1.232 | 94.651 | 94.4254
|  | 1.233 | 94.6638 | 94.3557
|  | 1.234 | 94.5664 | 94.4009
|  | 1.235 | 94.637 | 94.4107
|  | 1.236 | 94.6393 | 94.4422
|  | 1.237 | 94.6684 | 94.4066
|  | 1.238 | 94.5947 | 94.4084
|  | 1.239 | 94.6303 | 94.4078
|  | 1.24 | 94.6352 | 94.4163
|  | 1.241 | 94.623 | 94.424
|  | 1.242 | 94.6479 | 94.4044
|  | 1.243 | 94.615 | 94.3956
|  | 1.244 | 94.6382 | 94.3972
|  | 1.245 | 94.6343 | 94.4359
|  | 1.246 | 94.6345 | 94.3964
|  | 1.247 | 94.6316 | 94.3901
|  | 1.248 | 94.6342 | 94.4034
|  | 1.249 | 94.6352 | 94.3972
|  | 1.25 | 94.632 | 94.4024
|  | 1.251 | 94.6303 | 94.4119
|  | 1.252 | 94.6408 | 94.3956
|  | 1.253 | 94.582 | 94.399
|  | 1.254 | 94.6384 | 94.4043
|  | 1.255 | 94.637 | 94.4153
|  | 1.256 | 94.6338 | 94.4114
|  | 1.257 | 94.6362 | 94.3979
|  | 1.258 | 94.6377 | 94.3783
|  | 1.259 | 94.5734 | 94.3961
|  | 1.26 | 94.6258 | 94.3962
|  | 1.261 | 94.6293 | 94.3987
|  | 1.262 | 94.6304 | 94.4013
|  | 1.263 | 94.6221 | 94.6398
|  | 1.264 | 94.62 | 94.3923
|  | 1.265 | 94.618 | 94.3939
|  | 1.266 | 94.6155 | 94.3976
|  | 1.267 | 94.6302 | 94.3882
|  | 1.268 | 94.638 | 94.3905
|  | 1.269 | 94.6268 | 94.3941
|  | 1.27 | 94.6295 | 94.4519
|  | 1.271 | 94.6399 | 94.4133
|  | 1.272 | 94.6371 | 94.4001
|  | 1.273 | 94.6231 | 94.391
|  | 1.274 | 94.6181 | 94.3857
|  | 1.275 | 94.6513 | 94.4051
|  | 1.276 | 94.6437 | 94.4063
|  | 1.277 | 94.6412 | 94.4073
|  | 1.278 | 94.6372 | 94.403
|  | 1.279 | 94.6021 | 94.3849
|  | 1.28 | 94.631 | 94.3881
|  | 1.281 | 94.6446 | 94.4269
|  | 1.282 | 94.6438 | 94.4144
|  | 1.283 | 94.6459 | 94.4067
|  | 1.284 | 94.641 | 94.404
|  | 1.285 | 94.6388 | 94.4121
|  | 1.286 | 94.6419 | 94.4095
|  | 1.287 | 94.64 | 94.4098
|  | 1.288 | 94.6034 | 94.3618
|  | 1.289 | 94.6473 | 94.4208
|  | 1.29 | 94.6402 | 94.4109
|  | 1.291 | 94.6467 | 94.4086
|  | 1.292 | 94.6434 | 94.4075
|  | 1.293 | 94.641 | 94.4083
|  | 1.294 | 94.6482 | 94.4078
|  | 1.295 | 94.6431 | 94.4086
|  | 1.296 | 94.6389 | 94.4076
|  | 1.297 | 94.6443 | 94.4057
|  | 1.298 | 94.6444 | 94.4076
|  | 1.299 | 94.6365 | 94.407
|  | 1.3 | 94.6086 | 94.4043
|  | 1.301 | 94.6321 | 94.4161
|  | 1.302 | 94.6438 | 94.4072
|  | 1.303 | 94.646 | 94.4085
|  | 1.304 | 94.6384 | 94.4047
|  | 1.305 | 94.6731 | 94.4102
|  | 1.306 | 94.6415 | 94.3649
|  | 1.307 | 94.6384 | 94.4484
|  | 1.308 | 94.6345 | 94.4021
|  | 1.309 | 94.6365 | 94.4
|  | 1.31 | 94.6333 | 94.4069
|  | 1.311 | 94.634 | 94.4044
|  | 1.312 | 94.6249 | 94.4011
|  | 1.313 | 94.6161 | 94.5969
|  | 1.314 | 94.6199 | 94.4215
|  | 1.315 | 94.6317 | 94.3902
|  | 1.316 | 94.6347 | 94.4014
|  | 1.317 | 94.636 | 94.405
|  | 1.318 | 94.6339 | 94.3925
|  | 1.319 | 94.6305 | 94.4049
|  | 1.32 | 94.6422 | 94.4097
|  | 1.321 | 94.6378 | 94.4041
|  | 1.322 | 94.6348 | 94.4053
|  | 1.323 | 94.6389 | 94.4048
|  | 1.324 | 94.6384 | 94.4062
|  | 1.325 | 94.6427 | 94.4046
|  | 1.326 | 94.6359 | 94.4039
|  | 1.327 | 94.641 | 94.4069
|  | 1.328 | 94.6467 | 94.4027
|  | 1.329 | 94.6429 | 94.4021
|  | 1.33 | 94.6389 | 94.4057
|  | 1.331 | 94.6299 | 94.3995
|  | 1.332 | 94.6333 | 94.3992
|  | 1.333 | 94.6388 | 94.4033
|  | 1.334 | 94.6291 | 94.3993
|  | 1.335 | 94.6261 | 94.4041
|  | 1.336 | 94.633 | 94.4022
|  | 1.337 | 94.656 | 94.4074
|  | 1.338 | 94.6413 | 94.4114
|  | 1.339 | 94.6351 | 94.4226
|  | 1.34 | 94.6373 | 94.4225
|  | 1.341 | 94.6536 | 94.4224
|  | 1.342 | 94.6577 | 94.424
|  | 1.343 | 94.6558 | 94.4073
|  | 1.344 | 94.6501 | 94.404
|  | 1.345 | 94.6573 | 94.4051
|  | 1.346 | 94.6388 | 94.4128
|  | 1.347 | 94.6431 | 94.4019
|  | 1.348 | 94.6382 | 94.408
|  | 1.349 | 94.6388 | 94.4039
|  | 1.35 | 94.6412 | 94.3963
|  | 1.351 | 94.6355 | 94.3987
|  | 1.352 | 94.6397 | 94.4042
|  | 1.353 | 94.6445 | 94.394
|  | 1.354 | 94.6388 | 94.3964
|  | 1.355 | 94.6305 | 94.3906
|  | 1.356 | 94.6401 | 94.406
|  | 1.357 | 94.6389 | 94.3982
|  | 1.358 | 94.6196 | 94.3978
|  | 1.359 | 94.6191 | 94.3955
|  | 1.36 | 94.6247 | 94.397
|  | 1.361 | 94.6148 | 94.3962
|  | 1.362 | 94.6185 | 94.4014
|  | 1.363 | 94.6217 | 94.3981
|  | 1.364 | 94.6305 | 94.3888
|  | 1.365 | 94.6229 | 94.3947
|  | 1.366 | 94.6148 | 94.3903
|  | 1.367 | 94.6039 | 94.3859
|  | 1.368 | 94.6125 | 94.3796
|  | 1.369 | 94.6124 | 94.383
|  | 1.37 | 94.61 | 94.3786
|  | 1.371 | 94.6226 | 94.3699
|  | 1.372 | 94.598 | 94.3573
|  | 1.373 | 94.605 | 94.3691
|  | 1.374 | 94.6143 | 94.3625
|  | 1.375 | 94.5916 | 94.3551
|  | 1.376 | 94.5844 | 94.345
|  | 1.377 | 94.5919 | 94.3359
|  | 1.378 | 94.5985 | 94.3411
|  | 1.379 | 94.5653 | 94.3248
|  | 1.38 | 94.5611 | 94.3263
|  | 1.381 | 94.5526 | 94.3236
|  | 1.382 | 94.5523 | 94.3162
|  | 1.383 | 94.573 | 94.3143
|  | 1.384 | 94.5667 | 94.3206
|  | 1.385 | 94.5716 | 94.3284
|  | 1.386 | 94.5704 | 94.3354
|  | 1.387 | 94.5963 | 94.3293
|  | 1.388 | 94.579 | 94.3142
|  | 1.389 | 94.591 | 94.3307
|  | 1.39 | 94.6038 | 94.3335
|  | 1.391 | 94.5912 | 94.3412
|  | 1.392 | 94.5941 | 94.3472
|  | 1.393 | 94.5886 | 94.3452
|  | 1.394 | 94.6034 | 94.3533
|  | 1.395 | 94.6096 | 94.3287
|  | 1.396 | 94.6082 | 94.3626
|  | 1.397 | 94.6172 | 94.3497
|  | 1.398 | 94.6087 | 94.357
|  | 1.399 | 94.6271 | 94.3616
|  | 1.4 | 94.621 | 94.3784
|  | 1.401 | 94.622 | 94.376
|  | 1.402 | 94.6195 | 94.3814
|  | 1.403 | 94.6289 | 94.3825
|  | 1.404 | 94.6178 | 94.3899
|  | 1.405 | 94.6181 | 94.3878
|  | 1.406 | 94.6213 | 94.3839
|  | 1.407 | 94.6215 | 94.4049
|  | 1.408 | 94.6275 | 94.4021
|  | 1.409 | 94.6412 | 94.38
|  | 1.41 | 94.6295 | 94.3857
|  | 1.411 | 94.635 | 94.3872
|  | 1.412 | 94.6614 | 94.3688
|  | 1.413 | 94.6823 | 94.3913
|  | 1.414 | 94.6465 | 94.3757
|  | 1.415 | 94.6289 | 94.351
|  | 1.416 | 94.6525 | 94.3984
|  | 1.417 | 94.6501 | 94.3648
|  | 1.418 | 94.6606 | 94.3877
|  | 1.419 | 94.661 | 94.3704
|  | 1.42 | 94.645 | 94.3517
|  | 1.421 | 94.6388 | 94.39
|  | 1.422 | 94.6459 | 94.4027
|  | 1.423 | 94.6458 | 94.388
|  | 1.424 | 94.674 | 94.34
|  | 1.425 | 94.6542 | 94.4
|  | 1.426 | 94.6567 | 94.4018
|  | 1.427 | 94.6526 | 94.3993
|  | 1.428 | 94.6564 | 94.3975
|  | 1.429 | 94.6486 | 94.3964
|  | 1.43 | 94.6595 | 94.4002
|  | 1.431 | 94.6557 | 94.4127
|  | 1.432 | 94.6567 | 94.4048
|  | 1.433 | 94.6602 | 94.4111
|  | 1.434 | 94.6491 | 94.4161
|  | 1.435 | 94.6573 | 94.4037
|  | 1.436 | 94.6601 | 94.4095
|  | 1.437 | 94.6608 | 94.4083
|  | 1.438 | 94.6572 | 94.4095
|  | 1.439 | 94.6583 | 94.4046
|  | 1.44 | 94.6597 | 94.4158
|  | 1.441 | 94.653 | 94.4094
|  | 1.442 | 94.6571 | 94.4068
|  | 1.443 | 94.667 | 94.3216
|  | 1.444 | 94.6416 | 94.5535
|  | 1.445 | 94.6621 | 94.4088
|  | 1.446 | 94.658 | 94.4098
|  | 1.447 | 94.6576 | 94.4119
|  | 1.448 | 94.6587 | 94.4104
|  | 1.449 | 94.6625 | 94.4109
|  | 1.45 | 94.6673 | 94.4141
|  | 1.451 | 94.6655 | 94.4158
|  | 1.452 | 94.6616 | 94.4122
|  | 1.453 | 94.6716 | 94.4178
|  | 1.454 | 94.6745 | 94.4141
|  | 1.455 | 94.6706 | 94.4118
|  | 1.456 | 94.6763 | 94.4212
|  | 1.457 | 94.7018 | 94.4341
|  | 1.458 | 94.6816 | 94.4236
|  | 1.459 | 94.6667 | 94.4203
|  | 1.46 | 94.6721 | 94.3883
|  | 1.461 | 94.6725 | 94.4135
|  | 1.462 | 94.7 | 94.4233
|  | 1.463 | 94.6921 | 94.4634
|  | 1.464 | 94.6771 | 94.4192
|  | 1.465 | 94.7089 | 94.4135
|  | 1.466 | 94.6687 | 94.4838
|  | 1.467 | 94.6642 | 94.4261
|  | 1.468 | 94.6707 | 94.4205
|  | 1.469 | 94.6719 | 94.4098
|  | 1.47 | 94.6699 | 94.4183
|  | 1.471 | 94.666 | 94.4198
|  | 1.472 | 94.6705 | 94.4154
|  | 1.473 | 94.6852 | 94.4227
|  | 1.474 | 94.6524 | 94.4361
|  | 1.475 | 94.6724 | 94.4304
|  | 1.476 | 94.6706 | 94.4002
|  | 1.477 | 94.6683 | 94.4182
|  | 1.478 | 94.6664 | 94.4079
|  | 1.479 | 94.6721 | 94.4187
|  | 1.48 | 94.6719 | 94.4415
|  | 1.481 | 94.6746 | 94.4237
|  | 1.482 | 94.6795 | 94.425
|  | 1.483 | 94.6701 | 94.4288
|  | 1.484 | 94.6872 | 94.4263
|  | 1.485 | 94.6722 | 94.4199
|  | 1.486 | 94.6429 | 94.4152
|  | 1.487 | 94.6708 | 94.4081
|  | 1.488 | 94.6706 | 94.4205
|  | 1.489 | 94.6779 | 94.44
|  | 1.49 | 94.6785 | 94.4298
|  | 1.491 | 94.7049 | 94.4117
|  | 1.492 | 94.6907 | 94.4067
|  | 1.493 | 94.628 | 94.4165
|  | 1.494 | 94.6661 | 94.4309
|  | 1.495 | 94.6765 | 94.474
|  | 1.496 | 94.7049 | 94.4376
|  | 1.497 | 94.6791 | 94.4261
|  | 1.498 | 94.6428 | 94.4166
|  | 1.499 | 94.669 | 94.4379
|  | 1.5 | 94.6923 | 94.4454
|  | 1.501 | 94.6943 | 94.4309
|  | 1.502 | 94.6517 | 94.423
|  | 1.503 | 94.677 | 94.4384
|  | 1.504 | 94.6918 | 94.4518
|  | 1.505 | 94.6962 | 94.4312
|  | 1.506 | 94.6414 | 94.426
|  | 1.507 | 94.669 | 94.3436
|  | 1.508 | 94.6856 | 94.4518
|  | 1.509 | 94.7086 | 94.4295
|  | 1.51 | 94.6785 | 94.4212
|  | 1.511 | 94.6841 | 94.3698
|  | 1.512 | 94.6051 | 94.4645
|  | 1.513 | 94.7315 | 94.428
|  | 1.514 | 94.675 | 94.4213
|  | 1.515 | 94.6732 | 94.4158
|  | 1.516 | 94.6741 | 94.414
|  | 1.517 | 94.7001 | 94.4543
|  | 1.518 | 94.6896 | 94.4252
|  | 1.519 | 94.6779 | 94.4288
|  | 1.52 | 94.6667 | 94.4286
|  | 1.521 | 94.6714 | 94.3903
|  | 1.522 | 94.6808 | 94.4485
|  | 1.523 | 94.6755 | 94.4388
|  | 1.524 | 94.6831 | 94.4335
|  | 1.525 | 94.6972 | 94.4046
|  | 1.526 | 94.6798 | 94.4377
|  | 1.527 | 94.675 | 94.4419
|  | 1.528 | 94.6888 | 94.4451
|  | 1.529 | 94.6987 | 94.3954
|  | 1.53 | 94.6742 | 94.4203
|  | 1.531 | 94.6812 | 94.4535
|  | 1.532 | 94.6759 | 94.4369
|  | 1.533 | 94.6943 | 94.3877
|  | 1.534 | 94.6952 | 94.4533
|  | 1.535 | 94.7103 | 94.443
|  | 1.536 | 94.7075 | 94.3961
|  | 1.537 | 94.7003 | 94.4492
|  | 1.538 | 94.6957 | 94.4337
|  | 1.539 | 94.707 | 94.4174
|  | 1.54 | 94.7131 | 94.4467
|  | 1.541 | 94.6973 | 94.4417
|  | 1.542 | 94.6837 | 94.4136
|  | 1.543 | 94.6908 | 94.4397
|  | 1.544 | 94.6898 | 94.4279
|  | 1.545 | 94.674 | 94.4077
|  | 1.546 | 94.6974 | 94.4389
|  | 1.547 | 94.6879 | 94.4498
|  | 1.548 | 94.6668 | 94.4156
|  | 1.549 | 94.665 | 94.418
|  | 1.55 | 94.7103 | 94.4647
|  | 1.551 | 94.6633 | 94.3959
|  | 1.552 | 94.6949 | 94.4213
|  | 1.553 | 94.664 | 94.46
|  | 1.554 | 94.6828 | 94.4131
|  | 1.555 | 94.6827 | 94.4171
|  | 1.556 | 94.7051 | 94.462
|  | 1.557 | 94.699 | 94.41
|  | 1.558 | 94.7135 | 94.4501
|  | 1.559 | 94.6998 | 94.438
|  | 1.56 | 94.7157 | 94.4691
|  | 1.561 | 94.7008 | 94.4532
|  | 1.562 | 94.6992 | 94.3782
|  | 1.563 | 94.7232 | 94.438
|  | 1.564 | 94.7006 | 94.4548
|  | 1.565 | 94.6675 | 94.3795
|  | 1.566 | 94.7017 | 94.4427
|  | 1.567 | 94.6824 | 94.4534
|  | 1.568 | 94.6891 | 94.3751
|  | 1.569 | 94.6822 | 94.4423
|  | 1.57 | 94.6779 | 94.437
|  | 1.571 | 94.7133 | 94.4221
|  | 1.572 | 94.6772 | 94.4214
|  | 1.573 | 94.6608 | 94.4494
|  | 1.574 | 94.6959 | 94.3967
|  | 1.575 | 94.6928 | 94.4315
|  | 1.576 | 94.6942 | 94.3952
|  | 1.577 | 94.6929 | 94.4227
|  | 1.578 | 94.6658 | 94.4252
|  | 1.579 | 94.6839 | 94.42
|  | 1.58 | 94.6781 | 94.4078
|  | 1.581 | 94.6882 | 94.4197
|  | 1.582 | 94.6842 | 94.4052
|  | 1.583 | 94.6757 | 94.4186
|  | 1.584 | 94.6862 | 94.4448
|  | 1.585 | 94.6918 | 94.4261
|  | 1.586 | 94.6871 | 94.4615
|  | 1.587 | 94.7029 | 94.4542
|  | 1.588 | 94.6933 | 94.4418
|  | 1.589 | 94.693 | 94.46
|  | 1.59 | 94.7049 | 94.4415
|  | 1.591 | 94.674 | 94.4542
|  | 1.592 | 94.7041 | 94.4507
|  | 1.593 | 94.6816 | 94.4366
|  | 1.594 | 94.6968 | 94.4579
|  | 1.595 | 94.6786 | 94.4578
|  | 1.596 | 94.6878 | 94.4503
|  | 1.597 | 94.7025 | 94.4552
|  | 1.598 | 94.694 | 94.4474
|  | 1.599 | 94.6819 | 94.435
|  | 1.6 | 94.6903 | 94.4215