## Transmission
TL15X-2P Transmission
|  | Wavelength (nm) | % Transmission
|  | 300 | 0
|  | 302 | 0
|  | 304 | -0.019667
|  | 306 | -9.802e-05
Product Raw Data |  | 308 | 0
Thorlabs Plan Apochromatic VIS+ Microscope Objective, 15X Magnification |  | 310 | 0.020173
|  | 312 | 0.030047
|  | 314 | 0
Item # | TL15X-2P | 316 | 0.00040859
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 318 | 0.00040859
|  | 320 | 0.00020682
|  | 322 | -0.021054
|  | 324 | 0
|  | 326 | 0
|  | 328 | -0.011126
This data may be used in publications. However, please cite Thorlabs as the source. |  | 330 | -0.011312
|  | 332 | 0.00011488
|  | 334 | -0.023738
Additional Information: |  | 336 | 0
|  | 338 | 0.0376
|  | 340 | 0.025411
|  | 342 | 0.026221
|  | 344 | 0
|  | 346 | -0.01388
|  | 348 | 0
|  | 350 | 0
|  | 352 | 0.020904
|  | 354 | 0.10554
|  | 356 | 0.26216
|  | 358 | 0.72492
|  | 360 | 1.9045
|  | 362 | 3.7491
|  | 364 | 6.7398
|  | 366 | 11.0831
|  | 368 | 16.3156
|  | 370 | 22.0907
|  | 372 | 28.84
|  | 374 | 35.2569
|  | 376 | 40.7872
|  | 378 | 45.8856
|  | 380 | 50.1105
|  | 382 | 54.2024
|  | 384 | 57.5971
|  | 386 | 59.7991
|  | 388 | 62.0475
|  | 390 | 63.2573
|  | 392 | 63.6255
|  | 394 | 64.4653
|  | 396 | 65.4098
|  | 398 | 65.8334
|  | 400 | 66.7284
|  | 402 | 67.6325
|  | 404 | 68.0214
|  | 406 | 68.705
|  | 408 | 68.916
|  | 410 | 68.7957
|  | 412 | 69.6992
|  | 414 | 71.3399
|  | 416 | 71.8575
|  | 418 | 72.3296
|  | 420 | 73.285
|  | 422 | 74.0364
|  | 424 | 74.2899
|  | 426 | 74.9459
|  | 428 | 75.2479
|  | 430 | 75.3994
|  | 432 | 76.0717
|  | 434 | 77.6412
|  | 436 | 78.2448
|  | 438 | 77.852
|  | 440 | 77.7762
|  | 442 | 78.0787
|  | 444 | 78.1603
|  | 446 | 77.7874
|  | 448 | 78.1894
|  | 450 | 78.3327
|  | 452 | 78.1796
|  | 454 | 78.2311
|  | 456 | 78.7146
|  | 458 | 79.2561
|  | 460 | 78.6298
|  | 462 | 77.9181
|  | 464 | 77.7036
|  | 466 | 77.8081
|  | 468 | 77.8272
|  | 470 | 77.3772
|  | 472 | 77.6051
|  | 474 | 78.1701
|  | 476 | 78.4014
|  | 478 | 78.3956
|  | 480 | 78.2932
|  | 482 | 78.4387
|  | 484 | 78.6194
|  | 486 | 78.115
|  | 488 | 77.7617
|  | 490 | 78.0236
|  | 492 | 78.5549
|  | 494 | 79.1385
|  | 496 | 79.1844
|  | 498 | 78.976
|  | 500 | 79.4455
|  | 502 | 80.1765
|  | 504 | 80.6801
|  | 506 | 80.9064
|  | 508 | 80.7047
|  | 510 | 80.5206
|  | 512 | 80.6912
|  | 514 | 80.7029
|  | 516 | 80.4558
|  | 518 | 80.6017
|  | 520 | 81.2323
|  | 522 | 81.9075
|  | 524 | 82.6333
|  | 526 | 82.7931
|  | 528 | 82.3016
|  | 530 | 81.9929
|  | 532 | 82.3326
|  | 534 | 82.6989
|  | 536 | 82.8413
|  | 538 | 82.8147
|  | 540 | 82.4172
|  | 542 | 81.9225
|  | 544 | 81.8194
|  | 546 | 81.9724
|  | 548 | 81.8587
|  | 550 | 81.6213
|  | 552 | 81.7139
|  | 554 | 82.0108
|  | 556 | 82.2841
|  | 558 | 82.5159
|  | 560 | 82.5701
|  | 562 | 82.0512
|  | 564 | 81.2322
|  | 566 | 80.6892
|  | 568 | 80.5807
|  | 570 | 80.5287
|  | 572 | 80.3211
|  | 574 | 80.0913
|  | 576 | 79.7473
|  | 578 | 79.2507
|  | 580 | 78.927
|  | 582 | 78.9781
|  | 584 | 79.1917
|  | 586 | 79.2426
|  | 588 | 78.9866
|  | 590 | 78.7496
|  | 592 | 78.6748
|  | 594 | 78.571
|  | 596 | 78.508
|  | 598 | 78.4941
|  | 600 | 78.4269
|  | 602 | 78.1161
|  | 604 | 77.5491
|  | 606 | 77.0406
|  | 608 | 76.8823
|  | 610 | 76.9349
|  | 612 | 76.9851
|  | 614 | 76.9466
|  | 616 | 76.8784
|  | 618 | 76.8152
|  | 620 | 76.6943
|  | 622 | 76.6092
|  | 624 | 76.7206
|  | 626 | 77.1167
|  | 628 | 77.6441
|  | 630 | 77.9254
|  | 632 | 77.9231
|  | 634 | 77.7857
|  | 636 | 77.6542
|  | 638 | 77.5535
|  | 640 | 77.4684
|  | 642 | 77.3754
|  | 644 | 77.4363
|  | 646 | 77.6101
|  | 648 | 77.718
|  | 650 | 77.6693
|  | 652 | 77.5594
|  | 654 | 77.5588
|  | 656 | 77.8645
|  | 658 | 78.3108
|  | 660 | 78.6943
|  | 662 | 78.984
|  | 664 | 79.1924
|  | 666 | 79.3632
|  | 668 | 79.5055
|  | 670 | 79.5889
|  | 672 | 79.6417
|  | 674 | 79.8143
|  | 676 | 80.2484
|  | 678 | 80.8839
|  | 680 | 81.4568
|  | 682 | 81.8365
|  | 684 | 81.9252
|  | 686 | 81.8492
|  | 688 | 81.7384
|  | 690 | 81.6332
|  | 692 | 81.5411
|  | 694 | 81.39
|  | 696 | 81.3632
|  | 698 | 81.4896
|  | 700 | 81.762
|  | 702 | 82.1235
|  | 704 | 82.4094
|  | 706 | 82.5844
|  | 708 | 82.6861
|  | 710 | 82.8802
|  | 712 | 83.2994
|  | 714 | 83.7644
|  | 716 | 84.2028
|  | 718 | 84.5293
|  | 720 | 84.7196
|  | 722 | 84.7847
|  | 724 | 84.8252
|  | 726 | 84.8557
|  | 728 | 84.7821
|  | 730 | 84.6369
|  | 732 | 84.5087
|  | 734 | 84.4589
|  | 736 | 84.6032
|  | 738 | 84.8861
|  | 740 | 85.2386
|  | 742 | 85.4608
|  | 744 | 85.555
|  | 746 | 85.3932
|  | 748 | 85.2073
|  | 750 | 84.9928
|  | 752 | 84.7488
|  | 754 | 84.5583
|  | 756 | 84.3841
|  | 758 | 84.2165
|  | 760 | 84.1272
|  | 762 | 84.1498
|  | 764 | 84.2605
|  | 766 | 84.5013
|  | 768 | 84.6882
|  | 770 | 84.7712
|  | 772 | 84.7657
|  | 774 | 84.6311
|  | 776 | 84.5252
|  | 778 | 84.4758
|  | 780 | 84.5728
|  | 782 | 84.6852
|  | 784 | 84.81
|  | 786 | 84.7867
|  | 788 | 84.741
|  | 790 | 84.5824
|  | 792 | 84.3953
|  | 794 | 84.2251
|  | 796 | 84.008
|  | 798 | 83.7489
|  | 800 | 83.4217
|  | 802 | 83.0213
|  | 804 | 82.6086
|  | 806 | 82.3123
|  | 808 | 82.1503
|  | 810 | 82.0591
|  | 812 | 82.0666
|  | 814 | 82.1071
|  | 816 | 82.0536
|  | 818 | 81.9156
|  | 820 | 81.6942
|  | 822 | 81.434
|  | 824 | 81.1307
|  | 826 | 80.879
|  | 828 | 80.7573
|  | 830 | 80.6209
|  | 832 | 80.5174
|  | 834 | 80.4385
|  | 836 | 80.3364
|  | 838 | 80.2956
|  | 840 | 80.2805
|  | 842 | 80.333
|  | 844 | 80.4266
|  | 846 | 80.5107
|  | 848 | 80.5522
|  | 850 | 80.4566
|  | 852 | 80.2751
|  | 854 | 80.0102
|  | 856 | 79.7257
|  | 858 | 79.4936
|  | 860 | 79.2711
|  | 862 | 79.156
|  | 864 | 79.0662
|  | 866 | 79.0382
|  | 868 | 78.9693
|  | 870 | 78.8868
|  | 872 | 78.7843
|  | 874 | 78.6117
|  | 876 | 78.4983
|  | 878 | 78.3683
|  | 880 | 78.2552
|  | 882 | 78.1604
|  | 884 | 78.0029
|  | 886 | 77.8218
|  | 888 | 77.5822
|  | 890 | 77.3368
|  | 892 | 77.1113
|  | 894 | 76.9079
|  | 896 | 76.7842
|  | 898 | 76.7437
|  | 900 | 76.7611
|  | 902 | 76.7987
|  | 904 | 76.8534
|  | 906 | 76.9047
|  | 908 | 76.9125
|  | 910 | 76.8883
|  | 912 | 76.8066
|  | 914 | 76.7147
|  | 916 | 76.6624
|  | 918 | 76.6121
|  | 920 | 76.6372
|  | 922 | 76.6784
|  | 924 | 76.7136
|  | 926 | 76.7934
|  | 928 | 76.8836
|  | 930 | 76.9782
|  | 932 | 77.0749
|  | 934 | 77.1718
|  | 936 | 77.3019
|  | 938 | 77.4562
|  | 940 | 77.5907
|  | 942 | 77.7496
|  | 944 | 77.8746
|  | 946 | 77.9609
|  | 948 | 77.974
|  | 950 | 77.9057
|  | 952 | 77.7446
|  | 954 | 77.522
|  | 956 | 77.3273
|  | 958 | 77.1164
|  | 960 | 76.9367
|  | 962 | 76.8393
|  | 964 | 76.7745
|  | 966 | 76.7304
|  | 968 | 76.7612
|  | 970 | 76.8257
|  | 972 | 76.8554
|  | 974 | 76.92
|  | 976 | 76.927
|  | 978 | 76.9951
|  | 980 | 77.0726
|  | 982 | 77.1716
|  | 984 | 77.285
|  | 986 | 77.3633
|  | 988 | 77.4789
|  | 990 | 77.5733
|  | 992 | 77.5223
|  | 994 | 77.601
|  | 996 | 77.6659
|  | 998 | 77.7189
|  | 1000 | 77.7788
|  | 1002 | 77.8142
|  | 1004 | 77.8773
|  | 1006 | 77.9703
|  | 1008 | 78.1048
|  | 1010 | 78.2709
|  | 1012 | 78.4847
|  | 1014 | 78.7248
|  | 1016 | 78.9733
|  | 1018 | 79.1594
|  | 1020 | 79.3572
|  | 1022 | 79.4907
|  | 1024 | 79.6048
|  | 1026 | 79.694
|  | 1028 | 79.746
|  | 1030 | 79.8222
|  | 1032 | 79.9142
|  | 1034 | 80.0049
|  | 1036 | 80.1359
|  | 1038 | 80.2928
|  | 1040 | 80.4518
|  | 1042 | 80.6127
|  | 1044 | 80.8139
|  | 1046 | 80.9905
|  | 1048 | 81.1548
|  | 1050 | 81.3266
|  | 1052 | 81.4769
|  | 1054 | 81.6423
|  | 1056 | 81.8084
|  | 1058 | 82.0193
|  | 1060 | 82.2084
|  | 1062 | 82.4116
|  | 1064 | 82.6143
|  | 1066 | 82.8102
|  | 1068 | 82.9503
|  | 1070 | 83.0703
|  | 1072 | 83.1291
|  | 1074 | 83.1411
|  | 1076 | 83.1145
|  | 1078 | 83.0277
|  | 1080 | 82.8911
|  | 1082 | 82.752
|  | 1084 | 82.6054
|  | 1086 | 82.4838
|  | 1088 | 82.392
|  | 1090 | 82.3329
|  | 1092 | 82.3453
|  | 1094 | 82.3483
|  | 1096 | 82.4104
|  | 1098 | 82.5108
|  | 1100 | 82.6088
|  | 1102 | 82.7145
|  | 1104 | 82.8643
|  | 1106 | 82.9651
|  | 1108 | 83.1161
|  | 1110 | 83.2395
|  | 1112 | 83.3641
|  | 1114 | 83.5219
|  | 1116 | 83.6986
|  | 1118 | 83.8549
|  | 1120 | 84.0538
|  | 1122 | 84.247
|  | 1124 | 84.424
|  | 1126 | 84.6168
|  | 1128 | 84.7652
|  | 1130 | 84.9267
|  | 1132 | 85.0256
|  | 1134 | 85.1515
|  | 1136 | 85.1885
|  | 1138 | 85.2083
|  | 1140 | 85.2286
|  | 1142 | 85.2194
|  | 1144 | 85.2803
|  | 1146 | 85.2932
|  | 1148 | 85.3376
|  | 1150 | 85.305
|  | 1152 | 85.3923
|  | 1154 | 85.496
|  | 1156 | 85.6104
|  | 1158 | 85.7567
|  | 1160 | 85.9021
|  | 1162 | 86.0259
|  | 1164 | 86.1087
|  | 1166 | 86.1588
|  | 1168 | 86.1991
|  | 1170 | 86.1869
|  | 1172 | 86.1877
|  | 1174 | 86.1159
|  | 1176 | 86.0682
|  | 1178 | 85.9724
|  | 1180 | 85.8985
|  | 1182 | 85.8087
|  | 1184 | 85.7387
|  | 1186 | 85.6864
|  | 1188 | 85.6411
|  | 1190 | 85.6095
|  | 1192 | 85.5891
|  | 1194 | 85.5925
|  | 1196 | 85.5688
|  | 1198 | 85.5667
|  | 1200 | 85.5498
|  | 1202 | 85.5227
|  | 1204 | 85.4729
|  | 1206 | 85.4335
|  | 1208 | 85.3905
|  | 1210 | 85.3373
|  | 1212 | 85.2582
|  | 1214 | 85.2182
|  | 1216 | 85.1565
|  | 1218 | 85.1337
|  | 1220 | 85.0899
|  | 1222 | 85.0741
|  | 1224 | 85.0527
|  | 1226 | 85.0371
|  | 1228 | 85.0063
|  | 1230 | 84.9496
|  | 1232 | 84.8708
|  | 1234 | 84.7986
|  | 1236 | 84.6827
|  | 1238 | 84.5293
|  | 1240 | 84.3629
|  | 1242 | 84.1657
|  | 1244 | 83.9636
|  | 1246 | 83.7245
|  | 1248 | 83.4901
|  | 1250 | 83.263
|  | 1252 | 83.0416
|  | 1254 | 82.8339
|  | 1256 | 82.6431
|  | 1258 | 82.4586
|  | 1260 | 82.2898
|  | 1262 | 82.1529
|  | 1264 | 82.0341
|  | 1266 | 81.9369
|  | 1268 | 81.8497
|  | 1270 | 81.7835
|  | 1272 | 81.6972
|  | 1274 | 81.6256
|  | 1276 | 81.5356
|  | 1278 | 81.4795
|  | 1280 | 81.3841
|  | 1282 | 81.2867
|  | 1284 | 81.1809
|  | 1286 | 81.055
|  | 1288 | 80.9773
|  | 1290 | 80.8357
|  | 1292 | 80.765
|  | 1294 | 80.633
|  | 1296 | 80.5517
|  | 1298 | 80.4274
|  | 1300 | 80.3257
|  | 1302 | 80.2006
|  | 1304 | 80.1271
|  | 1306 | 79.9807
|  | 1308 | 79.8579
|  | 1310 | 79.7342
|  | 1312 | 79.5456
|  | 1314 | 79.4213
|  | 1316 | 79.2219
|  | 1318 | 79.056
|  | 1320 | 78.8145
|  | 1322 | 78.617
|  | 1324 | 78.356
|  | 1326 | 78.1389
|  | 1328 | 77.8999
|  | 1330 | 77.6513
|  | 1332 | 77.4363
|  | 1334 | 77.2023
|  | 1336 | 76.9916
|  | 1338 | 76.7828
|  | 1340 | 76.5857
|  | 1342 | 76.4266
|  | 1344 | 76.2462
|  | 1346 | 76.1127
|  | 1348 | 75.9719
|  | 1350 | 75.8105
|  | 1352 | 75.7075
|  | 1354 | 75.5405
|  | 1356 | 75.41
|  | 1358 | 75.2106
|  | 1360 | 75.0579
|  | 1362 | 74.8986
|  | 1364 | 74.6369
|  | 1366 | 74.4148
|  | 1368 | 74.1662
|  | 1370 | 73.9143
|  | 1372 | 73.5665
|  | 1374 | 73.2338
|  | 1376 | 72.9577
|  | 1378 | 72.6268
|  | 1380 | 72.4019
|  | 1382 | 72.1076
|  | 1384 | 71.69
|  | 1386 | 71.2955
|  | 1388 | 70.9007
|  | 1390 | 70.5156
|  | 1392 | 70.1067
|  | 1394 | 69.7049
|  | 1396 | 69.2933
|  | 1398 | 68.7157
|  | 1400 | 68.3947
|  | 1402 | 67.7616
|  | 1404 | 67.3276
|  | 1406 | 66.8215
|  | 1408 | 66.3245
|  | 1410 | 65.8333
|  | 1412 | 65.3424
|  | 1414 | 64.9227
|  | 1416 | 64.4554
|  | 1418 | 64.1028
|  | 1420 | 63.7122
|  | 1422 | 63.3638
|  | 1424 | 63.0407
|  | 1426 | 62.7492
|  | 1428 | 62.5224
|  | 1430 | 62.2533
|  | 1432 | 62.0937
|  | 1434 | 61.9109
|  | 1436 | 61.7156
|  | 1438 | 61.6505
|  | 1440 | 61.4818
|  | 1442 | 61.377
|  | 1444 | 61.3154
|  | 1446 | 61.1757
|  | 1448 | 61.1109
|  | 1450 | 61.0425
|  | 1452 | 60.8699
|  | 1454 | 60.8434
|  | 1456 | 60.6874
|  | 1458 | 60.5608
|  | 1460 | 60.5139
|  | 1462 | 60.298
|  | 1464 | 60.1873
|  | 1466 | 60.0648
|  | 1468 | 59.8338
|  | 1470 | 59.7517
|  | 1472 | 59.5502
|  | 1474 | 59.3162
|  | 1476 | 59.1942
|  | 1478 | 58.9474
|  | 1480 | 58.7509
|  | 1482 | 58.6065
|  | 1484 | 58.3526
|  | 1486 | 58.2165
|  | 1488 | 58.068
|  | 1490 | 57.8838
|  | 1492 | 57.7413
|  | 1494 | 57.6034
|  | 1496 | 57.4182
|  | 1498 | 57.2793
|  | 1500 | 57.1258
|  | 1502 | 56.9706
|  | 1504 | 56.8063
|  | 1506 | 56.672
|  | 1508 | 56.5059
|  | 1510 | 56.3375
|  | 1512 | 56.1966
|  | 1514 | 56.021
|  | 1516 | 55.8332
|  | 1518 | 55.6975
|  | 1520 | 55.5203
|  | 1522 | 55.3019
|  | 1524 | 55.1773
|  | 1526 | 54.9986
|  | 1528 | 54.758
|  | 1530 | 54.6397
|  | 1532 | 54.4256
|  | 1534 | 54.1893
|  | 1536 | 54.0783
|  | 1538 | 53.8674
|  | 1540 | 53.6312
|  | 1542 | 53.524
|  | 1544 | 53.3078
|  | 1546 | 53.05
|  | 1548 | 52.9758
|  | 1550 | 52.7511
|  | 1552 | 52.496
|  | 1554 | 52.3867
|  | 1556 | 52.1925
|  | 1558 | 51.9233
|  | 1560 | 51.8241
|  | 1562 | 51.6383
|  | 1564 | 51.3557
|  | 1566 | 51.2201
|  | 1568 | 51.0473
|  | 1570 | 50.7634
|  | 1572 | 50.5926
|  | 1574 | 50.4324
|  | 1576 | 50.1547
|  | 1578 | 49.9329
|  | 1580 | 49.7845
|  | 1582 | 49.5324
|  | 1584 | 49.285
|  | 1586 | 49.129
|  | 1588 | 48.8941
|  | 1590 | 48.6241
|  | 1592 | 48.4613
|  | 1594 | 48.2638
|  | 1596 | 48.0024
|  | 1598 | 47.8296
|  | 1600 | 47.6135
|  | 1602 | 47.4264
|  | 1604 | 47.2049
|  | 1606 | 47.0215
|  | 1608 | 46.8337
|  | 1610 | 46.652
|  | 1612 | 46.4515
|  | 1614 | 46.2994
|  | 1616 | 46.1387
|  | 1618 | 45.9259
|  | 1620 | 45.7536
|  | 1622 | 45.5873
|  | 1624 | 45.3674
|  | 1626 | 45.1483
|  | 1628 | 45.0128
|  | 1630 | 44.8056
|  | 1632 | 44.554
|  | 1634 | 44.4775
|  | 1636 | 44.3861
|  | 1638 | 44.1518
|  | 1640 | 44.0174
|  | 1642 | 43.909
|  | 1644 | 43.668
|  | 1646 | 43.3818
|  | 1648 | 43.1764
|  | 1650 | 42.9586
|  | 1652 | 42.5545
|  | 1654 | 42.2859
|  | 1656 | 42.0793
|  | 1658 | 41.6957
|  | 1660 | 41.3871
|  | 1662 | 41.2645
|  | 1664 | 40.9878
|  | 1666 | 40.6623
|  | 1668 | 40.4775
|  | 1670 | 40.3721
|  | 1672 | 40.1662
|  | 1674 | 39.8777
|  | 1676 | 39.7158
|  | 1678 | 39.5989
|  | 1680 | 39.3926
|  | 1682 | 39.1543
|  | 1684 | 39.1164
|  | 1686 | 38.8273
|  | 1688 | 38.5088
|  | 1690 | 38.4229
|  | 1692 | 38.3089
|  | 1694 | 37.8607
|  | 1696 | 37.8459
|  | 1698 | 37.8081
|  | 1700 | 37.4506

## Axial Color Correction
TL15X-2P Axial Color Correction
|  | Wavelength (nm) | Theoretical Axial Focal Shift (µm) | Wavelength (nm) | Measured Axial Focal Shift (µm)
|  | 365 | -2.7799 | 405 | 0.33879
|  | 400 | 0.10129 | 532 | -0.38512
|  | 450 | 0.20095 | 633 | -0.18769
|  | 500 | -0.01564 | 780 | 0.50332
Product Raw Data |  | 546.07 | 0 | 850 | 0.31686
Thorlabs Plan Apochromatic VIS+ Microscope Objective, 15X Magnification |  | 550 | 0.0084214 | 980 | -0.90393
|  | 600 | 0.15902 | 1064 | -2.3924
|  | 650 | 0.31187
Item # | TL15X-2P | 700 | 0.3932
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 750 | 0.36577
|  | 800 | 0.21307
|  | 850 | -0.070625
|  | 900 | -0.48595
|  | 950 | -1.0314
|  | 1000 | -1.705
This data may be used in publications. However, please cite Thorlabs as the source.
Additional Information:

## Strehl Ratio
TL15X-2P Strehl Ratio
|  | Measured Field (°) | Measured Strehl Ratio | Theoretical Field (°) | Theoretical Strehl Ratio
|  | -3.4422 | 0.776 | -4.0765 | 0.6269
|  | -3.2275 | 0.807 | -3.8055 | 0.7132
|  | -2.153 | 0.887 | -3.5344 | 0.776
|  | -1.0769 | 0.9 | -3.2631 | 0.8204
Product Raw Data |  | 0 | 0.906 | -2.9917 | 0.8518
Thorlabs Plan Apochromatic VIS+ Microscope Objective, 15X Magnification |  | 1.0769 | 0.916 | -2.7202 | 0.8746
|  | 2.153 | 0.918 | -2.4485 | 0.8915
|  | 3.2275 | 0.837 | -2.1767 | 0.9044
Item # | TL15X-2P | 3.4422 | 0.806 | -1.9049 | 0.9139
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  |  |  | -1.6329 | 0.9204
|  |  |  | -1.3609 | 0.9241
|  |  |  | -1.0888 | 0.9256
|  |  |  | -0.81661 | 0.9254
|  |  |  | -0.54443 | 0.9245
|  |  |  | -0.27222 | 0.9236
This data may be used in publications. However, please cite Thorlabs as the source. |  |  |  | 0 | 0.9233
|  |  |  | 0.27222 | 0.9236
|  |  |  | 0.54443 | 0.9245
Additional Information: |  |  |  | 0.81661 | 0.9254
|  |  |  | 1.0888 | 0.9256
|  |  |  | 1.3609 | 0.9241
|  |  |  | 1.6329 | 0.9204
|  |  |  | 1.9049 | 0.9139
|  |  |  | 2.1767 | 0.9044
|  |  |  | 2.4485 | 0.8915
|  |  |  | 2.7202 | 0.8746
|  |  |  | 2.9917 | 0.8518
|  |  |  | 3.2631 | 0.8204
|  |  |  | 3.5344 | 0.776
|  |  |  | 3.8055 | 0.7132
|  |  |  | 4.0765 | 0.6269

## Strehl Ratio vs. Wavelength
TL15X-2P Strehl Ratio
|  | Wavelength (nm) | Strehl Ratio
|  |  | On Axis | 1° Off Axis | 2° Off Axis | 3.25° Off Axis
|  | 400 | 0.9183 | 0.9168 | 0.9111 | 0.6967
|  | 405.45 | 0.9684 | 0.968 | 0.9591 | 0.7318
|  | 410.91 | 0.9768 | 0.9775 | 0.9687 | 0.7482
|  | 416.36 | 0.9739 | 0.975 | 0.9672 | 0.7617
Product Raw Data |  | 421.82 | 0.9712 | 0.9721 | 0.9648 | 0.7767
Thorlabs Plan Apochromatic VIS+ Microscope Objective, 15X Magnification |  | 427.27 | 0.9711 | 0.9711 | 0.9633 | 0.7926
|  | 432.73 | 0.9728 | 0.9712 | 0.9616 | 0.8074
|  | 438.18 | 0.9744 | 0.9708 | 0.9584 | 0.8192
Item # | TL15X-2P | 443.64 | 0.9744 | 0.9685 | 0.9524 | 0.8266
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 449.09 | 0.9721 | 0.9637 | 0.9434 | 0.8292
|  | 454.55 | 0.9672 | 0.9564 | 0.9316 | 0.8271
|  | 460 | 0.96 | 0.9469 | 0.9178 | 0.8212
|  | 465.45 | 0.9512 | 0.936 | 0.9026 | 0.8125
|  | 470.91 | 0.9414 | 0.9243 | 0.8871 | 0.802
|  | 476.36 | 0.9313 | 0.9127 | 0.8721 | 0.7907
This data may be used in publications. However, please cite Thorlabs as the source. |  | 481.82 | 0.9215 | 0.9016 | 0.8581 | 0.7796
|  | 487.27 | 0.9125 | 0.8917 | 0.8457 | 0.7691
|  | 492.73 | 0.9047 | 0.8832 | 0.8352 | 0.7599
Additional Information: |  | 498.18 | 0.8981 | 0.8762 | 0.8268 | 0.7521
|  | 503.64 | 0.893 | 0.871 | 0.8205 | 0.746
|  | 509.09 | 0.8894 | 0.8674 | 0.8162 | 0.7417
|  | 514.55 | 0.8872 | 0.8654 | 0.8139 | 0.739
|  | 520 | 0.8862 | 0.8648 | 0.8134 | 0.7379
|  | 525.45 | 0.8864 | 0.8656 | 0.8145 | 0.7383
|  | 530.91 | 0.8875 | 0.8674 | 0.817 | 0.74
|  | 536.36 | 0.8894 | 0.8702 | 0.8207 | 0.7428
|  | 541.82 | 0.8919 | 0.8737 | 0.8254 | 0.7465
|  | 547.27 | 0.8948 | 0.8777 | 0.8309 | 0.751
|  | 552.73 | 0.8979 | 0.8821 | 0.8369 | 0.7561
|  | 558.18 | 0.9012 | 0.8866 | 0.8432 | 0.7616
|  | 563.64 | 0.9044 | 0.8912 | 0.8498 | 0.7674
|  | 569.09 | 0.9075 | 0.8956 | 0.8564 | 0.7732
|  | 574.55 | 0.9103 | 0.8999 | 0.863 | 0.779
|  | 580 | 0.9128 | 0.9038 | 0.8693 | 0.7847
|  | 585.45 | 0.9149 | 0.9074 | 0.8753 | 0.7901
|  | 590.91 | 0.9166 | 0.9106 | 0.8809 | 0.7953
|  | 596.36 | 0.9179 | 0.9133 | 0.8861 | 0.8
|  | 601.82 | 0.9188 | 0.9156 | 0.8908 | 0.8044
|  | 607.27 | 0.9193 | 0.9175 | 0.8951 | 0.8083
|  | 612.73 | 0.9194 | 0.9189 | 0.8988 | 0.8117
|  | 618.18 | 0.9191 | 0.9198 | 0.902 | 0.8147
|  | 623.64 | 0.9186 | 0.9205 | 0.9048 | 0.8172
|  | 629.09 | 0.9178 | 0.9207 | 0.9071 | 0.8193
|  | 634.55 | 0.9168 | 0.9207 | 0.909 | 0.821
|  | 640 | 0.9156 | 0.9205 | 0.9105 | 0.8222
|  | 645.45 | 0.9143 | 0.9201 | 0.9116 | 0.8231
|  | 650.91 | 0.913 | 0.9195 | 0.9125 | 0.8237
|  | 656.36 | 0.9117 | 0.9189 | 0.9131 | 0.824
|  | 661.82 | 0.9104 | 0.9182 | 0.9134 | 0.8239
|  | 667.27 | 0.9093 | 0.9175 | 0.9136 | 0.8237
|  | 672.73 | 0.9082 | 0.9169 | 0.9137 | 0.8233
|  | 678.18 | 0.9073 | 0.9163 | 0.9136 | 0.8226
|  | 683.64 | 0.9067 | 0.9159 | 0.9135 | 0.8219
|  | 689.09 | 0.9062 | 0.9156 | 0.9133 | 0.821
|  | 694.55 | 0.906 | 0.9154 | 0.9131 | 0.82
|  | 700 | 0.906 | 0.9154 | 0.9129 | 0.8189

## Group Delay Dispersion
TL15X-2P Group Delay Dispersion
|  | Wavelength(nm) | GDD (fs2)
|  | 401 | 13382.85
|  | 411 | 12682.45
|  | 421 | 12063.01
|  | 431 | 11510.23
Product Raw Data |  | 441 | 11013.04
Thorlabs Plan Apochromatic VIS+ Microscope Objective, 15X Magnification |  | 451 | 10562.8
|  | 461 | 10152.58
|  | 471 | 9776.812
Item # | TL15X-2P | 481 | 9430.94
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 491 | 9111.194
|  | 501 | 8814.434
|  | 511 | 8538.013
|  | 521 | 8279.688
|  | 531 | 8037.54
|  | 541 | 7809.919
This data may be used in publications. However, please cite Thorlabs as the source. |  | 551 | 7595.396
|  | 561 | 7392.725
|  | 571 | 7200.818
Additional Information: |  | 581 | 7018.716
|  | 591 | 6845.573
|  | 601 | 6680.635
|  | 611 | 6523.234
|  | 621 | 6372.77
|  | 631 | 6228.705
|  | 641 | 6090.555
|  | 651 | 5957.883
|  | 661 | 5830.291
|  | 671 | 5707.419
|  | 681 | 5588.94
|  | 691 | 5474.552
|  | 701 | 5363.982
|  | 711 | 5256.978
|  | 721 | 5153.307
|  | 731 | 5052.756
|  | 741 | 4955.127
|  | 751 | 4860.237
|  | 761 | 4767.918
|  | 771 | 4678.012
|  | 781 | 4590.372
|  | 791 | 4504.861
|  | 801 | 4421.353
|  | 811 | 4339.728
|  | 821 | 4259.874
|  | 831 | 4181.687
|  | 841 | 4105.068
|  | 851 | 4029.924
|  | 861 | 3956.169
|  | 871 | 3883.72
|  | 881 | 3812.5
|  | 891 | 3742.434
|  | 901 | 3673.454
|  | 911 | 3605.494
|  | 921 | 3538.49
|  | 931 | 3472.383
|  | 941 | 3407.118
|  | 951 | 3342.639
|  | 961 | 3278.895
|  | 971 | 3215.838
|  | 981 | 3153.42
|  | 991 | 3091.597
|  | 1001 | 3030.325
|  | 1011 | 2969.564
|  | 1021 | 2909.273
|  | 1031 | 2849.415
|  | 1041 | 2789.954
|  | 1051 | 2730.854
|  | 1061 | 2672.08
|  | 1071 | 2613.602
|  | 1081 | 2555.387
|  | 1091 | 2497.404
|  | 1101 | 2439.624
|  | 1111 | 2382.019
|  | 1121 | 2324.561
|  | 1131 | 2267.224
|  | 1141 | 2209.98
|  | 1151 | 2152.806
|  | 1161 | 2095.675
|  | 1171 | 2038.565
|  | 1181 | 1981.453
|  | 1191 | 1924.315
|  | 1201 | 1867.13
|  | 1211 | 1809.875
|  | 1221 | 1752.53
|  | 1231 | 1695.073
|  | 1241 | 1637.486
|  | 1251 | 1579.748
|  | 1261 | 1521.839
|  | 1271 | 1463.741
|  | 1281 | 1405.434
|  | 1291 | 1346.901
|  | 1301 | 1288.124
|  | 1311 | 1229.084
|  | 1321 | 1169.765
|  | 1331 | 1110.148
|  | 1341 | 1050.217
|  | 1351 | 989.956
|  | 1361 | 929.3474
|  | 1371 | 868.3752
|  | 1381 | 807.0231
|  | 1391 | 745.2756
|  | 1401 | 683.1166
|  | 1411 | 620.5304
|  | 1421 | 557.5013
|  | 1431 | 494.0145
|  | 1441 | 430.054
|  | 1451 | 365.6055
|  | 1461 | 300.6536
|  | 1471 | 235.1833
|  | 1481 | 169.1797
|  | 1491 | 102.6285
|  | 1501 | 35.5148
|  | 1511 | -32.1754
|  | 1521 | -100.4584
|  | 1531 | -169.3471
|  | 1541 | -238.8564
|  | 1551 | -309.0007
|  | 1561 | -379.7943
|  | 1571 | -451.2516
|  | 1581 | -523.3873
|  | 1591 | -596.2139
|  | 1601 | -669.7484
|  | 1611 | -744.0029
|  | 1621 | -818.9927
|  | 1631 | -894.7324
|  | 1641 | -971.2349
|  | 1651 | -1048.515
|  | 1661 | -1126.588
|  | 1671 | -1205.468
|  | 1681 | -1285.168
|  | 1691 | -1365.703
|  | 1701 | -1447.088