## Transmission
TTL165-A Transmission
|  | Wavelength (nm) | % Transmission
|  | 2000 | 61.8111
|  | 1999 | 61.8456
|  | 1998 | 61.7786
|  | 1997 | 61.8945
Product Raw Data |  | 1996 | 61.4297
Tube Lens, f = 165 mm, ARC: 350 - 700 nm |  | 1995 | 62.1237
|  | 1994 | 61.7636
Item # | TTL165-A | 1993 | 61.5941
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1992 | 62.0691
|  | 1991 | 61.9076
|  | 1990 | 61.8067
|  | 1989 | 61.7999
|  | 1988 | 61.6298
|  | 1987 | 61.7385
This data may be used in publications. However, please cite Thorlabs as the source. |  | 1986 | 61.9673
|  | 1985 | 61.8904
|  | 1984 | 61.6491
Additional Information: |  | 1983 | 61.9211
This plot contains measured data. |  | 1982 | 61.7995
|  | 1981 | 61.8307
|  | 1980 | 61.6923
|  | 1979 | 61.5786
|  | 1978 | 61.7281
|  | 1977 | 61.928
|  | 1976 | 61.8095
|  | 1975 | 61.6567
|  | 1974 | 61.7869
|  | 1973 | 61.688
|  | 1972 | 61.6174
|  | 1971 | 61.8421
|  | 1970 | 61.6538
|  | 1969 | 61.7741
|  | 1968 | 61.7344
|  | 1967 | 61.6117
|  | 1966 | 61.4872
|  | 1965 | 61.8811
|  | 1964 | 61.5722
|  | 1963 | 61.6529
|  | 1962 | 61.6695
|  | 1961 | 61.5806
|  | 1960 | 61.3856
|  | 1959 | 61.7537
|  | 1958 | 61.4924
|  | 1957 | 61.7441
|  | 1956 | 61.8077
|  | 1955 | 61.5834
|  | 1954 | 61.1977
|  | 1953 | 61.9235
|  | 1952 | 61.3691
|  | 1951 | 61.4438
|  | 1950 | 61.5829
|  | 1949 | 61.5236
|  | 1948 | 61.3603
|  | 1947 | 61.7508
|  | 1946 | 61.6076
|  | 1945 | 61.3662
|  | 1944 | 61.6141
|  | 1943 | 61.4463
|  | 1942 | 61.1175
|  | 1941 | 61.6856
|  | 1940 | 61.5877
|  | 1939 | 61.5121
|  | 1938 | 61.8075
|  | 1937 | 61.3419
|  | 1936 | 61.2104
|  | 1935 | 61.3022
|  | 1934 | 61.33
|  | 1933 | 61.4675
|  | 1932 | 61.3647
|  | 1931 | 61.1005
|  | 1930 | 61.1791
|  | 1929 | 61.4832
|  | 1928 | 61.3759
|  | 1927 | 61.4395
|  | 1926 | 61.4022
|  | 1925 | 61.4861
|  | 1924 | 61.1307
|  | 1923 | 61.3612
|  | 1922 | 61.0973
|  | 1921 | 61.1187
|  | 1920 | 60.9886
|  | 1919 | 61.4377
|  | 1918 | 60.9832
|  | 1917 | 61.3211
|  | 1916 | 60.908
|  | 1915 | 61.1103
|  | 1914 | 60.8896
|  | 1913 | 61.087
|  | 1912 | 61.1005
|  | 1911 | 61.229
|  | 1910 | 61.0958
|  | 1909 | 61.0072
|  | 1908 | 61.0258
|  | 1907 | 61.2358
|  | 1906 | 60.6781
|  | 1905 | 61.3579
|  | 1904 | 61.0104
|  | 1903 | 61.0878
|  | 1902 | 61.2498
|  | 1901 | 61.02
|  | 1900 | 61.0209
|  | 1899 | 61.2844
|  | 1898 | 61.0962
|  | 1897 | 61.1394
|  | 1896 | 61.1325
|  | 1895 | 61.0048
|  | 1894 | 60.9268
|  | 1893 | 61.2786
|  | 1892 | 61.178
|  | 1891 | 61.081
|  | 1890 | 60.9801
|  | 1889 | 61.0788
|  | 1888 | 60.8574
|  | 1887 | 61.3683
|  | 1886 | 61.0998
|  | 1885 | 61.0784
|  | 1884 | 61.2135
|  | 1883 | 61.2628
|  | 1882 | 61.0456
|  | 1881 | 61.3583
|  | 1880 | 61.2111
|  | 1879 | 61.1307
|  | 1878 | 61.0204
|  | 1877 | 61.1166
|  | 1876 | 60.8279
|  | 1875 | 61.1447
|  | 1874 | 61.0913
|  | 1873 | 61.0681
|  | 1872 | 60.9864
|  | 1871 | 60.9012
|  | 1870 | 60.9695
|  | 1869 | 61.1951
|  | 1868 | 60.922
|  | 1867 | 60.8236
|  | 1866 | 60.7786
|  | 1865 | 61.006
|  | 1864 | 60.8566
|  | 1863 | 60.9976
|  | 1862 | 60.8918
|  | 1861 | 60.8279
|  | 1860 | 60.8197
|  | 1859 | 60.8407
|  | 1858 | 60.8826
|  | 1857 | 61.0861
|  | 1856 | 60.6596
|  | 1855 | 60.6446
|  | 1854 | 60.7205
|  | 1853 | 60.5484
|  | 1852 | 60.6185
|  | 1851 | 60.882
|  | 1850 | 60.7283
|  | 1849 | 60.5839
|  | 1848 | 60.6718
|  | 1847 | 60.5379
|  | 1846 | 60.4891
|  | 1845 | 60.7478
|  | 1844 | 60.5951
|  | 1843 | 60.5651
|  | 1842 | 60.5893
|  | 1841 | 60.4716
|  | 1840 | 60.437
|  | 1839 | 60.6792
|  | 1838 | 60.5008
|  | 1837 | 60.4147
|  | 1836 | 60.4431
|  | 1835 | 60.3588
|  | 1834 | 60.3287
|  | 1833 | 60.4108
|  | 1832 | 60.2956
|  | 1831 | 60.3544
|  | 1830 | 60.4988
|  | 1829 | 60.3337
|  | 1828 | 60.3263
|  | 1827 | 60.4184
|  | 1826 | 60.279
|  | 1825 | 60.2838
|  | 1824 | 60.3143
|  | 1823 | 60.2292
|  | 1822 | 60.2024
|  | 1821 | 60.2797
|  | 1820 | 60.2469
|  | 1819 | 60.2645
|  | 1818 | 60.2933
|  | 1817 | 60.0488
|  | 1816 | 60.0126
|  | 1815 | 60.1922
|  | 1814 | 60.0964
|  | 1813 | 60.0811
|  | 1812 | 60.1785
|  | 1811 | 59.9518
|  | 1810 | 60.0115
|  | 1809 | 60.1599
|  | 1808 | 59.9736
|  | 1807 | 59.8791
|  | 1806 | 59.9468
|  | 1805 | 59.8742
|  | 1804 | 59.8909
|  | 1803 | 59.8975
|  | 1802 | 59.7497
|  | 1801 | 59.6587
|  | 1800 | 59.8176
|  | 1799 | 59.7186
|  | 1798 | 59.7972
|  | 1797 | 59.8738
|  | 1796 | 59.7423
|  | 1795 | 59.601
|  | 1794 | 59.705
|  | 1793 | 59.6238
|  | 1792 | 59.5875
|  | 1791 | 59.6047
|  | 1790 | 59.5242
|  | 1789 | 59.4443
|  | 1788 | 59.42
|  | 1787 | 59.3276
|  | 1786 | 59.4772
|  | 1785 | 59.4764
|  | 1784 | 59.357
|  | 1783 | 59.2673
|  | 1782 | 59.2708
|  | 1781 | 59.1815
|  | 1780 | 59.2415
|  | 1779 | 59.2968
|  | 1778 | 59.2473
|  | 1777 | 59.0647
|  | 1776 | 59.0835
|  | 1775 | 58.8872
|  | 1774 | 58.9089
|  | 1773 | 58.9019
|  | 1772 | 58.802
|  | 1771 | 58.8471
|  | 1770 | 58.7372
|  | 1769 | 58.5263
|  | 1768 | 58.6345
|  | 1767 | 58.5227
|  | 1766 | 58.4291
|  | 1765 | 58.4717
|  | 1764 | 58.3815
|  | 1763 | 58.1048
|  | 1762 | 58.1047
|  | 1761 | 58.0202
|  | 1760 | 57.8279
|  | 1759 | 57.8549
|  | 1758 | 57.8716
|  | 1757 | 57.6339
|  | 1756 | 57.5908
|  | 1755 | 57.4913
|  | 1754 | 57.377
|  | 1753 | 57.3501
|  | 1752 | 57.2569
|  | 1751 | 57.1426
|  | 1750 | 57.1581
|  | 1749 | 57.2288
|  | 1748 | 57.2004
|  | 1747 | 56.9794
|  | 1746 | 56.9141
|  | 1745 | 56.9189
|  | 1744 | 57.0409
|  | 1743 | 57.013
|  | 1742 | 56.9915
|  | 1741 | 56.9453
|  | 1740 | 56.878
|  | 1739 | 56.7586
|  | 1738 | 56.8781
|  | 1737 | 56.9193
|  | 1736 | 56.8995
|  | 1735 | 56.8689
|  | 1734 | 56.8334
|  | 1733 | 56.8306
|  | 1732 | 56.9629
|  | 1731 | 56.8985
|  | 1730 | 56.9159
|  | 1729 | 56.9419
|  | 1728 | 56.8749
|  | 1727 | 56.8221
|  | 1726 | 56.8756
|  | 1725 | 56.9503
|  | 1724 | 56.9877
|  | 1723 | 56.8968
|  | 1722 | 56.7768
|  | 1721 | 56.7939
|  | 1720 | 57.0338
|  | 1719 | 56.8936
|  | 1718 | 56.8466
|  | 1717 | 56.8703
|  | 1716 | 56.9532
|  | 1715 | 56.8548
|  | 1714 | 56.9276
|  | 1713 | 56.8925
|  | 1712 | 56.8814
|  | 1711 | 56.8442
|  | 1710 | 56.8368
|  | 1709 | 56.9186
|  | 1708 | 57.0212
|  | 1707 | 56.8653
|  | 1706 | 56.8509
|  | 1705 | 56.7825
|  | 1704 | 56.9437
|  | 1703 | 56.5944
|  | 1702 | 56.8537
|  | 1701 | 56.8467
|  | 1700 | 56.8143
|  | 1699 | 56.9038
|  | 1698 | 56.9415
|  | 1697 | 56.919
|  | 1696 | 56.9929
|  | 1695 | 57.0674
|  | 1694 | 56.9771
|  | 1693 | 56.8865
|  | 1692 | 56.9089
|  | 1691 | 56.8765
|  | 1690 | 57.1527
|  | 1689 | 57.0327
|  | 1688 | 57.0072
|  | 1687 | 57.1425
|  | 1686 | 57.016
|  | 1685 | 57.0827
|  | 1684 | 57.3115
|  | 1683 | 57.3201
|  | 1682 | 57.1162
|  | 1681 | 57.2504
|  | 1680 | 57.3318
|  | 1679 | 57.1483
|  | 1678 | 57.456
|  | 1677 | 57.3127
|  | 1676 | 57.3581
|  | 1675 | 57.487
|  | 1674 | 57.4638
|  | 1673 | 57.3708
|  | 1672 | 57.6786
|  | 1671 | 57.6528
|  | 1670 | 57.5963
|  | 1669 | 57.592
|  | 1668 | 57.7161
|  | 1667 | 57.6852
|  | 1666 | 57.5917
|  | 1665 | 57.8193
|  | 1664 | 57.7202
|  | 1663 | 57.7862
|  | 1662 | 57.7778
|  | 1661 | 57.7131
|  | 1660 | 57.7086
|  | 1659 | 57.9877
|  | 1658 | 57.7612
|  | 1657 | 57.809
|  | 1656 | 57.8417
|  | 1655 | 57.8148
|  | 1654 | 57.7327
|  | 1653 | 57.8512
|  | 1652 | 57.7775
|  | 1651 | 57.8172
|  | 1650 | 57.8009
|  | 1649 | 57.6249
|  | 1648 | 57.5784
|  | 1647 | 57.8286
|  | 1646 | 57.6395
|  | 1645 | 57.5388
|  | 1644 | 57.5642
|  | 1643 | 57.5543
|  | 1642 | 57.3854
|  | 1641 | 57.6165
|  | 1640 | 57.3195
|  | 1639 | 57.4152
|  | 1638 | 57.4195
|  | 1637 | 57.4117
|  | 1636 | 57.2465
|  | 1635 | 57.4434
|  | 1634 | 57.2769
|  | 1633 | 57.248
|  | 1632 | 57.2651
|  | 1631 | 57.2896
|  | 1630 | 57.1452
|  | 1629 | 57.4428
|  | 1628 | 57.2692
|  | 1627 | 57.2966
|  | 1626 | 57.2625
|  | 1625 | 57.3282
|  | 1624 | 57.2001
|  | 1623 | 57.3658
|  | 1622 | 57.2837
|  | 1621 | 57.2202
|  | 1620 | 57.3248
|  | 1619 | 57.2758
|  | 1618 | 57.2541
|  | 1617 | 57.3277
|  | 1616 | 57.258
|  | 1615 | 57.2377
|  | 1614 | 57.3405
|  | 1613 | 57.225
|  | 1612 | 57.2168
|  | 1611 | 57.2798
|  | 1610 | 57.2289
|  | 1609 | 57.1941
|  | 1608 | 57.137
|  | 1607 | 57.2169
|  | 1606 | 57.0562
|  | 1605 | 57.256
|  | 1604 | 57.1041
|  | 1603 | 57.046
|  | 1602 | 57.0822
|  | 1601 | 57.0499
|  | 1600 | 56.9261
|  | 1599 | 57.0438
|  | 1598 | 56.9788
|  | 1597 | 57.0165
|  | 1596 | 56.9328
|  | 1595 | 56.9812
|  | 1594 | 56.8288
|  | 1593 | 56.8588
|  | 1592 | 56.8434
|  | 1591 | 56.8559
|  | 1590 | 56.7549
|  | 1589 | 56.7981
|  | 1588 | 56.72
|  | 1587 | 56.8402
|  | 1586 | 56.7452
|  | 1585 | 56.7179
|  | 1584 | 56.7045
|  | 1583 | 56.6247
|  | 1582 | 56.5628
|  | 1581 | 56.7165
|  | 1580 | 56.6075
|  | 1579 | 56.556
|  | 1578 | 56.5024
|  | 1577 | 56.5314
|  | 1576 | 56.4384
|  | 1575 | 56.5408
|  | 1574 | 56.4859
|  | 1573 | 56.4858
|  | 1572 | 56.444
|  | 1571 | 56.3534
|  | 1570 | 56.3164
|  | 1569 | 56.3932
|  | 1568 | 56.3336
|  | 1567 | 56.3158
|  | 1566 | 56.257
|  | 1565 | 56.1773
|  | 1564 | 56.1567
|  | 1563 | 56.2636
|  | 1562 | 56.2111
|  | 1561 | 56.1613
|  | 1560 | 56.1114
|  | 1559 | 56.0714
|  | 1558 | 56.0527
|  | 1557 | 56.0787
|  | 1556 | 56.0326
|  | 1555 | 55.9969
|  | 1554 | 55.9948
|  | 1553 | 55.9584
|  | 1552 | 55.8324
|  | 1551 | 55.9324
|  | 1550 | 55.8456
|  | 1549 | 55.8254
|  | 1548 | 55.8338
|  | 1547 | 55.7938
|  | 1546 | 55.7324
|  | 1545 | 55.8307
|  | 1544 | 55.7506
|  | 1543 | 55.646
|  | 1542 | 55.6442
|  | 1541 | 55.6206
|  | 1540 | 55.5874
|  | 1539 | 55.6358
|  | 1538 | 55.6356
|  | 1537 | 55.5837
|  | 1536 | 55.5329
|  | 1535 | 55.4856
|  | 1534 | 55.4443
|  | 1533 | 55.5567
|  | 1532 | 55.4766
|  | 1531 | 55.4296
|  | 1530 | 55.3989
|  | 1529 | 55.3237
|  | 1528 | 55.2753
|  | 1527 | 55.3452
|  | 1526 | 55.2881
|  | 1525 | 55.2303
|  | 1524 | 55.2332
|  | 1523 | 55.1688
|  | 1522 | 55.1431
|  | 1521 | 55.2234
|  | 1520 | 55.1618
|  | 1519 | 55.1291
|  | 1518 | 55.0691
|  | 1517 | 55.0103
|  | 1516 | 54.9943
|  | 1515 | 55.0561
|  | 1514 | 54.939
|  | 1513 | 54.9411
|  | 1512 | 54.8832
|  | 1511 | 54.8395
|  | 1510 | 54.7747
|  | 1509 | 54.8641
|  | 1508 | 54.8378
|  | 1507 | 54.7728
|  | 1506 | 54.7353
|  | 1505 | 54.6543
|  | 1504 | 54.6485
|  | 1503 | 54.7028
|  | 1502 | 54.6409
|  | 1501 | 54.6464
|  | 1500 | 54.5762
|  | 1499 | 54.5439
|  | 1498 | 54.5333
|  | 1497 | 54.5281
|  | 1496 | 54.4348
|  | 1495 | 54.4565
|  | 1494 | 54.425
|  | 1493 | 54.3071
|  | 1492 | 54.2838
|  | 1491 | 54.3091
|  | 1490 | 54.2752
|  | 1489 | 54.3048
|  | 1488 | 54.2337
|  | 1487 | 54.135
|  | 1486 | 54.165
|  | 1485 | 54.1423
|  | 1484 | 54.0334
|  | 1483 | 54.0621
|  | 1482 | 54.0692
|  | 1481 | 53.9687
|  | 1480 | 53.9876
|  | 1479 | 53.9966
|  | 1478 | 53.9019
|  | 1477 | 53.8876
|  | 1476 | 53.8303
|  | 1475 | 53.7556
|  | 1474 | 53.782
|  | 1473 | 53.7899
|  | 1472 | 53.7249
|  | 1471 | 53.6914
|  | 1470 | 53.6436
|  | 1469 | 53.5654
|  | 1468 | 53.5788
|  | 1467 | 53.5948
|  | 1466 | 53.5081
|  | 1465 | 53.4618
|  | 1464 | 53.4298
|  | 1463 | 53.4089
|  | 1462 | 53.3925
|  | 1461 | 53.3776
|  | 1460 | 53.3331
|  | 1459 | 53.3302
|  | 1458 | 53.2864
|  | 1457 | 53.1983
|  | 1456 | 53.2184
|  | 1455 | 53.2089
|  | 1454 | 53.1744
|  | 1453 | 53.1364
|  | 1452 | 53.0739
|  | 1451 | 52.9909
|  | 1450 | 52.9617
|  | 1449 | 52.9671
|  | 1448 | 52.9028
|  | 1447 | 52.8948
|  | 1446 | 52.8882
|  | 1445 | 52.7871
|  | 1444 | 52.8107
|  | 1443 | 52.8169
|  | 1442 | 52.7416
|  | 1441 | 52.6958
|  | 1440 | 52.6826
|  | 1439 | 52.6293
|  | 1438 | 52.6296
|  | 1437 | 52.6704
|  | 1436 | 52.6095
|  | 1435 | 52.5715
|  | 1434 | 52.5249
|  | 1433 | 52.4482
|  | 1432 | 52.4753
|  | 1431 | 52.4673
|  | 1430 | 52.4538
|  | 1429 | 52.4484
|  | 1428 | 52.4173
|  | 1427 | 52.3444
|  | 1426 | 52.36
|  | 1425 | 52.4037
|  | 1424 | 52.3962
|  | 1423 | 52.3934
|  | 1422 | 52.3725
|  | 1421 | 52.282
|  | 1420 | 52.341
|  | 1419 | 52.3683
|  | 1418 | 52.3215
|  | 1417 | 52.3895
|  | 1416 | 52.3458
|  | 1415 | 52.3093
|  | 1414 | 52.4018
|  | 1413 | 52.3797
|  | 1412 | 52.3483
|  | 1411 | 52.3482
|  | 1410 | 52.3461
|  | 1409 | 52.3102
|  | 1408 | 52.3676
|  | 1407 | 52.3748
|  | 1406 | 52.366
|  | 1405 | 52.3499
|  | 1404 | 52.3388
|  | 1403 | 52.3393
|  | 1402 | 52.4255
|  | 1401 | 52.4071
|  | 1400 | 52.3423
|  | 1399 | 52.4021
|  | 1398 | 52.4126
|  | 1397 | 52.3444
|  | 1396 | 52.4177
|  | 1395 | 52.4363
|  | 1394 | 52.382
|  | 1393 | 52.4063
|  | 1392 | 52.3716
|  | 1391 | 52.3025
|  | 1390 | 52.3596
|  | 1389 | 52.3999
|  | 1388 | 52.3883
|  | 1387 | 52.3645
|  | 1386 | 52.3343
|  | 1385 | 52.295
|  | 1384 | 52.3531
|  | 1383 | 52.3241
|  | 1382 | 52.2974
|  | 1381 | 52.3199
|  | 1380 | 52.2345
|  | 1379 | 52.2263
|  | 1378 | 52.3393
|  | 1377 | 52.322
|  | 1376 | 52.3027
|  | 1375 | 52.2477
|  | 1374 | 52.2421
|  | 1373 | 52.1932
|  | 1372 | 52.3011
|  | 1371 | 52.2422
|  | 1370 | 52.197
|  | 1369 | 52.2217
|  | 1368 | 52.1594
|  | 1367 | 52.1123
|  | 1366 | 52.1566
|  | 1365 | 52.1272
|  | 1364 | 52.0683
|  | 1363 | 52.1118
|  | 1362 | 52.099
|  | 1361 | 51.9743
|  | 1360 | 52.1086
|  | 1359 | 52.035
|  | 1358 | 52.0274
|  | 1357 | 52.0489
|  | 1356 | 52.0249
|  | 1355 | 51.9394
|  | 1354 | 52.0112
|  | 1353 | 51.9846
|  | 1352 | 51.9417
|  | 1351 | 51.9322
|  | 1350 | 51.9669
|  | 1349 | 51.9124
|  | 1348 | 51.9272
|  | 1347 | 51.9506
|  | 1346 | 51.8786
|  | 1345 | 51.864
|  | 1344 | 51.8858
|  | 1343 | 51.8521
|  | 1342 | 51.9011
|  | 1341 | 51.8564
|  | 1340 | 51.846
|  | 1339 | 51.8438
|  | 1338 | 51.8181
|  | 1337 | 51.7376
|  | 1336 | 51.8555
|  | 1335 | 51.8062
|  | 1334 | 51.7672
|  | 1333 | 51.8107
|  | 1332 | 51.798
|  | 1331 | 51.7028
|  | 1330 | 51.8225
|  | 1329 | 51.7538
|  | 1328 | 51.7175
|  | 1327 | 51.7137
|  | 1326 | 51.6694
|  | 1325 | 51.6507
|  | 1324 | 51.6716
|  | 1323 | 51.6956
|  | 1322 | 51.6282
|  | 1321 | 51.6106
|  | 1320 | 51.6499
|  | 1319 | 51.5627
|  | 1318 | 51.6104
|  | 1317 | 51.5897
|  | 1316 | 51.5541
|  | 1315 | 51.5965
|  | 1314 | 51.5164
|  | 1313 | 51.475
|  | 1312 | 51.5357
|  | 1311 | 51.4785
|  | 1310 | 51.4612
|  | 1309 | 51.5079
|  | 1308 | 51.5258
|  | 1307 | 51.384
|  | 1306 | 51.4865
|  | 1305 | 51.4077
|  | 1304 | 51.3811
|  | 1303 | 51.4424
|  | 1302 | 51.3979
|  | 1301 | 51.3631
|  | 1300 | 51.4229
|  | 1299 | 51.3685
|  | 1298 | 51.3839
|  | 1297 | 51.3961
|  | 1296 | 51.3186
|  | 1295 | 51.3119
|  | 1294 | 51.3379
|  | 1293 | 51.3013
|  | 1292 | 51.2836
|  | 1291 | 51.3347
|  | 1290 | 51.3146
|  | 1289 | 51.1982
|  | 1288 | 51.3335
|  | 1287 | 51.2962
|  | 1286 | 51.2345
|  | 1285 | 51.2283
|  | 1284 | 51.2165
|  | 1283 | 51.1448
|  | 1282 | 51.2145
|  | 1281 | 51.1779
|  | 1280 | 51.1663
|  | 1279 | 51.1738
|  | 1278 | 51.1369
|  | 1277 | 51.1165
|  | 1276 | 51.1923
|  | 1275 | 51.1188
|  | 1274 | 51.1159
|  | 1273 | 51.1043
|  | 1272 | 51.086
|  | 1271 | 51.0806
|  | 1270 | 51.1378
|  | 1269 | 51.0965
|  | 1268 | 51.0772
|  | 1267 | 51.0715
|  | 1266 | 51.0913
|  | 1265 | 51.0566
|  | 1264 | 51.0722
|  | 1263 | 51.0772
|  | 1262 | 51.0203
|  | 1261 | 51.0122
|  | 1260 | 51.0184
|  | 1259 | 50.9745
|  | 1258 | 51.0295
|  | 1257 | 51.0331
|  | 1256 | 50.9964
|  | 1255 | 50.9763
|  | 1254 | 50.9794
|  | 1253 | 50.9377
|  | 1252 | 51.0489
|  | 1251 | 50.9637
|  | 1250 | 50.9507
|  | 1249 | 50.9805
|  | 1248 | 50.9505
|  | 1247 | 50.943
|  | 1246 | 50.9923
|  | 1245 | 50.9374
|  | 1244 | 50.9674
|  | 1243 | 50.9099
|  | 1242 | 50.972
|  | 1241 | 50.8881
|  | 1240 | 50.9395
|  | 1239 | 50.8977
|  | 1238 | 50.9324
|  | 1237 | 50.9243
|  | 1236 | 50.9006
|  | 1235 | 50.8737
|  | 1234 | 50.9435
|  | 1233 | 50.9032
|  | 1232 | 50.9078
|  | 1231 | 50.8906
|  | 1230 | 50.9188
|  | 1229 | 50.8611
|  | 1228 | 50.9029
|  | 1227 | 50.8768
|  | 1226 | 50.8948
|  | 1225 | 50.8849
|  | 1224 | 50.882
|  | 1223 | 50.8579
|  | 1222 | 50.9422
|  | 1221 | 50.8727
|  | 1220 | 50.847
|  | 1219 | 50.8247
|  | 1218 | 50.8287
|  | 1217 | 50.8347
|  | 1216 | 50.8889
|  | 1215 | 50.8486
|  | 1214 | 50.7831
|  | 1213 | 50.7999
|  | 1212 | 50.8084
|  | 1211 | 50.786
|  | 1210 | 50.839
|  | 1209 | 50.8075
|  | 1208 | 50.8287
|  | 1207 | 50.7778
|  | 1206 | 50.7942
|  | 1205 | 50.7746
|  | 1204 | 50.8233
|  | 1203 | 50.7664
|  | 1202 | 50.7578
|  | 1201 | 50.7764
|  | 1200 | 50.7202
|  | 1199 | 50.6845
|  | 1198 | 50.7782
|  | 1197 | 50.7119
|  | 1196 | 50.6983
|  | 1195 | 50.7428
|  | 1194 | 50.6907
|  | 1193 | 50.6773
|  | 1192 | 50.743
|  | 1191 | 50.7659
|  | 1190 | 50.7824
|  | 1189 | 50.7216
|  | 1188 | 50.7128
|  | 1187 | 50.7307
|  | 1186 | 50.724
|  | 1185 | 50.7738
|  | 1184 | 50.7429
|  | 1183 | 50.7523
|  | 1182 | 50.7813
|  | 1181 | 50.7804
|  | 1180 | 50.7676
|  | 1179 | 50.8623
|  | 1178 | 50.8347
|  | 1177 | 50.8392
|  | 1176 | 50.8701
|  | 1175 | 50.8374
|  | 1174 | 50.8252
|  | 1173 | 50.8949
|  | 1172 | 50.8845
|  | 1171 | 50.9206
|  | 1170 | 50.9168
|  | 1169 | 50.8949
|  | 1168 | 50.9066
|  | 1167 | 50.9982
|  | 1166 | 50.9731
|  | 1165 | 50.9802
|  | 1164 | 51.0207
|  | 1163 | 51.0151
|  | 1162 | 51.0366
|  | 1161 | 51.0676
|  | 1160 | 51.0802
|  | 1159 | 51.1084
|  | 1158 | 51.0955
|  | 1157 | 51.0925
|  | 1156 | 51.1378
|  | 1155 | 51.2225
|  | 1154 | 51.1643
|  | 1153 | 51.151
|  | 1152 | 51.1736
|  | 1151 | 51.1955
|  | 1150 | 51.2116
|  | 1149 | 51.2974
|  | 1148 | 51.2734
|  | 1147 | 51.2761
|  | 1146 | 51.3173
|  | 1145 | 51.3286
|  | 1144 | 51.3302
|  | 1143 | 51.4266
|  | 1142 | 51.3807
|  | 1141 | 51.3741
|  | 1140 | 51.4111
|  | 1139 | 51.4563
|  | 1138 | 51.4685
|  | 1137 | 51.5214
|  | 1136 | 51.4912
|  | 1135 | 51.5479
|  | 1134 | 51.5707
|  | 1133 | 51.5754
|  | 1132 | 51.6013
|  | 1131 | 51.6447
|  | 1130 | 51.6085
|  | 1129 | 51.6209
|  | 1128 | 51.6855
|  | 1127 | 51.7119
|  | 1126 | 51.7341
|  | 1125 | 51.7647
|  | 1124 | 51.7544
|  | 1123 | 51.7959
|  | 1122 | 51.8262
|  | 1121 | 51.8367
|  | 1120 | 51.8454
|  | 1119 | 51.9259
|  | 1118 | 51.9617
|  | 1117 | 51.971
|  | 1116 | 51.9648
|  | 1115 | 51.9766
|  | 1114 | 52.0197
|  | 1113 | 52.0881
|  | 1112 | 52.0779
|  | 1111 | 52.1101
|  | 1110 | 52.1457
|  | 1109 | 52.1447
|  | 1108 | 52.1725
|  | 1107 | 52.2267
|  | 1106 | 52.2169
|  | 1105 | 52.2381
|  | 1104 | 52.2702
|  | 1103 | 52.2932
|  | 1102 | 52.3442
|  | 1101 | 52.4331
|  | 1100 | 52.4367
|  | 1099 | 52.4508
|  | 1098 | 52.4615
|  | 1097 | 52.458
|  | 1096 | 52.5023
|  | 1095 | 52.5361
|  | 1094 | 52.546
|  | 1093 | 52.5943
|  | 1092 | 52.6279
|  | 1091 | 52.6266
|  | 1090 | 52.6774
|  | 1089 | 52.7182
|  | 1088 | 52.7077
|  | 1087 | 52.7936
|  | 1086 | 52.8359
|  | 1085 | 52.828
|  | 1084 | 52.8917
|  | 1083 | 52.9404
|  | 1082 | 52.9485
|  | 1081 | 53.0044
|  | 1080 | 53.0332
|  | 1079 | 53.0226
|  | 1078 | 53.0861
|  | 1077 | 53.139
|  | 1076 | 53.1443
|  | 1075 | 53.1829
|  | 1074 | 53.2306
|  | 1073 | 53.2641
|  | 1072 | 53.3548
|  | 1071 | 53.3988
|  | 1070 | 53.4106
|  | 1069 | 53.4321
|  | 1068 | 53.4502
|  | 1067 | 53.4811
|  | 1066 | 53.5589
|  | 1065 | 53.6132
|  | 1064 | 53.607
|  | 1063 | 53.6561
|  | 1062 | 53.7148
|  | 1061 | 53.7325
|  | 1060 | 53.8008
|  | 1059 | 53.8471
|  | 1058 | 53.8459
|  | 1057 | 53.8995
|  | 1056 | 53.9649
|  | 1055 | 53.9659
|  | 1054 | 54.0309
|  | 1053 | 54.0889
|  | 1052 | 54.156
|  | 1051 | 54.2294
|  | 1050 | 54.2417
|  | 1049 | 54.2306
|  | 1048 | 54.3456
|  | 1047 | 54.4239
|  | 1046 | 54.4038
|  | 1045 | 54.4293
|  | 1044 | 54.4893
|  | 1043 | 54.5412
|  | 1042 | 54.6207
|  | 1041 | 54.6614
|  | 1040 | 54.7382
|  | 1039 | 54.776
|  | 1038 | 54.7891
|  | 1037 | 54.8178
|  | 1036 | 54.9339
|  | 1035 | 54.9946
|  | 1034 | 55.0237
|  | 1033 | 55.0616
|  | 1032 | 55.1487
|  | 1031 | 55.1447
|  | 1030 | 55.2228
|  | 1029 | 55.2924
|  | 1028 | 55.3013
|  | 1027 | 55.3454
|  | 1026 | 55.4533
|  | 1025 | 55.5055
|  | 1024 | 55.6047
|  | 1023 | 55.651
|  | 1022 | 55.6666
|  | 1021 | 55.6986
|  | 1020 | 55.8316
|  | 1019 | 55.8615
|  | 1018 | 55.9124
|  | 1017 | 55.9613
|  | 1016 | 56.0361
|  | 1015 | 56.0977
|  | 1014 | 56.209
|  | 1013 | 56.1913
|  | 1012 | 56.2809
|  | 1011 | 56.3774
|  | 1010 | 56.3656
|  | 1009 | 56.5166
|  | 1008 | 56.5338
|  | 1007 | 56.5861
|  | 1006 | 56.7033
|  | 1005 | 56.7555
|  | 1004 | 56.7853
|  | 1003 | 56.899
|  | 1002 | 56.9115
|  | 1001 | 56.9343
|  | 1000 | 57.1153
|  | 999 | 57.1251
|  | 998 | 57.1655
|  | 997 | 57.2436
|  | 996 | 57.3171
|  | 995 | 57.36
|  | 994 | 57.5184
|  | 993 | 57.5415
|  | 992 | 57.6599
|  | 991 | 57.7283
|  | 990 | 57.7713
|  | 989 | 57.8032
|  | 988 | 58.0062
|  | 987 | 58.0757
|  | 986 | 58.0528
|  | 985 | 58.1307
|  | 984 | 58.1856
|  | 983 | 58.1853
|  | 982 | 58.432
|  | 981 | 58.5088
|  | 980 | 58.5493
|  | 979 | 58.6602
|  | 978 | 58.7012
|  | 977 | 58.7176
|  | 976 | 58.9136
|  | 975 | 58.942
|  | 974 | 59.0251
|  | 973 | 59.114
|  | 972 | 59.1517
|  | 971 | 59.1644
|  | 970 | 59.4483
|  | 969 | 59.4275
|  | 968 | 59.5144
|  | 967 | 59.6302
|  | 966 | 59.7337
|  | 965 | 59.7351
|  | 964 | 59.949
|  | 963 | 59.983
|  | 962 | 60.0389
|  | 961 | 60.1124
|  | 960 | 60.3436
|  | 959 | 60.2506
|  | 958 | 60.5626
|  | 957 | 60.5855
|  | 956 | 60.6114
|  | 955 | 60.7119
|  | 954 | 60.894
|  | 953 | 60.7782
|  | 952 | 61.1247
|  | 951 | 61.1744
|  | 950 | 61.213
|  | 949 | 61.2898
|  | 948 | 61.4592
|  | 947 | 61.3178
|  | 946 | 61.6494
|  | 945 | 61.733
|  | 944 | 61.7617
|  | 943 | 61.9504
|  | 942 | 62.1771
|  | 941 | 62.0308
|  | 940 | 62.4542
|  | 939 | 62.2766
|  | 938 | 62.5058
|  | 937 | 62.4681
|  | 936 | 62.6634
|  | 935 | 62.6186
|  | 934 | 62.9766
|  | 933 | 62.9151
|  | 932 | 63.0689
|  | 931 | 63.131
|  | 930 | 63.3927
|  | 929 | 63.3539
|  | 928 | 63.6865
|  | 927 | 63.6335
|  | 926 | 63.7338
|  | 925 | 63.6471
|  | 924 | 63.9847
|  | 923 | 63.9328
|  | 922 | 64.2594
|  | 921 | 64.321
|  | 920 | 64.3076
|  | 919 | 64.3733
|  | 918 | 64.7254
|  | 917 | 64.6657
|  | 916 | 65.0888
|  | 915 | 65.0259
|  | 914 | 65.2898
|  | 913 | 65.0903
|  | 912 | 65.4652
|  | 911 | 65.3571
|  | 910 | 65.783
|  | 909 | 65.7163
|  | 908 | 65.8545
|  | 907 | 65.9516
|  | 906 | 66.2737
|  | 905 | 66.0425
|  | 904 | 66.7696
|  | 903 | 66.6691
|  | 902 | 66.4764
|  | 901 | 66.7206
|  | 900 | 67.0787
|  | 899 | 66.8081
|  | 898 | 67.4682
|  | 897 | 67.3689
|  | 896 | 67.5431
|  | 895 | 67.2572
|  | 894 | 67.7772
|  | 893 | 67.3222
|  | 892 | 68.2246
|  | 891 | 68.136
|  | 890 | 68.2375
|  | 889 | 68.3145
|  | 888 | 68.7246
|  | 887 | 68.3831
|  | 886 | 69.0338
|  | 885 | 68.8896
|  | 884 | 68.8894
|  | 883 | 68.9259
|  | 882 | 69.3814
|  | 881 | 69.3783
|  | 880 | 69.867
|  | 879 | 69.7321
|  | 878 | 69.7896
|  | 877 | 70.2437
|  | 876 | 70.4311
|  | 875 | 70.1361
|  | 874 | 70.9573
|  | 873 | 70.9066
|  | 872 | 70.9171
|  | 871 | 70.7961
|  | 870 | 70.9616
|  | 869 | 71.1171
|  | 868 | 71.8729
|  | 867 | 71.8576
|  | 866 | 72.0113
|  | 865 | 71.7147
|  | 864 | 72.124
|  | 863 | 71.7353
|  | 862 | 73.0057
|  | 861 | 72.8162
|  | 860 | 72.7421
|  | 859 | 73.2193
|  | 858 | 73.1163
|  | 857 | 73.1938
|  | 856 | 73.1732
|  | 855 | 73.6581
|  | 854 | 73.5411
|  | 853 | 73.7243
|  | 852 | 74.1867
|  | 851 | 74.1998
|  | 850 | 74.4273
|  | 849 | 74.6368
|  | 848 | 74.5242
|  | 847 | 74.8041
|  | 846 | 74.6882
|  | 845 | 75.1007
|  | 844 | 75.2246
|  | 843 | 75.2843
|  | 842 | 75.5041
|  | 841 | 75.665
|  | 840 | 75.9973
|  | 839 | 76.0407
|  | 838 | 76.4095
|  | 837 | 76.4797
|  | 836 | 76.6339
|  | 835 | 76.7771
|  | 834 | 76.8949
|  | 833 | 77.2121
|  | 832 | 77.2967
|  | 831 | 77.505
|  | 830 | 77.448
|  | 829 | 77.7152
|  | 828 | 77.8574
|  | 827 | 78.1366
|  | 826 | 78.3982
|  | 825 | 78.4518
|  | 824 | 78.6415
|  | 823 | 78.7407
|  | 822 | 78.9176
|  | 821 | 79.1413
|  | 820 | 79.2291
|  | 819 | 79.4845
|  | 818 | 79.6941
|  | 817 | 80.0115
|  | 816 | 80.0085
|  | 815 | 80.2787
|  | 814 | 80.3894
|  | 813 | 80.58
|  | 812 | 80.8588
|  | 811 | 81.0247
|  | 810 | 81.2473
|  | 809 | 81.4201
|  | 808 | 81.5405
|  | 807 | 81.7291
|  | 806 | 81.8689
|  | 805 | 82.0123
|  | 804 | 82.2819
|  | 803 | 82.4561
|  | 802 | 82.5846
|  | 801 | 82.804
|  | 800 | 82.8861
|  | 799 | 83.0924
|  | 798 | 83.2974
|  | 797 | 83.5061
|  | 796 | 83.7005
|  | 795 | 83.9493
|  | 794 | 84.0088
|  | 793 | 84.1292
|  | 792 | 84.4429
|  | 791 | 84.5851
|  | 790 | 84.5981
|  | 789 | 84.8511
|  | 788 | 85.1946
|  | 787 | 85.39
|  | 786 | 85.4486
|  | 785 | 85.6257
|  | 784 | 85.8599
|  | 783 | 86.0022
|  | 782 | 86.2421
|  | 781 | 86.3295
|  | 780 | 86.4036
|  | 779 | 86.5879
|  | 778 | 86.7687
|  | 777 | 87.0317
|  | 776 | 87.0505
|  | 775 | 87.3287
|  | 774 | 87.5679
|  | 773 | 87.7843
|  | 772 | 87.9819
|  | 771 | 88.0787
|  | 770 | 88.2299
|  | 769 | 88.3304
|  | 768 | 88.4177
|  | 767 | 88.7129
|  | 766 | 88.794
|  | 765 | 88.9798
|  | 764 | 89.1309
|  | 763 | 89.3429
|  | 762 | 89.4903
|  | 761 | 89.6774
|  | 760 | 89.836
|  | 759 | 89.9644
|  | 758 | 90.2049
|  | 757 | 90.37
|  | 756 | 90.4945
|  | 755 | 90.5455
|  | 754 | 90.7226
|  | 753 | 90.8841
|  | 752 | 91.0101
|  | 751 | 91.1564
|  | 750 | 91.3362
|  | 749 | 91.419
|  | 748 | 91.6238
|  | 747 | 91.7869
|  | 746 | 91.8828
|  | 745 | 92.0449
|  | 744 | 92.1681
|  | 743 | 92.2574
|  | 742 | 92.3395
|  | 741 | 92.5749
|  | 740 | 92.7589
|  | 739 | 92.8933
|  | 738 | 93.0588
|  | 737 | 93.1454
|  | 736 | 93.1595
|  | 735 | 93.329
|  | 734 | 93.4454
|  | 733 | 93.5991
|  | 732 | 93.8057
|  | 731 | 93.857
|  | 730 | 93.9187
|  | 729 | 94.0401
|  | 728 | 94.1771
|  | 727 | 94.3428
|  | 726 | 94.4172
|  | 725 | 94.4738
|  | 724 | 94.6138
|  | 723 | 94.7303
|  | 722 | 94.7564
|  | 721 | 94.8918
|  | 720 | 95.0419
|  | 719 | 95.1012
|  | 718 | 95.2677
|  | 717 | 95.3687
|  | 716 | 95.4945
|  | 715 | 95.556
|  | 714 | 95.5469
|  | 713 | 95.6426
|  | 712 | 95.751
|  | 711 | 95.7394
|  | 710 | 95.8854
|  | 709 | 96.042
|  | 708 | 96.0942
|  | 707 | 96.1319
|  | 706 | 96.2176
|  | 705 | 96.3409
|  | 704 | 96.4163
|  | 703 | 96.4566
|  | 702 | 96.4967
|  | 701 | 96.5311
|  | 700 | 96.598
|  | 699 | 96.6149
|  | 698 | 96.6445
|  | 697 | 96.797
|  | 696 | 96.8367
|  | 695 | 96.859
|  | 694 | 96.9179
|  | 693 | 96.9846
|  | 692 | 97.0367
|  | 691 | 97.0588
|  | 690 | 97.1838
|  | 689 | 97.2409
|  | 688 | 97.1873
|  | 687 | 97.2691
|  | 686 | 97.3872
|  | 685 | 97.322
|  | 684 | 97.3679
|  | 683 | 97.4813
|  | 682 | 97.5418
|  | 681 | 97.5688
|  | 680 | 97.5353
|  | 679 | 97.4945
|  | 678 | 97.5113
|  | 677 | 97.594
|  | 676 | 97.6214
|  | 675 | 97.612
|  | 674 | 97.6033
|  | 673 | 97.6455
|  | 672 | 97.6587
|  | 671 | 97.6201
|  | 670 | 97.6813
|  | 669 | 97.7549
|  | 668 | 97.7194
|  | 667 | 97.6728
|  | 666 | 97.6748
|  | 665 | 97.6775
|  | 664 | 97.6546
|  | 663 | 97.6495
|  | 662 | 97.6923
|  | 661 | 97.6456
|  | 660 | 97.6079
|  | 659 | 97.7018
|  | 658 | 97.6487
|  | 657 | 97.6343
|  | 656 | 97.6541
|  | 655 | 97.6467
|  | 654 | 97.6099
|  | 653 | 97.5677
|  | 652 | 97.5305
|  | 651 | 97.5404
|  | 650 | 97.613
|  | 649 | 97.5166
|  | 648 | 97.525
|  | 647 | 97.5625
|  | 646 | 97.4742
|  | 645 | 97.4704
|  | 644 | 97.404
|  | 643 | 97.4588
|  | 642 | 97.4707
|  | 641 | 97.4218
|  | 640 | 97.4178
|  | 639 | 97.3353
|  | 638 | 97.3013
|  | 637 | 97.2926
|  | 636 | 97.3194
|  | 635 | 97.3231
|  | 634 | 97.2482
|  | 633 | 97.2029
|  | 632 | 97.1662
|  | 631 | 97.1424
|  | 630 | 97.1133
|  | 629 | 97.1472
|  | 628 | 97.0798
|  | 627 | 97.0266
|  | 626 | 96.9737
|  | 625 | 96.9883
|  | 624 | 96.9859
|  | 623 | 96.9619
|  | 622 | 96.877
|  | 621 | 96.852
|  | 620 | 96.8391
|  | 619 | 96.851
|  | 618 | 96.785
|  | 617 | 96.8151
|  | 616 | 96.8101
|  | 615 | 96.7554
|  | 614 | 96.698
|  | 613 | 96.6171
|  | 612 | 96.6307
|  | 611 | 96.6846
|  | 610 | 96.572
|  | 609 | 96.5403
|  | 608 | 96.5402
|  | 607 | 96.5193
|  | 606 | 96.5271
|  | 605 | 96.4542
|  | 604 | 96.4448
|  | 603 | 96.4237
|  | 602 | 96.3917
|  | 601 | 96.3782
|  | 600 | 96.267
|  | 599 | 96.2494
|  | 598 | 96.1999
|  | 597 | 96.2229
|  | 596 | 96.2026
|  | 595 | 96.1552
|  | 594 | 96.1959
|  | 593 | 96.1256
|  | 592 | 96.0895
|  | 591 | 96.1726
|  | 590 | 96.1126
|  | 589 | 95.9861
|  | 588 | 96.0496
|  | 587 | 96.0007
|  | 586 | 95.9993
|  | 585 | 95.9664
|  | 584 | 96.0232
|  | 583 | 95.8935
|  | 582 | 95.9664
|  | 581 | 95.8076
|  | 580 | 95.8826
|  | 579 | 95.881
|  | 578 | 95.8354
|  | 577 | 95.8676
|  | 576 | 95.8282
|  | 575 | 95.8235
|  | 574 | 95.7563
|  | 573 | 95.806
|  | 572 | 95.8052
|  | 571 | 95.7705
|  | 570 | 95.6641
|  | 569 | 95.7617
|  | 568 | 95.7274
|  | 567 | 95.7742
|  | 566 | 95.6823
|  | 565 | 95.609
|  | 564 | 95.6405
|  | 563 | 95.7724
|  | 562 | 95.8126
|  | 561 | 95.6516
|  | 560 | 95.6435
|  | 559 | 95.6136
|  | 558 | 95.686
|  | 557 | 95.6862
|  | 556 | 95.6612
|  | 555 | 95.5539
|  | 554 | 95.5981
|  | 553 | 95.557
|  | 552 | 95.6485
|  | 551 | 95.682
|  | 550 | 95.4865
|  | 549 | 95.6416
|  | 548 | 95.5923
|  | 547 | 95.5627
|  | 546 | 95.6545
|  | 545 | 95.5597
|  | 544 | 95.6176
|  | 543 | 95.6277
|  | 542 | 95.6509
|  | 541 | 95.5513
|  | 540 | 95.6313
|  | 539 | 95.5171
|  | 538 | 95.5917
|  | 537 | 95.5955
|  | 536 | 95.6187
|  | 535 | 95.5459
|  | 534 | 95.5819
|  | 533 | 95.6958
|  | 532 | 95.705
|  | 531 | 95.6494
|  | 530 | 95.6397
|  | 529 | 95.5507
|  | 528 | 95.647
|  | 527 | 95.6232
|  | 526 | 95.6368
|  | 525 | 95.6757
|  | 524 | 95.7219
|  | 523 | 95.6961
|  | 522 | 95.6186
|  | 521 | 95.6037
|  | 520 | 95.6581
|  | 519 | 95.6827
|  | 518 | 95.7329
|  | 517 | 95.6927
|  | 516 | 95.6516
|  | 515 | 95.6813
|  | 514 | 95.6544
|  | 513 | 95.6785
|  | 512 | 95.6957
|  | 511 | 95.7143
|  | 510 | 95.6531
|  | 509 | 95.568
|  | 508 | 95.5919
|  | 507 | 95.5975
|  | 506 | 95.6085
|  | 505 | 95.6493
|  | 504 | 95.5176
|  | 503 | 95.5527
|  | 502 | 95.4986
|  | 501 | 95.568
|  | 500 | 95.6041
|  | 499 | 95.621
|  | 498 | 95.5803
|  | 497 | 95.5212
|  | 496 | 95.5102
|  | 495 | 95.4348
|  | 494 | 95.3465
|  | 493 | 95.4751
|  | 492 | 95.4224
|  | 491 | 95.3705
|  | 490 | 95.3132
|  | 489 | 95.36
|  | 488 | 95.2601
|  | 487 | 95.2086
|  | 486 | 95.2183
|  | 485 | 95.2152
|  | 484 | 95.0986
|  | 483 | 95.1296
|  | 482 | 95.1078
|  | 481 | 94.9969
|  | 480 | 95.0242
|  | 479 | 94.9949
|  | 478 | 95.005
|  | 477 | 94.8137
|  | 476 | 94.8346
|  | 475 | 94.807
|  | 474 | 94.8082
|  | 473 | 94.6236
|  | 472 | 94.6577
|  | 471 | 94.5589
|  | 470 | 94.4261
|  | 469 | 94.3551
|  | 468 | 94.3071
|  | 467 | 94.1823
|  | 466 | 94.1627
|  | 465 | 93.9919
|  | 464 | 94.0262
|  | 463 | 93.9826
|  | 462 | 93.7824
|  | 461 | 93.6906
|  | 460 | 93.7302
|  | 459 | 93.584
|  | 458 | 93.4065
|  | 457 | 93.3871
|  | 456 | 93.2803
|  | 455 | 93.2768
|  | 454 | 93.1891
|  | 453 | 93.0681
|  | 452 | 92.8404
|  | 451 | 92.7073
|  | 450 | 92.6593
|  | 449 | 92.5724
|  | 448 | 92.3968
|  | 447 | 92.2365
|  | 446 | 92.1916
|  | 445 | 92.0602
|  | 444 | 91.9322
|  | 443 | 91.7763
|  | 442 | 91.6079
|  | 441 | 91.4382
|  | 440 | 91.3278
|  | 439 | 91.2173
|  | 438 | 91.109
|  | 437 | 90.9047
|  | 436 | 90.7635
|  | 435 | 90.5954
|  | 434 | 90.494
|  | 433 | 90.4071
|  | 432 | 90.1656
|  | 431 | 89.9928
|  | 430 | 89.6749
|  | 429 | 89.6057
|  | 428 | 89.5117
|  | 427 | 89.285
|  | 426 | 89.0847
|  | 425 | 88.8549
|  | 424 | 88.7224
|  | 423 | 88.465
|  | 422 | 88.2395
|  | 421 | 87.9712
|  | 420 | 87.8508
|  | 419 | 87.6314
|  | 418 | 87.4162
|  | 417 | 87.1189
|  | 416 | 86.858
|  | 415 | 86.6249
|  | 414 | 86.3486
|  | 413 | 86.0258
|  | 412 | 85.7183
|  | 411 | 85.3261
|  | 410 | 85.0275
|  | 409 | 84.7535
|  | 408 | 84.3895
|  | 407 | 83.9869
|  | 406 | 83.6033
|  | 405 | 83.189
|  | 404 | 82.7971
|  | 403 | 82.3791
|  | 402 | 81.8493
|  | 401 | 81.3151
|  | 400 | 80.7448
|  | 399 | 80.1467
|  | 398 | 79.4636
|  | 397 | 78.8097
|  | 396 | 78.0954
|  | 395 | 77.342
|  | 394 | 76.5604
|  | 393 | 75.624
|  | 392 | 74.6064
|  | 391 | 73.5938
|  | 390 | 72.3657
|  | 389 | 70.9995
|  | 388 | 69.4973
|  | 387 | 68.0693
|  | 386 | 66.4307
|  | 385 | 64.4786
|  | 384 | 62.5999
|  | 383 | 60.5036
|  | 382 | 58.2367
|  | 381 | 55.8058
|  | 380 | 53.1912
|  | 379 | 50.4135
|  | 378 | 47.308
|  | 377 | 43.8483
|  | 376 | 40.7325
|  | 375 | 37.5978
|  | 374 | 34.2943
|  | 373 | 31.0252
|  | 372 | 27.7182
|  | 371 | 24.2884
|  | 370 | 20.9606
|  | 369 | 17.7225
|  | 368 | 14.6776
|  | 367 | 11.8554
|  | 366 | 9.2951
|  | 365 | 7.0505
|  | 364 | 5.1949
|  | 363 | 3.6806
|  | 362 | 2.4947
|  | 361 | 1.6128
|  | 360 | 0.97339
|  | 359 | 0.54149
|  | 358 | 0.28877
|  | 357 | 0.13899
|  | 356 | 0.05452
|  | 355 | 0.01289
|  | 354 | 0.01234
|  | 353 | 0.01151
|  | 352 | 0.000282
|  | 351 | 0.00254
|  | 350 | 0.01102

## Axial Color
TTL165-A Axial Color
|  | Wavelength (nm) | Axial Focus Shift (mm)
|  | 400 | 0.11014
|  | 402.917 | 0.10422
|  | 405.833 | 0.09837
|  | 408.75 | 0.09262
Product Raw Data |  | 411.667 | 0.08702
Tube Lens, f = 165 mm, ARC: 350 - 700 nm |  | 414.583 | 0.08156
|  | 417.5 | 0.07627
Item # | TTL165-A | 420.417 | 0.07116
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 423.333 | 0.06624
|  | 426.25 | 0.06151
|  | 429.167 | 0.05698
|  | 432.083 | 0.05265
|  | 435 | 0.04852
|  | 437.917 | 0.04459
This data may be used in publications. However, please cite Thorlabs as the source. |  | 440.833 | 0.04086
|  | 443.75 | 0.03733
|  | 446.667 | 0.03399
Additional Information: |  | 449.583 | 0.03084
These are theoretical results. The focal shift is assumed to be zero at 520 nm. |  | 452.5 | 0.02788
|  | 455.417 | 0.0251
|  | 458.333 | 0.0225
|  | 461.25 | 0.02007
|  | 464.167 | 0.01781
|  | 467.083 | 0.01571
|  | 470 | 0.01377
|  | 472.917 | 0.01198
|  | 475.833 | 0.01034
|  | 478.75 | 0.00884
|  | 481.667 | 0.00748
|  | 484.583 | 0.00624
|  | 487.5 | 0.00514
|  | 490.417 | 0.00415
|  | 493.333 | 0.00329
|  | 496.25 | 0.00253
|  | 499.167 | 0.00188
|  | 502.083 | 0.00134
|  | 505 | 0.00088968
|  | 507.917 | 0.00053806
|  | 510.833 | 0.00027711
|  | 513.75 | 0.00010295
|  | 516.667 | 1.179e-05
|  | 519.583 | 0
|  | 522.5 | 6.406e-05
|  | 525.417 | 0.00020058
|  | 528.333 | 0.0004063
|  | 531.25 | 0.00067806
|  | 534.167 | 0.00101
|  | 537.083 | 0.00141
|  | 540 | 0.00186
|  | 542.917 | 0.00237
|  | 545.833 | 0.00293
|  | 548.75 | 0.00353
|  | 551.667 | 0.00419
|  | 554.583 | 0.00489
|  | 557.5 | 0.00563
|  | 560.417 | 0.00642
|  | 563.333 | 0.00724
|  | 566.25 | 0.00809
|  | 569.167 | 0.00899
|  | 572.083 | 0.00991
|  | 575 | 0.01087
|  | 577.917 | 0.01186
|  | 580.833 | 0.01287
|  | 583.75 | 0.01391
|  | 586.667 | 0.01498
|  | 589.583 | 0.01606
|  | 592.5 | 0.01718
|  | 595.417 | 0.01831
|  | 598.333 | 0.01946
|  | 601.25 | 0.02063
|  | 604.167 | 0.02182
|  | 607.083 | 0.02302
|  | 610 | 0.02424
|  | 612.917 | 0.02547
|  | 615.833 | 0.02672
|  | 618.75 | 0.02798
|  | 621.667 | 0.02925
|  | 624.583 | 0.03053
|  | 627.5 | 0.03182
|  | 630.417 | 0.03313
|  | 633.333 | 0.03444
|  | 636.25 | 0.03575
|  | 639.167 | 0.03708
|  | 642.083 | 0.03841
|  | 645 | 0.03975
|  | 647.917 | 0.04109
|  | 650.833 | 0.04244
|  | 653.75 | 0.04379
|  | 656.667 | 0.04514
|  | 659.583 | 0.0465
|  | 662.5 | 0.04787
|  | 665.417 | 0.04923
|  | 668.333 | 0.0506
|  | 671.25 | 0.05196
|  | 674.167 | 0.05333
|  | 677.083 | 0.0547
|  | 680 | 0.05608
|  | 682.917 | 0.05745
|  | 685.833 | 0.05882
|  | 688.75 | 0.06019
|  | 691.667 | 0.06156
|  | 694.583 | 0.06293
|  | 697.5 | 0.0643
|  | 700.417 | 0.06566
|  | 703.333 | 0.06703
|  | 706.25 | 0.06839
|  | 709.167 | 0.06975
|  | 712.083 | 0.07111
|  | 715 | 0.07247
|  | 717.917 | 0.07382
|  | 720.833 | 0.07518
|  | 723.75 | 0.07652
|  | 726.667 | 0.07787
|  | 729.583 | 0.07921
|  | 732.5 | 0.08055
|  | 735.417 | 0.08189
|  | 738.333 | 0.08322
|  | 741.25 | 0.08455
|  | 744.167 | 0.08587
|  | 747.083 | 0.08719
|  | 750 | 0.08851

## RMS WFE vs Field
TTL165-A RMS Wavefront Error
|  | Field (mm) | RMS Wavefront Error (Waves) at 400 nm | RMS Wavefront Error (Waves) at 539 nm | RMS Wavefront Error (Waves) at 626 nm | RMS Wavefront Error (Waves) at 750 nm
|  | -11 | 0.0557 | 0.0286 | 0.0239 | 0.0328
|  | -10.2667 | 0.0435 | 0.0276 | 0.0206 | 0.0303
|  | -9.5333 | 0.0409 | 0.0265 | 0.0176 | 0.0283
|  | -8.8 | 0.0416 | 0.0256 | 0.0152 | 0.0269
Product Raw Data |  | -8.0667 | 0.0424 | 0.0251 | 0.0134 | 0.0261
Tube Lens, f = 165 mm, ARC: 350 - 700 nm |  | -7.3333 | 0.0425 | 0.0249 | 0.0122 | 0.0257
|  | -6.6 | 0.0421 | 0.0249 | 0.0113 | 0.0256
Item # | TTL165-A | -5.8667 | 0.0414 | 0.0248 | 0.0104 | 0.0258
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | -5.1333 | 0.0407 | 0.0246 | 0.0096 | 0.0262
|  | -4.4 | 0.04 | 0.0243 | 0.0087 | 0.0267
|  | -3.6667 | 0.0394 | 0.0238 | 0.0078 | 0.0272
|  | -2.9333 | 0.0391 | 0.0234 | 0.0068 | 0.0277
|  | -2.2 | 0.0389 | 0.0229 | 0.0058 | 0.0282
|  | -1.4667 | 0.0388 | 0.0226 | 0.005 | 0.0286
This data may be used in publications. However, please cite Thorlabs as the source. |  | -0.73333 | 0.0387 | 0.0223 | 0.0045 | 0.0288
|  | 0 | 0.0387 | 0.0222 | 0.0043 | 0.0289
|  | 0.73333 | 0.0387 | 0.0223 | 0.0045 | 0.0288
Additional Information: |  | 1.4667 | 0.0388 | 0.0226 | 0.005 | 0.0286
These are theoretical results. The wavelength of best focus was set to 540 nm. Performance will vary slightly while remaining diffraction limited throughout the design wavelength range. |  | 2.2 | 0.0389 | 0.0229 | 0.0058 | 0.0282
|  | 2.9333 | 0.0391 | 0.0234 | 0.0068 | 0.0277
|  | 3.6667 | 0.0394 | 0.0238 | 0.0078 | 0.0272
|  | 4.4 | 0.04 | 0.0243 | 0.0087 | 0.0267
|  | 5.1333 | 0.0407 | 0.0246 | 0.0096 | 0.0262
|  | 5.8667 | 0.0414 | 0.0248 | 0.0104 | 0.0258
|  | 6.6 | 0.0421 | 0.0249 | 0.0113 | 0.0256
|  | 7.3333 | 0.0425 | 0.0249 | 0.0122 | 0.0257
|  | 8.0667 | 0.0424 | 0.0251 | 0.0134 | 0.0261
|  | 8.8 | 0.0416 | 0.0256 | 0.0152 | 0.0269
|  | 9.5333 | 0.0409 | 0.0265 | 0.0176 | 0.0283
|  | 10.2667 | 0.0435 | 0.0276 | 0.0206 | 0.0303
|  | 11 | 0.0557 | 0.0286 | 0.0239 | 0.0328

## Polychromatic MTF
TTL165-A Polychromatic Modulation Transfer Function
|  | Spatial Frequency (lp/mm) | MTF
|  |  | Diffraction Limited (Theoretical) | On Axis | 3.45 mm Off Axis | 8.00 mm Off Axis | 11.00 mm Off Axis
|  | 0 | 1 | 1 | 1 | 1 | 1
|  | 2 | 0.98404 | 0.98389 | 0.98382 | 0.98361 | 0.98355
|  | 4 | 0.96823 | 0.96781 | 0.96762 | 0.96712 | 0.96703
|  | 6 | 0.95267 | 0.95176 | 0.95139 | 0.95044 | 0.95036
Product Raw Data |  | 8 | 0.9372 | 0.93563 | 0.93502 | 0.93354 | 0.9335
Tube Lens, f = 165 mm, ARC: 350 - 700 nm |  | 10 | 0.92168 | 0.91933 | 0.91845 | 0.91641 | 0.91644
|  | 12 | 0.90612 | 0.9029 | 0.90173 | 0.89912 | 0.89926
Item # | TTL165-A | 14 | 0.89059 | 0.8864 | 0.88492 | 0.88174 | 0.88202
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 16 | 0.87506 | 0.86984 | 0.86804 | 0.86432 | 0.86475
|  | 18 | 0.85952 | 0.85323 | 0.85111 | 0.84688 | 0.84749
|  | 20 | 0.84399 | 0.83659 | 0.83414 | 0.82945 | 0.83024
|  | 22 | 0.82845 | 0.81994 | 0.81717 | 0.81205 | 0.81305
|  | 24 | 0.81292 | 0.8033 | 0.80021 | 0.7947 | 0.79591
|  | 26 | 0.79739 | 0.78668 | 0.78329 | 0.77743 | 0.77884
This data may be used in publications. However, please cite Thorlabs as the source. |  | 28 | 0.78185 | 0.7701 | 0.7664 | 0.76025 | 0.76186
|  | 30 | 0.76633 | 0.75357 | 0.74957 | 0.74317 | 0.745
|  | 32 | 0.75089 | 0.73718 | 0.7329 | 0.72627 | 0.7283
Additional Information: |  | 34 | 0.73556 | 0.72098 | 0.71642 | 0.70959 | 0.7118
The modulation transfer function of a lens, shown in this graph for the TTL165-A, is a measure of image quality. The curve represents the contrast of an imaged sinusoidal line pair target with various line spacings. As the contrast diminishes, the distinction between the lines begins to blur. In the graph above, the y-axis represents the contrast and the x-axis is the line spacing in lines/mm. The data provided here is a theoretical calculation for the TTL165-A lens. |  | 36 | 0.72028 | 0.70491 | 0.70007 | 0.69306 | 0.69544
|  | 38 | 0.70498 | 0.68891 | 0.68379 | 0.67663 | 0.67917
|  | 40 | 0.68969 | 0.67301 | 0.66762 | 0.66032 | 0.66302
|  | 42 | 0.67446 | 0.65727 | 0.65161 | 0.64419 | 0.64704
|  | 44 | 0.65936 | 0.64175 | 0.63583 | 0.62829 | 0.63127
|  | 46 | 0.64441 | 0.6265 | 0.62029 | 0.61263 | 0.61573
|  | 48 | 0.62954 | 0.61142 | 0.60494 | 0.59715 | 0.60034
|  | 50 | 0.61468 | 0.59645 | 0.58969 | 0.58176 | 0.58504
|  | 52 | 0.59981 | 0.58156 | 0.57452 | 0.56646 | 0.56982
|  | 54 | 0.58493 | 0.56676 | 0.55944 | 0.55125 | 0.5547
|  | 56 | 0.57019 | 0.55217 | 0.54456 | 0.53624 | 0.53977
|  | 58 | 0.55563 | 0.53785 | 0.52995 | 0.52147 | 0.52508
|  | 60 | 0.54117 | 0.52368 | 0.51549 | 0.50684 | 0.51054
|  | 62 | 0.52673 | 0.5096 | 0.5011 | 0.49229 | 0.49607
|  | 64 | 0.51235 | 0.49563 | 0.48683 | 0.47784 | 0.48173
|  | 66 | 0.49809 | 0.48182 | 0.47272 | 0.46356 | 0.46755
|  | 68 | 0.48402 | 0.46823 | 0.45884 | 0.44949 | 0.45361
|  | 70 | 0.47014 | 0.45486 | 0.44516 | 0.43563 | 0.43988
|  | 72 | 0.4563 | 0.44153 | 0.43154 | 0.42182 | 0.4262
|  | 74 | 0.44243 | 0.42819 | 0.41791 | 0.408 | 0.41252
|  | 76 | 0.42863 | 0.41493 | 0.40437 | 0.39429 | 0.39896
|  | 78 | 0.415 | 0.40182 | 0.391 | 0.38078 | 0.38561
|  | 80 | 0.40154 | 0.38888 | 0.37781 | 0.36744 | 0.37245
|  | 82 | 0.38827 | 0.37611 | 0.36479 | 0.35427 | 0.35948
|  | 84 | 0.37516 | 0.36348 | 0.35192 | 0.34128 | 0.34669
|  | 86 | 0.36221 | 0.35099 | 0.33921 | 0.32848 | 0.33408
|  | 88 | 0.34945 | 0.33866 | 0.32668 | 0.31587 | 0.32166
|  | 90 | 0.33687 | 0.32649 | 0.31433 | 0.30344 | 0.30939
|  | 92 | 0.3244 | 0.31442 | 0.3021 | 0.29118 | 0.29726
|  | 94 | 0.31205 | 0.30244 | 0.28999 | 0.27908 | 0.28529
|  | 96 | 0.29988 | 0.29061 | 0.27807 | 0.26721 | 0.27351
|  | 98 | 0.2879 | 0.27896 | 0.26635 | 0.25557 | 0.26191
|  | 100 | 0.27607 | 0.26743 | 0.2548 | 0.24414 | 0.25044
|  | 102 | 0.26438 | 0.25605 | 0.24343 | 0.23293 | 0.23915
|  | 104 | 0.25298 | 0.24492 | 0.23237 | 0.22209 | 0.2282
|  | 106 | 0.2419 | 0.2341 | 0.22165 | 0.21166 | 0.21763
|  | 108 | 0.23103 | 0.2235 | 0.21119 | 0.20151 | 0.20727
|  | 110 | 0.22035 | 0.21306 | 0.20094 | 0.19162 | 0.19706
|  | 112 | 0.20987 | 0.20282 | 0.19095 | 0.18204 | 0.18707
|  | 114 | 0.19964 | 0.19283 | 0.18126 | 0.17281 | 0.1774
|  | 116 | 0.18976 | 0.18318 | 0.17196 | 0.16403 | 0.16816
|  | 118 | 0.18025 | 0.1739 | 0.16308 | 0.1557 | 0.15937
|  | 120 | 0.17112 | 0.16499 | 0.15459 | 0.14776 | 0.1509
|  | 122 | 0.16242 | 0.15651 | 0.14653 | 0.14024 | 0.14288
|  | 124 | 0.15428 | 0.14858 | 0.13902 | 0.13324 | 0.13565
|  | 126 | 0.14678 | 0.14129 | 0.13209 | 0.12676 | 0.1292
|  | 128 | 0.13994 | 0.13466 | 0.12571 | 0.12069 | 0.12314
|  | 130 | 0.13362 | 0.12854 | 0.11974 | 0.11491 | 0.11726
|  | 132 | 0.12751 | 0.12262 | 0.11396 | 0.10932 | 0.11152
|  | 134 | 0.12145 | 0.11674 | 0.10828 | 0.10386 | 0.1059
|  | 136 | 0.11547 | 0.11094 | 0.1027 | 0.09853 | 0.10035
|  | 138 | 0.10959 | 0.10523 | 0.09724 | 0.09333 | 0.09488
|  | 140 | 0.10379 | 0.09959 | 0.09189 | 0.08826 | 0.08952
|  | 142 | 0.09809 | 0.09405 | 0.08667 | 0.08335 | 0.0843
|  | 144 | 0.09257 | 0.08867 | 0.08165 | 0.07863 | 0.07926
|  | 146 | 0.08724 | 0.08347 | 0.07682 | 0.07413 | 0.07442
|  | 148 | 0.08208 | 0.07845 | 0.07219 | 0.06981 | 0.06976
|  | 150 | 0.0771 | 0.07358 | 0.06773 | 0.06566 | 0.06524
|  | 152 | 0.07227 | 0.06886 | 0.06344 | 0.06164 | 0.06081
|  | 154 | 0.06764 | 0.06435 | 0.05936 | 0.05781 | 0.05661
|  | 156 | 0.06333 | 0.06014 | 0.05556 | 0.05424 | 0.05285
|  | 158 | 0.05933 | 0.05624 | 0.05204 | 0.05094 | 0.04948
|  | 160 | 0.05557 | 0.05259 | 0.04873 | 0.04782 | 0.04629
|  | 162 | 0.05202 | 0.04912 | 0.04559 | 0.04485 | 0.04319
|  | 164 | 0.04863 | 0.04583 | 0.04261 | 0.042 | 0.04025
|  | 166 | 0.04539 | 0.04269 | 0.03979 | 0.03927 | 0.03745
|  | 168 | 0.04232 | 0.03971 | 0.03712 | 0.03666 | 0.03476
|  | 170 | 0.03938 | 0.03686 | 0.03459 | 0.03419 | 0.03225
|  | 172 | 0.03655 | 0.03412 | 0.03217 | 0.03187 | 0.03006
|  | 174 | 0.0339 | 0.03157 | 0.02991 | 0.0297 | 0.02813
|  | 176 | 0.03157 | 0.02934 | 0.02788 | 0.02767 | 0.02631
|  | 178 | 0.02948 | 0.02736 | 0.02603 | 0.02577 | 0.02457
|  | 180 | 0.02747 | 0.02544 | 0.02426 | 0.02398 | 0.02295
|  | 182 | 0.02548 | 0.02356 | 0.02255 | 0.02229 | 0.02144
|  | 184 | 0.02354 | 0.02173 | 0.02089 | 0.02062 | 0.01996
|  | 186 | 0.02169 | 0.01999 | 0.0193 | 0.019 | 0.01855
|  | 188 | 0.01999 | 0.0184 | 0.01785 | 0.01747 | 0.01725
|  | 190 | 0.01838 | 0.0169 | 0.01649 | 0.01606 | 0.01604
|  | 192 | 0.0168 | 0.01543 | 0.01516 | 0.01477 | 0.01488
|  | 194 | 0.01536 | 0.0141 | 0.01395 | 0.01362 | 0.01379
|  | 196 | 0.01423 | 0.01309 | 0.01297 | 0.01267 | 0.01283
|  | 198 | 0.01331 | 0.01227 | 0.01214 | 0.01182 | 0.01196
|  | 200 | 0.01236 | 0.01143 | 0.0113 | 0.01096 | 0.01107
|  | 202 | 0.01138 | 0.01056 | 0.01044 | 0.0101 | 0.01018
|  | 204 | 0.01044 | 0.00972 | 0.00961 | 0.00928 | 0.00932
|  | 206 | 0.00954 | 0.00892 | 0.00881 | 0.00848 | 0.00848
|  | 208 | 0.00862 | 0.00809 | 0.00799 | 0.00766 | 0.00764
|  | 210 | 0.00773 | 0.00728 | 0.00718 | 0.00686 | 0.00681
|  | 212 | 0.0069 | 0.00653 | 0.00644 | 0.00613 | 0.00604
|  | 214 | 0.00611 | 0.00581 | 0.00573 | 0.00543 | 0.0053
|  | 216 | 0.00529 | 0.00506 | 0.00498 | 0.0047 | 0.00456
|  | 218 | 0.00451 | 0.00434 | 0.00426 | 0.004 | 0.00385
|  | 220 | 0.00385 | 0.00372 | 0.00365 | 0.0034 | 0.00323
|  | 222 | 0.00323 | 0.00315 | 0.00309 | 0.00285 | 0.00265
|  | 224 | 0.00259 | 0.00254 | 0.00248 | 0.00226 | 0.00209
|  | 226 | 0.00199 | 0.00196 | 0.00191 | 0.0017 | 0.00155
|  | 228 | 0.00153 | 0.00151 | 0.00146 | 0.00125 | 0.00108
|  | 230 | 0.00109 | 0.00109 | 0.00104 | 0.0008405 | 0.0006545
|  | 232 | 0.000589 | 0.000587 | 0.000548 | 0.0003995 | 0.000285
|  | 234 | 0.000178 | 0.000177 | 0.0001475 | 7.1e-05 | 4.6e-05
|  | 236 | 3.9e-05 | 3.9e-05 | 2.75e-05 | 6e-06 | 6e-06
|  | 238 | 5e-05 | 5e-05 | 5.35e-05 | 5.7e-05 | 4.8e-05
|  | 240 | 3.7e-05 | 3.8e-05 | 4.05e-05 | 4.65e-05 | 3.85e-05
|  | 242 | 4e-06 | 4e-06 | 1e-06 | 1e-06 | 1e-06
|  | 244 | 0 | 0 | 0 | 0 | 0
|  | 246 | 0 | 0 | 0 | 0 | 0
|  | 248 | 2e-06 | 2e-06 | 3e-06 | 3e-06 | 3e-06
|  | 250 | 0 | 0 | 0 | 0 | 0

## Distortion
TTL165-A Distortion
|  | Field (mm) | Distortion (%)
|  | -11 | 0.25181
|  | -10.89 | 0.24621
|  | -10.78 | 0.24069
|  | -10.67 | 0.23525
Product Raw Data |  | -10.56 | 0.22989
Tube Lens, f = 165 mm, ARC: 350 - 700 nm |  | -10.45 | 0.2246
|  | -10.34 | 0.21939
Item # | TTL165-A | -10.23 | 0.21425
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | -10.12 | 0.20919
|  | -10.01 | 0.20421
|  | -9.9 | 0.1993
|  | -9.79 | 0.19446
|  | -9.68 | 0.1897
|  | -9.57 | 0.185
This data may be used in publications. However, please cite Thorlabs as the source. |  | -9.46 | 0.18038
|  | -9.35 | 0.17583
|  | -9.24 | 0.17135
Additional Information: |  | -9.13 | 0.16695
The f-tan theta distortion of our TTL165-A tube lens. Positive distortion indicates that the point in the image plane is farther than expected from the optical axis, while negative distortion indicates the point in the image plane is closer than expected. Up to 1% distortion is typically considered acceptable. This data represents a theoretical calculation for 543 nm light. |  | -9.02 | 0.16261
|  | -8.91 | 0.15833
|  | -8.8 | 0.15413
|  | -8.69 | 0.15
|  | -8.58 | 0.14593
|  | -8.47 | 0.14193
|  | -8.36 | 0.13799
|  | -8.25 | 0.13412
|  | -8.14 | 0.13032
|  | -8.03 | 0.12658
|  | -7.92 | 0.1229
|  | -7.81 | 0.11929
|  | -7.7 | 0.11574
|  | -7.59 | 0.11225
|  | -7.48 | 0.10882
|  | -7.37 | 0.10546
|  | -7.26 | 0.10215
|  | -7.15 | 0.09891
|  | -7.04 | 0.09573
|  | -6.93 | 0.0926
|  | -6.82 | 0.08954
|  | -6.71 | 0.08653
|  | -6.6 | 0.08358
|  | -6.49 | 0.08069
|  | -6.38 | 0.07785
|  | -6.27 | 0.07508
|  | -6.16 | 0.07235
|  | -6.05 | 0.06969
|  | -5.94 | 0.06708
|  | -5.83 | 0.06452
|  | -5.72 | 0.06202
|  | -5.61 | 0.05958
|  | -5.5 | 0.05718
|  | -5.39 | 0.05485
|  | -5.28 | 0.05256
|  | -5.17 | 0.05033
|  | -5.06 | 0.04815
|  | -4.95 | 0.04602
|  | -4.84 | 0.04394
|  | -4.73 | 0.04192
|  | -4.62 | 0.03994
|  | -4.51 | 0.03802
|  | -4.4 | 0.03615
|  | -4.29 | 0.03433
|  | -4.18 | 0.03255
|  | -4.07 | 0.03083
|  | -3.96 | 0.02916
|  | -3.85 | 0.02753
|  | -3.74 | 0.02596
|  | -3.63 | 0.02443
|  | -3.52 | 0.02295
|  | -3.41 | 0.02152
|  | -3.3 | 0.02014
|  | -3.19 | 0.0188
|  | -3.08 | 0.01751
|  | -2.97 | 0.01627
|  | -2.86 | 0.01508
|  | -2.75 | 0.01393
|  | -2.64 | 0.01283
|  | -2.53 | 0.01177
|  | -2.42 | 0.01077
|  | -2.31 | 0.0098
|  | -2.2 | 0.00889
|  | -2.09 | 0.00802
|  | -1.98 | 0.00719
|  | -1.87 | 0.00641
|  | -1.76 | 0.00568
|  | -1.65 | 0.00499
|  | -1.54 | 0.00434
|  | -1.43 | 0.00374
|  | -1.32 | 0.00319
|  | -1.21 | 0.00268
|  | -1.1 | 0.00221
|  | -0.99 | 0.00179
|  | -0.88 | 0.00142
|  | -0.77 | 0.00108
|  | -0.66 | 0.00079575
|  | -0.55 | 0.00055252
|  | -0.44 | 0.00035357
|  | -0.33 | 0.00019886
|  | -0.22 | 8.838e-05
|  | -0.11 | 2.209e-05
|  | 0 | 0
|  | 0.11 | 2.209e-05
|  | 0.22 | 8.838e-05
|  | 0.33 | 0.00019886
|  | 0.44 | 0.00035357
|  | 0.55 | 0.00055252
|  | 0.66 | 0.00079575
|  | 0.77 | 0.00108
|  | 0.88 | 0.00142
|  | 0.99 | 0.00179
|  | 1.1 | 0.00221
|  | 1.21 | 0.00268
|  | 1.32 | 0.00319
|  | 1.43 | 0.00374
|  | 1.54 | 0.00434
|  | 1.65 | 0.00499
|  | 1.76 | 0.00568
|  | 1.87 | 0.00641
|  | 1.98 | 0.00719
|  | 2.09 | 0.00802
|  | 2.2 | 0.00889
|  | 2.31 | 0.0098
|  | 2.42 | 0.01077
|  | 2.53 | 0.01177
|  | 2.64 | 0.01283
|  | 2.75 | 0.01393
|  | 2.86 | 0.01508
|  | 2.97 | 0.01627
|  | 3.08 | 0.01751
|  | 3.19 | 0.0188
|  | 3.3 | 0.02014
|  | 3.41 | 0.02152
|  | 3.52 | 0.02295
|  | 3.63 | 0.02443
|  | 3.74 | 0.02596
|  | 3.85 | 0.02753
|  | 3.96 | 0.02916
|  | 4.07 | 0.03083
|  | 4.18 | 0.03255
|  | 4.29 | 0.03433
|  | 4.4 | 0.03615
|  | 4.51 | 0.03802
|  | 4.62 | 0.03994
|  | 4.73 | 0.04192
|  | 4.84 | 0.04394
|  | 4.95 | 0.04602
|  | 5.06 | 0.04815
|  | 5.17 | 0.05033
|  | 5.28 | 0.05256
|  | 5.39 | 0.05485
|  | 5.5 | 0.05718
|  | 5.61 | 0.05958
|  | 5.72 | 0.06202
|  | 5.83 | 0.06452
|  | 5.94 | 0.06708
|  | 6.05 | 0.06969
|  | 6.16 | 0.07235
|  | 6.27 | 0.07508
|  | 6.38 | 0.07785
|  | 6.49 | 0.08069
|  | 6.6 | 0.08358
|  | 6.71 | 0.08653
|  | 6.82 | 0.08954
|  | 6.93 | 0.0926
|  | 7.04 | 0.09573
|  | 7.15 | 0.09891
|  | 7.26 | 0.10215
|  | 7.37 | 0.10546
|  | 7.48 | 0.10882
|  | 7.59 | 0.11225
|  | 7.7 | 0.11574
|  | 7.81 | 0.11929
|  | 7.92 | 0.1229
|  | 8.03 | 0.12658
|  | 8.14 | 0.13032
|  | 8.25 | 0.13412
|  | 8.36 | 0.13799
|  | 8.47 | 0.14193
|  | 8.58 | 0.14593
|  | 8.69 | 0.15
|  | 8.8 | 0.15413
|  | 8.91 | 0.15833
|  | 9.02 | 0.16261
|  | 9.13 | 0.16695
|  | 9.24 | 0.17135
|  | 9.35 | 0.17583
|  | 9.46 | 0.18038
|  | 9.57 | 0.185
|  | 9.68 | 0.1897
|  | 9.79 | 0.19446
|  | 9.9 | 0.1993
|  | 10.01 | 0.20421
|  | 10.12 | 0.20919
|  | 10.23 | 0.21425
|  | 10.34 | 0.21939
|  | 10.45 | 0.2246
|  | 10.56 | 0.22989
|  | 10.67 | 0.23525
|  | 10.78 | 0.24069
|  | 10.89 | 0.24621
|  | 11 | 0.25181