## T146793
SN: | T146793
Item #: | TW630R5A2
Item Description: | 2x2 50:50 Wideband Fiber Optic Coupler
Fiber Type: | Thorlabs 630HP
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 630
Insertion Loss (dB): | -3.35
Coupling Ratio (%): | 46.42
Uniformity (dB): | 0.54
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 630
Insertion Loss (dB): | -2.73
Coupling Ratio (%): | 53.58
Uniformity (dB): | 0.51
Spectral Response
Wavelength (nm) | Insertion Loss - White (Signal Output) (dB) | Coupling Ratio - White (Signal Output) (%) | Insertion Loss - Red (Tap Output) (dB) | Coupling Ratio - Red (Tap Output) (%)
570 | -2.567 | 55.606 | -3.545 | 44.394
570.24 | -2.567 | 55.606 | -3.545 | 44.394
570.481 | -2.567 | 55.606 | -3.545 | 44.394
570.721 | -2.555 | 55.549 | -3.523 | 44.451
570.962 | -2.535 | 55.447 | -3.485 | 44.553
571.202 | -2.525 | 55.336 | -3.455 | 44.664
571.443 | -2.607 | 55.148 | -3.505 | 44.852
571.683 | -2.691 | 54.956 | -3.554 | 45.044
571.924 | -2.763 | 54.609 | -3.566 | 45.391
572.164 | -2.829 | 54.172 | -3.555 | 45.828
572.405 | -2.874 | 53.807 | -3.536 | 46.193
572.645 | -2.826 | 53.779 | -3.484 | 46.221
572.886 | -2.777 | 53.761 | -3.432 | 46.239
573.126 | -2.734 | 53.874 | -3.408 | 46.126
573.367 | -2.693 | 54.043 | -3.397 | 45.957
573.607 | -2.661 | 54.161 | -3.385 | 45.839
573.848 | -2.654 | 54.126 | -3.372 | 45.874
574.088 | -2.649 | 54.08 | -3.36 | 45.92
574.329 | -2.693 | 53.832 | -3.36 | 46.168
574.569 | -2.751 | 53.522 | -3.364 | 46.478
574.81 | -2.792 | 53.294 | -3.365 | 46.706
575.05 | -2.794 | 53.244 | -3.358 | 46.756
575.291 | -2.792 | 53.219 | -3.352 | 46.781
575.531 | -2.734 | 53.579 | -3.357 | 46.421
575.772 | -2.665 | 54.023 | -3.366 | 45.977
576.012 | -2.63 | 54.338 | -3.385 | 45.662
576.253 | -2.647 | 54.448 | -3.421 | 45.552
576.493 | -2.668 | 54.528 | -3.456 | 45.472
576.733 | -2.71 | 54.257 | -3.451 | 45.743
576.974 | -2.754 | 53.934 | -3.439 | 46.066
577.214 | -2.78 | 53.629 | -3.412 | 46.371
577.455 | -2.783 | 53.347 | -3.365 | 46.653
577.695 | -2.783 | 53.093 | -3.321 | 46.907
577.936 | -2.767 | 53.225 | -3.328 | 46.775
578.176 | -2.751 | 53.382 | -3.34 | 46.618
578.417 | -2.755 | 53.407 | -3.347 | 46.593
578.657 | -2.777 | 53.307 | -3.352 | 46.693
578.898 | -2.8 | 53.176 | -3.352 | 46.824
579.138 | -2.823 | 52.873 | -3.323 | 47.127
579.379 | -2.845 | 52.568 | -3.292 | 47.432
579.619 | -2.849 | 52.416 | -3.269 | 47.584
579.86 | -2.839 | 52.377 | -3.252 | 47.623
580.1 | -2.832 | 52.344 | -3.239 | 47.656
580.341 | -2.84 | 52.297 | -3.239 | 47.703
580.581 | -2.85 | 52.261 | -3.243 | 47.739
580.822 | -2.861 | 52.355 | -3.27 | 47.645
581.062 | -2.871 | 52.524 | -3.31 | 47.476
581.303 | -2.873 | 52.681 | -3.339 | 47.319
581.543 | -2.846 | 52.784 | -3.33 | 47.216
581.784 | -2.816 | 52.878 | -3.317 | 47.122
582.024 | -2.776 | 52.948 | -3.288 | 47.052
582.265 | -2.732 | 52.999 | -3.254 | 47.001
582.505 | -2.715 | 52.973 | -3.232 | 47.027
582.745 | -2.758 | 52.775 | -3.24 | 47.225
582.986 | -2.805 | 52.56 | -3.25 | 47.44
583.226 | -2.84 | 52.368 | -3.251 | 47.632
583.467 | -2.87 | 52.187 | -3.25 | 47.813
583.707 | -2.897 | 52.032 | -3.251 | 47.968
583.948 | -2.922 | 51.92 | -3.256 | 48.08
584.188 | -2.945 | 51.82 | -3.261 | 48.18
584.429 | -2.959 | 51.775 | -3.268 | 48.225
584.669 | -2.971 | 51.738 | -3.273 | 48.262
584.91 | -2.98 | 51.63 | -3.263 | 48.37
585.15 | -2.986 | 51.425 | -3.233 | 48.575
585.391 | -2.985 | 51.255 | -3.203 | 48.745
585.631 | -2.944 | 51.414 | -3.19 | 48.586
585.872 | -2.896 | 51.634 | -3.18 | 48.366
586.112 | -2.865 | 51.8 | -3.178 | 48.2
586.353 | -2.852 | 51.905 | -3.183 | 48.095
586.593 | -2.848 | 51.991 | -3.194 | 48.009
586.834 | -2.888 | 52.02 | -3.239 | 47.98
587.074 | -2.931 | 52.006 | -3.28 | 47.994
587.315 | -2.954 | 51.756 | -3.259 | 48.244
587.555 | -2.958 | 51.298 | -3.183 | 48.702
587.796 | -2.965 | 50.838 | -3.111 | 49.162
588.036 | -2.995 | 50.489 | -3.08 | 49.511
588.277 | -3.022 | 50.217 | -3.06 | 49.783
588.517 | -3.008 | 50.324 | -3.065 | 49.676
588.758 | -2.966 | 50.694 | -3.087 | 49.306
588.998 | -2.936 | 50.975 | -3.105 | 49.025
589.238 | -2.952 | 50.881 | -3.105 | 49.119
589.479 | -2.975 | 50.72 | -3.1 | 49.28
589.719 | -2.993 | 50.553 | -3.089 | 49.447
589.96 | -3.007 | 50.394 | -3.076 | 49.606
590.2 | -3.011 | 50.332 | -3.069 | 49.668
590.441 | -2.992 | 50.488 | -3.077 | 49.512
590.681 | -2.971 | 50.661 | -3.086 | 49.339
590.922 | -2.963 | 50.711 | -3.087 | 49.289
591.162 | -2.963 | 50.693 | -3.084 | 49.307
591.403 | -2.974 | 50.617 | -3.082 | 49.383
591.643 | -3.004 | 50.451 | -3.083 | 49.549
591.884 | -3.035 | 50.296 | -3.087 | 49.704
592.124 | -3.053 | 50.276 | -3.101 | 49.724
592.365 | -3.064 | 50.303 | -3.117 | 49.697
592.605 | -3.072 | 50.285 | -3.121 | 49.715
592.846 | -3.076 | 50.192 | -3.11 | 49.808
593.086 | -3.074 | 50.132 | -3.097 | 49.868
593.327 | -3.044 | 50.289 | -3.094 | 49.711
593.567 | -3.008 | 50.483 | -3.092 | 49.517
593.808 | -2.994 | 50.472 | -3.076 | 49.528
594.048 | -3.006 | 50.207 | -3.042 | 49.793
594.289 | -3.02 | 49.957 | -3.013 | 50.043
594.529 | -3.021 | 49.985 | -3.018 | 50.015
594.77 | -3.018 | 50.06 | -3.029 | 49.94
595.01 | -3.019 | 49.99 | -3.017 | 50.01
595.25 | -3.022 | 49.772 | -2.983 | 50.228
595.491 | -3.028 | 49.588 | -2.957 | 50.412
595.731 | -3.04 | 49.637 | -2.977 | 50.363
595.972 | -3.054 | 49.717 | -3.005 | 50.283
596.212 | -3.071 | 49.671 | -3.014 | 50.329
596.453 | -3.091 | 49.519 | -3.007 | 50.481
596.693 | -3.107 | 49.387 | -3.001 | 50.613
596.934 | -3.112 | 49.367 | -3.002 | 50.633
597.174 | -3.114 | 49.356 | -3.003 | 50.644
597.415 | -3.123 | 49.263 | -2.995 | 50.737
597.655 | -3.134 | 49.122 | -2.981 | 50.878
597.896 | -3.135 | 49.071 | -2.974 | 50.929
598.136 | -3.114 | 49.241 | -2.982 | 50.759
598.377 | -3.096 | 49.396 | -2.992 | 50.604
598.617 | -3.115 | 49.256 | -2.986 | 50.744
598.858 | -3.153 | 48.96 | -2.972 | 51.04
599.098 | -3.168 | 48.82 | -2.963 | 51.18
599.339 | -3.136 | 49.017 | -2.965 | 50.983
599.579 | -3.098 | 49.241 | -2.966 | 50.759
599.82 | -3.086 | 49.23 | -2.952 | 50.77
600.06 | -3.09 | 49.1 | -2.933 | 50.9
600.301 | -3.1 | 48.985 | -2.924 | 51.015
600.541 | -3.117 | 48.92 | -2.93 | 51.08
600.782 | -3.134 | 48.888 | -2.941 | 51.112
601.022 | -3.14 | 48.921 | -2.952 | 51.079
601.263 | -3.143 | 48.959 | -2.962 | 51.041
601.503 | -3.154 | 48.881 | -2.959 | 51.119
601.743 | -3.175 | 48.648 | -2.94 | 51.352
601.984 | -3.195 | 48.419 | -2.92 | 51.581
602.224 | -3.2 | 48.333 | -2.91 | 51.667
602.465 | -3.199 | 48.31 | -2.906 | 51.69
602.705 | -3.2 | 48.313 | -2.907 | 51.687
602.946 | -3.204 | 48.339 | -2.915 | 51.661
603.186 | -3.206 | 48.38 | -2.925 | 51.62
603.427 | -3.205 | 48.445 | -2.935 | 51.555
603.667 | -3.2 | 48.51 | -2.941 | 51.49
603.908 | -3.19 | 48.536 | -2.936 | 51.464
604.148 | -3.176 | 48.524 | -2.919 | 51.476
604.389 | -3.167 | 48.467 | -2.9 | 51.533
604.629 | -3.175 | 48.32 | -2.883 | 51.68
604.87 | -3.189 | 48.165 | -2.87 | 51.835
605.11 | -3.199 | 48.09 | -2.867 | 51.91
605.351 | -3.206 | 48.084 | -2.873 | 51.916
605.591 | -3.207 | 48.121 | -2.88 | 51.879
605.832 | -3.196 | 48.215 | -2.886 | 51.785
606.072 | -3.185 | 48.29 | -2.887 | 51.71
606.313 | -3.181 | 48.241 | -2.875 | 51.759
606.553 | -3.184 | 48.106 | -2.855 | 51.894
606.794 | -3.188 | 48.005 | -2.841 | 51.995
607.034 | -3.19 | 47.997 | -2.842 | 52.003
607.275 | -3.195 | 48.001 | -2.848 | 51.999
607.515 | -3.21 | 47.943 | -2.853 | 52.057
607.755 | -3.23 | 47.856 | -2.857 | 52.144
607.996 | -3.24 | 47.828 | -2.862 | 52.172
608.236 | -3.233 | 47.899 | -2.868 | 52.101
608.477 | -3.227 | 47.952 | -2.871 | 52.048
608.717 | -3.241 | 47.852 | -2.867 | 52.148
608.958 | -3.262 | 47.681 | -2.859 | 52.319
609.198 | -3.272 | 47.572 | -2.85 | 52.428
609.439 | -3.263 | 47.566 | -2.84 | 52.434
609.679 | -3.251 | 47.585 | -2.831 | 52.415
609.92 | -3.245 | 47.584 | -2.825 | 52.416
610.16 | -3.241 | 47.581 | -2.821 | 52.419
610.401 | -3.234 | 47.61 | -2.818 | 52.39
610.641 | -3.221 | 47.676 | -2.817 | 52.324
610.882 | -3.207 | 47.764 | -2.818 | 52.236
611.122 | -3.192 | 47.876 | -2.823 | 52.124
611.363 | -3.182 | 47.96 | -2.828 | 52.04
611.603 | -3.193 | 47.905 | -2.828 | 52.095
611.844 | -3.223 | 47.705 | -2.824 | 52.295
612.084 | -3.251 | 47.51 | -2.818 | 52.49
612.325 | -3.258 | 47.434 | -2.812 | 52.566
612.565 | -3.256 | 47.416 | -2.807 | 52.584
612.806 | -3.252 | 47.429 | -2.805 | 52.571
613.046 | -3.246 | 47.469 | -2.806 | 52.531
613.287 | -3.248 | 47.47 | -2.809 | 52.53
613.527 | -3.267 | 47.376 | -2.811 | 52.624
613.768 | -3.286 | 47.272 | -2.812 | 52.728
614.008 | -3.288 | 47.253 | -2.811 | 52.747
614.248 | -3.277 | 47.303 | -2.807 | 52.697
614.489 | -3.266 | 47.348 | -2.805 | 52.652
614.729 | -3.266 | 47.354 | -2.805 | 52.646
614.97 | -3.27 | 47.336 | -2.807 | 52.664
615.21 | -3.279 | 47.295 | -2.809 | 52.705
615.451 | -3.291 | 47.238 | -2.81 | 52.762
615.691 | -3.3 | 47.185 | -2.81 | 52.815
615.932 | -3.303 | 47.143 | -2.806 | 52.857
616.172 | -3.303 | 47.113 | -2.801 | 52.887
616.413 | -3.301 | 47.106 | -2.798 | 52.894
616.653 | -3.298 | 47.106 | -2.795 | 52.894
616.894 | -3.301 | 47.07 | -2.791 | 52.93
617.134 | -3.311 | 46.98 | -2.786 | 53.02
617.375 | -3.321 | 46.9 | -2.782 | 53.1
617.615 | -3.323 | 46.895 | -2.782 | 53.105
617.856 | -3.32 | 46.927 | -2.785 | 53.073
618.096 | -3.317 | 46.937 | -2.784 | 53.063
618.337 | -3.316 | 46.912 | -2.779 | 53.088
618.577 | -3.314 | 46.886 | -2.773 | 53.114
618.818 | -3.308 | 46.891 | -2.768 | 53.109
619.058 | -3.303 | 46.903 | -2.764 | 53.097
619.299 | -3.305 | 46.886 | -2.763 | 53.114
619.539 | -3.315 | 46.835 | -2.764 | 53.165
619.78 | -3.326 | 46.784 | -2.766 | 53.216
620.02 | -3.332 | 46.758 | -2.768 | 53.242
620.26 | -3.335 | 46.754 | -2.77 | 53.246
620.501 | -3.332 | 46.774 | -2.771 | 53.226
620.741 | -3.325 | 46.817 | -2.772 | 53.183
620.982 | -3.32 | 46.844 | -2.771 | 53.156
621.222 | -3.323 | 46.822 | -2.77 | 53.178
621.463 | -3.329 | 46.776 | -2.768 | 53.224
621.703 | -3.333 | 46.73 | -2.764 | 53.27
621.944 | -3.336 | 46.684 | -2.759 | 53.316
622.184 | -3.338 | 46.649 | -2.755 | 53.351
622.425 | -3.34 | 46.635 | -2.755 | 53.365
622.665 | -3.34 | 46.641 | -2.756 | 53.359
622.906 | -3.337 | 46.68 | -2.76 | 53.32
623.146 | -3.332 | 46.742 | -2.765 | 53.258
623.387 | -3.326 | 46.792 | -2.768 | 53.208
623.627 | -3.323 | 46.813 | -2.769 | 53.187
623.868 | -3.322 | 46.817 | -2.768 | 53.183
624.108 | -3.321 | 46.813 | -2.767 | 53.187
624.349 | -3.32 | 46.807 | -2.765 | 53.193
624.589 | -3.317 | 46.82 | -2.764 | 53.18
624.83 | -3.311 | 46.861 | -2.765 | 53.139
625.07 | -3.305 | 46.894 | -2.765 | 53.106
625.311 | -3.305 | 46.88 | -2.763 | 53.12
625.551 | -3.31 | 46.833 | -2.76 | 53.167
625.792 | -3.32 | 46.772 | -2.758 | 53.228
626.032 | -3.334 | 46.702 | -2.76 | 53.298
626.273 | -3.347 | 46.646 | -2.763 | 53.354
626.513 | -3.354 | 46.63 | -2.767 | 53.37
626.753 | -3.356 | 46.636 | -2.771 | 53.364
626.994 | -3.356 | 46.635 | -2.771 | 53.365
627.234 | -3.354 | 46.623 | -2.766 | 53.377
627.475 | -3.351 | 46.61 | -2.761 | 53.39
627.715 | -3.347 | 46.606 | -2.756 | 53.394
627.956 | -3.343 | 46.609 | -2.753 | 53.391
628.196 | -3.339 | 46.62 | -2.751 | 53.38
628.437 | -3.336 | 46.638 | -2.751 | 53.362
628.677 | -3.336 | 46.642 | -2.751 | 53.358
628.918 | -3.339 | 46.61 | -2.75 | 53.39
629.158 | -3.345 | 46.561 | -2.747 | 53.439
629.399 | -3.348 | 46.513 | -2.742 | 53.487
629.639 | -3.35 | 46.468 | -2.735 | 53.532
629.88 | -3.351 | 46.433 | -2.73 | 53.567
630.12 | -3.353 | 46.416 | -2.73 | 53.584
630.361 | -3.355 | 46.413 | -2.731 | 53.587
630.601 | -3.357 | 46.421 | -2.735 | 53.579
630.842 | -3.359 | 46.44 | -2.739 | 53.56
631.082 | -3.358 | 46.461 | -2.742 | 53.539
631.323 | -3.354 | 46.481 | -2.741 | 53.519
631.563 | -3.35 | 46.487 | -2.739 | 53.513
631.804 | -3.354 | 46.461 | -2.738 | 53.539
632.044 | -3.362 | 46.411 | -2.738 | 53.589
632.285 | -3.369 | 46.371 | -2.738 | 53.629
632.525 | -3.373 | 46.356 | -2.739 | 53.644
632.766 | -3.373 | 46.366 | -2.74 | 53.634
633.006 | -3.366 | 46.409 | -2.741 | 53.591
633.247 | -3.355 | 46.47 | -2.741 | 53.53
633.487 | -3.348 | 46.505 | -2.74 | 53.495
633.727 | -3.346 | 46.497 | -2.737 | 53.503
633.968 | -3.347 | 46.478 | -2.734 | 53.522
634.208 | -3.348 | 46.478 | -2.735 | 53.522
634.449 | -3.349 | 46.489 | -2.738 | 53.511
634.689 | -3.349 | 46.503 | -2.741 | 53.497
634.93 | -3.348 | 46.517 | -2.742 | 53.483
635.17 | -3.348 | 46.516 | -2.742 | 53.484
635.411 | -3.351 | 46.482 | -2.738 | 53.518
635.651 | -3.355 | 46.433 | -2.734 | 53.567
635.892 | -3.359 | 46.402 | -2.733 | 53.598
636.132 | -3.362 | 46.394 | -2.734 | 53.606
636.373 | -3.362 | 46.404 | -2.736 | 53.596
636.613 | -3.357 | 46.434 | -2.736 | 53.566
636.854 | -3.349 | 46.471 | -2.735 | 53.529
637.094 | -3.343 | 46.501 | -2.734 | 53.499
637.335 | -3.338 | 46.522 | -2.733 | 53.478
637.575 | -3.336 | 46.537 | -2.733 | 53.463
637.816 | -3.337 | 46.548 | -2.737 | 53.452
638.056 | -3.34 | 46.555 | -2.74 | 53.445
638.297 | -3.341 | 46.558 | -2.742 | 53.442
638.537 | -3.339 | 46.557 | -2.74 | 53.443
638.778 | -3.338 | 46.552 | -2.738 | 53.448
639.018 | -3.337 | 46.541 | -2.736 | 53.459
639.259 | -3.337 | 46.538 | -2.735 | 53.462
639.499 | -3.337 | 46.567 | -2.74 | 53.433
639.74 | -3.337 | 46.619 | -2.749 | 53.381
639.98 | -3.337 | 46.654 | -2.755 | 53.346
640.22 | -3.337 | 46.648 | -2.754 | 53.352
640.461 | -3.337 | 46.635 | -2.751 | 53.365
640.701 | -3.333 | 46.648 | -2.75 | 53.352
640.942 | -3.328 | 46.678 | -2.751 | 53.322
641.182 | -3.327 | 46.693 | -2.752 | 53.307
641.423 | -3.331 | 46.677 | -2.752 | 53.323
641.663 | -3.335 | 46.662 | -2.754 | 53.338
641.904 | -3.335 | 46.682 | -2.758 | 53.318
642.144 | -3.333 | 46.721 | -2.762 | 53.279
642.385 | -3.331 | 46.745 | -2.765 | 53.255
642.625 | -3.331 | 46.743 | -2.764 | 53.257
642.866 | -3.33 | 46.732 | -2.761 | 53.268
643.106 | -3.327 | 46.726 | -2.758 | 53.274
643.347 | -3.324 | 46.723 | -2.754 | 53.277
643.587 | -3.323 | 46.721 | -2.753 | 53.279
643.828 | -3.325 | 46.722 | -2.755 | 53.278
644.068 | -3.326 | 46.733 | -2.758 | 53.267
644.309 | -3.321 | 46.77 | -2.759 | 53.23
644.549 | -3.315 | 46.816 | -2.761 | 53.184
644.79 | -3.311 | 46.851 | -2.763 | 53.149
645.03 | -3.31 | 46.871 | -2.766 | 53.129
645.271 | -3.309 | 46.894 | -2.769 | 53.106
645.511 | -3.305 | 46.933 | -2.771 | 53.067
645.752 | -3.3 | 46.972 | -2.773 | 53.028
645.992 | -3.3 | 46.987 | -2.776 | 53.013
646.232 | -3.304 | 46.977 | -2.778 | 53.023
646.473 | -3.308 | 46.958 | -2.779 | 53.042
646.713 | -3.31 | 46.936 | -2.777 | 53.064
646.954 | -3.31 | 46.925 | -2.775 | 53.075
647.194 | -3.305 | 46.953 | -2.776 | 53.047
647.435 | -3.297 | 47.014 | -2.778 | 52.986
647.675 | -3.289 | 47.067 | -2.779 | 52.933
647.916 | -3.284 | 47.084 | -2.777 | 52.916
648.156 | -3.281 | 47.095 | -2.775 | 52.905
648.397 | -3.28 | 47.126 | -2.78 | 52.874
648.637 | -3.281 | 47.168 | -2.789 | 52.832
648.878 | -3.284 | 47.183 | -2.794 | 52.817
649.118 | -3.287 | 47.141 | -2.789 | 52.859
649.359 | -3.288 | 47.098 | -2.783 | 52.902
649.599 | -3.285 | 47.114 | -2.783 | 52.886
649.84 | -3.28 | 47.165 | -2.786 | 52.835
650.08 | -3.276 | 47.195 | -2.789 | 52.805
650.321 | -3.278 | 47.179 | -2.788 | 52.821
650.561 | -3.279 | 47.17 | -2.787 | 52.83
650.802 | -3.273 | 47.224 | -2.79 | 52.776
651.042 | -3.263 | 47.308 | -2.795 | 52.692
651.283 | -3.257 | 47.365 | -2.799 | 52.635
651.523 | -3.258 | 47.372 | -2.802 | 52.628
651.764 | -3.261 | 47.365 | -2.803 | 52.635
652.004 | -3.26 | 47.359 | -2.801 | 52.641
652.245 | -3.258 | 47.359 | -2.799 | 52.641
652.485 | -3.257 | 47.379 | -2.801 | 52.621
652.725 | -3.256 | 47.423 | -2.808 | 52.577
652.966 | -3.257 | 47.453 | -2.814 | 52.547
653.206 | -3.259 | 47.423 | -2.811 | 52.577
653.447 | -3.26 | 47.38 | -2.805 | 52.62
653.687 | -3.259 | 47.39 | -2.805 | 52.61
653.928 | -3.253 | 47.458 | -2.811 | 52.542
654.168 | -3.247 | 47.53 | -2.817 | 52.47
654.409 | -3.24 | 47.567 | -2.817 | 52.433
654.649 | -3.235 | 47.592 | -2.816 | 52.408
654.89 | -3.232 | 47.622 | -2.818 | 52.378
655.13 | -3.232 | 47.655 | -2.824 | 52.345
655.371 | -3.232 | 47.681 | -2.829 | 52.319
655.611 | -3.229 | 47.687 | -2.827 | 52.313
655.852 | -3.226 | 47.69 | -2.825 | 52.31
656.092 | -3.225 | 47.712 | -2.827 | 52.288
656.333 | -3.225 | 47.747 | -2.833 | 52.253
656.573 | -3.224 | 47.773 | -2.837 | 52.227
656.814 | -3.222 | 47.772 | -2.835 | 52.228
657.054 | -3.22 | 47.771 | -2.832 | 52.229
657.295 | -3.219 | 47.796 | -2.836 | 52.204
657.535 | -3.218 | 47.839 | -2.843 | 52.161
657.776 | -3.217 | 47.877 | -2.848 | 52.123
658.016 | -3.215 | 47.897 | -2.849 | 52.103
658.257 | -3.211 | 47.914 | -2.848 | 52.086
658.497 | -3.206 | 47.938 | -2.847 | 52.062
658.737 | -3.2 | 47.967 | -2.846 | 52.033
658.978 | -3.196 | 47.995 | -2.847 | 52.005
659.218 | -3.195 | 48.022 | -2.851 | 51.978
659.459 | -3.195 | 48.05 | -2.856 | 51.95
659.699 | -3.192 | 48.085 | -2.859 | 51.915
659.94 | -3.188 | 48.125 | -2.862 | 51.875
660.18 | -3.184 | 48.168 | -2.866 | 51.832
660.421 | -3.182 | 48.215 | -2.871 | 51.785
660.661 | -3.179 | 48.254 | -2.876 | 51.746
660.902 | -3.176 | 48.264 | -2.875 | 51.736
661.142 | -3.173 | 48.265 | -2.872 | 51.735
661.383 | -3.171 | 48.279 | -2.872 | 51.721
661.623 | -3.17 | 48.309 | -2.876 | 51.691
661.864 | -3.169 | 48.34 | -2.881 | 51.66
662.104 | -3.167 | 48.359 | -2.882 | 51.641
662.345 | -3.165 | 48.373 | -2.882 | 51.627
662.585 | -3.164 | 48.385 | -2.884 | 51.615
662.826 | -3.165 | 48.395 | -2.886 | 51.605
663.066 | -3.165 | 48.41 | -2.888 | 51.59
663.307 | -3.162 | 48.444 | -2.891 | 51.556
663.547 | -3.158 | 48.483 | -2.894 | 51.517
663.788 | -3.154 | 48.527 | -2.898 | 51.473
664.028 | -3.15 | 48.575 | -2.903 | 51.425
664.269 | -3.146 | 48.623 | -2.907 | 51.377
664.509 | -3.14 | 48.671 | -2.91 | 51.329
664.75 | -3.135 | 48.715 | -2.911 | 51.285
664.99 | -3.13 | 48.745 | -2.911 | 51.255
665.23 | -3.125 | 48.764 | -2.911 | 51.236
665.471 | -3.121 | 48.786 | -2.911 | 51.214
665.711 | -3.118 | 48.819 | -2.913 | 51.181
665.952 | -3.116 | 48.853 | -2.916 | 51.147
666.192 | -3.114 | 48.889 | -2.921 | 51.111
666.433 | -3.114 | 48.926 | -2.927 | 51.074
666.673 | -3.112 | 48.963 | -2.932 | 51.037
666.914 | -3.109 | 49.001 | -2.936 | 50.999
667.154 | -3.106 | 49.04 | -2.939 | 50.96
667.395 | -3.102 | 49.086 | -2.943 | 50.914
667.635 | -3.097 | 49.134 | -2.947 | 50.866
667.876 | -3.094 | 49.175 | -2.95 | 50.825
668.116 | -3.092 | 49.202 | -2.953 | 50.798
668.357 | -3.09 | 49.226 | -2.956 | 50.774
668.597 | -3.088 | 49.25 | -2.957 | 50.75
668.838 | -3.084 | 49.274 | -2.958 | 50.726
669.078 | -3.082 | 49.296 | -2.96 | 50.704
669.319 | -3.08 | 49.316 | -2.962 | 50.684
669.559 | -3.079 | 49.337 | -2.964 | 50.663
669.8 | -3.076 | 49.362 | -2.965 | 50.638
670.04 | -3.072 | 49.392 | -2.966 | 50.608
670.281 | -3.067 | 49.438 | -2.969 | 50.562
670.521 | -3.062 | 49.503 | -2.975 | 50.497
670.762 | -3.057 | 49.567 | -2.981 | 50.433
671.002 | -3.055 | 49.602 | -2.986 | 50.398
671.242 | -3.054 | 49.633 | -2.991 | 50.367
671.483 | -3.051 | 49.674 | -2.995 | 50.326
671.723 | -3.046 | 49.726 | -2.999 | 50.274
671.964 | -3.041 | 49.776 | -3.002 | 50.224
672.204 | -3.036 | 49.812 | -3.003 | 50.188
672.445 | -3.03 | 49.847 | -3.004 | 50.153
672.685 | -3.025 | 49.885 | -3.005 | 50.115
672.926 | -3.02 | 49.926 | -3.007 | 50.074
673.166 | -3.015 | 49.971 | -3.01 | 50.029
673.407 | -3.012 | 50.03 | -3.017 | 49.97
673.647 | -3.008 | 50.089 | -3.024 | 49.911
673.888 | -3.006 | 50.125 | -3.027 | 49.875
674.128 | -3.003 | 50.145 | -3.028 | 49.855
674.369 | -3.001 | 50.166 | -3.029 | 49.834
674.609 | -2.998 | 50.191 | -3.031 | 49.809
674.85 | -2.996 | 50.218 | -3.034 | 49.782
675.09 | -2.993 | 50.254 | -3.037 | 49.746
675.331 | -2.991 | 50.295 | -3.042 | 49.705
675.571 | -2.988 | 50.337 | -3.046 | 49.663
675.812 | -2.983 | 50.38 | -3.049 | 49.62
676.052 | -2.978 | 50.423 | -3.052 | 49.577
676.293 | -2.974 | 50.461 | -3.054 | 49.539
676.533 | -2.97 | 50.498 | -3.057 | 49.502
676.774 | -2.967 | 50.537 | -3.061 | 49.463
677.014 | -2.966 | 50.581 | -3.067 | 49.419
677.255 | -2.964 | 50.625 | -3.073 | 49.375
677.495 | -2.961 | 50.665 | -3.077 | 49.335
677.735 | -2.958 | 50.704 | -3.08 | 49.296
677.976 | -2.954 | 50.741 | -3.082 | 49.259
678.216 | -2.948 | 50.774 | -3.083 | 49.226
678.457 | -2.943 | 50.809 | -3.083 | 49.191
678.697 | -2.939 | 50.861 | -3.088 | 49.139
678.938 | -2.935 | 50.916 | -3.094 | 49.084
679.178 | -2.931 | 50.967 | -3.099 | 49.033
679.419 | -2.928 | 51.013 | -3.104 | 48.987
679.659 | -2.925 | 51.058 | -3.108 | 48.942
679.9 | -2.92 | 51.102 | -3.112 | 48.898
680.14 | -2.916 | 51.145 | -3.115 | 48.855
680.381 | -2.912 | 51.192 | -3.119 | 48.808
680.621 | -2.907 | 51.241 | -3.123 | 48.759
680.862 | -2.903 | 51.292 | -3.127 | 48.708
681.102 | -2.897 | 51.353 | -3.132 | 48.647
681.343 | -2.892 | 51.413 | -3.138 | 48.587
681.583 | -2.887 | 51.462 | -3.141 | 48.538
681.824 | -2.882 | 51.501 | -3.142 | 48.499
682.064 | -2.877 | 51.542 | -3.145 | 48.458
682.305 | -2.872 | 51.596 | -3.149 | 48.404
682.545 | -2.867 | 51.65 | -3.154 | 48.35
682.786 | -2.863 | 51.715 | -3.161 | 48.285
683.026 | -2.858 | 51.784 | -3.168 | 48.216
683.267 | -2.854 | 51.848 | -3.175 | 48.152
683.507 | -2.85 | 51.894 | -3.179 | 48.106
683.747 | -2.846 | 51.939 | -3.183 | 48.061
683.988 | -2.84 | 51.986 | -3.186 | 48.014
684.228 | -2.835 | 52.034 | -3.188 | 47.966
684.469 | -2.829 | 52.082 | -3.191 | 47.918
684.709 | -2.824 | 52.131 | -3.194 | 47.869
684.95 | -2.819 | 52.179 | -3.198 | 47.821
685.19 | -2.815 | 52.243 | -3.205 | 47.757
685.431 | -2.812 | 52.31 | -3.214 | 47.69
685.671 | -2.808 | 52.371 | -3.22 | 47.629
685.912 | -2.803 | 52.418 | -3.224 | 47.582
686.152 | -2.799 | 52.466 | -3.228 | 47.534
686.393 | -2.796 | 52.524 | -3.235 | 47.476
686.633 | -2.794 | 52.585 | -3.244 | 47.415
686.874 | -2.79 | 52.643 | -3.25 | 47.357
687.114 | -2.784 | 52.699 | -3.253 | 47.301
687.355 | -2.777 | 52.754 | -3.256 | 47.246
687.595 | -2.775 | 52.795 | -3.261 | 47.205
687.836 | -2.773 | 52.834 | -3.266 | 47.166
688.076 | -2.769 | 52.889 | -3.271 | 47.111
688.317 | -2.762 | 52.96 | -3.277 | 47.04
688.557 | -2.755 | 53.031 | -3.282 | 46.969
688.798 | -2.752 | 53.069 | -3.286 | 46.931
689.038 | -2.748 | 53.106 | -3.289 | 46.894
689.279 | -2.743 | 53.164 | -3.293 | 46.836
689.519 | -2.735 | 53.237 | -3.298 | 46.763
689.76 | -2.727 | 53.307 | -3.303 | 46.693
690 | -2.725 | 53.346 | -3.308 | 46.654