## T150418
SN: | T150418
Item #: | WD1525A
Item Description: | 1x2 1550 nm / 1625 nm Wavelength Division Multiplexer
Fiber Type: | SMF-28e+
Port Name: | Channel 1 - White
Test Wavelength (nm): | 1550
Insertion Loss (dB): | -0.09
Isolation (dB): | -17.11
Port Name: | Channel 2 - Red
Test Wavelength (nm): | 1625
Insertion Loss (dB): | -0.15
Isolation (dB): | -16.88
Spectral Response
Wavelength (nm) | Insertion Loss (dB) - Channel 1 - White | Insertion Loss (dB) - Channel 2 - Red
1535 | -0.225 | -13.157
1535.21 | -0.224 | -13.164
1535.421 | -0.214 | -13.3
1535.631 | -0.205 | -13.436
1535.842 | -0.2 | -13.561
1536.052 | -0.194 | -13.689
1536.263 | -0.187 | -13.823
1536.473 | -0.178 | -13.963
1536.683 | -0.166 | -14.112
1536.894 | -0.162 | -14.254
1537.104 | -0.164 | -14.389
1537.315 | -0.167 | -14.534
1537.525 | -0.17 | -14.683
1537.735 | -0.166 | -14.835
1537.946 | -0.16 | -14.987
1538.156 | -0.156 | -15.146
1538.367 | -0.152 | -15.304
1538.577 | -0.143 | -15.457
1538.788 | -0.135 | -15.612
1538.998 | -0.131 | -15.778
1539.208 | -0.128 | -15.944
1539.419 | -0.127 | -16.107
1539.629 | -0.124 | -16.269
1539.84 | -0.117 | -16.432
1540.05 | -0.115 | -16.595
1540.26 | -0.118 | -16.756
1540.471 | -0.122 | -16.911
1540.681 | -0.124 | -17.063
1540.892 | -0.12 | -17.22
1541.102 | -0.114 | -17.378
1541.313 | -0.104 | -17.532
1541.523 | -0.093 | -17.685
1541.734 | -0.082 | -17.84
1541.944 | -0.072 | -17.991
1542.154 | -0.067 | -18.127
1542.365 | -0.063 | -18.26
1542.575 | -0.058 | -18.391
1542.786 | -0.056 | -18.518
1542.996 | -0.057 | -18.642
1543.206 | -0.061 | -18.759
1543.417 | -0.067 | -18.868
1543.627 | -0.071 | -18.967
1543.838 | -0.075 | -19.056
1544.048 | -0.078 | -19.129
1544.259 | -0.08 | -19.192
1544.469 | -0.08 | -19.244
1544.679 | -0.077 | -19.289
1544.89 | -0.071 | -19.314
1545.1 | -0.066 | -19.331
1545.311 | -0.063 | -19.332
1545.521 | -0.061 | -19.324
1545.731 | -0.061 | -19.301
1545.942 | -0.058 | -19.265
1546.152 | -0.053 | -19.21
1546.363 | -0.047 | -19.141
1546.573 | -0.041 | -19.059
1546.784 | -0.04 | -18.964
1546.994 | -0.044 | -18.86
1547.204 | -0.049 | -18.761
1547.415 | -0.055 | -18.667
1547.625 | -0.057 | -18.584
1547.836 | -0.058 | -18.5
1548.046 | -0.057 | -18.401
1548.256 | -0.058 | -18.292
1548.467 | -0.06 | -18.166
1548.677 | -0.064 | -18.033
1548.888 | -0.068 | -17.893
1549.098 | -0.072 | -17.749
1549.309 | -0.075 | -17.602
1549.519 | -0.079 | -17.453
1549.729 | -0.082 | -17.303
1549.94 | -0.086 | -17.154
1550.15 | -0.09 | -17.008
1550.361 | -0.093 | -16.866
1550.571 | -0.096 | -16.727
1550.782 | -0.099 | -16.59
1550.992 | -0.103 | -16.454
1551.202 | -0.106 | -16.317
1551.413 | -0.11 | -16.179
1551.623 | -0.113 | -16.037
1551.834 | -0.116 | -15.894
1552.044 | -0.12 | -15.749
1552.255 | -0.123 | -15.601
1552.465 | -0.128 | -15.448
1552.675 | -0.133 | -15.292
1552.886 | -0.138 | -15.132
1553.096 | -0.144 | -14.969
1553.307 | -0.151 | -14.804
1553.517 | -0.157 | -14.636
1553.727 | -0.163 | -14.468
1553.938 | -0.169 | -14.303
1554.148 | -0.176 | -14.141
1554.359 | -0.182 | -13.98
1554.569 | -0.189 | -13.825
1554.78 | -0.197 | -13.68
1554.99 | -0.203 | -13.547
1555.2 | -0.208 | -13.43
1555.411 | -0.214 | -13.324
1555.621 | -0.222 | -13.227
1555.832 | -0.236 | -13.127
1556.042 | -0.254 | -13.019
1556.253 | -0.268 | -12.9
1556.463 | -0.275 | -12.772
1556.673 | -0.275 | -12.638
1556.884 | -0.274 | -12.503
1557.094 | -0.277 | -12.367
1557.305 | -0.286 | -12.233
1557.515 | -0.295 | -12.108
1557.725 | -0.305 | -11.987
1557.936 | -0.315 | -11.869
1558.146 | -0.324 | -11.754
1558.357 | -0.332 | -11.645
1558.567 | -0.339 | -11.537
1558.778 | -0.346 | -11.426
1558.988 | -0.355 | -11.311
1559.198 | -0.366 | -11.194
1559.409 | -0.38 | -11.08
1559.619 | -0.394 | -10.969
1559.83 | -0.405 | -10.86
1560.04 | -0.413 | -10.752
1560.25 | -0.418 | -10.648
1560.461 | -0.425 | -10.545
1560.671 | -0.438 | -10.441
1560.882 | -0.454 | -10.337
1561.092 | -0.472 | -10.238
1561.303 | -0.488 | -10.141
1561.513 | -0.5 | -10.046
1561.723 | -0.505 | -9.95
1561.934 | -0.505 | -9.853
1562.144 | -0.506 | -9.757
1562.355 | -0.514 | -9.665
1562.565 | -0.528 | -9.576
1562.776 | -0.545 | -9.487
1562.986 | -0.561 | -9.399
1563.196 | -0.574 | -9.311
1563.407 | -0.586 | -9.221
1563.617 | -0.598 | -9.13
1563.828 | -0.608 | -9.038
1564.038 | -0.619 | -8.946
1564.249 | -0.631 | -8.854
1564.459 | -0.646 | -8.765
1564.669 | -0.662 | -8.684
1564.88 | -0.679 | -8.605
1565.09 | -0.693 | -8.525
1565.301 | -0.706 | -8.446
1565.511 | -0.719 | -8.366
1565.721 | -0.733 | -8.287
1565.932 | -0.747 | -8.208
1566.142 | -0.761 | -8.126
1566.353 | -0.775 | -8.045
1566.563 | -0.79 | -7.969
1566.774 | -0.806 | -7.898
1566.984 | -0.824 | -7.826
1567.194 | -0.842 | -7.755
1567.405 | -0.857 | -7.685
1567.615 | -0.871 | -7.613
1567.826 | -0.885 | -7.538
1568.036 | -0.9 | -7.462
1568.246 | -0.918 | -7.389
1568.457 | -0.937 | -7.322
1568.667 | -0.956 | -7.259
1568.878 | -0.974 | -7.193
1569.088 | -0.994 | -7.124
1569.299 | -1.012 | -7.056
1569.509 | -1.026 | -6.99
1569.719 | -1.035 | -6.927
1569.93 | -1.042 | -6.865
1570.14 | -1.051 | -6.803
1570.351 | -1.067 | -6.739
1570.561 | -1.09 | -6.674
1570.771 | -1.116 | -6.608
1570.982 | -1.14 | -6.545
1571.192 | -1.16 | -6.483
1571.403 | -1.177 | -6.419
1571.613 | -1.19 | -6.353
1571.824 | -1.204 | -6.287
1572.034 | -1.22 | -6.226
1572.245 | -1.242 | -6.17
1572.455 | -1.271 | -6.113
1572.665 | -1.303 | -6.053
1572.876 | -1.333 | -5.993
1573.086 | -1.357 | -5.936
1573.297 | -1.375 | -5.88
1573.507 | -1.39 | -5.828
1573.717 | -1.405 | -5.777
1573.928 | -1.422 | -5.726
1574.138 | -1.443 | -5.675
1574.349 | -1.466 | -5.62
1574.559 | -1.488 | -5.564
1574.77 | -1.508 | -5.508
1574.98 | -1.529 | -5.457
1575.19 | -1.55 | -5.409
1575.401 | -1.572 | -5.362
1575.611 | -1.592 | -5.316
1575.822 | -1.611 | -5.269
1576.032 | -1.627 | -5.222
1576.242 | -1.644 | -5.174
1576.453 | -1.661 | -5.124
1576.663 | -1.682 | -5.073
1576.874 | -1.706 | -5.02
1577.084 | -1.732 | -4.968
1577.295 | -1.759 | -4.92
1577.505 | -1.787 | -4.874
1577.715 | -1.817 | -4.829
1577.926 | -1.847 | -4.782
1578.136 | -1.875 | -4.733
1578.347 | -1.899 | -4.684
1578.557 | -1.92 | -4.639
1578.768 | -1.941 | -4.597
1578.978 | -1.963 | -4.555
1579.188 | -1.986 | -4.513
1579.399 | -2.007 | -4.469
1579.609 | -2.027 | -4.423
1579.82 | -2.044 | -4.373
1580.03 | -2.062 | -4.323
1580.24 | -2.082 | -4.275
1580.451 | -2.107 | -4.232
1580.661 | -2.137 | -4.194
1580.872 | -2.171 | -4.156
1581.082 | -2.206 | -4.118
1581.293 | -2.238 | -4.077
1581.503 | -2.27 | -4.035
1581.713 | -2.3 | -3.991
1581.924 | -2.33 | -3.949
1582.134 | -2.36 | -3.907
1582.345 | -2.391 | -3.868
1582.555 | -2.425 | -3.829
1582.766 | -2.46 | -3.791
1582.976 | -2.492 | -3.753
1583.186 | -2.52 | -3.716
1583.397 | -2.544 | -3.681
1583.607 | -2.565 | -3.645
1583.818 | -2.587 | -3.609
1584.028 | -2.609 | -3.572
1584.239 | -2.636 | -3.533
1584.449 | -2.667 | -3.494
1584.659 | -2.702 | -3.456
1584.87 | -2.739 | -3.421
1585.08 | -2.774 | -3.388
1585.291 | -2.808 | -3.354
1585.501 | -2.84 | -3.319
1585.711 | -2.87 | -3.281
1585.922 | -2.9 | -3.243
1586.132 | -2.929 | -3.208
1586.343 | -2.959 | -3.175
1586.553 | -2.991 | -3.144
1586.764 | -3.023 | -3.111
1586.974 | -3.056 | -3.077
1587.184 | -3.086 | -3.042
1587.395 | -3.115 | -3.007
1587.605 | -3.144 | -2.973
1587.816 | -3.174 | -2.942
1588.026 | -3.207 | -2.914
1588.236 | -3.242 | -2.885
1588.447 | -3.281 | -2.854
1588.657 | -3.321 | -2.82
1588.868 | -3.361 | -2.785
1589.078 | -3.399 | -2.75
1589.289 | -3.435 | -2.718
1589.499 | -3.469 | -2.687
1589.709 | -3.502 | -2.658
1589.92 | -3.537 | -2.629
1590.13 | -3.575 | -2.598
1590.341 | -3.616 | -2.566
1590.551 | -3.658 | -2.535
1590.761 | -3.697 | -2.504
1590.972 | -3.735 | -2.474
1591.182 | -3.773 | -2.444
1591.393 | -3.811 | -2.413
1591.603 | -3.848 | -2.384
1591.814 | -3.885 | -2.356
1592.024 | -3.925 | -2.332
1592.234 | -3.971 | -2.309
1592.445 | -4.021 | -2.286
1592.655 | -4.07 | -2.261
1592.866 | -4.115 | -2.233
1593.076 | -4.156 | -2.204
1593.287 | -4.193 | -2.174
1593.497 | -4.23 | -2.145
1593.707 | -4.269 | -2.118
1593.918 | -4.31 | -2.093
1594.128 | -4.354 | -2.068
1594.339 | -4.4 | -2.043
1594.549 | -4.447 | -2.015
1594.76 | -4.494 | -1.987
1594.97 | -4.542 | -1.959
1595.18 | -4.589 | -1.933
1595.391 | -4.633 | -1.911
1595.601 | -4.673 | -1.892
1595.812 | -4.713 | -1.871
1596.022 | -4.757 | -1.846
1596.232 | -4.807 | -1.82
1596.443 | -4.861 | -1.794
1596.653 | -4.919 | -1.771
1596.864 | -4.975 | -1.751
1597.074 | -5.027 | -1.73
1597.285 | -5.075 | -1.707
1597.495 | -5.119 | -1.683
1597.705 | -5.164 | -1.659
1597.916 | -5.211 | -1.636
1598.126 | -5.259 | -1.616
1598.337 | -5.309 | -1.597
1598.547 | -5.362 | -1.578
1598.758 | -5.418 | -1.557
1598.968 | -5.474 | -1.536
1599.178 | -5.524 | -1.514
1599.389 | -5.569 | -1.493
1599.599 | -5.613 | -1.47
1599.81 | -5.662 | -1.446
1600.02 | -5.712 | -1.421
1600.23 | -5.761 | -1.397
1600.441 | -5.812 | -1.375
1600.651 | -5.871 | -1.355
1600.862 | -5.932 | -1.337
1601.072 | -5.99 | -1.32
1601.283 | -6.044 | -1.302
1601.493 | -6.099 | -1.283
1601.703 | -6.161 | -1.264
1601.914 | -6.23 | -1.247
1602.124 | -6.298 | -1.231
1602.335 | -6.365 | -1.216
1602.545 | -6.431 | -1.2
1602.755 | -6.497 | -1.182
1602.966 | -6.558 | -1.165
1603.176 | -6.615 | -1.148
1603.387 | -6.67 | -1.127
1603.597 | -6.726 | -1.105
1603.808 | -6.783 | -1.084
1604.018 | -6.841 | -1.066
1604.229 | -6.901 | -1.051
1604.439 | -6.965 | -1.037
1604.649 | -7.031 | -1.024
1604.86 | -7.095 | -1.012
1605.07 | -7.156 | -1.001
1605.281 | -7.218 | -0.987
1605.491 | -7.285 | -0.971
1605.701 | -7.356 | -0.953
1605.912 | -7.427 | -0.935
1606.122 | -7.496 | -0.918
1606.333 | -7.565 | -0.902
1606.543 | -7.638 | -0.888
1606.754 | -7.712 | -0.876
1606.964 | -7.783 | -0.864
1607.174 | -7.854 | -0.851
1607.385 | -7.927 | -0.836
1607.595 | -8.002 | -0.821
1607.806 | -8.076 | -0.807
1608.016 | -8.15 | -0.796
1608.226 | -8.225 | -0.784
1608.437 | -8.301 | -0.771
1608.647 | -8.376 | -0.756
1608.858 | -8.451 | -0.74
1609.068 | -8.525 | -0.725
1609.279 | -8.603 | -0.713
1609.489 | -8.682 | -0.703
1609.699 | -8.76 | -0.693
1609.91 | -8.839 | -0.681
1610.12 | -8.921 | -0.667
1610.331 | -9.004 | -0.651
1610.541 | -9.088 | -0.638
1610.751 | -9.174 | -0.626
1610.962 | -9.261 | -0.615
1611.172 | -9.35 | -0.604
1611.383 | -9.44 | -0.592
1611.593 | -9.526 | -0.58
1611.804 | -9.61 | -0.569
1612.014 | -9.696 | -0.558
1612.224 | -9.784 | -0.547
1612.435 | -9.874 | -0.536
1612.645 | -9.968 | -0.525
1612.856 | -10.066 | -0.514
1613.066 | -10.164 | -0.504
1613.277 | -10.259 | -0.493
1613.487 | -10.349 | -0.483
1613.697 | -10.435 | -0.474
1613.908 | -10.524 | -0.466
1614.118 | -10.619 | -0.459
1614.329 | -10.718 | -0.452
1614.539 | -10.819 | -0.444
1614.75 | -10.922 | -0.437
1614.96 | -11.027 | -0.431
1615.17 | -11.134 | -0.424
1615.381 | -11.242 | -0.416
1615.591 | -11.347 | -0.404
1615.802 | -11.45 | -0.39
1616.012 | -11.555 | -0.375
1616.222 | -11.66 | -0.362
1616.433 | -11.765 | -0.353
1616.643 | -11.871 | -0.348
1616.854 | -11.982 | -0.343
1617.064 | -12.099 | -0.336
1617.275 | -12.22 | -0.328
1617.485 | -12.341 | -0.32
1617.695 | -12.461 | -0.314
1617.906 | -12.579 | -0.31
1618.116 | -12.696 | -0.309
1618.327 | -12.812 | -0.305
1618.537 | -12.927 | -0.299
1618.747 | -13.045 | -0.289
1618.958 | -13.167 | -0.278
1619.168 | -13.295 | -0.266
1619.379 | -13.424 | -0.257
1619.589 | -13.551 | -0.251
1619.8 | -13.678 | -0.249
1620.01 | -13.807 | -0.248
1620.22 | -13.937 | -0.245
1620.431 | -14.066 | -0.239
1620.641 | -14.195 | -0.231
1620.852 | -14.325 | -0.223
1621.062 | -14.457 | -0.218
1621.273 | -14.59 | -0.215
1621.483 | -14.721 | -0.211
1621.693 | -14.852 | -0.205
1621.904 | -14.987 | -0.197
1622.114 | -15.124 | -0.188
1622.325 | -15.258 | -0.182
1622.535 | -15.39 | -0.178
1622.745 | -15.521 | -0.175
1622.956 | -15.653 | -0.171
1623.166 | -15.789 | -0.166
1623.377 | -15.924 | -0.16
1623.587 | -16.056 | -0.155
1623.798 | -16.187 | -0.151
1624.008 | -16.319 | -0.148
1624.218 | -16.443 | -0.146
1624.429 | -16.56 | -0.145
1624.639 | -16.676 | -0.146
1624.85 | -16.796 | -0.146
1625.06 | -16.922 | -0.146
1625.271 | -17.048 | -0.146
1625.481 | -17.163 | -0.146
1625.691 | -17.271 | -0.148
1625.902 | -17.378 | -0.15
1626.112 | -17.482 | -0.151
1626.323 | -17.572 | -0.15
1626.533 | -17.659 | -0.148
1626.744 | -17.747 | -0.144
1626.954 | -17.835 | -0.14
1627.164 | -17.92 | -0.138
1627.375 | -17.988 | -0.138
1627.585 | -18.039 | -0.138
1627.796 | -18.086 | -0.136
1628.006 | -18.132 | -0.133
1628.216 | -18.171 | -0.131
1628.427 | -18.203 | -0.131
1628.637 | -18.22 | -0.134
1628.848 | -18.227 | -0.136
1629.058 | -18.226 | -0.138
1629.269 | -18.217 | -0.139
1629.479 | -18.195 | -0.137
1629.689 | -18.168 | -0.135
1629.9 | -18.14 | -0.135
1630.11 | -18.108 | -0.135
1630.321 | -18.069 | -0.139
1630.531 | -18.019 | -0.143
1630.741 | -17.956 | -0.147
1630.952 | -17.891 | -0.15
1631.162 | -17.825 | -0.153
1631.373 | -17.753 | -0.152
1631.583 | -17.675 | -0.149
1631.794 | -17.582 | -0.145
1632.004 | -17.482 | -0.143
1632.214 | -17.38 | -0.146
1632.425 | -17.277 | -0.15
1632.635 | -17.165 | -0.152
1632.846 | -17.054 | -0.154
1633.056 | -16.949 | -0.157
1633.266 | -16.841 | -0.161
1633.477 | -16.727 | -0.164
1633.687 | -16.601 | -0.166
1633.898 | -16.459 | -0.168
1634.108 | -16.326 | -0.173
1634.319 | -16.202 | -0.182
1634.529 | -16.071 | -0.19
1634.74 | -15.935 | -0.198
1634.95 | -15.795 | -0.203
1635.16 | -15.655 | -0.207
1635.371 | -15.522 | -0.207
1635.581 | -15.393 | -0.206
1635.792 | -15.272 | -0.204
1636.002 | -15.153 | -0.203
1636.212 | -15.035 | -0.201
1636.423 | -14.909 | -0.201
1636.633 | -14.762 | -0.208
1636.844 | -14.619 | -0.218
1637.054 | -14.487 | -0.234
1637.265 | -14.358 | -0.244
1637.475 | -14.233 | -0.248
1637.685 | -14.097 | -0.25
1637.896 | -13.955 | -0.251
1638.106 | -13.83 | -0.255
1638.317 | -13.712 | -0.26
1638.527 | -13.592 | -0.266
1638.737 | -13.471 | -0.272
1638.948 | -13.348 | -0.284
1639.158 | -13.225 | -0.295
1639.369 | -13.108 | -0.308
1639.579 | -12.99 | -0.32
1639.79 | -12.865 | -0.33
1640 | -12.744 | -0.336