## Plots
Product Raw Data
FC/PC Variable MM Attenuator
Item # | VOAMMF
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data.
This data may be used in publications. However, please cite Thorlabs as the source.
Additional Information:
Please note that the attenuation will vary depending on the fiber concentricity and FC/PC connector height.

## Data
| 10 μm 0.10 NA Fiber |  | 25 μm 0.10 NA Fiber |  | 50 μm 0.22 NA Fiber |  | 105 μm 0.22 NA Fiber |  | 200 μm 0.22 NA Fiber |  | 200 μm 0.39 NA Fiber |  | 200 μm 0.50 NA Fiber |  | 400 μm 0.39 NA Fiber |  | 600 μm 0.39 NA Fiber |  | 1000 μm 0.39 NA Fiber |  | 1500 μm 0.39 NA Fiber
Connector End Face Separation (mm) | Attenuation (dB) | Transmission (%) | Attenuation (dB) | Transmission (%) | Attenuation (dB) | Transmission (%) | Attenuation (dB) | Transmission (%) | Attenuation (dB) | Transmission (%) | Attenuation (dB) | Transmission (%) | Attenuation (dB) | Transmission (%) | Attenuation (dB) | Transmission (%) | Attenuation (dB) | Transmission (%) | Attenuation (dB) | Transmission (%) | Attenuation (dB) | Transmission (%)
0 | 0.5 | 89.13% | 0.5 | 89.13% | 0.5 | 89.13% | 0.5 | 89.13% | 0.5 | 89.13% | 0.5 | 89.13% | 0.5 | 89.13% | 0.5 | 89.13% | 0.5 | 89.13% | 0.5 | 89.13% | 0.5 | 89.13%
0.05 | 1.75 | 66.84% | 1.3163 | 73.85% | 1.8048 | 66% | 1.2982 | 74.16% | 0.94179 | 80.5% | 0.76736 | 83.8% | 0.8313 | 82.58% | 0.826 | 82.68% | 0.68268 | 85.45% | 0.55188 | 88.07% | 0.52002 | 88.72%
0.1 | 2.9434 | 50.78% | 2.1089 | 61.53% | 3.0544 | 49.49% | 2.0751 | 62.01% | 1.3818 | 72.75% | 1.0459 | 78.6% | 1.1695 | 76.39% | 1.1558 | 76.63% | 0.87188 | 81.81% | 0.60799 | 86.94% | 0.54144 | 88.28%
0.15 | 4.0821 | 39.06% | 2.8783 | 51.54% | 4.2505 | 37.58% | 2.8312 | 52.11% | 1.8199 | 65.77% | 1.335 | 73.54% | 1.5138 | 70.57% | 1.489 | 70.97% | 1.0672 | 78.21% | 0.66823 | 85.74% | 0.5643 | 87.82%
0.2 | 5.1682 | 30.42% | 3.625 | 43.4% | 5.395 | 28.87% | 3.5668 | 43.99% | 2.2556 | 59.49% | 1.6336 | 68.65% | 1.8636 | 65.11% | 1.8252 | 65.69% | 1.2682 | 74.68% | 0.73251 | 84.48% | 0.58863 | 87.32%
0.25 | 6.2033 | 23.97% | 4.3497 | 36.73% | 6.4896 | 22.44% | 4.2825 | 37.3% | 2.6888 | 53.84% | 1.9412 | 63.96% | 2.2183 | 60% | 2.1639 | 60.76% | 1.4744 | 71.21% | 0.80077 | 83.16% | 0.61446 | 86.81%
0.3 | 7.1894 | 19.1% | 5.0527 | 31.24% | 7.536 | 17.64% | 4.9786 | 31.78% | 3.1191 | 48.76% | 2.2569 | 59.47% | 2.5771 | 55.24% | 2.5047 | 56.17% | 1.6855 | 67.83% | 0.8729 | 81.79% | 0.64181 | 86.26%
0.35 | 8.1283 | 15.39% | 5.7347 | 26.7% | 8.5359 | 14.01% | 5.6555 | 27.19% | 3.5463 | 44.19% | 2.58 | 55.21% | 2.9395 | 50.82% | 2.8472 | 51.91% | 1.901 | 64.55% | 0.94883 | 80.37% | 0.6707 | 85.69%
0.4 | 9.0216 | 12.53% | 6.396 | 22.93% | 9.491 | 11.24% | 6.3137 | 23.37% | 3.9703 | 40.08% | 2.9099 | 51.17% | 3.3049 | 46.72% | 3.191 | 47.96% | 2.1206 | 61.37% | 1.0285 | 78.91% | 0.70116 | 85.09%
0.45 | 9.8711 | 10.3% | 7.0374 | 19.78% | 10.4029 | 9.114% | 6.9535 | 20.17% | 4.3906 | 36.39% | 3.2458 | 47.36% | 3.6726 | 42.93% | 3.5358 | 44.3% | 2.3439 | 58.29% | 1.1117 | 77.42% | 0.73321 | 84.47%
0.5 | 10.6785 | 8.554% | 7.6591 | 17.14% | 11.2733 | 7.459% | 7.5754 | 17.48% | 4.8071 | 33.06% | 3.587 | 43.78% | 4.0421 | 39.43% | 3.8811 | 40.92% | 2.5705 | 55.33% | 1.1985 | 75.88% | 0.76687 | 83.81%
0.55 | 11.4454 | 7.169% | 8.2617 | 14.92% | 12.1036 | 6.161% | 8.1797 | 15.21% | 5.2196 | 30.06% | 3.933 | 40.43% | 4.4128 | 36.2% | 4.2266 | 37.79% | 2.8 | 52.48% | 1.2887 | 74.32% | 0.80216 | 83.14%
0.6 | 12.1735 | 6.062% | 8.8457 | 13.04% | 12.8954 | 5.134% | 8.7669 | 13.28% | 5.6279 | 27.37% | 4.283 | 37.3% | 4.7841 | 33.23% | 4.5719 | 34.9% | 3.0321 | 49.75% | 1.3823 | 72.74% | 0.83909 | 82.43%
0.65 | 12.8644 | 5.171% | 9.4116 | 11.45% | 13.6503 | 4.315% | 9.3372 | 11.65% | 6.0318 | 24.94% | 4.6364 | 34.38% | 5.1557 | 30.51% | 4.9166 | 32.24% | 3.2665 | 47.14% | 1.4791 | 71.14% | 0.87767 | 81.7%
0.7 | 13.5196 | 4.447% | 9.9599 | 10.09% | 14.3697 | 3.656% | 9.8912 | 10.25% | 6.4311 | 22.75% | 4.9927 | 31.68% | 5.5268 | 28.01% | 5.2606 | 29.78% | 3.5028 | 44.64% | 1.5791 | 69.52% | 0.91793 | 80.95%
0.75 | 14.1406 | 3.854% | 10.4909 | 8.931% | 15.0551 | 3.122% | 10.4291 | 9.059% | 6.8255 | 20.77% | 5.3512 | 29.17% | 5.8971 | 25.72% | 5.6033 | 27.52% | 3.7406 | 42.26% | 1.6822 | 67.89% | 0.95987 | 80.17%
0.8 | 14.7289 | 3.366% | 11.0052 | 7.934% | 15.7079 | 2.687% | 10.9514 | 8.033% | 7.215 | 18.99% | 5.7114 | 26.84% | 6.2661 | 23.63% | 5.9446 | 25.44% | 3.9797 | 40% | 1.7882 | 66.25% | 1.0035 | 79.37%
0.85 | 15.286 | 2.961% | 11.5032 | 7.074% | 16.3294 | 2.328% | 11.4584 | 7.148% | 7.5994 | 17.38% | 6.0727 | 24.7% | 6.6333 | 21.71% | 6.284 | 23.53% | 4.2198 | 37.85% | 1.8972 | 64.61% | 1.0488 | 78.54%
0.9 | 15.8133 | 2.622% | 11.9854 | 6.331% | 16.921 | 2.032% | 11.9505 | 6.382% | 7.9785 | 15.93% | 6.4347 | 22.73% | 6.9983 | 19.96% | 6.6214 | 21.77% | 4.4605 | 35.81% | 2.0089 | 62.97% | 1.0958 | 77.7%
0.95 | 16.3122 | 2.338% | 12.4523 | 5.686% | 17.4841 | 1.785% | 12.428 | 5.717% | 8.3522 | 14.61% | 6.7966 | 20.91% | 7.3606 | 18.36% | 6.9564 | 20.15% | 4.7016 | 33.87% | 2.1233 | 61.33% | 1.1446 | 76.83%
1 | 16.784 | 2.097% | 12.9041 | 5.124% | 18.0199 | 1.578% | 12.8914 | 5.139% | 8.7203 | 13.43% | 7.1582 | 19.24% | 7.7199 | 16.9% | 7.2887 | 18.67% | 4.9427 | 32.04% | 2.2404 | 59.7% | 1.195 | 75.94%
1.05 | 17.2301 | 1.892% | 13.3414 | 4.633% | 18.5297 | 1.403% | 13.3408 | 4.634% | 9.0827 | 12.35% | 7.5189 | 17.71% | 8.0757 | 15.57% | 7.6181 | 17.31% | 5.1836 | 30.31% | 2.3599 | 58.08% | 1.2472 | 75.04%
1.1 | 17.6517 | 1.717% | 13.7647 | 4.203% | 19.0147 | 1.255% | 13.7768 | 4.191% | 9.4393 | 11.38% | 7.8781 | 16.3% | 8.4278 | 14.36% | 7.9444 | 16.05% | 5.424 | 28.68% | 2.4819 | 56.47% | 1.301 | 74.11%
1.15 | 18.0501 | 1.567% | 14.1742 | 3.825% | 19.4762 | 1.128% | 14.1996 | 3.802% | 9.79 | 10.5% | 8.2356 | 15.01% | 8.7756 | 13.26% | 8.2672 | 14.9% | 5.6637 | 27.14% | 2.6061 | 54.88% | 1.3566 | 73.17%
1.2 | 18.4265 | 1.437% | 14.5705 | 3.491% | 19.9152 | 1.02% | 14.6096 | 3.46% | 10.1347 | 9.695% | 8.5908 | 13.83% | 9.1189 | 12.25% | 8.5864 | 13.85% | 5.9023 | 25.69% | 2.7326 | 53.3% | 1.4139 | 72.21%
1.25 | 18.7822 | 1.324% | 14.9539 | 3.196% | 20.333 | 0.9262% | 15.0071 | 3.157% | 10.4733 | 8.967% | 8.9433 | 12.75% | 9.4574 | 11.33% | 8.9017 | 12.88% | 6.1398 | 24.32% | 2.8612 | 51.75% | 1.4729 | 71.24%
1.3 | 19.1182 | 1.225% | 15.3248 | 2.934% | 20.7306 | 0.8452% | 15.3925 | 2.889% | 10.8057 | 8.307% | 9.2928 | 11.77% | 9.7908 | 10.49% | 9.2129 | 11.99% | 6.3757 | 23.04% | 2.9917 | 50.21% | 1.5336 | 70.25%
1.35 | 19.4357 | 1.139% | 15.6837 | 2.702% | 21.1091 | 0.7746% | 15.766 | 2.651% | 11.1319 | 7.706% | 9.6388 | 10.87% | 10.1188 | 9.73% | 9.5198 | 11.17% | 6.61 | 21.83% | 3.1242 | 48.71% | 1.5959 | 69.25%
1.4 | 19.7357 | 1.063% | 16.0309 | 2.494% | 21.4696 | 0.7129% | 16.128 | 2.439% | 11.4517 | 7.159% | 9.981 | 10.04% | 10.441 | 9.034% | 9.8223 | 10.42% | 6.8424 | 20.69% | 3.2586 | 47.22% | 1.6599 | 68.24%
1.45 | 20.0194 | 0.9955% | 16.3668 | 2.308% | 21.813 | 0.6587% | 16.4788 | 2.25% | 11.7652 | 6.66% | 10.3191 | 9.292% | 10.7573 | 8.4% | 10.12 | 9.727% | 7.0726 | 19.62% | 3.3946 | 45.77% | 1.7256 | 67.21%
1.5 | 20.2878 | 0.9359% | 16.6917 | 2.142% | 22.1404 | 0.6109% | 16.8188 | 2.08% | 12.0722 | 6.205% | 10.6527 | 8.605% | 11.0675 | 7.821% | 10.4129 | 9.093% | 7.3005 | 18.62% | 3.5322 | 44.34% | 1.7929 | 66.18%
1.55 | 20.5417 | 0.8827% | 17.0061 | 1.992% | 22.4527 | 0.5685% | 17.1482 | 1.928% | 12.3728 | 5.79% | 10.9815 | 7.977% | 11.3712 | 7.293% | 10.7009 | 8.51% | 7.5259 | 17.68% | 3.6713 | 42.94% | 1.8619 | 65.13%
1.6 | 20.7823 | 0.8352% | 17.3103 | 1.858% | 22.7509 | 0.5308% | 17.4672 | 1.792% | 12.667 | 5.411% | 11.3053 | 7.404% | 11.6683 | 6.81% | 10.9836 | 7.973% | 7.7486 | 16.79% | 3.8118 | 41.57% | 1.9324 | 64.09%
1.65 | 21.0103 | 0.7924% | 17.6046 | 1.736% | 23.0357 | 0.4971% | 17.7764 | 1.669% | 12.9546 | 5.065% | 11.6237 | 6.881% | 11.9587 | 6.37% | 11.261 | 7.48% | 7.9685 | 15.96% | 3.9536 | 40.24% | 2.0046 | 63.03%
1.7 | 21.2268 | 0.7539% | 17.8895 | 1.626% | 23.3082 | 0.4669% | 18.0758 | 1.557% | 13.2358 | 4.747% | 11.9364 | 6.403% | 12.2421 | 5.968% | 11.533 | 7.026% | 8.1853 | 15.19% | 4.0966 | 38.93% | 2.0783 | 61.97%
1.75 | 21.4325 | 0.719% | 18.1652 | 1.526% | 23.569 | 0.4396% | 18.3659 | 1.457% | 13.5104 | 4.456% | 12.2434 | 5.966% | 12.5183 | 5.6% | 11.7995 | 6.608% | 8.3989 | 14.46% | 4.2407 | 37.66% | 2.1536 | 60.9%
1.8 | 21.6283 | 0.6873% | 18.4322 | 1.435% | 23.819 | 0.415% | 18.6469 | 1.366% | 13.7786 | 4.189% | 12.5442 | 5.566% | 12.7874 | 5.263% | 12.0602 | 6.223% | 8.6092 | 13.77% | 4.3857 | 36.43% | 2.2304 | 59.84%
1.85 | 21.8149 | 0.6584% | 18.6906 | 1.352% | 24.059 | 0.3927% | 18.919 | 1.283% | 14.0403 | 3.944% | 12.8388 | 5.201% | 13.0491 | 4.956% | 12.3152 | 5.868% | 8.816 | 13.13% | 4.5316 | 35.22% | 2.3087 | 58.77%
1.9 | 21.9932 | 0.6319% | 18.9409 | 1.276% | 24.2897 | 0.3724% | 19.1827 | 1.207% | 14.2955 | 3.719% | 13.1269 | 4.868% | 13.3033 | 4.674% | 12.5643 | 5.541% | 9.0192 | 12.53% | 4.6782 | 34.05% | 2.3884 | 57.7%
1.95 | 22.1638 | 0.6076% | 19.1835 | 1.207% | 24.5118 | 0.3539% | 19.438 | 1.138% | 14.5444 | 3.512% | 13.4084 | 4.562% | 13.55 | 4.416% | 12.8075 | 5.239% | 9.2187 | 11.97% | 4.8255 | 32.92% | 2.4696 | 56.63%
2 | 22.3274 | 0.5851% | 19.4185 | 1.143% | 24.7259 | 0.3368% | 19.6854 | 1.075% | 14.7869 | 3.321% | 13.6831 | 4.282% | 13.7891 | 4.179% | 13.0446 | 4.961% | 9.4143 | 11.44% | 4.9733 | 31.82% | 2.5522 | 55.56%
2.05 | 22.4846 | 0.5643% | 19.6463 | 1.085% | 24.9328 | 0.3212% | 19.9251 | 1.017% | 15.0231 | 3.146% | 13.9508 | 4.026% | 14.0205 | 3.962% | 13.2756 | 4.704% | 9.606 | 10.95% | 5.1216 | 30.75% | 2.6362 | 54.5%
2.1 | 22.6362 | 0.545% | 19.8672 | 1.031% | 25.133 | 0.3067% | 20.1572 | 0.9644% | 15.2531 | 2.983% | 14.2116 | 3.792% | 14.2443 | 3.763% | 13.5005 | 4.466% | 9.7937 | 10.49% | 5.2701 | 29.72% | 2.7215 | 53.44%
2.15 | 22.7826 | 0.5269% | 20.0815 | 0.9814% | 25.3272 | 0.2933% | 20.3822 | 0.9158% | 15.4769 | 2.833% | 14.4651 | 3.577% | 14.4604 | 3.581% | 13.7192 | 4.247% | 9.9772 | 10.05% | 5.4189 | 28.72% | 2.8082 | 52.38%
2.2 | 22.9245 | 0.51% | 20.2895 | 0.9355% | 25.5158 | 0.2808% | 20.6002 | 0.8709% | 15.6946 | 2.695% | 14.7115 | 3.38% | 14.6687 | 3.413% | 13.9317 | 4.044% | 10.1565 | 9.646% | 5.5677 | 27.75% | 2.8961 | 51.33%
2.25 | 23.0624 | 0.494% | 20.4915 | 0.893% | 25.6993 | 0.2692% | 20.8115 | 0.8296% | 15.9064 | 2.567% | 14.9505 | 3.199% | 14.8694 | 3.259% | 14.1379 | 3.857% | 10.3316 | 9.265% | 5.7165 | 26.81% | 2.9852 | 50.29%
2.3 | 23.1966 | 0.479% | 20.6878 | 0.8535% | 25.8783 | 0.2583% | 21.0164 | 0.7913% | 16.1123 | 2.448% | 15.1822 | 3.032% | 15.0625 | 3.117% | 14.3379 | 3.683% | 10.5023 | 8.908% | 5.8652 | 25.91% | 3.0755 | 49.25%
2.35 | 23.3278 | 0.4647% | 20.8786 | 0.8168% | 26.0533 | 0.2481% | 21.215 | 0.756% | 16.3124 | 2.338% | 15.4065 | 2.88% | 15.2479 | 2.987% | 14.5316 | 3.522% | 10.6686 | 8.573% | 6.0136 | 25.04% | 3.167 | 48.23%
2.4 | 23.4563 | 0.4512% | 21.0643 | 0.7827% | 26.2246 | 0.2385% | 21.4076 | 0.7232% | 16.5068 | 2.235% | 15.6234 | 2.739% | 15.4259 | 2.867% | 14.7191 | 3.374% | 10.8305 | 8.259% | 6.1616 | 24.2% | 3.2595 | 47.21%
2.45 | 23.5825 | 0.4383% | 21.245 | 0.7508% | 26.3926 | 0.2295% | 21.5944 | 0.6927% | 16.6958 | 2.14% | 15.8329 | 2.61% | 15.5964 | 2.757% | 14.9003 | 3.236% | 10.9879 | 7.965% | 6.3091 | 23.39% | 3.3532 | 46.2%
2.5 | 23.7067 | 0.4259% | 21.421 | 0.7209% | 26.5578 | 0.2209% | 21.7758 | 0.6644% | 16.8793 | 2.051% | 16.0351 | 2.492% | 15.7596 | 2.655% | 15.0754 | 3.108% | 11.1408 | 7.69% | 6.456 | 22.62% | 3.4478 | 45.21%
2.55 | 23.8294 | 0.4141% | 21.5926 | 0.693% | 26.7203 | 0.2128% | 21.9518 | 0.638% | 17.0577 | 1.969% | 16.2299 | 2.382% | 15.9156 | 2.561% | 15.2442 | 2.989% | 11.2892 | 7.431% | 6.6022 | 21.87% | 3.5434 | 44.22%
2.6 | 23.9507 | 0.4027% | 21.76 | 0.6668% | 26.8807 | 0.2051% | 22.1227 | 0.6134% | 17.2309 | 1.892% | 16.4174 | 2.282% | 16.0645 | 2.475% | 15.407 | 2.879% | 11.4331 | 7.189% | 6.7475 | 21.15% | 3.6399 | 43.25%
2.65 | 24.0709 | 0.3917% | 21.9234 | 0.6422% | 27.039 | 0.1977% | 22.2887 | 0.5904% | 17.3993 | 1.82% | 16.5978 | 2.189% | 16.2066 | 2.395% | 15.5636 | 2.777% | 11.5725 | 6.962% | 6.8919 | 20.46% | 3.7372 | 42.29%
2.7 | 24.1902 | 0.381% | 22.0832 | 0.619% | 27.1956 | 0.1907% | 22.4501 | 0.5688% | 17.5629 | 1.753% | 16.771 | 2.103% | 16.3419 | 2.322% | 15.7143 | 2.683% | 11.7073 | 6.749% | 7.0352 | 19.79% | 3.8353 | 41.35%
2.75 | 24.3089 | 0.3708% | 22.2394 | 0.5971% | 27.3506 | 0.1841% | 22.6069 | 0.5487% | 17.7219 | 1.69% | 16.9371 | 2.024% | 16.4706 | 2.254% | 15.8591 | 2.595% | 11.8377 | 6.55% | 7.1773 | 19.15% | 3.9342 | 40.42%
2.8 | 24.4271 | 0.3608% | 22.3924 | 0.5764% | 27.5042 | 0.1777% | 22.7596 | 0.5297% | 17.8766 | 1.631% | 17.0964 | 1.951% | 16.593 | 2.191% | 15.998 | 2.513% | 11.9636 | 6.363% | 7.318 | 18.54% | 4.0338 | 39.5%
2.85 | 24.5448 | 0.3512% | 22.5423 | 0.5569% | 27.6567 | 0.1715% | 22.9081 | 0.5119% | 18.0271 | 1.575% | 17.249 | 1.884% | 16.7094 | 2.133% | 16.1312 | 2.437% | 12.085 | 6.187% | 7.4573 | 17.96% | 4.134 | 38.6%
2.9 | 24.6622 | 0.3418% | 22.6894 | 0.5383% | 27.808 | 0.1657% | 23.0528 | 0.4951% | 18.1737 | 1.523% | 17.3949 | 1.822% | 16.8198 | 2.08% | 16.2588 | 2.367% | 12.202 | 6.023% | 7.595 | 17.4% | 4.2347 | 37.72%
2.95 | 24.7794 | 0.3327% | 22.8339 | 0.5207% | 27.9584 | 0.16% | 23.1937 | 0.4793% | 18.3166 | 1.473% | 17.5345 | 1.764% | 16.9246 | 2.03% | 16.3809 | 2.301% | 12.3147 | 5.868% | 7.731 | 16.86% | 4.336 | 36.85%
3 | 24.8963 | 0.3239% | 22.9758 | 0.504% | 28.1077 | 0.1546% | 23.3312 | 0.4644% | 18.4559 | 1.427% | 17.6678 | 1.711% | 17.0241 | 1.984% | 16.4976 | 2.24% | 12.4231 | 5.724% | 7.8652 | 16.35% | 4.4377 | 35.99%
3.05 | 25.013 | 0.3153% | 23.1156 | 0.488% | 28.2561 | 0.1494% | 23.4653 | 0.4503% | 18.592 | 1.383% | 17.7951 | 1.661% | 17.1186 | 1.942% | 16.6091 | 2.183% | 12.5273 | 5.588% | 7.9974 | 15.86% | 4.5397 | 35.16%
3.1 | 25.1294 | 0.3069% | 23.2532 | 0.4728% | 28.4036 | 0.1444% | 23.5963 | 0.4369% | 18.7251 | 1.341% | 17.9166 | 1.616% | 17.2083 | 1.902% | 16.7155 | 2.13% | 12.6274 | 5.461% | 8.1276 | 15.39% | 4.6421 | 34.34%
3.15 | 25.2454 | 0.2989% | 23.389 | 0.4583% | 28.5501 | 0.1396% | 23.7243 | 0.4242% | 18.8555 | 1.302% | 18.0326 | 1.573% | 17.2936 | 1.865% | 16.8169 | 2.081% | 12.7234 | 5.341% | 8.2555 | 14.94% | 4.7447 | 33.54%
3.2 | 25.3609 | 0.291% | 23.523 | 0.4443% | 28.6955 | 0.135% | 23.8494 | 0.4122% | 18.9833 | 1.264% | 18.1433 | 1.533% | 17.3748 | 1.83% | 16.9136 | 2.035% | 12.8154 | 5.229% | 8.3811 | 14.52% | 4.8474 | 32.75%
3.25 | 25.4757 | 0.2834% | 23.6554 | 0.431% | 28.8398 | 0.1306% | 23.9719 | 0.4007% | 19.109 | 1.228% | 18.249 | 1.497% | 17.4523 | 1.798% | 17.0058 | 1.993% | 12.9036 | 5.124% | 8.5043 | 14.11% | 4.9503 | 31.99%
3.3 | 25.5898 | 0.2761% | 23.7865 | 0.4182% | 28.9827 | 0.1264% | 24.0919 | 0.3898% | 19.2327 | 1.193% | 18.35 | 1.462% | 17.5266 | 1.767% | 17.0935 | 1.953% | 12.988 | 5.026% | 8.6248 | 13.73% | 5.0531 | 31.24%
3.35 | 25.7028 | 0.269% | 23.9163 | 0.4059% | 29.1243 | 0.1223% | 24.2095 | 0.3794% | 19.3547 | 1.16% | 18.4466 | 1.43% | 17.5978 | 1.739% | 17.177 | 1.916% | 13.0688 | 4.933% | 8.7427 | 13.36% | 5.1559 | 30.51%
3.4 | 25.8145 | 0.2622% | 24.045 | 0.394% | 29.2641 | 0.1185% | 24.325 | 0.3694% | 19.4755 | 1.128% | 18.5392 | 1.4% | 17.6666 | 1.711% | 17.2566 | 1.881% | 13.1461 | 4.846% | 8.8577 | 13.01% | 5.2586 | 29.79%
3.45 | 25.9246 | 0.2556% | 24.1728 | 0.3826% | 29.4021 | 0.1148% | 24.4384 | 0.3599% | 19.5952 | 1.098% | 18.628 | 1.372% | 17.7332 | 1.685% | 17.3324 | 1.848% | 13.2201 | 4.764% | 8.9697 | 12.68% | 5.361 | 29.1%
3.5 | 26.0329 | 0.2493% | 24.2997 | 0.3716% | 29.538 | 0.1112% | 24.5498 | 0.3508% | 19.7142 | 1.068% | 18.7136 | 1.345% | 17.7982 | 1.66% | 17.4046 | 1.818% | 13.2908 | 4.687% | 9.0786 | 12.36% | 5.4631 | 28.42%
3.55 | 26.139 | 0.2433% | 24.4259 | 0.3609% | 29.6714 | 0.1079% | 24.6595 | 0.342% | 19.8328 | 1.039% | 18.7961 | 1.319% | 17.8621 | 1.636% | 17.4736 | 1.789% | 13.3585 | 4.615% | 9.1843 | 12.07% | 5.5649 | 27.77%
3.6 | 26.2424 | 0.2376% | 24.5515 | 0.3506% | 29.8022 | 0.1047% | 24.7675 | 0.3336% | 19.9514 | 1.011% | 18.8761 | 1.295% | 17.9252 | 1.612% | 17.5395 | 1.762% | 13.4232 | 4.546% | 9.2865 | 11.79% | 5.6661 | 27.13%
3.65 | 26.3429 | 0.2321% | 24.6767 | 0.3407% | 29.9298 | 0.1016% | 24.874 | 0.3255% | 20.0704 | 0.9839% | 18.954 | 1.272% | 17.9881 | 1.589% | 17.6026 | 1.737% | 13.4853 | 4.482% | 9.3853 | 11.52% | 5.7669 | 26.5%
3.7 | 26.4398 | 0.227% | 24.8016 | 0.331% | 30.054 | 0.09877% | 24.9791 | 0.3178% | 20.19 | 0.9572% | 19.0302 | 1.25% | 18.0513 | 1.566% | 17.6632 | 1.713% | 13.5448 | 4.421% | 9.4804 | 11.27% | 5.8669 | 25.9%
3.75 | 26.5329 | 0.2222% | 24.9262 | 0.3216% | 30.1743 | 0.09607% | 25.0829 | 0.3102% | 20.3106 | 0.931% | 19.1051 | 1.229% | 18.1153 | 1.543% | 17.7216 | 1.69% | 13.602 | 4.363% | 9.5718 | 11.04% | 5.9663 | 25.31%
3.8 | 26.6214 | 0.2177% | 25.0507 | 0.3126% | 30.2903 | 0.09354% | 25.1856 | 0.303% | 20.4327 | 0.9052% | 19.1792 | 1.208% | 18.1808 | 1.52% | 17.778 | 1.668% | 13.657 | 4.308% | 9.6592 | 10.82% | 6.0648 | 24.75%
3.85 | 26.705 | 0.2136% | 25.1752 | 0.3037% | 30.4015 | 0.09117% | 25.2872 | 0.296% | 20.5565 | 0.8797% | 19.2531 | 1.188% | 18.2482 | 1.497% | 17.8328 | 1.647% | 13.71 | 4.256% | 9.7425 | 10.61% | 6.1624 | 24.2%
3.9 | 26.783 | 0.2098% | 25.2996 | 0.2951% | 30.5074 | 0.08897% | 25.3878 | 0.2892% | 20.6825 | 0.8546% | 19.3271 | 1.168% | 18.3181 | 1.473% | 17.8863 | 1.627% | 13.7613 | 4.206% | 9.8217 | 10.42% | 6.2589 | 23.67%
3.95 | 26.8548 | 0.2063% | 25.4243 | 0.2868% | 30.6075 | 0.08695% | 25.4876 | 0.2826% | 20.8112 | 0.8296% | 19.4019 | 1.148% | 18.3911 | 1.448% | 17.9387 | 1.607% | 13.8111 | 4.158% | 9.8965 | 10.24% | 6.3544 | 23.15%
4 | 26.9197 | 0.2033% | 25.5491 | 0.2787% | 30.7012 | 0.08509% | 25.5866 | 0.2763% | 20.9428 | 0.8049% | 19.478 | 1.128% | 18.4679 | 1.423% | 17.9904 | 1.588% | 13.8597 | 4.112% | 9.9669 | 10.08% | 6.4486 | 22.65%
4.05 | 26.9771 | 0.2006% | 25.6741 | 0.2708% | 30.7879 | 0.08341% | 25.6849 | 0.2701% | 21.0779 | 0.7802% | 19.5559 | 1.108% | 18.5491 | 1.397% | 18.0418 | 1.57% | 13.9072 | 4.067% | 10.0326 | 9.925% | 6.5416 | 22.17%
4.1 | 27.0262 | 0.1983% | 25.7996 | 0.2631% | 30.867 | 0.0819% | 25.7827 | 0.2641% | 21.2168 | 0.7556% | 19.6362 | 1.087% | 18.6353 | 1.369% | 18.0932 | 1.551% | 13.9539 | 4.024% | 10.0936 | 9.787% | 6.6331 | 21.71%
4.15 | 27.0664 | 0.1965% | 25.9254 | 0.2555% | 30.9378 | 0.08058% | 25.88 | 0.2582% | 21.36 | 0.7311% | 19.7195 | 1.067% | 18.7272 | 1.341% | 18.145 | 1.533% | 14.0001 | 3.981% | 10.1497 | 9.661% | 6.7231 | 21.27%
4.2 | 27.0968 | 0.1951% | 26.0516 | 0.2482% | 30.9997 | 0.07944% | 25.9769 | 0.2525% | 21.508 | 0.7066% | 19.8064 | 1.046% | 18.8254 | 1.311% | 18.1975 | 1.514% | 14.046 | 3.939% | 10.2008 | 9.548% | 6.8115 | 20.84%
4.25 | 27.1167 | 0.1942% | 26.1784 | 0.2411% | 31.0519 | 0.07849% | 26.0734 | 0.247% | 21.6612 | 0.6822% | 19.8976 | 1.024% | 18.9308 | 1.279% | 18.2511 | 1.496% | 14.0919 | 3.898% | 10.2467 | 9.448% | 6.8982 | 20.43%
4.3 | 27.125 | 0.1939% | 26.3057 | 0.2341% | 31.0936 | 0.07774% | 26.1696 | 0.2416% | 21.82 | 0.6577% | 19.9936 | 1.001% | 19.0439 | 1.246% | 18.3062 | 1.477% | 14.1382 | 3.856% | 10.2873 | 9.36% | 6.9831 | 20.03%
4.35 | 27.125 | 0.1939% | 26.4335 | 0.2273% | 31.1242 | 0.07719% | 26.2657 | 0.2363% | 21.985 | 0.6331% | 20.0952 | 0.9783% | 19.1656 | 1.212% | 18.3632 | 1.458% | 14.185 | 3.815% | 10.3224 | 9.285% | 7.066 | 19.65%
4.4 | 27.125 | 0.1939% | 26.5619 | 0.2207% | 31.1427 | 0.07687% | 26.3616 | 0.2311% | 22.1566 | 0.6086% | 20.203 | 0.9543% | 19.2966 | 1.176% | 18.4226 | 1.438% | 14.2327 | 3.773% | 10.3519 | 9.222% | 7.1468 | 19.29%
4.45 | 27.125 | 0.1939% | 26.691 | 0.2142% | 31.1483 | 0.07677% | 26.4574 | 0.2261% | 22.3354 | 0.5841% | 20.3177 | 0.9295% | 19.4376 | 1.138% | 18.4846 | 1.418% | 14.2817 | 3.731% | 10.3756 | 9.172% | 7.2255 | 18.94%
4.5 | 27.125 | 0.1939% | 26.8206 | 0.2079% | 31.1483 | 0.07677% | 26.5532 | 0.2211% | 22.5218 | 0.5595% | 20.44 | 0.9036% | 19.5895 | 1.099% | 18.5499 | 1.396% | 14.3321 | 3.688% | 10.3934 | 9.134% | 7.3019 | 18.61%