## Plots
Product Raw Data
SMA Variable MM Attenuator
Item # | VOAMMS
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data.
This data may be used in publications. However, please cite Thorlabs as the source.
Additional Information:
Please note that the attenuation will vary depending on the fiber concentricity and SMA connector height.

## Data
| 25 µm 0.10 NA FIber |  | 50 µm 0.22 NA Fiber |  | 105 µm 0.10 NA Fiber |  | 105 µm 0.22 NA Fiber |  | 200 µm 0.22 NA Fiber |  | 200 µm 0.39 NA Fiber |  | 200 µm 0.50 NA Fiber |  | 400 µm 0.39 NA Fiber |  | 400 µm 0.50 NA Fiber |  | 600 µm 0.39 NA Fiber |  | 1000 µm 0.50 NA Fiber
Connector End Face Separation (mm) | Attenuation (dB) | Transmission (%) | Attenuation (dB) | Transmission (%) | Attenuation (dB) | Transmission (%) | Attenuation (dB) | Transmission (%) | Attenuation (dB) | Transmission (%) | Attenuation (dB) | Transmission (%) | Attenuation (dB) | Transmission (%) | Attenuation (dB) | Transmission (%) | Attenuation (dB) | Transmission (%) | Attenuation (dB) | Transmission (%) | Attenuation (dB) | Transmission (%)
0 | 7.17 | 19.19% | 10.62 | 8.67% | 2.82 | 52.24% | 3.02 | 49.89% | 1.87 | 65.01% | 1.88 | 64.86% | 1.79 | 66.22% | 1.05 | 78.52% | 2.08 | 61.94% | 1.15 | 76.74% | 1.98 | 63.39%
0.05 | 7.7023 | 16.97% | 11.8196 | 6.577% | 3.1239 | 48.71% | 3.8819 | 40.91% | 2.5079 | 56.13% | 2.7145 | 53.52% | 2.8815 | 51.51% | 1.4622 | 71.41% | 2.56 | 55.46% | 1.3223 | 73.75% | 2.0613 | 62.21%
0.1 | 8.2261 | 15.04% | 12.9584 | 5.06% | 3.4307 | 45.39% | 4.7085 | 33.82% | 3.1306 | 48.63% | 3.5167 | 44.5% | 3.9154 | 40.59% | 1.8723 | 64.98% | 3.0298 | 49.78% | 1.5042 | 70.73% | 2.1485 | 60.97%
0.15 | 8.7413 | 13.36% | 14.039 | 3.945% | 3.7399 | 42.27% | 5.501 | 28.18% | 3.7383 | 42.28% | 4.2876 | 37.26% | 4.8946 | 32.4% | 2.2798 | 59.16% | 3.4894 | 44.78% | 1.6948 | 67.69% | 2.2413 | 59.69%
0.2 | 9.2478 | 11.89% | 15.0642 | 3.116% | 4.051 | 39.35% | 6.261 | 23.65% | 4.331 | 36.89% | 5.0285 | 31.42% | 5.8216 | 26.17% | 2.6845 | 53.9% | 3.9389 | 40.37% | 1.8935 | 64.66% | 2.3395 | 58.35%
0.25 | 9.7455 | 10.6% | 16.0363 | 2.491% | 4.3635 | 36.61% | 6.9896 | 20% | 4.9089 | 32.29% | 5.7404 | 26.67% | 6.699 | 21.38% | 3.0858 | 49.14% | 4.3786 | 36.49% | 2.0995 | 61.67% | 2.4428 | 56.98%
0.3 | 10.2343 | 9.475% | 16.958 | 2.015% | 4.6769 | 34.07% | 7.6881 | 17.03% | 5.4722 | 28.36% | 6.4242 | 22.78% | 7.5293 | 17.66% | 3.4837 | 44.84% | 4.8085 | 33.05% | 2.3122 | 58.72% | 2.5508 | 55.58%
0.35 | 10.7141 | 8.484% | 17.8315 | 1.648% | 4.9908 | 31.69% | 8.3577 | 14.6% | 6.0211 | 25% | 7.081 | 19.58% | 8.3148 | 14.74% | 3.8777 | 40.95% | 5.2287 | 30% | 2.531 | 55.83% | 2.6634 | 54.16%
0.4 | 11.185 | 7.612% | 18.6592 | 1.362% | 5.3048 | 29.48% | 8.9997 | 12.59% | 6.5557 | 22.1% | 7.7118 | 16.94% | 9.058 | 12.42% | 4.2675 | 37.43% | 5.6394 | 27.29% | 2.7552 | 53.02% | 2.7804 | 52.72%
0.45 | 11.6468 | 6.844% | 19.4434 | 1.137% | 5.6185 | 27.43% | 9.6152 | 10.93% | 7.0762 | 19.61% | 8.3176 | 14.73% | 9.7609 | 10.57% | 4.653 | 34.25% | 6.0408 | 24.88% | 2.9842 | 50.3% | 2.9013 | 51.27%
0.5 | 12.0995 | 6.167% | 20.1861 | 0.9581% | 5.9315 | 25.52% | 10.2052 | 9.538% | 7.5829 | 17.45% | 8.8992 | 12.88% | 10.4258 | 9.066% | 5.0338 | 31.38% | 6.4329 | 22.74% | 3.2175 | 47.67% | 3.0261 | 49.82%
0.55 | 12.5432 | 5.568% | 20.8895 | 0.8148% | 6.2435 | 23.75% | 10.771 | 8.373% | 8.0758 | 15.57% | 9.4576 | 11.33% | 11.0547 | 7.844% | 5.4098 | 28.78% | 6.8159 | 20.82% | 3.4546 | 45.14% | 3.1545 | 48.37%
0.6 | 12.9777 | 5.038% | 21.5555 | 0.699% | 6.554 | 22.11% | 11.3134 | 7.39% | 8.5552 | 13.95% | 9.9937 | 10.01% | 11.6497 | 6.84% | 5.7807 | 26.42% | 7.19 | 19.1% | 3.6948 | 42.71% | 3.2862 | 46.92%
0.65 | 13.4032 | 4.568% | 22.1862 | 0.6045% | 6.8629 | 20.59% | 11.8337 | 6.556% | 9.0214 | 12.53% | 10.5083 | 8.895% | 12.2125 | 6.008% | 6.1464 | 24.29% | 7.5552 | 17.56% | 3.9377 | 40.39% | 3.4211 | 45.49%
0.7 | 13.8196 | 4.15% | 22.7834 | 0.5268% | 7.1698 | 19.19% | 12.3326 | 5.844% | 9.4745 | 11.29% | 11.0023 | 7.939% | 12.7451 | 5.315% | 6.5066 | 22.35% | 7.9118 | 16.17% | 4.1828 | 38.17% | 3.5589 | 44.07%
0.75 | 14.227 | 3.778% | 23.3488 | 0.4625% | 7.4744 | 17.89% | 12.8113 | 5.234% | 9.9147 | 10.2% | 11.4765 | 7.118% | 13.2491 | 4.732% | 6.8612 | 20.6% | 8.2598 | 14.93% | 4.4297 | 36.06% | 3.6994 | 42.66%
0.8 | 14.6253 | 3.447% | 23.8843 | 0.4089% | 7.7764 | 16.69% | 13.2706 | 4.709% | 10.3423 | 9.242% | 11.9318 | 6.409% | 13.7264 | 4.24% | 7.2101 | 19.01% | 8.5995 | 13.81% | 4.678 | 34.06% | 3.8424 | 41.28%
0.85 | 15.0147 | 3.152% | 24.3916 | 0.3638% | 8.0757 | 15.58% | 13.7113 | 4.255% | 10.7574 | 8.4% | 12.3688 | 5.796% | 14.1785 | 3.821% | 7.5532 | 17.57% | 8.931 | 12.79% | 4.9272 | 32.16% | 3.9877 | 39.92%
0.9 | 15.3952 | 2.887% | 24.8721 | 0.3257% | 8.3719 | 14.55% | 14.1345 | 3.86% | 11.1604 | 7.655% | 12.7884 | 5.262% | 14.607 | 3.462% | 7.8902 | 16.25% | 9.2543 | 11.87% | 5.1769 | 30.36% | 4.1351 | 38.59%
0.95 | 15.7668 | 2.65% | 25.3275 | 0.2933% | 8.6649 | 13.6% | 14.5409 | 3.515% | 11.5515 | 6.996% | 13.1913 | 4.796% | 15.0134 | 3.153% | 8.2212 | 15.06% | 9.5698 | 11.04% | 5.4268 | 28.66% | 4.2845 | 37.29%
1 | 16.1296 | 2.438% | 25.7592 | 0.2655% | 8.9545 | 12.72% | 14.9312 | 3.213% | 11.9308 | 6.411% | 13.5782 | 4.387% | 15.399 | 2.885% | 8.5461 | 13.98% | 9.8775 | 10.29% | 5.6765 | 27.06% | 4.4356 | 36.01%
1.05 | 16.4837 | 2.247% | 26.1687 | 0.2416% | 9.2405 | 11.91% | 15.3064 | 2.947% | 12.2987 | 5.89% | 13.9497 | 4.027% | 15.7652 | 2.651% | 8.8647 | 12.99% | 10.1775 | 9.599% | 5.9257 | 25.55% | 4.5883 | 34.77%
1.1 | 16.8292 | 2.075% | 26.5573 | 0.2209% | 9.5227 | 11.16% | 15.667 | 2.712% | 12.6554 | 5.426% | 14.3067 | 3.71% | 16.1133 | 2.447% | 9.177 | 12.09% | 10.4701 | 8.974% | 6.174 | 24.13% | 4.7424 | 33.56%
1.15 | 17.1662 | 1.92% | 26.9263 | 0.2029% | 9.8009 | 10.47% | 16.0139 | 2.504% | 13.0011 | 5.011% | 14.6496 | 3.428% | 16.4446 | 2.267% | 9.483 | 11.26% | 10.7554 | 8.403% | 6.4213 | 22.8% | 4.8977 | 32.38%
1.2 | 17.4947 | 1.78% | 27.277 | 0.1872% | 10.0751 | 9.829% | 16.3478 | 2.319% | 13.3361 | 4.639% | 14.9792 | 3.177% | 16.7602 | 2.109% | 9.7827 | 10.51% | 11.0335 | 7.882% | 6.6671 | 21.54% | 5.0541 | 31.23%
1.25 | 17.815 | 1.654% | 27.6105 | 0.1734% | 10.3451 | 9.236% | 16.6692 | 2.153% | 13.6606 | 4.305% | 15.2961 | 2.954% | 17.0611 | 1.967% | 10.0759 | 9.827% | 11.3046 | 7.405% | 6.9113 | 20.36% | 5.2115 | 30.12%
1.3 | 18.127 | 1.539% | 27.9281 | 0.1611% | 10.6108 | 8.688% | 16.9789 | 2.005% | 13.9749 | 4.004% | 15.6008 | 2.754% | 17.3485 | 1.841% | 10.3628 | 9.199% | 11.5689 | 6.968% | 7.1537 | 19.26% | 5.3696 | 29.04%
1.35 | 18.431 | 1.435% | 28.2307 | 0.1503% | 10.8721 | 8.181% | 17.2774 | 1.872% | 14.2792 | 3.733% | 15.894 | 2.574% | 17.6234 | 1.728% | 10.6432 | 8.623% | 11.8265 | 6.567% | 7.3939 | 18.22% | 5.5283 | 28%
1.4 | 18.727 | 1.341% | 28.5195 | 0.1406% | 11.1289 | 7.711% | 17.5653 | 1.752% | 14.5739 | 3.488% | 16.1762 | 2.412% | 17.8865 | 1.627% | 10.9173 | 8.096% | 12.0775 | 6.198% | 7.6318 | 17.25% | 5.6876 | 26.99%
1.45 | 19.0151 | 1.255% | 28.7953 | 0.132% | 11.3812 | 7.276% | 17.8433 | 1.643% | 14.8591 | 3.267% | 16.4479 | 2.266% | 18.1389 | 1.535% | 11.1851 | 7.612% | 12.3221 | 5.859% | 7.8672 | 16.34% | 5.8472 | 26.02%
1.5 | 19.2956 | 1.176% | 29.0591 | 0.1242% | 11.6289 | 6.872% | 18.1118 | 1.545% | 15.1352 | 3.065% | 16.7096 | 2.133% | 18.3814 | 1.452% | 11.4465 | 7.167% | 12.5604 | 5.546% | 8.0999 | 15.49% | 6.007 | 25.08%
1.55 | 19.5686 | 1.104% | 29.3119 | 0.1172% | 11.8719 | 6.498% | 18.3713 | 1.455% | 15.4023 | 2.883% | 16.9619 | 2.013% | 18.6147 | 1.376% | 11.7016 | 6.758% | 12.7927 | 5.257% | 8.3297 | 14.69% | 6.1669 | 24.17%
1.6 | 19.8342 | 1.039% | 29.5543 | 0.1108% | 12.1103 | 6.151% | 18.6224 | 1.373% | 15.6608 | 2.716% | 17.2052 | 1.903% | 18.8395 | 1.306% | 11.9505 | 6.382% | 13.019 | 4.99% | 8.5566 | 13.94% | 6.3267 | 23.3%
1.65 | 20.0925 | 0.9789% | 29.7872 | 0.105% | 12.344 | 5.829% | 18.8655 | 1.299% | 15.9109 | 2.564% | 17.44 | 1.803% | 19.0565 | 1.243% | 12.1932 | 6.035% | 13.2395 | 4.743% | 8.7803 | 13.24% | 6.4864 | 22.46%
1.7 | 20.3437 | 0.9239% | 30.0114 | 0.09974% | 12.5729 | 5.53% | 19.101 | 1.23% | 16.1528 | 2.425% | 17.6668 | 1.711% | 19.2664 | 1.184% | 12.4299 | 5.715% | 13.4544 | 4.514% | 9.0009 | 12.59% | 6.6459 | 21.65%
1.75 | 20.5881 | 0.8734% | 30.2276 | 0.09489% | 12.7972 | 5.251% | 19.3294 | 1.167% | 16.3869 | 2.298% | 17.8859 | 1.627% | 19.4696 | 1.13% | 12.6605 | 5.419% | 13.6638 | 4.302% | 9.218 | 11.97% | 6.805 | 20.87%
1.8 | 20.8257 | 0.8269% | 30.4363 | 0.09044% | 13.0167 | 4.993% | 19.5511 | 1.109% | 16.6134 | 2.181% | 18.0978 | 1.55% | 19.6669 | 1.08% | 12.8851 | 5.146% | 13.8678 | 4.104% | 9.4318 | 11.4% | 6.9636 | 20.12%
1.85 | 21.0567 | 0.784% | 30.6382 | 0.08633% | 13.2316 | 4.752% | 19.7665 | 1.055% | 16.8325 | 2.074% | 18.3029 | 1.478% | 19.8585 | 1.033% | 13.1039 | 4.893% | 14.0666 | 3.921% | 9.642 | 10.86% | 7.1216 | 19.4%
1.9 | 21.2812 | 0.7445% | 30.834 | 0.08253% | 13.4418 | 4.527% | 19.9759 | 1.006% | 17.0446 | 1.975% | 18.5015 | 1.412% | 20.045 | 0.9897% | 13.3169 | 4.659% | 14.2603 | 3.749% | 9.8486 | 10.35% | 7.279 | 18.71%
1.95 | 21.4996 | 0.708% | 31.024 | 0.079% | 13.6474 | 4.318% | 20.1797 | 0.9595% | 17.2498 | 1.884% | 18.694 | 1.351% | 20.2268 | 0.9491% | 13.5243 | 4.442% | 14.449 | 3.59% | 10.0516 | 9.882% | 7.4355 | 18.05%
2 | 21.7119 | 0.6742% | 31.2088 | 0.0757% | 13.8484 | 4.123% | 20.3783 | 0.9166% | 17.4485 | 1.8% | 18.8808 | 1.294% | 20.4043 | 0.9111% | 13.7261 | 4.24% | 14.633 | 3.441% | 10.251 | 9.439% | 7.5912 | 17.41%
2.05 | 21.9183 | 0.6429% | 31.3889 | 0.07263% | 14.0448 | 3.94% | 20.5718 | 0.8766% | 17.6408 | 1.722% | 19.0622 | 1.241% | 20.5777 | 0.8755% | 13.9225 | 4.053% | 14.8123 | 3.302% | 10.4466 | 9.023% | 7.746 | 16.8%
2.1 | 22.1189 | 0.6139% | 31.5647 | 0.06975% | 14.2368 | 3.77% | 20.7606 | 0.8393% | 17.827 | 1.649% | 19.2386 | 1.192% | 20.7473 | 0.8419% | 14.1135 | 3.878% | 14.987 | 3.172% | 10.6384 | 8.633% | 7.8997 | 16.22%
2.15 | 22.3141 | 0.5869% | 31.7365 | 0.06704% | 14.4244 | 3.61% | 20.945 | 0.8045% | 18.0075 | 1.582% | 19.4101 | 1.145% | 20.9135 | 0.8103% | 14.2994 | 3.716% | 15.1574 | 3.05% | 10.8265 | 8.267% | 8.0523 | 15.66%
2.2 | 22.5039 | 0.5618% | 31.9048 | 0.06449% | 14.6077 | 3.461% | 21.1252 | 0.7718% | 18.1824 | 1.52% | 19.5771 | 1.102% | 21.0764 | 0.7805% | 14.4802 | 3.564% | 15.3234 | 2.935% | 11.0109 | 7.923% | 8.2036 | 15.12%
2.25 | 22.6886 | 0.5384% | 32.0698 | 0.06209% | 14.7868 | 3.321% | 21.3015 | 0.741% | 18.3519 | 1.462% | 19.7399 | 1.062% | 21.2362 | 0.7523% | 14.656 | 3.423% | 15.4853 | 2.828% | 11.1915 | 7.601% | 8.3538 | 14.61%
2.3 | 22.8683 | 0.5166% | 32.2319 | 0.05982% | 14.9616 | 3.19% | 21.4741 | 0.7122% | 18.5164 | 1.407% | 19.8987 | 1.024% | 21.3931 | 0.7256% | 14.827 | 3.291% | 15.6431 | 2.727% | 11.3684 | 7.297% | 8.5025 | 14.12%
2.35 | 23.0432 | 0.4962% | 32.3912 | 0.05766% | 15.1324 | 3.067% | 21.6432 | 0.685% | 18.676 | 1.356% | 20.0538 | 0.9877% | 21.5471 | 0.7003% | 14.9934 | 3.167% | 15.797 | 2.632% | 11.5415 | 7.012% | 8.6499 | 13.65%
2.4 | 23.2135 | 0.4771% | 32.5482 | 0.05561% | 15.2993 | 2.952% | 21.809 | 0.6593% | 18.831 | 1.309% | 20.2054 | 0.9538% | 21.6984 | 0.6763% | 15.1552 | 3.051% | 15.9471 | 2.543% | 11.7109 | 6.744% | 8.7958 | 13.2%
2.45 | 23.3794 | 0.4593% | 32.7028 | 0.05367% | 15.4623 | 2.843% | 21.9717 | 0.6351% | 18.9816 | 1.264% | 20.3536 | 0.9218% | 21.8471 | 0.6536% | 15.3126 | 2.943% | 16.0935 | 2.458% | 11.8767 | 6.491% | 8.9401 | 12.76%
2.5 | 23.5411 | 0.4425% | 32.8554 | 0.05182% | 15.6215 | 2.741% | 22.1314 | 0.6122% | 19.128 | 1.222% | 20.4988 | 0.8915% | 21.9932 | 0.6319% | 15.4658 | 2.841% | 16.2363 | 2.379% | 12.0388 | 6.253% | 9.0828 | 12.35%
2.55 | 23.6987 | 0.4267% | 33.0061 | 0.05005% | 15.7771 | 2.644% | 22.2882 | 0.5904% | 19.2705 | 1.183% | 20.6411 | 0.8628% | 22.1366 | 0.6114% | 15.6149 | 2.745% | 16.3756 | 2.304% | 12.1974 | 6.029% | 9.2239 | 11.96%
2.6 | 23.8524 | 0.4119% | 33.155 | 0.04836% | 15.9291 | 2.553% | 22.4424 | 0.5698% | 19.4093 | 1.146% | 20.7806 | 0.8355% | 22.2775 | 0.5919% | 15.76 | 2.655% | 16.5115 | 2.233% | 12.3525 | 5.818% | 9.3633 | 11.58%
2.65 | 24.0025 | 0.3979% | 33.3023 | 0.04675% | 16.0777 | 2.467% | 22.5941 | 0.5503% | 19.5445 | 1.111% | 20.9176 | 0.8095% | 22.4157 | 0.5734% | 15.9013 | 2.57% | 16.6441 | 2.166% | 12.5041 | 5.618% | 9.5009 | 11.22%
2.7 | 24.149 | 0.3847% | 33.448 | 0.04521% | 16.223 | 2.386% | 22.7433 | 0.5317% | 19.6764 | 1.077% | 21.0522 | 0.7848% | 22.5513 | 0.5557% | 16.0389 | 2.489% | 16.7735 | 2.102% | 12.6523 | 5.43% | 9.6367 | 10.87%
2.75 | 24.2922 | 0.3722% | 33.5922 | 0.04373% | 16.3652 | 2.309% | 22.8903 | 0.514% | 19.8053 | 1.046% | 21.1844 | 0.7613% | 22.6841 | 0.539% | 16.173 | 2.414% | 16.8997 | 2.042% | 12.7972 | 5.251% | 9.7706 | 10.54%
2.8 | 24.4322 | 0.3604% | 33.735 | 0.04232% | 16.5043 | 2.237% | 23.0349 | 0.4972% | 19.9312 | 1.016% | 21.3145 | 0.7388% | 22.814 | 0.5231% | 16.3036 | 2.342% | 17.0229 | 1.985% | 12.9388 | 5.083% | 9.9026 | 10.23%
2.85 | 24.5693 | 0.3492% | 33.8763 | 0.04096% | 16.6405 | 2.167% | 23.1775 | 0.4811% | 20.0543 | 0.9876% | 21.4426 | 0.7174% | 22.941 | 0.508% | 16.4311 | 2.275% | 17.1432 | 1.931% | 13.0772 | 4.924% | 10.0327 | 9.925%
2.9 | 24.7035 | 0.3386% | 34.0163 | 0.03966% | 16.7739 | 2.102% | 23.3179 | 0.4658% | 20.1749 | 0.9605% | 21.5687 | 0.6968% | 23.0649 | 0.4938% | 16.5554 | 2.21% | 17.2605 | 1.879% | 13.2126 | 4.772% | 10.1608 | 9.637%
2.95 | 24.8351 | 0.3285% | 34.1549 | 0.03842% | 16.9046 | 2.04% | 23.4563 | 0.4512% | 20.2932 | 0.9347% | 21.6929 | 0.6772% | 23.1856 | 0.4802% | 16.6768 | 2.149% | 17.375 | 1.83% | 13.3449 | 4.629% | 10.2868 | 9.361%
3 | 24.9642 | 0.3188% | 34.2921 | 0.03722% | 17.0328 | 1.98% | 23.5928 | 0.4372% | 20.4092 | 0.9101% | 21.8154 | 0.6584% | 23.303 | 0.4674% | 16.7953 | 2.092% | 17.4868 | 1.784% | 13.4743 | 4.493% | 10.4108 | 9.097%
3.05 | 25.0909 | 0.3097% | 34.4279 | 0.03607% | 17.1586 | 1.924% | 23.7274 | 0.4239% | 20.5232 | 0.8865% | 21.9361 | 0.6403% | 23.4168 | 0.4553% | 16.9111 | 2.037% | 17.5958 | 1.739% | 13.6008 | 4.364% | 10.5327 | 8.846%
3.1 | 25.2155 | 0.3009% | 34.5623 | 0.03498% | 17.2821 | 1.87% | 23.8601 | 0.4111% | 20.6352 | 0.8639% | 22.0552 | 0.623% | 23.5269 | 0.4439% | 17.0244 | 1.984% | 17.7022 | 1.697% | 13.7245 | 4.242% | 10.6524 | 8.605%
3.15 | 25.338 | 0.2925% | 34.6952 | 0.03392% | 17.4035 | 1.818% | 23.991 | 0.3989% | 20.7456 | 0.8423% | 22.1727 | 0.6064% | 23.6332 | 0.4332% | 17.1351 | 1.934% | 17.8059 | 1.657% | 13.8456 | 4.125% | 10.7699 | 8.375%
3.2 | 25.4586 | 0.2845% | 34.8266 | 0.03291% | 17.5228 | 1.769% | 24.12 | 0.3873% | 20.8542 | 0.8214% | 22.2887 | 0.5904% | 23.7354 | 0.4231% | 17.2436 | 1.886% | 17.9071 | 1.619% | 13.9641 | 4.014% | 10.8853 | 8.156%
3.25 | 25.5775 | 0.2769% | 34.9564 | 0.03194% | 17.6403 | 1.722% | 24.2473 | 0.3761% | 20.9614 | 0.8014% | 22.4031 | 0.575% | 23.8334 | 0.4137% | 17.3499 | 1.841% | 18.0057 | 1.583% | 14.08 | 3.908% | 10.9984 | 7.946%
3.3 | 25.6947 | 0.2695% | 35.0846 | 0.03101% | 17.756 | 1.676% | 24.3728 | 0.3654% | 21.0673 | 0.7821% | 22.5159 | 0.5603% | 23.927 | 0.4049% | 17.454 | 1.797% | 18.1018 | 1.548% | 14.1936 | 3.808% | 11.1093 | 7.746%
3.35 | 25.8105 | 0.2624% | 35.2111 | 0.03012% | 17.87 | 1.633% | 24.4965 | 0.3551% | 21.1718 | 0.7635% | 22.6273 | 0.5461% | 24.0159 | 0.3967% | 17.5562 | 1.755% | 18.1954 | 1.515% | 14.3048 | 3.711% | 11.2178 | 7.555%
3.4 | 25.9249 | 0.2556% | 35.3358 | 0.02927% | 17.9826 | 1.591% | 24.6185 | 0.3453% | 21.2752 | 0.7455% | 22.7371 | 0.5325% | 24.0999 | 0.3891% | 17.6564 | 1.715% | 18.2866 | 1.484% | 14.4138 | 3.619% | 11.3241 | 7.372%
3.45 | 26.038 | 0.249% | 35.4586 | 0.02845% | 18.0937 | 1.551% | 24.7387 | 0.3358% | 21.3776 | 0.7282% | 22.8455 | 0.5193% | 24.179 | 0.382% | 17.7549 | 1.677% | 18.3752 | 1.454% | 14.5206 | 3.531% | 11.428 | 7.198%
3.5 | 26.1499 | 0.2427% | 35.5795 | 0.02767% | 18.2036 | 1.512% | 24.8572 | 0.3268% | 21.4789 | 0.7114% | 22.9523 | 0.5067% | 24.2527 | 0.3756% | 17.8516 | 1.64% | 18.4615 | 1.425% | 14.6253 | 3.447% | 11.5295 | 7.032%
3.55 | 26.2608 | 0.2365% | 35.6984 | 0.02693% | 18.3122 | 1.475% | 24.9739 | 0.3181% | 21.5794 | 0.6951% | 23.0575 | 0.4946% | 24.3211 | 0.3697% | 17.9467 | 1.604% | 18.5452 | 1.398% | 14.728 | 3.367% | 11.6287 | 6.873%
3.6 | 26.3708 | 0.2306% | 35.8152 | 0.02621% | 18.4198 | 1.439% | 25.0889 | 0.3098% | 21.6789 | 0.6794% | 23.1611 | 0.4829% | 24.3838 | 0.3644% | 18.0403 | 1.57% | 18.6264 | 1.372% | 14.8288 | 3.289% | 11.7254 | 6.721%
3.65 | 26.4799 | 0.2249% | 35.9298 | 0.02553% | 18.5264 | 1.404% | 25.202 | 0.3019% | 21.7777 | 0.6641% | 23.2631 | 0.4717% | 24.4406 | 0.3597% | 18.1323 | 1.537% | 18.7052 | 1.347% | 14.9277 | 3.215% | 11.8197 | 6.577%
3.7 | 26.5882 | 0.2194% | 36.0422 | 0.02488% | 18.6322 | 1.37% | 25.3134 | 0.2942% | 21.8757 | 0.6493% | 23.3634 | 0.461% | 24.4915 | 0.3555% | 18.2229 | 1.506% | 18.7814 | 1.324% | 15.0249 | 3.144% | 11.9115 | 6.439%
3.75 | 26.6957 | 0.214% | 36.1524 | 0.02425% | 18.7372 | 1.337% | 25.423 | 0.2869% | 21.973 | 0.6349% | 23.462 | 0.4506% | 24.5362 | 0.3519% | 18.3121 | 1.475% | 18.8551 | 1.302% | 15.1203 | 3.076% | 12.0009 | 6.308%
3.8 | 26.8026 | 0.2088% | 36.2602 | 0.02366% | 18.8414 | 1.306% | 25.5308 | 0.2798% | 22.0696 | 0.6209% | 23.5588 | 0.4407% | 24.5745 | 0.3488% | 18.3999 | 1.445% | 18.9262 | 1.281% | 15.214 | 3.01% | 12.0878 | 6.183%
3.85 | 26.9089 | 0.2038% | 36.3656 | 0.02309% | 18.9451 | 1.275% | 25.6368 | 0.2731% | 22.1655 | 0.6074% | 23.6537 | 0.4312% | 24.6062 | 0.3462% | 18.4864 | 1.417% | 18.9946 | 1.26% | 15.3061 | 2.947% | 12.1721 | 6.064%
3.9 | 27.0146 | 0.1989% | 36.4685 | 0.02255% | 19.0482 | 1.245% | 25.7409 | 0.2666% | 22.2607 | 0.5942% | 23.7466 | 0.422% | 24.6313 | 0.3442% | 18.5716 | 1.389% | 19.0603 | 1.242% | 15.3967 | 2.886% | 12.2539 | 5.951%
3.95 | 27.1198 | 0.1941% | 36.569 | 0.02203% | 19.1508 | 1.216% | 25.8432 | 0.2604% | 22.3551 | 0.5814% | 23.8375 | 0.4133% | 24.6496 | 0.3428% | 18.6555 | 1.363% | 19.1233 | 1.224% | 15.4857 | 2.828% | 12.3332 | 5.844%
4 | 27.2244 | 0.1895% | 36.6669 | 0.02154% | 19.253 | 1.188% | 25.9437 | 0.2545% | 22.4488 | 0.569% | 23.9263 | 0.4049% | 24.661 | 0.3419% | 18.7381 | 1.337% | 19.1834 | 1.207% | 15.5732 | 2.771% | 12.4099 | 5.741%
4.05 | 27.3286 | 0.185% | 36.7624 | 0.02107% | 19.3549 | 1.16% | 26.0423 | 0.2488% | 22.5418 | 0.557% | 24.0129 | 0.3969% | 24.6654 | 0.3416% | 18.8194 | 1.312% | 19.2407 | 1.191% | 15.6593 | 2.717% | 12.4839 | 5.644%
4.1 | 27.4323 | 0.1806% | 36.8554 | 0.02063% | 19.4564 | 1.133% | 26.139 | 0.2433% | 22.6338 | 0.5453% | 24.0972 | 0.3893% | 24.6626 | 0.3418% | 18.8993 | 1.288% | 19.2949 | 1.176% | 15.7439 | 2.664% | 12.5554 | 5.552%
4.15 | 27.5355 | 0.1764% | 36.9458 | 0.0202% | 19.5577 | 1.107% | 26.234 | 0.238% | 22.725 | 0.534% | 24.179 | 0.382% | 24.6526 | 0.3426% | 18.9778 | 1.265% | 19.346 | 1.163% | 15.8271 | 2.614% | 12.6242 | 5.465%
4.2 | 27.6381 | 0.1723% | 37.0339 | 0.0198% | 19.6586 | 1.082% | 26.327 | 0.233% | 22.8151 | 0.523% | 24.2584 | 0.3751% | 24.6355 | 0.3439% | 19.0549 | 1.243% | 19.3939 | 1.15% | 15.9088 | 2.565% | 12.6904 | 5.382%
4.25 | 27.7402 | 0.1683% | 37.1195 | 0.01941% | 19.7594 | 1.057% | 26.4183 | 0.2281% | 22.9042 | 0.5124% | 24.335 | 0.3685% | 24.611 | 0.3459% | 19.1305 | 1.222% | 19.4386 | 1.138% | 15.9891 | 2.518% | 12.7539 | 5.304%
4.3 | 27.8418 | 0.1644% | 37.2027 | 0.01904% | 19.8599 | 1.033% | 26.5077 | 0.2235% | 22.9921 | 0.5021% | 24.409 | 0.3623% | 24.5793 | 0.3484% | 19.2046 | 1.201% | 19.4797 | 1.127% | 16.0679 | 2.473% | 12.8146 | 5.23%
4.35 | 27.9427 | 0.1606% | 37.2837 | 0.01869% | 19.9601 | 1.009% | 26.5953 | 0.219% | 23.0786 | 0.4922% | 24.48 | 0.3564% | 24.5403 | 0.3515% | 19.2769 | 1.181% | 19.5173 | 1.118% | 16.1453 | 2.429% | 12.8727 | 5.161%
4.4 | 28.0429 | 0.1569% | 37.3626 | 0.01835% | 20.0601 | 0.9862% | 26.6811 | 0.2147% | 23.1637 | 0.4826% | 24.5481 | 0.3509% | 24.4942 | 0.3553% | 19.3476 | 1.162% | 19.5512 | 1.109% | 16.2212 | 2.387% | 12.928 | 5.096%
4.45 | 28.1423 | 0.1534% | 37.4394 | 0.01803% | 20.1599 | 0.9639% | 26.7652 | 0.2106% | 23.2472 | 0.4735% | 24.613 | 0.3457% | 24.4409 | 0.3597% | 19.4163 | 1.144% | 19.5812 | 1.101% | 16.2955 | 2.347% | 12.9805 | 5.034%
4.5 | 28.2408 | 0.1499% | 37.5144 | 0.01772% | 20.2593 | 0.942% | 26.8476 | 0.2066% | 23.3289 | 0.4646% | 24.6746 | 0.3408% | 24.3805 | 0.3647% | 19.483 | 1.126% | 19.6073 | 1.095% | 16.3681 | 2.308% | 13.0303 | 4.977%
4.55 | 28.3384 | 0.1466% | 37.5877 | 0.01743% | 20.3584 | 0.9208% | 26.9284 | 0.2028% | 23.4087 | 0.4562% | 24.7328 | 0.3363% | 24.3132 | 0.3704% | 19.5475 | 1.11% | 19.6291 | 1.089% | 16.4391 | 2.27% | 13.0772 | 4.924%
4.6 | 28.4349 | 0.1434% | 37.6595 | 0.01714% | 20.4571 | 0.9001% | 27.0075 | 0.1992% | 23.4863 | 0.4481% | 24.7875 | 0.3321% | 24.2392 | 0.3768% | 19.6097 | 1.094% | 19.6465 | 1.085% | 16.5084 | 2.234% | 13.1212 | 4.874%
4.65 | 28.5301 | 0.1403% | 37.73 | 0.01687% | 20.5552 | 0.88% | 27.0851 | 0.1957% | 23.5615 | 0.4404% | 24.8385 | 0.3282% | 24.1586 | 0.3838% | 19.6694 | 1.079% | 19.6594 | 1.082% | 16.5757 | 2.2% | 13.1624 | 4.828%
4.7 | 28.624 | 0.1373% | 37.7996 | 0.0166% | 20.6529 | 0.8604% | 27.1613 | 0.1923% | 23.6341 | 0.4331% | 24.8856 | 0.3247% | 24.0716 | 0.3916% | 19.7264 | 1.065% | 19.6676 | 1.08% | 16.6412 | 2.167% | 13.2007 | 4.786%
4.75 | 28.7164 | 0.1344% | 37.8684 | 0.01634% | 20.7498 | 0.8414% | 27.2361 | 0.189% | 23.7039 | 0.4262% | 24.9287 | 0.3215% | 23.9785 | 0.4001% | 19.7805 | 1.052% | 19.6708 | 1.079% | 16.7045 | 2.136% | 13.236 | 4.747%
4.8 | 28.8071 | 0.1316% | 37.9368 | 0.01608% | 20.846 | 0.823% | 27.3095 | 0.1858% | 23.7706 | 0.4197% | 24.9678 | 0.3186% | 23.8797 | 0.4093% | 19.8314 | 1.04% | 19.6688 | 1.079% | 16.7656 | 2.106% | 13.2684 | 4.711%
4.85 | 28.8959 | 0.1289% | 38.0051 | 0.01583% | 20.9413 | 0.8051% | 27.3818 | 0.1827% | 23.834 | 0.4136% | 25.0025 | 0.316% | 23.7753 | 0.4192% | 19.8789 | 1.028% | 19.6614 | 1.081% | 16.8244 | 2.078% | 13.2978 | 4.68%
4.9 | 28.9826 | 0.1264% | 38.0737 | 0.01558% | 21.0356 | 0.7879% | 27.453 | 0.1798% | 23.8936 | 0.408% | 25.0328 | 0.3138% | 23.6659 | 0.4299% | 19.9227 | 1.018% | 19.6483 | 1.084% | 16.8806 | 2.051% | 13.3241 | 4.651%
4.95 | 29.067 | 0.124% | 38.1431 | 0.01534% | 21.1286 | 0.7711% | 27.5232 | 0.1769% | 23.9492 | 0.4028% | 25.0585 | 0.312% | 23.5517 | 0.4414% | 19.9626 | 1.009% | 19.6293 | 1.089% | 16.9342 | 2.026% | 13.3474 | 4.627%
5 | 29.1489 | 0.1217% | 38.2137 | 0.01509% | 21.2204 | 0.755% | 27.5927 | 0.1741% | 24.0006 | 0.3981% | 25.0794 | 0.3105% | 23.4333 | 0.4536% | 19.9982 | 1% | 19.6042 | 1.095% | 16.9848 | 2.002% | 13.3675 | 4.605%
5.05 | 29.228 | 0.1195% | 38.2859 | 0.01484% | 21.3106 | 0.7395% | 27.6615 | 0.1713% | 24.0472 | 0.3938% | 25.0955 | 0.3094% | 23.3111 | 0.4665% | 20.0293 | 0.9933% | 19.5726 | 1.103% | 17.0324 | 1.98% | 13.3845 | 4.587%
5.1 | 29.304 | 0.1174% | 38.3603 | 0.01459% | 21.399 | 0.7246% | 27.7297 | 0.1687% | 24.0889 | 0.39% | 25.1065 | 0.3086% | 23.1857 | 0.4802% | 20.0554 | 0.9873% | 19.5343 | 1.113% | 17.0766 | 1.96% | 13.3984 | 4.573%
5.15 | 29.3767 | 0.1154% | 38.4374 | 0.01433% | 21.4855 | 0.7103% | 27.7977 | 0.166% | 24.1251 | 0.3868% | 25.1123 | 0.3082% | 23.0576 | 0.4946% | 20.0761 | 0.9826% | 19.4889 | 1.125% | 17.1173 | 1.942% | 13.4089 | 4.562%
5.2 | 29.4458 | 0.1136% | 38.5179 | 0.01407% | 21.5699 | 0.6966% | 27.8655 | 0.1635% | 24.1554 | 0.3841% | 25.1127 | 0.3081% | 22.9275 | 0.5096% | 20.0913 | 0.9792% | 19.4363 | 1.139% | 17.1542 | 1.926% | 13.4162 | 4.554%
5.25 | 29.5109 | 0.1119% | 38.6024 | 0.0138% | 21.6518 | 0.6836% | 27.9334 | 0.1609% | 24.1796 | 0.382% | 25.1076 | 0.3085% | 22.7961 | 0.5253% | 20.1003 | 0.9772% | 19.376 | 1.155% | 17.1869 | 1.911% | 13.4202 | 4.55%
5.3 | 29.5717 | 0.1104% | 38.6915 | 0.01352% | 21.731 | 0.6713% | 28.0015 | 0.1584% | 24.197 | 0.3805% | 25.0968 | 0.3093% | 22.664 | 0.5415% | 20.1028 | 0.9766% | 19.3077 | 1.173% | 17.2153 | 1.899% | 13.4207 | 4.549%
5.35 | 29.6279 | 0.1089% | 38.786 | 0.01322% | 21.8072 | 0.6596% | 28.0702 | 0.1559% | 24.2073 | 0.3796% | 25.0801 | 0.3104% | 22.5321 | 0.5582% | 20.0983 | 0.9776% | 19.231 | 1.194% | 17.239 | 1.888% | 13.4179 | 4.552%
5.4 | 29.679 | 0.1077% | 38.8867 | 0.01292% | 21.8802 | 0.6486% | 28.1397 | 0.1535% | 24.21 | 0.3793% | 25.0575 | 0.3121% | 22.4011 | 0.5753% | 20.0864 | 0.9803% | 19.1457 | 1.217% | 17.2576 | 1.88% | 13.4115 | 4.559%
5.45 | 29.7248 | 0.1065% | 38.9944 | 0.01261% | 21.9496 | 0.6383% | 28.2102 | 0.151% | 24.2045 | 0.3798% | 25.0287 | 0.3141% | 22.272 | 0.5926% | 20.0666 | 0.9848% | 19.0514 | 1.244% | 17.2709 | 1.875% | 13.4016 | 4.569%
5.5 | 29.7647 | 0.1056% | 39.1099 | 0.01227% | 22.015 | 0.6288% | 28.2821 | 0.1485% | 24.1903 | 0.381% | 24.9937 | 0.3167% | 22.1457 | 0.6101% | 20.0383 | 0.9912% | 18.9476 | 1.274% | 17.2784 | 1.871% | 13.388 | 4.583%
5.55 | 29.7984 | 0.1048% | 39.2342 | 0.01193% | 22.0761 | 0.62% | 28.3556 | 0.146% | 24.167 | 0.3831% | 24.9522 | 0.3197% | 22.0232 | 0.6276% | 20.001 | 0.9998% | 18.834 | 1.308% | 17.2797 | 1.871% | 13.3708 | 4.602%
5.6 | 29.8254 | 0.1041% | 39.3682 | 0.01157% | 22.1326 | 0.612% | 28.4311 | 0.1435% | 24.1339 | 0.386% | 24.9041 | 0.3233% | 21.9055 | 0.6448% | 19.9541 | 1.011% | 18.7102 | 1.346% | 17.2745 | 1.873% | 13.3499 | 4.624%
5.65 | 29.8453 | 0.1036% | 39.513 | 0.01119% | 22.184 | 0.6048% | 28.5089 | 0.141% | 24.0905 | 0.3899% | 24.8493 | 0.3274% | 21.7937 | 0.6616% | 19.8971 | 1.024% | 18.5757 | 1.388% | 17.2623 | 1.878% | 13.3251 | 4.65%
5.7 | 29.8575 | 0.1033% | 39.6695 | 0.01079% | 22.2299 | 0.5984% | 28.5893 | 0.1384% | 24.0361 | 0.3948% | 24.7876 | 0.3321% | 21.6891 | 0.6778% | 19.8293 | 1.04% | 18.4302 | 1.435% | 17.2427 | 1.887% | 13.2965 | 4.681%
5.75 | 29.8615 | 0.1032% | 39.839 | 0.01038% | 22.2699 | 0.5929% | 28.6728 | 0.1357% | 23.9701 | 0.4009% | 24.7189 | 0.3374% | 21.5928 | 0.693% | 19.7501 | 1.059% | 18.2731 | 1.488% | 17.2151 | 1.899% | 13.2639 | 4.716%
5.8 | 29.8569 | 0.1033% | 40.0226 | 0.009948% | 22.3035 | 0.5884% | 28.7598 | 0.1331% | 23.8919 | 0.4081% | 24.6431 | 0.3433% | 21.506 | 0.707% | 19.6588 | 1.082% | 18.1041 | 1.547% | 17.1791 | 1.915% | 13.2272 | 4.756%
5.85 | 29.843 | 0.1037% | 40.2215 | 0.009503% | 22.3302 | 0.5848% | 28.8506 | 0.1303% | 23.8008 | 0.4168% | 24.56 | 0.3499% | 21.4303 | 0.7194% | 19.5547 | 1.108% | 17.9226 | 1.613% | 17.1342 | 1.935% | 13.1865 | 4.801%
5.9 | 29.8194 | 0.1042% | 40.437 | 0.009043% | 22.3495 | 0.5822% | 28.9457 | 0.1275% | 23.6961 | 0.427% | 24.4695 | 0.3573% | 21.367 | 0.73% | 19.4372 | 1.138% | 17.7282 | 1.687% | 17.0798 | 1.959% | 13.1415 | 4.851%
5.95 | 29.7853 | 0.1051% | 40.6705 | 0.008569% | 22.3609 | 0.5806% | 29.0457 | 0.1246% | 23.5771 | 0.4388% | 24.3714 | 0.3655% | 21.3175 | 0.7383% | 19.3054 | 1.173% | 17.5203 | 1.77% | 17.0153 | 1.988% | 13.0922 | 4.907%
6 | 29.7403 | 0.1062% | 40.9233 | 0.008085% | 22.3639 | 0.5802% | 29.1509 | 0.1216% | 23.443 | 0.4526% | 24.2657 | 0.3745% | 21.2835 | 0.7441% | 19.1587 | 1.214% | 17.2985 | 1.863% | 16.9401 | 2.023% | 13.0386 | 4.968%