Thorlabs SC10- Readme 
Use this software to operate Benchtop Shutter Controller (SC10).

Note:
This software comes with additional software packages:
1. Microsoft .Net Framework 4.6.2 Full Profile or higher version is required. If installing from the web, the install program will check and download it from the internet if necessary. 

License:
This software is copyright ©2014-2023, Thorlabs Shanghai. For license details please see file Thorlabs End-user License.rtf.

Supported platforms:                                                                                                                                                                                         
This software was verified with the following platforms:
  - Windows 7 SP1 updated with KB3020369 and KB3125574 (32-bit and 64-bit Operating System)
  - Windows 10 (32-bit and 64-bit version Operating System)
- Windows 11

Additional Software
Microsoft .Net Framework 4.6.2 Full Profile or higher version is required. The install program will check and download it from the internet if necessary.

Changelog

Sep-27-2017 - Release V1.2.1
1.	 Allow user to select baud rate when doing connecting. 

Jul-20-2023 – Release V1.3.0
1.	Fix list function issue.
2.	Do not support Windows XP anymore.
3.	Add Python SDK support.